COLLECTION OF IECEx / ExTAG DECISIONS

| Standard: IECEx OD 009 | Clauses: Annex A | Draft Decision Sheet: ExTAG/468/CD |
| --- | --- | --- |
| Subject: Use of Legacy data Status of document: Approved | Key words: - Testing - Legacy - Data | # Date: 170926 Originator of proposal: SGS Baseefa following discussions at the ExTAG meeting in South Africa. TC/SC involved: None |
| Question: Can an ExTL use OD 009 Annex A to justify using data provided in the form of reports prepared by another ExTL prior to the acceptance of that ExTL into the IECEx Scheme. Answer: No. The only ExTL that may use such data is the ExTL that prepared it originally. The Executive Secretary confirmed that this was his understanding of the words as currently written. It would be incorrect to allow a separate ExTL to evaluate whether or not the basis for using such information existed, without reference to the originating ExTL. If there were to be a requirement to use such data, the originating ExTL has to take the responsibility of converting the data into a current partial ExTR which can then be used by the receiving ExTL. |  |  |