### INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM

FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE

IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title:	Compilation of comments on ExTAG/243A/CD Draft ExTAG Decision Sheet

– What Standards must be listed on page 2 of the IECEx Certificate?

- Circulated to: ExTAG – IECEx Testing and Assessment Group

INTRODUCTION

This document, ExTAG/263/CC, is a compilation of comments, as well as observations, from the originator TestSafe AU, on Draft Decision Sheet ExTAG/243A/CD Draft ExTAG Decision Sheet – What Standards must be listed on page 2 of the IECEx Certificate?

A revised document taking into account these comments and observations, ExTAG/243B/CD Draft ExTAG Decision Sheet – What Standards must be listed on page 2 of the IECEx Certificate?, has been prepared for discussion during the Calgary 2012 ExTAG Meeting.

On behalf of Mr. Brenon

## Michel Brenon

ExTAG Secretary

| Address: IECEx Secretariat 286 Sussex Street Sydney NSW 2000 Australia | Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 E-mail: chris.agius@iecex.com http://www.iecex.com | ExTAG Secretary Mr Michel Brenon/LCIE Tel: +33 1 40 95 5519 Fax: +33 1 40 95 5520 e-mail michel.brenon@lcie.fr |
| --- | --- | --- |

| Member Body/ Country | Clause/ Sub-clause | Paragraph Figure/ Table | Type of comment General/ technical/ editorial | COMMENTS | Proposed change | Observation |
| --- | --- | --- | --- | --- | --- | --- |
| Intertek Testing Services NA Inc./USA (comment provided in response to earlier version of this DS) | Answer 1 |  | General | We support the draft decision as written, noting that it aligns with our domestic certification practices. | No change. | This comment supports Answer 1) Option a) |
| NANIO CCVE RU (comment provided in response to earlier version of this DS) | Answer 1 |  | general | We support ExTAG/243/CD without any comments. |  | This comment supports Answer 1) Option a) |
| FI (current comment) | Answer 1 |  | T | It shall be enough to list only major standards | Go back to original text. Used standard edition can be checked via IECEx-website when certificate number is listed in the equipment description. | This comment supports Answer 1) Option a) |
| FM Approvals UK (comment provided in response to earlier version of this DS) | Answer 1 |  |  | An Ex Component may not completely fulfil the requirements of IEC 60079-0 or the additional requirements for the type or level of protection, the Schedule of limitations and any other applicable criteria need to be additionally assessed and reported in the ExTR for the equipment. If a component is certified to an earlier version of a standard, a gap analysis should be conducted to determine if the product still meets the requirements of the standards being stated in the IECEx Certificate. Only the current and one preceding version of the standards should be used as stated in IECEx02 Clause 8.1.1. |  | This comment supports Answer 1) Option b) |
| FM Approvals US | Answer 1 |  |  | The IECEx Certified Equipment Scheme is a “Conformity Assessment Scheme” where, per IECEx 02, the identified product is confirmed to be in conformity with specific standards. ALL of the Ex standards applied for the conformity assessment must be listed on the CoC, or conformity with them can not be considered to have been verified. |  | This comment supports Answer 1) Option b) |
| EXA HR | Answer 1 |  |  | So, in the same way all standards for type (or level) of protection used shall be listed in page 2 of the certificate. The certificate must list the IECEx TR for the EQUIPMENT in subject. The content of ExTR is defined in IECEx OD documents and applicable protection standards. No need to address content of ExTR in this decision sheet. |  | This comment supports Answer 1) Option b) |
| UL USA (comment provided in response to earlier version of this DS) | Answer 1 |  |  | Issue 1: When Ex equipment incorporates an Ex component that is covered by an existing ExTR, and this Ex component involves a type of protection and associated IEC Ex standard that would not otherwise be part of the evaluation of the Ex equipment, should page 2 of the IECEx CoC for the Ex equipment include the IEC Ex standard that is only associated with the Ex component? An IECEx CoC covers the entire Ex equipment, including any Ex components. Therefore, page 2 should indicate all involved IEC Ex standards. Further, the use of such incorporated Ex components will involve a Schedule of Limitations that need to be addressed as part of the installation of the Ex component in the Ex equipment. Therefore, page 2 of the CoC for the Ex equipment shall include all the IEC Ex standards to which both the Ex equipment and incorporated Ex component were evaluated. |  | This comment supports Answer 1) Option b) |
| UL USA (comment provided in response to earlier version of this DS) | Answer 1 |  |  | Issue 2: When Ex equipment is evaluated to the current edition of a given IEC Ex standard, and this Ex equipment incorporates an Ex component that is covered by an existing ExTR that involves one edition prior of the same given IEC Ex standard, should page 2 of the IECEx CoC for the Ex equipment include the current edition of the given IEC Ex standard or the one edition prior, or both? Editions of IEC Ex standards that are included on page 2 of an IECEx CoC indicate that the subject Ex equipment, in its entirety, complies with all included IEC Ex standards, as applicable. Therefore, if only some aspects of the Ex equipment comply with the current edition, while all aspects of the Ex equipment comply with one edition prior, then the IEC Ex standard indicated on page 2 of the CoC shall only be the one edition prior. |  | This comment supports Answer 1) Option b) |
| UL US and UL/ DEMKO DK (current comment) | Answer 1 |  |  | Agree |  | This comment supports Answer 1) Option b) |
| NANIO CCVE RU (current comment) | Answer 1 |  | General | We agree with the answers 1 and 2 to the relevant questions. |  | This comment supports Answer 1) Option b) |
| UL/DEMKO (comment provided in response to earlier version of this DS) | Answer 1 |  |  | Please consider UL USA’ comments also as UL Demko’s. |  | This comment supports Answer 1) Option b) |
| FI | Answer 2 |  |  | If all components markings are included for example Ex pz –motors marking will be : Ex d e ia ib m nA nC nLpz II T3. Marking is unclear and will be cause misunderstanding. Auxiliary components: pz Motor frame e pt100 for stator de fan motor m pt100 for antifriction bearing ia Temperature transmitter ib Measuring transducer nA Cable current transformer nC Partial discharge monitor nL Velocity transducer for vibration monitoring | Go back to original text | This comment supports Answer 2) Option a) |
| Intertek Testing Services NA Inc./USA (comment provided in response to earlier version of this DS) | Answer 2 |  | General | We support the draft decision as written, noting that it aligns with our domestic certification practices. | No change. | This comment supports Answer 2) Option a) |
| NANIO CCVE RU (comment provided in response to earlier version of this DS) | Answer 2 |  | general | We support ExTAG/243/CD without any comments. |  | This comment supports Answer 2) Option a) |
| FM Approvals UK (comment provided in response to earlier version of this DS) | Answer 2 |  |  | Clauses 29.4 and 29.5 of IEC 60079-0 state that the Ex Marking shall include the symbol for each type (or level) of protection used. Additionally clause 29.6 states ‘Where different types (or levels) of protection are employed for different parts of electrical equipment or an Ex Component, the Ex marking shall include the symbols for all of the types (or levels) of protection employed.’ Therefore the label should show all of the types of protection used and the report should align and cover each applicable standard. |  | This comment supports Answer 1) Option b) |
| FM Approvals US | Answer 2 |  |  | The marking cannot be limited to the “major types of protection”, whatever those are, as sub-clauses 29.4, 29.5, and 29.6 of IEC 60079-0 Ed 6 (or 29.3, 29.4, and 29.5 of IEC 60079-0 Ed 5) require that the product marking include the symbol of each of the types or levels of protection used. Therefore, the marking showing all of the types of protection, and the ExTR and CoC addressing all of the applied standards must align. |  | This comment supports Answer 2) Option b) |
| EXA HR | Answer 2 |  |  | The decision sheet is not in line with IEC 60079-0, item 29. Marking. IEC 60079-0 doesn’t recognize ‘major type of protection’ and require marking of ‘the symbol for each type (or level) of protection used' (items 29.3 b) and 29.4.b)). |  | This comment supports Answer 2) Option b) |
| UL USA (comment provided in response to earlier version of this DS) | Answer 2 |  |  | The marking shall include all of the involved types of protection. |  | This comment supports Answer 2) Option b) |
| UL US and UL/ DEMKO DK (current comment) | Answer 2 |  |  | Agree |  | This comment supports Answer 2) Option b) |
| NANIO CCVE RU (current comment) | Answer 2 |  | General | We agree with the answers 1 and 2 to the relevant questions. |  | This comment supports Answer 2) Option b) |
| UL/DEMKO (comment provided in response to earlier version of this DS) | Answer 2 |  |  | Please consider UL USA’ comments also as UL Demko’s. |  | This comment supports Answer 2) Option b) |
| FI (current comment) | Answer 3 |  |  | Listing all ExTRs and QARs of components will cause misunderstanding | It is enough to list certificates of the used components in the description. QARs and ExTRs are linked to the certificates in IECEx website | This comment supports Answer 3) Option a) |
| Intertek Testing Services NA Inc./USA (comment provided in response to earlier version of this DS) | Answer 3 |  | General | We support the draft decision as written, noting that it aligns with our domestic certification practices. | No change. | This comment supports Answer 3) Option a) |
| NANIO CCVE RU | Answer 3 |  |  | As for the 3d question, we consider that on the page 2 of the IECEx Certificate shall be listed only ExTR and QAR for the major type of protection for the overall equipment. |  | This comment supports Answer 3) Option a) |
| FM Approvals UK | Answer 3 |  |  | we agree that an IECEx Certificate should not list the ExTR’s or QAR’s for the Ex components used. |  | This comment supports Answer 3) Option a) |
| UL USA (comment provided in response to earlier version of this DS) | Answer 3 |  |  | We agree that there is no need to list the QAR but for traceability it is useful to link to the ExTR of the component. This will be especially useful if the IECEx website were one day programmed to provide automatic notification of withdrawn certificates/ExTRs. |  | This comment supports Answer 3) Option a) |
| UL US and UL/ DEMKO DK (current comment) | Answer 3 |  |  | The proposed wording is not entirely clear. | We propose the following as the answer for #3: “The IECEx Certificate must list all of the end-product IECEx ExTRs, and the QAR of the end-product manufacturer. The end-product ExTRs must contain a list of the ExTRs for any components.” | This comment supports Answer 3) Option a) with a change: this Decision Sheet refers to ‘complete equipment’ while this comment refers to ‘end-product’. If this comment is agreed, this complete Decision Sheet will be edited to remove reference to ‘complete equipment’ and replace with the term ‘end-product’. |
| UL/DEMKO (comment provided in response to earlier version of this DS) | Answer 3 |  |  | Please consider UL USA’ comments also as UL Demko’s. |  | This comment supports Answer 3) Option a) |