| IECEx TEST REPORT IEC 60079 Explosive atmospheres – Part 29-1: Gas detectors – Performance requirements of detectors for flammable gases |  |  |
| --- | --- | --- |
| ExTR Reference Number : |  |  |
| ExTR Free Reference Number : |  |  |
| Compiled by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Reviewed by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Date of issue : |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |
| Address : |  |  |
| Applicant’s name : |  |  |
| Address : |  |  |
| Standard : | IEC 60079-29-1:2016, Edition 2.0 |  |
| Test procedure : | IECEx System |  |
| Test Report Form Number : | ExTR60079-29-1_2A_DS (released 2019-12) |  |
| Instructions for Intended Use of Ex Test Report: An Ex Test Report provides a clause-by-clause documentation of the initial evaluation and testing that verified compliance of an item or product with an IEC, ISO or IEC/IEEE Ex standard or technical specification. This Ex Test Report is part of an ExTR package that may include other Ex Test Report, Addendum, National Differences and Partial Testing documents, along with a single ExTR Cover. An Ex Test Report is to be compiled and reviewed by the ExTL. The Issuing ExCB indicates final approval of the Ex Test Report as part of the overall ExTR package on the associated ExTR Cover. |  |  |
| Copyright © 2017 International Electrotechnical Commission System for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx System), Geneva, Switzerland. All rights reserved. This blank publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx System is acknowledged as copyright owner and source of the material. The IECEx system takes no responsibility for, and will not assume liability for, damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |

| Possible test case verdicts: |  |
| --- | --- |
| - test case does not apply to the test item :N / A |  |
| - test item does meet the requirement :Pass |  |
| General remarks: The test results presented in this Ex Test Report relate only to the item or product tested. - "(see Attachment #)" refers to additional information appended to this document. - "(see appended table)" refers to a table appended to this document. - Throughout this document, a point is used as the decimal separator. The technical content of this Ex Test Report shall not be reproduced except in full without the written approval of the Issuing ExCB and ExTL. |  |

| IEC 60079-29-1 |  |  |  |
| --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark | Verdict |
| 1 | Scope |  |  |
| 2 | Normative references |  |  |
| 3 | Terms and definitions |  |  |
| 4 | General requirements |  |  |
| 4.1 | Overview |  |  |
| 4.1.1 | Manufacturer claims |  |  |
| 4.1.2 See also DS 2018/001 | Equipment ratings |  |  |
| 4.2 | Construction |  |  |
| 4.2.1 | General |  |  |
| 4.2.2 | Indicating devices |  |  |
| 4.2.2.1 | General |  |  |
| 4.2.2.2 | Resolution |  |  |
| 4.2.2.3 | Measurement range |  |  |
| 4.2.2.4 | Selectable range |  |  |
| 4.2.2.5 | Suppression of indication and measured values below zero |  |  |
| 4.2.2.6 | Indicating light |  |  |
| 4.2.3 | Alarm signals |  |  |
| 4.2.3.1 | General |  |  |
| 4.3.2.2 | Group I portable equipment indicating up to 5% v/v |  |  |
| 4.2.3.3 | Group II portable equipment indicating up to 100% LFL |  |  |
| 4.2.4 | Fault signals |  |  |
| 4.2.5 | Adjustments |  |  |
| 4.2.6 | Battery-powered equipment |  |  |
| 4.2.7 | Gas detection transmitter for use with separate gas detection control units |  |  |
| 4.2.8 | Separate gas detection control units for use with gas detection transmitter(s) |  |  |
| 4.2.9 | Software-controlled equipment |  |  |
| 4.2.9.1 | General |  |  |
| 4.2.9.2 | Conversion errors |  |  |
| 4.2.9.3 | Special state indication |  |  |
| 4.2.9.4 | Software a) software version b) cannot modify code c) Parameter settings d) Program structure e) software documentation |  |  |
| 4.2.9.5 | Data transmission |  |  |
| 4.2.9.6 | Self-test routines a) power supply b) output functions c) program monitor d) program / data memory e) volatile memory Tests repeat? |  |  |
| 4.2.9.7 | Functional concept |  |  |
| 4.3 | Marking |  |  |
| 4.4 | Instruction manual |  |  |
| 5 | Test methods |  |  |
| 5.1 | Overview |  |  |
| 5.2 | General requirements for tests |  |  |
| 5.2.1 | General |  |  |
| 5.2.2 | Samples and sequence of tests |  |  |
| 5.2.2.1 | General |  |  |
| 5.2.2.2 | Optical filter |  |  |
| 5.2.2.3 | Sequence |  |  |
| 5.2.2.4 | Gas detection transmitter(s) |  |  |
| 5.2.2.5 | Separate gas detection control units |  |  |
| 5.2.3 | Preparation of equipment before testing |  |  |
| 5.2.4 | Mask for calibration and tests |  |  |
| 5.3 | Normal conditions for test |  |  |
| 5.3.1 | General |  |  |
| 5.3.2 | Test gas(es) |  |  |
| 5.3.3 | Standard test gas |  |  |
| 5.3.4 | Flow rate for test gases |  |  |
| 5.3.5 | Voltage |  |  |
| 5.3.6 | Temperature |  |  |
| 5.3.7 | Pressure |  |  |
| 5.3.8 | Humidity |  |  |
| 5.3.9 | Acclimation time |  |  |
| 5.3.10 | Orientation |  |  |
| 5.3.11 | Communication options |  |  |
| 5.3.12 | Gas detection equipment as part of systems |  |  |
| 5.4 | Test methods |  |  |
| 5.4.1 | General |  |  |
| 5.4.2 | Unpowered storage |  |  |
| 5.4.3 | Calibration and adjustment |  |  |
| 5.4.3.1 | Initial preparation of the equipment |  |  |
| 5.4.3.2 | Calibration curve |  |  |
| 5.4.3.3 | Response to different gases |  |  |
| 5.4.4 | Stability |  |  |
| 5.4.4.1 | Battery-powered equipment for stability |  |  |
| 5.4.4.2 | Short-term stability |  |  |
| 5.4.4.3 | Long-term stability (fixed and transportable equipment – Group I only) |  |  |
| 5.4.4.4 | Long-term stability (portable equipment – Group I only) |  |  |
| 5.4.4.5 | Long-term stability (fixed and transportable equipment – Group II only) |  |  |
| 5.4.4.6 | Long-term stability (portable equipment – Group II only) |  |  |
| 5.4.5 | Alarm set point(s) |  |  |
| 5.4.5.1 | Rising concentration |  |  |
| 5.4.5.2 | Falling concentration (for equipment with measuring range over UFL only) |  |  |
| 5.4.6 | Temperature |  |  |
| 5.4.7 | Pressure |  |  |
| 5.4.8 | Humidity of test gas |  |  |
| 5.4.9 | Air velocity |  |  |
| 5.4.10 | Flow rate for aspirated equipment |  |  |
| 5.4.11 | Orientation |  |  |
| 5.4.12.1 | Portable equipment |  |  |
| 5.4.11.2 | Fixed and transportable equipment |  |  |
| 5.4.12 | Vibration |  |  |
| 5.4.12.1 | Test equipment |  |  |
| 5.4.12.2 | Procedures |  |  |
| 5.4.12.2.1 | General |  |  |
| 5.4.12.2.2 | Procedure 1 |  |  |
| 5.4.12.2.3 | Procedure 2 |  |  |
| 5.4.13 | Drop test for portable and transportable equipment |  |  |
| 5.4.14 | Warm-up time |  |  |
| 5.4.15 | Time of response |  |  |
| 5.4.16 | High gas concentration operation above the measuring range |  |  |
| 5.4.17 | Battery capacity |  |  |
| 5.4.17.1 | Battery discharge |  |  |
| 5.4.17.2 | Low battery duration |  |  |
| 5.4.18 | Power supply variations |  |  |
| 5.4.19 | Addition of sampling probe |  |  |
| 5.4.20 | Other gases and poisons |  |  |
| 5.4.20.1 | Other gases |  |  |
| 5.4.20.2 | Poisons (applicable only to Group I equipment with catalytic or semiconductor sensors) |  |  |
| 5.4.21 | Electromagnetic compatibility |  |  |
| 5.4.22 | Field calibration kit |  |  |
| 5.4.23 | Software function |  |  |
| Annex A (normative) | Performance requirements |  |  |
| Table A.1 | Performance requirements |  |  |
| Annex B (informative) | Determination of time of response |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)