Re-assessment and Scope Extension Report for the continued acceptance of TestSafe Australia an Accepted Certification Body, (ExCB), and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment and Scope Extension Report for the continued acceptance of TestSafe Australia as an Accepted Certification Body (ExCB) and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

During the re-assessment the IECEx Assessment Team took the opportunity to also assess TestSafe’s facilities, equipment and competence to undertake testing and certification to the Standards –

- IEC 60079-28 	Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation

- IEC 60079-33 Explosive atmospheres – Part 33: Equipment protection by special protection "s"

- ISO 80079-36 Explosive atmospheres - Part 36: Non-electrical equipment for

explosive atmospheres - Basic method and requirements

- ISO 80079-37 Explosive atmospheres - Part 37: Non-electrical equipment for

explosive atmospheres - Non electrical type of protection constructional safety

"c", control of ignition source "b", liquid immersion "k"

Please consider the assessment report and return the completed voting form by

2017 06 21

(A separate Word document) to the

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD 422 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for TestSafe Australia:

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

(Update when report is complete – by right click, Update field, Update entire table)

1	Assessment information	6

1.1	Type of Body covered by this assessment:	6

1.2	Type of assessment: <retain appropriate marks>	6

1.3	Details of body	6

1.3.1	Country Australia	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	6

1.5	Application information and background information on the assessment	7

1.6	Scopes	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	9

1.6.3	ExCB scope for Service Facilities scheme…………………………..		12

1.6.4	ExCB scope for ExMark Scheme	12

2	Common information	13

2.1	Legal entity of body	13

2.2	Financial support	13

2.3	History	13

2.4	Documentation	13

2.4.1	Quality manual	13

2.4.2	Procedures	13

2.4.3	Work instructions	13

2.4.4	Records (including test records where relevant)	13

2.4.5	Document change control	14

2.5	Confidentiality	14

2.6	Communication with public and customers (Hard copy and Electronic)	14

2.7	Recognitions and agreements	14

2.8	Internal audit	14

2.9	Management review	14

2.10	Contracting, subcontracting and witness testing	14

2.10.1	Contracting	14

2.10.2	Subcontracting	14

2.10.3	Witness testing	15

2.11	Training and competence	15

2.12	Complaints and appeals (including appeals to IECEx)	15

2.13	Commenting on ExTAG Documents	15

2.14	Special facts to be noted	15

2.15	Supporting documentation	16

2.16	Recommendations	16

3	ExCB for IECEx Certified Equipment Scheme	17

3.1	Assessment references	17

3.2	Candidate ExCB persons interviewed	17

3.3	Associated ExTL(s)	17

3.4	Associated certification functions	17

3.5	National marks and certificates	17

3.6	Standards accepted	18

3.7	National differences to IEC standards	18

3.8	Organisation	18

3.8.1	Names, titles and experience of the senior executives	18

3.8.2	Name, title and experience of the quality management representative	18

3.8.3	Name and title of signatories for certification	18

3.8.4	Other employees in ExCB activity	18

3.9	Organizational structure	19

3.10	Indemnity insurance	19

3.11	Resources	19

3.12	Committees (such as governing or advisory boards)	19

3.13	Certification operations	20

3.13.1	National approval/certification methods	20

3.13.2	Certification policy	20

3.13.3	Application for certification	20

3.13.4	Certification decision	20

3.13.5	Suspension and cancellation of certificates	20

3.14	Certificates issued	20

3.15	National accreditation	22

3.16	Assessment of manufacturers and issue of QARs	22

3.17	Comments (including issues found during assessment)	22

4	ExTL for IECEx Certified Equipment Scheme	23

4.1	Assessment references	23

4.2	Candidate ExTL persons interviewed	23

4.3	Associated ExCB(s)	23

4.4	Organisation	23

4.4.1	Names, titles and experience of the senior executives	23

4.4.2	Name, title and experience of the quality management representative	24

4.4.3	Other employees in ExTL activity	24

4.5	Organizational structure	24

4.6	Resources	24

4.7	Test reports issued	24

4.8	National accreditation	26

4.9	Calibration	26

4.10	Witnessed Tests	26

4.11	Participation in IECEx Proficiency Testing Program	27

4.12	Comments (including issues found during assessment)	27

5	ExCB for Certified Service Facilities Scheme	28

5.1	Assessment references	28

5.2	Candidate ExCB persons interviewed	28

5.3	Organisation	28

5.3.1	Names, titles and experience of the senior executives	28

5.3.2	Name, title and experience of the quality management representative	28

5.3.3	Name and title of signatories for certification	28

5.3.4	Other employees in ExCB activity	29

5.4	Organizational Structure	29

5.5	Resources	29

5.6	Certification operations	29

5.6.1	National approval/certification Methods	29

5.6.2	Application for certification	29

5.6.3	Withdrawal and cancellation of certificates	29

5.7	Statistics	29

5.8	National accreditation	30

5.9	Comments (including issues found during assessment)	30

6	IECEx Conformity Mark Licensing System	30

6.1	Assessment references	30

6.2	Comments (including issues found during assessment)	30

7	Annexes	31

Annex A Organisation Chart	32

Annex B Accreditation Certificate for ISO/IEC 17065	33

Annex C Accreditation Certificate for ISO/IEC 17025	34

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country
Australia

### Name of body

TestSafe Australia

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Ujen Singh | Manager, Quality & Certification | Ujen.Singh@safework.nsw.gov.au |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Katy Holdredge | IECEx Acting Lead Assessor |
| Xu Jianping | IECEx Lead Assessor |

### Place(s) of assessment

919 Londonderry Road, Londonderry, NSW, 2753, Australia

### Assessment date(s)

7 - 9 November 2016 (5 man-days)

## Application information and background information on the assessment

This is a re-assessment, including a scope increase for IEC 60079-28, IEC 60079-33, ISO 80079-36 and ISO 80079-37.

## Scopes

### ExCB scope for equipment certification scheme

IEC 60079-28, ISO 80079-36 and ISO 80079-37 are not currently within TestSafe Australia’s ISO/IEC 17065 scope, but will be included in an upcoming audit.  The IECEx secretariat will verify incorporation of these standards into the TestSafe accreditation within twelve months of this IECEx assessment. If these Standards have not been included in TestSafe’s Accreditation within 12 months they will be subject to an Annual Surveillance.

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 6.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-13 Edition 1.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room “p” | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-2). |
| IEC 60079-15 Edition 4.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-11). |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 60079-27 Edition 2 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-11). |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | Ok, covered by JAS-ANZ 17065 accreditation (IEC 61241-1-1). |
| IEC 60079-35-1 Edition 1.0 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | Ok, covered by JAS-ANZ 17065 accreditation (IEC 62013). |
| *IEC 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-0). |
| *IEC 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-31). |
| *IEC 61241-1-1 Edition 2 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Section 1 - Specification for apparatus | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-2). |
| *IEC 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety “iD” | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-11). |
| *IEC 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | Ok, covered by JAS-ANZ 17065 accreditation (IEC 60079-18). |
| *IEC 62013-1 Edition 2 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | Ok, covered by JAS-ANZ 17065 accreditation (IEC 62013). |
| DS 2015/001A | IECEx Assessment and Certification of Equipment assemblies |  |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

Scope Extension

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | Scope extension. Not covered by accreditation. |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection "s" | Scope extension. Ok, covered by JAS-ANZ 17065 accreditation (AS 1826). |
| ISO 80079-36 Edition 1 | Explosive atmospheres – Part 36: Non-electrical equipment for explosive atmospheres -– Basic method and requirements | Scope extension. Not covered by accreditation. |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres - Non electrical type of protection constructional safety “c”, control of ignition source “b" and liquid immersion “k | Scope extension. Not covered by accreditation. |

### ExTL scope

The ExTL scope is the same as for the ExCB, with the following explanations:

IEC 60079-28, ISO 80079-36 and ISO 80079-37 are not currently within TestSafe Australia’s ISO/IEC 17025 scope, but will be included in an upcoming audit.  The IECEx secretariat will verify incorporation of these standards into the TestSafe accreditation within twelve months of this IECEx assessment. If these Standards have not been included in TestSafe’s Accreditation within 12 months they will be subject to an Annual Surveillance.

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 6.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-13 Edition 1.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room “p” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-15 Edition 4.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| *IEC 60079-27 Edition 2 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| IEC 60079-35-1 Edition 1.0 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| *IEC 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| *IEC 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | Ok, covered by NATA ISO/IEC 17025 accreditation. |
| *IEC 61241-1-1 Edition 2 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Section 1 - Specification for apparatus | Ok, covered by NATA 17025 accreditation (IEC 61241-0, IEC 61241-1). |
| IEC 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | Ok, covered by NATA 17025 accreditation (IEC 60079-2). |
| *IEC 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety “iD” | Ok, covered by NATA 17025 accreditation (IEC 60079-11). |
| *IEC 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | Ok, covered by NATA 17025 accreditation (IEC 60079-18). |
| *IEC 62013-1 Edition 2 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | Ok, covered by JAS-ANZ 17065 accreditation (IEC 62013). |
| DS 2015/001A | IECEx Assessment and Certification of Equipment assemblies |  |

### Scope extension

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | Scope extension. Not covered by accreditation. |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection "s" | Scope extension. Ok, covered by JAS-ANZ 17065 accreditation (AS 1826). |
| ISO 80079-36 Edition 1 | Explosive atmospheres – Part 36: Non-electrical equipment for explosive atmospheres -– Basic method and requirements | Scope extension. Not covered by accreditation. |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres - Non electrical type of protection constructional safety “c”, control of ignition source “b" and liquid immersion “k | Scope extension. Not covered by accreditation. |

### 1.6.3

### ExCB scope for Service Facilities Scheme

TestSafe Australia asked for a scope increase to include powder filled “q”, which was accepted based on the existing scope as an ExCB/ExTL for IECEx 02 Certified Equipment Scheme.

03-5 Program - Repair Overhaul and Reclamation
Dusts to IEC 60079-31 "t"
Dusts to IEC 61241-1-1 "DIP"
Dusts to IEC 61241-1 "tD"

Encapsulation ‘m’

Flameproof Enclosure "d"
Increased Safety "e"
Intrinsic Safety "i"

Oil filled ‘o’

Powder filled “q”
Other

Pressurization ‘p’
Type of Protection "n"

### 1.6.4ExCB scope for ExMark Scheme

Applicable, full scope as shown for ExCB above.

# Common information

## Legal entity of body

TestSafe Australia is a business unit of SafeWork NSW, the health and safety regulator of New South Wales Government, which is part of the Department of Finance, Services & Innovation (DFSI).

## Financial support

Financial support is provided by SafeWork NSW, part of DFSI, and customers that pay for TestSafe services.

## History

TestSafe was established by the NSW government as a safety, research and testing centre to support the coal mining industry. TestSafe later became a testing and certification body under the local (AUSEx and ANZEx Schemes) and international IECEx System.

## Documentation

### Quality manual

TestSafe Australia has Quality Manual, Issue 25, which fulfils the requirements of the IECEx system

### Procedures

A range of TestSafe procedures are in place to define quality and laboratory management, certification and other TestSafe activities. TestSafe procedures are available to all staff via the QA Document Index. In addition, staff is required to comply with a range of policies and procedures issued by SafeWork NSW and DFSI, which are available via the intranet HUGO. The procedures were reviewed by the assessment team and found to align with IECEx Rules and Operational Documents.

### Work instructions

Work instructions are in place to describe testing, certification and other activities. Work instructions are available to all staff via the QA Document Index and fulfil the requirements of the IECEx system.

TestSafe Australia has a detailed work instruction, EWI634_0, Processing Ex s jobs in accordance with IEC 60079-33, which is in compliance with IECEx OD 233, IECEx Certified Equipment Scheme – Assessment of Ex ‘s’.

### Records (including test records where relevant)

TestSafe Australia has a defined procedure for the issuance of documents, GGP040_1 and GGP035_5 – Control of Records.

Records are kept hard copy and starting in 2016 all records are also kept electronically in the TRIM system.  Some records prior to 2016 were also kept electronically.  Hard copy records are sent off-site due to storage limitations, but are kept for a minimum of 30 years.

### Document change control

TestSafe Australia has a defined procedure, GGP032_10 – Control of Document, which is in compliance with the IECEx requirements.

## Confidentiality

TestSafe Australia has a procedure for confidentiality which covers staff, contractors and members of their certification committee (members of advisory bodies), GGP024_2 – Procedure to maintain Confidentiality and avoid conflict of interest. The procedure was reviewed and found to meet the requirements of the IECEx.

## Communication with public and customers (Hard copy and Electronic)

TestSafe Australia provides information to their customers via the internet at http://www.testsafe.com.au/electrical/assessment-and-certification.  TestSafe does not have hard copy publications.

## Recognitions and agreements

TestSafe Australia has associated test laboratory MSTC since 2012 for both ANZEx and IECEx schemes

## Internal audit

TestSafe Australia has a defined procedure, GGP034_3 - Internal Audit.  There were two issues raised related to internal audits, which were subsequently resolved to the satisfaction of the assessment team.

## Management review

The Management review is defined in the Quality Manual, and is conducted annually. Verified management reviews conducted in 2015 and 2016 were in accordance with TestSafe Australia’s Quality Manual, Issue 25 and the IECEx System requirements.

## Contracting, subcontracting and witness testing

### Contracting

N/A

### Subcontracting

TestSafe Australia has a comprehensive manual for subcontracting, GGP023_7.  They have one active subcontracting agreement that is limited to assessments to the below standards; testing is not part of the agreement.  TestSafe Australia also has an agreement with an EMC testing facility to support the test of Ex s equipment.

| Standard | Clause | Test |
| --- | --- | --- |
| IEC 60079-0 | All, except testing | N/A |
| IEC 60079-7 | All, except testing | N/A |
| IEC 60079-15 | All, except testing | N/A |
| IEC 60079-33 | All, except testing | N/A |
| IEC 60079-18 | All, except testing | N/A |
| IEC 60079-5 | All, except testing | N/A |
| IEC 60079-11 | All, except testing | N/A |
| IEC 60079-31 | All, except testing | N/A |
| IEC 60079-2 | All, except testing | N/A |
| IEC 60079-13 | All, except testing | N/A |
| IEC 60079-35-1 | All, except testing | N/A |
| IEC 60079-26 | All, except testing | N/A |

More details are included in the site assessment report.

### Witness testing

Test Safe Australia has a procedure GWI 013_2 - Testing or Witnessing Testing Offsite, which refers to IECEx OD 024.  It was verified that the appropriate contracts and completion of the IECEx ExTR cover sheet was done.

## Training and competence

TestSafe Australia has two procedures for competence, GGP029_8 – Training & Competency Manual and GGP028_14 for auditor competence along with competency matrixes.

TestSafe Australia has three independent verifiers in-house to conduct IEC 60079-33 assessments.

Details of staff competencies are included in the site assessment report. TestSafe Australia has a very strong qualification process for ensuring competent staff.

## Complaints and appeals (including appeals to IECEx)

TestSafe Australia has not had any appeals for IECEx, but they have a detailed procedure, GGP022_4 – Appeals procedure, which is in compliance with the IECEx requirements.

TestSafe Australia has work instructions for customer feedback, which include complaints and compliments, CSWI002_5.  All feedback is retained on a shared drive.

The complaints mechanism requirements of the ExCB and ExTL were reviewed and found to comply with IECEx requirements.

## Commenting on ExTAG Documents

Instructions for commenting on ExTAG documents are in the document T136-300.  TestSafe Australia provided evidence of discussing ExTAG DS internally and providing feedback to the IECEx secretariat.

## Special facts to be noted

None.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved;

- Checklist for ISO/IEC 17065;

- Checklist for ISO/IEC 17025;

- Completed Technical Capability Document (TCD);

- Staff competency matrix;

- List of subcontractors;

- Photos of the facilities/tests witnessed are included in the above TCD; and

- Assessors’ notes

## Recommendations

Based on the assessment performed on 7 – 9 November 2016, TestSafe Australia is recommended for continued acceptance in the IECEx System as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

- An ExCB in the IECEx Certificated Service Facilities Scheme

- An ExCB in the IECEx Conformity Mark Licensing Scheme

This is according to the scope of the standards listed in this document (including the extension of scope).

| Katy Holdredge | Xu Jianping |
| --- | --- |
| IECEx Acting Lead Assessor | IECEx Lead Assessor |

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD 003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- OD 005-2 IECEx Quality System Requirements for Manufacturers – Part 2: Audit Checklist.  (This is available in a Word format for use by ExCBs)

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD 009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD 026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065: 2012, Edition 1, General requirements for bodies operating product certification systems

- IECEx Document OD 017 Drawing and documentation guidance

- IECEx Technical Capability Documents (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Ujen Singh | Quality & Certification Manager |
| Debbie Wouters | Quality & Certification Officer |
| Gordana Ostojic | Electrical Assessment Manager |

## Associated ExTL(s)

| TestSafe Australia | Department of Industry - Mine Safety Technology Centre (MSTC) 8 Hartley Drive Thornton NSW 2322 Australia |
| --- | --- |

## Associated certification functions

TestSafe Australia is a certification body under the Australian ANZEx Scheme.

## National marks and certificates

TestSafe Australia is accredited by JAS-ANZ for product certification against ISO/IEC 17065.  There are no national marks in Australia.

## Standards accepted

See clause 1.6 of this report

## National differences to IEC standards

There are no Australian differences to the IEC standards as shown in the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Ron Keelty | Director, TestSafe | Health & Safety Management-WorkCover NSW and SafeWork NSW, Director TestSafe 3 years, 20 years senior management experience |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Ujen Singh | Manager, Quality & Certification | Lead auditor–20 years Quality management-17 years Product certification-20 years |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Ujen Singh | Team Manager, Quality & Certification | Main signatory for certificates |
| Gordana Ostojic | Manager, Assessments | Delegated |
| Debbie Wouters | Quality & Certification Co-ordinator | Delegated |
| Issuing of certificates is based on recommendation of technical staff; all CB staff are competent to recommend issuing of certificates. |  |  |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Gordana Ostojic | Manager, Assessments | Management of Electrical Branch, Ex technical expert; Lead auditor; 23 years’ experience in Ex |
| James Zhao | Senior Engineer, Low current | Ex technical expert; lead auditor; 14 years’ experience in Ex |
| Billy Low-wah | Senior Engineer, Low current | Ex technical expert, 4 years’ experience in Ex |
| Changwoo Lee | Senior Engineer, Low current | Ex technical expert, 21 years of experience in Ex ( 3 years in TSA)Auditor; 2 years |
| Adrian Rietdijk | Audit & Compliance Officer | Lead auditor, 30 years of experience in Ex; Ex expert |
| Henry Huynh | Team Leader, High Current | Team leader of High Current, Lead auditor; Ex technical expert, 15 years’ experience in Ex |
| Kaimeng Li | Engineer | Experience in Mechanical and Non-electrical engineering; 1 year experience in Ex ATEX-equipment; > 5 years |
| Kent Mei | Senior Engineer, High Current | Ex technical expert; technical auditor; 10 years’ experience in Ex filed |
| Paul Dowsing | Senior Technical Officer, High Current | Expert in testing in Ex field; years of experience in Ex Trainee, 3 months |
| Gerry Gonzalez | Electrical Engineer, High Current | Ex Technical expert; Technical auditor; 15 years of experience in Ex field |
| Suresh Khatav | Engineer, High Current | Ex Technical expert; 9 years’ experience in Ex |
| Renato Zuniga | Senior Technical Officer, High Current | Expert in testing in Ex field; 2 years’ experience in Ex |
| Jonathon McKinnon | Senior Mechanical Engineer, Mechanical testing | Experience in mechanical engineering; 1 year experience in Ex, non-electrical standards |

## Organizational structure

See Annex to this report.

## Indemnity insurance

TMF Treasury Managed Fund – NSW Government, policy number MWJ3333240, valid through 30/06/2017, covers SafeWork NSW, which includes TestSafe Australia.

## Resources

TestSafe Australia has appropriate facilities, equipment and trained personnel to fulfil their IECEx scope.

## Committees (such as governing or advisory boards)

A certification committee for IECEx certifications has been established as documented in GGP020_8 - TestSafe Certification Committee, which includes various stakeholders.

## Certification operations

### National approval/certification methods

TestSafe Australia is accredited by JAS-ANZ for product certification against ISO/IEC 17065, covering the scope of activities and standards included in the IECEx Schemes, except as noted in 1.6.1.

### Certification policy

TestSafe Australia has a suitable certification policy, GGP026 – TestSafe Certification Policies, and Quality Manual, Issue 25, which meets the requirements of the IECEx System.

NOTE Typically this may be a separate policy or included in the quality policy

### Application for certification

The application for certification is covered in GGP030_3 – Certification Manual, EWI002_26 – Progressing Electrical Work, EPF064_9 – Proforma for request for quote and EPF620_10 – Quotation (and Undertaking).

### Certification decision

The certification decision is done at TestSafe Australia as described in GGP030_3 – Certification Manual and EWI002_26 – Progressing Electrical Work and provides the necessary independence between Testing and Certification decision.

### Suspension and cancellation of certificates

Suspension and cancellation of certificates is covered in GGP030_3 – Certification Manual.  There are a few suspended certificates that will be changing to cancellations.

## Certificates issued

(Certificates for other schemes shown in parenthesis.)

TestSafe Australia has not issued certificates for ‘op’ to IEC 60079-28 or an equivalent national standard.  However, they demonstrated good technical knowledge of the standard during witness testing.  Additional competence details can be found in their TCD.

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2013 | 2014 | 2015 | 2016 |  |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 46 | 54 | 40 | 24 | 164 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 1 | 0 | 2 | 0 | 3 |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 0 | 0 | 1 | 1 |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "“e"” | 9 | 7 | 9 | 1 | 26 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 56 | 59 | 51 | 28 | 194 |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room 'p' | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "“n"” | 4 | 2 | 3 | 1 | 10 |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 7 | 3 | 4 | 0 | 14 |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "“t"” | 7 | 15 | 10 | 2 | 34 |
| IEC 60079-33 | Explosive atmospheres – Part 33: Equipment protection by special protection "s" | (1) | (1) | (8) | (4) | (14) |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | 0 | 0 | 0 | 0 | 0 |
| ISO 80079-36 | Explosive atmospheres – Part 36: Non-electrical equipment for explosive atmospheres - Basic method and requirements | * | * | * | * | * |
| ISO 80079-37 | Explosive atmospheres – Part 37: Non-electrical equipment for explosive atmospheres - type of protection "c", "b" and "k" | (64) | (60) | (46) | (53) | (223) |

NOTE	Above include certificates to IEC 60079-0 unless otherwise shown

*TestSafe Australia has completed testing of conveyor belts and diesel engine systems to Australian national standards that have similar requirements to those found in ISO 80079-36 and ISO 80079-37. These reports are all noted under ISO 80079-37.

## National accreditation

TestSafe Australia is accredited by JAS-ANZ for product certification against ISO/IEC 17065, see Annex B.

## Assessment of manufacturers and issue of QARs

The assessment of manufacturers and issuance of QARs is covered in GGP030_3 – Certification Manual and GGP028_13 – Quality Assessment Manual and was found to meet the requirements of the IECEx System.  In addition, the list of out-of-date QARs was reviewed and found to be satisfactory.

## Comments (including issues found during assessment)

The following issues found during the site assessment:

- Outdated procedures and records;

- Incomplete internal audit records;

- Procedure for notifying secretariat for work done under IECEx OD024 missing and

- Two CoCs with expired QARs from other ExCBs.

Detailed information on this is shown in the site assessment report.  All issues have been resolved to the satisfaction of the assessment team.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD 017 Drawing and documentation guidance

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Suresh Khatav | Electrical Engineer |
| Renato Zuniga | Senior Technical Officer |
| Gerry Gonzalez | Electrical Engineer |
| Kaimeng Li | Electrical Engineer |
| Billy Low-wah | Senior Electrical Engineer |
| Paul Dowsing | Senior Technical Officer |
| Henry Huynh | Team Leader |
| James Zhao | Senior Electrical Engineer |
| Changwoo Lee | Senior Electrical Engineer |
| Kent Mei | Senior Electrical Engineer |

## Associated ExCB(s)

| TestSafe Australia | Department of Industry - Mine Safety Technology Centre (MSTC) 8 Hartley Drive Thornton NSW 2322 Australia |
| --- | --- |

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Ron Keelty | Director, TestSafe | Health & Safety Management-WorkCover NSW and SafeWork NSW, Director TestSafe 3 years, 20 years senior management experience |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Ujen Singh | Manager, Quality & Certification | Lead auditor–20 years Quality management-17 years Product certification-20 |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| All employees of the ExCB are also staff of the ExTL; however, sufficient controls are in place to ensure independence between testing and certification remain |  |  |

## Organizational structure

See Annex A of this report.

## Resources

TestSafe Australia has appropriate facilities, equipment and trained personnel to fulfil their IECEx scope.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx ExTRs should be shown (test reports for other schemes may also be shown).

TestSafe Australia has not issued test reports for ‘op’ to IEC 60079-28 or an equivalent national standard.  However, they demonstrated good technical knowledge of the standard during witness testing.  Additional competence details can be found in their TCD.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2013 | 2014 | 2015 | 2016 |  |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 38 | 40 | 20 | 17 | 115 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 1 | 0 | 2 | 0 | 3 |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 0 | 0 | 1 | 1 |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "“e"” | 9 | 5 | 7 | 1 | 22 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 50 | 45 | 28 | 25 | 148 |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room “p” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-15 | Equipment protection by type of protection n | 2 | 1 | 1 | 1 | 5 |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 5 | 2 | 1 | 0 | 8 |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure “t” | 7 | 15 | 10 | 2 | 34 |
| IEC 60079-33 | Explosive atmospheres – Part 33: Equipment protection by special protection "s" | (1) | (1) | (8) | (4) | (14) |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | 0 | 0 | 0 | 0 | 0 |
| ISO 80079-36 | Explosive atmospheres – Part 36: Non-electrical equipment for explosive atmospheres - Basic method and requirements | * | * | * | * | * |
| ISO 80079-37 | Explosive atmospheres – Part 37: Non-electrical equipment for explosive atmospheres - type of protection "c", "b" and "k" | (64) | (60) | (46) | (53) | (223) |

NOTE	Above include reports to IEC 60079-0 unless otherwise shown

*TestSafe Australia has completed testing of conveyor belts and diesel engine systems to Australian national standards that have similar requirements to those found in ISO 80079-36 and ISO 80079-37. These reports are all noted under ISO 80079-37.

## National accreditation

TestSafe Australia is accredited by NATA to ISO/IEC 17025 for a range of laboratory testing; see Annex C.

## Calibration

TestSafe Australia has CWI000_5 – Calibration Work Instruction, which requires all calibration involving IECEx to be done externally.  A sampling of calibration records showed a robust system is in place.

## Witnessed Tests

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0 Edition 6.0 | 26.4.5 | IP6X |  |
| IEC 60079-0 Edition 6.0 | 26.14 | Measurement of capacitance |  |
| IEC 60079-1 Edition 7.0 | 15.2.2 | Determination of explosion pressure (reference pressure) | Group IIB |
| IEC 60079-1 Edition 7.0 | 15.2.3 | Overpressure |  |
| IEC 60079-1 Edition 7.0 | 15.3 | Test of non-transmission of an internal ignition | Group IIB |
| IEC 60079-1 Edition 7.0 | B.1.2 | Determination of maximum bubble pore test size |  |
| IEC 60079-11 Edition 6.0 | 10.1 | Spark ignition | Group IIC, Ga |
| IEC 60079-11 Edition 6.0 | 10.5.3 | Temperature rise test on (high capacity) batteries |  |
| IEC 60079-18 Edition 4.0 | 8.1.2 | Dielectric strength |  |
| IEC 60079-28 Edition 2.0 | 5.2.2.2 | Optical power |  |
| IEC 60079-31 Edition 2.0 | 6.1.2 | Thermal tests |  |
| ISO 80079-36 Edition 1.0 | 8.2.1 | Determination of maximum surface temperature test |  |

## Participation in IECEx Proficiency Testing Program

Program: PTB Ex PT Scheme

NOTE: Assessors will also need access to each of the final reports issued by PTB.  They will also need to get codes from body being assessed so they can check the body's results in the PTB reports.  A critical feature of each report is normally the showing of an assigned value against the various tests.  This value should be used by assessors when making judgment on whether the results obtained by the body are considered satisfactory.

| IECEx Proficiency Testing program | Program years | Participated? Y/N/NA | Results in relation to assigned value | Other comments, including whether results are considered satisfactory |
| --- | --- | --- | --- | --- |
| Program 1 "Explosion pressure" | 2011-2012 | Y | Acceptable after round 2 | One transducer was a little high, participated in second round. Followed PTB’s advice to replace transducer. |
| Program 2 "Spark ignition | 2011-2012 | Y | Acceptable | No issues |
| Program 3 "Flame Transmission" | 2013-2014 | Y | Acceptable | No issues |
| Program 4 "Temperature Classification" | 2013-2014 | Y | Acceptable | No issues |
| Program 5 "Electrostatic Charge" | 2015-2016 | Y | Acceptable | No issues |
| Program 6 "Intrinsic Safety" | 2015-2016 | Y | Acceptable | They did go through all findings and discussed internally. |

Kent Mei participated in 2013 IECEx workshop at PTB.

## Comments (including issues found during assessment)

The following issues found during the site assessment:

- Missing information on IECEx CoC;

- Missing competency records;

- Compliance with ExTAG DS 2015/011 for thermocouples;

- Test equipment/facilities for spark ignition, IP and ‘s’ testing; and

- Missing reference to IECEx OD 202 for proficiency testing.

Detailed information on this is shown in the site assessment report.  All issues have been resolved to the satisfaction of the assessment team.

# ExCB for Certified Service Facilities Scheme

## Assessment references

- IECEx 03  IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment – Rules of Procedure IECEx OD013 IECEx Operations Manual – Assessment and Certification of Ex Repair and Overhaul Service Facilities

- IECEx OD014 Quality management system requirements and assessment of, for IECEx Service Facilities involved in repair, overhaul and modification of Ex equipment

- IECEx OD015  Additional Requirements for IECEx Service Facilities involved in repair, overhaul and modification of Ex equipment

- IECEx OD016 , Assessment Procedures for IECEx acceptance of Candidate Certification Bodies (ExCBs) for the purpose of issuing IECEx Certificates to Ex Service Facilities involved in the Repair, Overhaul and Modifications of Ex equipment

- ISO/IEC 17065, General requirements for bodies operating product certification systems

- IEC 60079-19 Explosive atmospheres – Part 19: Equipment repair, overhaul and reclamation

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Debbie Wouters | Quality & Certification Co-ordinator |
| Ujen Singh | Team Manager, Quality & Certification |

## Organisation

Same organization as for product certification.

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Ron Keelty | Director, TestSafe | Health & Safety Management-WorkCover NSW and SafeWork NSW, Director TestSafe 3 years, 20 years senior management experience |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Ujen Singh | Manager, Quality & Certification | Lead auditor–20 years Quality management-17 years Product certification-20 years |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Ujen Singh | Manager, Quality & Certification | None |

### Other employees in ExCB activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Gordana Ostojic | Manager, Assessments | Management of Electrical Branch, Ex technical expert; Lead auditor; 23 years’ experience in Ex |

## Organizational Structure

Same organization as for product certification.  See Annex A for details.

## Resources

Same resources as for product certification.

## Certification operations

### National approval/certification Methods

TestSafe Australia does not have national accreditation for service facilities, but is assessed by the IECEx for this activity.  Testsafe Australia has a detailed procedure, GGP044, Quality Assessment Manual – IECEx and ANZEx Schemes for Certification of Service Facilities – Overhaul and Repair Workshops, for this work as well as the form EPF613_6, Facility Assessment Report.

### Application for certification

Same application as for product certification.

### Withdrawal and cancellation of certificates

Same procedure as for product certification.

## Statistics

Detail experience in assessment and certification of Ex related Service Facilities for the Ex Protection under this application during the past 2 years:

| flameproof | d | 1 |
| --- | --- | --- |
| increased safety | e | 0 |
| type of protection n | n | 0 |
| intrinsic safety | i | 2 |
| oil immersion | o | 0 |
| pressurization | p | 0 |
| apparatus for Dusts | t, tD and DIP | 1 |
| special (Australia only) | s | 1 |
| Other | N/A | 0 |

## National accreditation

TestSafe Australia does not have national accreditation for service facilities.

## Comments (including issues found during assessment)

TestSafe Australia asked for a scope increase to include powder filled “q”, which was accepted based on the existing scope as an ExCB/ExTL for IECEx 02 Certified Equipment Scheme.

There was one minor issue found during the site assessment.  Detailed information on this is shown in the site assessment report.  It has been resolved to the satisfaction of the assessment team.

# IECEx Conformity Mark Licensing System

## Assessment references

- IECEx04 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – IECEx Conformity Mark Licensing System – Regulations

- IECEx04A IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Guidance for making applications for and use of IECEx Conformity Mark

- OD022 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules and Procedures for the granting of Licenses to issue and use the IECEx Conformity Mark

- OD023 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Terms and Conditions for use of the IECEx Conformity Mark

NOTE	The latest editions of the above documents were applied

## Comments (including issues found during assessment)

TestSafe Australia has a detailed procedure for this system, GGP043, Procedure for Conformity Mark License, which is in accordance with the IECEx System.  There were no issues found for this system.

# Annexes

See Contents.  (add, modify or delete annexes as necessary).  Please note the following instructions for the IEC template:

NOTE When creating a new annex DO NOT type the word Annex, just create a new empty page and then apply the styles ANNEX_title to the first (empty) line. The word "Annex” followed by the letter "A" or "B", etc. will automatically appear.

TIP: When typing annex titles, separate the lines of the title by "shift+return"

- Organisation Chart

- Accreditation Certificate for ISO/IEC 17065

- Accreditation Certificate for ISO/IEC 17025