INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Draft Decision Sheet - Clarification on the use of legacy data

- Circulated to: ExTAG – IECEx Testing and Assessment Group

INTRODUCTION

In line with discussions held in Umhlanga 2016, item 7.3 (ExTAG/446/R), this document  has been prepared for consideration during the  ExTAG 2017Washington meeting.

- Julien Gauthier

Julien Gauthier

ExTAG Secretary

| Address: IECEx Secretariat Level 33 Australia Square 264 George Street Sydney NSW 2000 Australia Web: www.iecex.com | ExTAG Secretary Mr Julien Gauthier LCIE S.A. 33 Avenue du General Leclerc 92260 Fontenay-aux-Roses FRANCE Tel: +33 1 40 95 55 26 Fax: +33 1 40 95 89 37 Email : julien.gauthier@fr.bureauveritas.com |
| --- | --- |

COLLECTION OF IECEx / ExTAG DECISIONS

| Standard: IECEx OD 009 | Clauses: Annex A |  |
| --- | --- | --- |
| Subject: Use of Legacy data Status of document: draft | Key words: - Testing - Legacy - Data | # Date: 170901 Originator of proposal: SGS Baseefa following discussions at the ExTAG meeting in South Africa TC/SC involved: None |
| Question: Can an ExTL use OD 009 Annex A to justify using data provided in the form of reports prepared by another ExTL prior to the acceptance of that ExTL into the IECEx Scheme. Answer: No. The only ExTL that may use such data is the ExTL that prepared it originally. The Executive Secretary confirmed that this was his understanding of the words as currently written. It would be incorrect to allow a separate ExTL to evaluate whether or not the basis for using such information existed, without reference to the originating ExTL. If there were to be a requirement to use such data, the originating ExTL has to take the responsibility of converting the data into a current partial ExTR which can then be used by the receiving ExTL. |  |  |