### INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM

FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR

USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

# Circulated to: ExTAG – IECEx Testing and Assessment Group

TITLE: Report of the Eighteenth Meeting of the ExTAG- Umhlanga, South Africa

Report of the Meeting of the ExTAG held

In Umhlanga, South Africa

6th September 2016

This document contains a Report of the 2016 ExTAG Umhlanga Meeting, as well as an Annex A, “Action List”.

This document has been issued for information to ExTAG Members with a request that members please note the required actions.

## Julien Gauthier

ExTAG Secretary

| Address: IECEx Secretariat Level 33 Australia Square 264 George Street Sydney NSW 2000 Australia Web: www.iecex.com | ExTAG Secretary Mr Julien Gauthier LCIE S.A. 33 Avenue du General Leclerc 92260 Fontenay-aux-Roses FRANCE Tel: +33 1 40 95 55 26 Fax: +33 1 40 95 89 37 Email : julien.gauthier@lcie.fr |
| --- | --- |

| ATTENDANCE |
| --- |
| COUNTRY | NAME | ORGANISATION |
| ExTAG Chairman ExTAG Secretary ExMC Chairman IECEx Secretary IECEx Secretariat IECEx Secretariat | Xu Jianping, Professor Gauthier, Julien Arnhold, Thorsten Agius, Chris Amos, Mark Kane, Christine | IECEx |
| AU | Barnier, Geoff | SIMTARS |
| AU | Munro, Jim | Jim Munro International Compliance PTY LTD |
| AU | Ostojic, Gordana | TestSafe Australia |
| AU | Wigg, Ralph | E-x Solutions International Pty Ltd |
| BR | Bulgarelli, Roberval | Petrobras |
| BR | Burd, Henrique | COBEI |
| BR | Galera, Eduardo | UL do Brasil |
| BR | Hummel Borges, Giovanni | Associacao IEx Certificacoes |
| BR | Röpke, Rüdiger | Consultant |
| CA | Cole, Marty | Hubbell |
| CA | Dhillon, Kavinder | LabTest Certification Inc |
| CA | Morrison, Jim | QPS EVALUATION SERVICES INC. |
| CA | Stochitoiu, Dorin | CSA Group |
| CH | Berger, Heinz | CERTICONSULT GmbH |
| CH | Hartmann, Stefan | Electrosuisse |
| CH | Thurnherr, Peter | ExPCC Chairman |
| CN | Kou, Alice | CQST |
| CN | Liu, Houli | CQM |
| CN | Lu, Qiao | NEPSI |
| CN | Pingwu Yu | Suzhou Electrical Apparatus Science Research Institute Co. Ltd |
| CN | Qiuyuan Xu | CNCA |
| CN | Weiyue Wang | CHEM |
| CZ | Martinak, Lukas | FTZU- Physical-Technical Testing Institute |
| DE | Ates, Ersan | PTB |
| DE | Farke, Heinz | TÜV Rheinland Industrie Service GmbH |
| DE | Hiller, Frank | TUV NORD |
| DE | Horn, Thomas | Physikalisch- Technische Bundesanstalt (PTB) |
| DE | Klotz-Engmann, Gerold | Endress+Hauser Messtechnik |
| DE | Krause, Tim | Physikalisch- Technische Bundesanstalt (PTB) |
| DE | Marschall, Peter | ATEX Engineering GmnH |
| DE | Meyer, Andreas | TUV NORD CERT GmbH |
| DE | Schwarz, Gerhard | GSA consulting / Eaton |
| DE | Wittler, Michael | DEKRA EXAM |
| DE | Zater, Lisa | Physikalisch- Technische Bundesanstalt (PTB) |
| DE | Zelm, Harald | ZELM Ex |
| DK | Omerovic, Jasmin | UL International Demko A/S |
| ES | Vega Remesal, Angel | Laboratorio Oficial Madariaga LOM |
| FI | Sulonen, Risto | VTT Expert Services Ltd |
| FR | Brenon, Michel | E and E Global Certification Expertise |
| FR | Houeix, Thierry | INERIS |
| FR | Piquette, Bernard | INERIS |
| GB | Allen, John | Sheppard Engineering |
| GB | Barrowcliff , Simon | Element Materials Technology |
| GB | Cameron, Colin | Mutech Limited |
| GB | Holmes, Andrew | CML Ex |
| GB | Ludlam, Nicholas | FM Approvals Ltd |
| GB | Ogden, Allan | SGS Baseefa |
| GB | Sinclair, Ron | SGS Baseefa |
| GB | Smith, Andrew | CSA Group/SIRA |
| HR | Kelava, Marino | Ex-AGENCIJA |
| IT | Balaz, Mirko | CESI |
| IT | Esposito, Francesco | IMQ |
| JP | Kogane, Minari | Technology Institution of Safety (TIIS) |
| JP | Kadoya, Norio | Ex Consulting Service |
| JP | Kubo, Takuro | Technology Institution of Safety (TIIS) |
| KR | Gihoi, Kim | Korea Gas Safety Corporation |
| KR | Kang, Jeon II | KOSHA |
| KR | Kang, Jungu | KTL (Korea Testing Laboratory) |
| KR | Kim, Hadong | Pukyong National University |
| KR | Kim, Ji-Hoon | KTL (Korea Testing Laboratory) |
| KR | Park, Dong Sun | KOSHA |
| KR | Park, Inchoon | Korea Gas Safety Corporation |
| MY | Selamat, Basori | SIRIM QAS International |
| NL | Erdhuizen, Marco | DEKRA Certification B.V |
| NL | Lankamp, Fred | CNEx-Global B.V |
| NL | Neleman, Karel | BARTEC |
| NL | Van Es, Kees | Kiwa Nederland, Unit ExVision |
| NO | Roed, Arild | NEK |
| NO | Spongsveen , Bjørn | DNV Nemko Presafe AS |
| PL | Samula, Janusz | UDT- Office of Technical Inspection |
| RO | Burian, Sorin | INCD-INSEMEX |
| RO | Moldovan, Lucian | INCD-INSEMEX |
| RU | Tikhonenko, Yulia | NANIO CCVE |
| RU | Timofeeva, Anna | NANIO CCVE |
| RU | Zalogin, Alexander | NANIO CCVE |
| SE | Carlsson, Robert | SP Technical Research Institute of Sweden |
| TR | Dogan, Sezai | Turkish Standards Institution |
| US | Coppler, Mark | DNVGL |
| US | Engler, Al | DNVGL |
| US | Holdredge, Katy | UL LLC |
| US | Teather, Roy | DNVGL |
| ZA | Kruger, Eldon | SAFA |
| ZA | Marrr, David | Explolabs |
| ZA | Meanwell, Paul | South African Flameproof Association |
| ZA | de Meyer, Hannes | Explolabs |
| ZA | Nhlapo, Jabulani | SABS |
| ZA | Oudtshoorn, Pj Van | Mining and Surface Certification |
| ZA | Viljeon, Roelof | Mining and Surface Certification |

ExTAG Umhlanga 2016 Meeting Report

# Opening and Welcome

The Chairman, Professor Xu Jianping, opened the meeting at 09.00 a.m. on Tuesday 6th September 2016 first thanking the host, South African National Member Body for the excellent work they have done to host these meetings. He welcomed all members and observers and especially those who attending this meeting for the first time.

He then welcomed special guests, IEC Vice President and CAB Chairman, Dr Ulrich Spindler, Simon Barrowcliff and Marty Cole as member of the IEC Conformity Assessment Board (CAB), TC31 Chairman Mark Coppler and IECEx Executive members. He acknowledged the IECEx Executive secretariat team.

Professor Xu Jianping then invited Mr. Paul Meanwell to speak to the members. Mr. Meanwell welcomed attendance to Umhlanga and thanked the members who accepted the invitation. He also thanked the sponsors and then gave a brief overview of the meeting facilities.

# Approval of the Agenda

Document noted:

# ExTAG/423B/DA Revised Draft Agenda the Eighteenth Meeting of the ExTAG to 	        be held in Umhlanga, South Africa 6th September, 2016

Professor Xu Jianping presented the agenda and reminded the Observers that they would not be able to attend the “Closed Session”.

# The Chairman sought approval of the Draft Agenda and invited members for any comments. He then explained that some green papers were published and available on the dedicated meeting webpage under section “green papers”. He briefly presented the relevant documents.

# He informed the floor about request to a discussion at the ExTAG level about document relative to non-electrical equipment before discussion at the ExMC level.

# He then asked for other comments and the following items were raised:

# discussions on DS 2015/17 relative to requirement for reference to instructions

# combine item 10.3 and 10.7

# addition of a document under item 6.4

Decision 2016/01

Members approved the Revised Draft Agenda of the 18th ExTAG Meeting as circulated as ExTAG/423B/DA with the following additions and changes to order:

- Discussion on Decision Sheet 2015/17 in Other Business

- Combined discussion on Agenda Items 10.3 and 10.7

- Introduction of an item under Agenda Item 6.4 regarding AU NC proposals regarding Ex ‘s’

# Report of the ExTAG Christchurch Meeting 15th September 2015

## 3.1 	Report of the last meeting held in Christchurch, 15th September 2015, and subsequent action items from the meeting.

# Document noted:

ExTAG/413/R Report of the Meeting of the ExTAG held In Christchurch, New Zealand, 15th September 2015.

The Report was noted. As there were no comments on the Report during the session, or received after circulation and prior to the meeting, the Chairman noted confirmation of the report and moved to the next item.

Decision 2016/02

Members accepted the report from the last ExTAG Meeting held in Christchurch, New Zealand, 15th September 2015 as circulated as ExTAG/413/R.

## 3.2	Report of the action items by the ExTAG Chairman on the ExTAG 2015 Christchurch Meeting.

# Document noted:

#### ExTAG/434/R Report on Action Items from the ExTAG meeting held in Christchurch, New Zealand, 15th September 2015

The ExTAG Chairman provided a status report on the actions arising from Christchurch 2015 Meeting. The Chairman went through the list of action and status of each items.

He reminded that most of actions were completed and that others were covered by items during this ExTAG meeting or the next ExMC meeting.

Decision 2016/03

Members accepted the report from the ExTAG Chairman on the Action Items from the ExTAG Meeting held in Christchurch, New Zealand as circulated as ExTAG/434/R.

# Document discussed:

#### ExTAG/341A/CD – Draft Decision Sheet IEC 60079-18

#### 31/1260/DC – Draft TC 31 Interpretation Sheet IEC 60079-18 Clause 9.2

Special attention was drawn to item 22 of the action list according to the remark of the secretariat. While it was agreed in the Christchurch Meeting to proceed for publication of this decision sheet, additional information came to light immediately following the meeting and the ExTAG Chairman agreed to refer the matter to the IEC 60079-18 maintenance team and not proceed for publication. Therefore we ask the meeting to accept the proposal to withdraw the document ExTAG/341A/CD.

The Chairman asked agreement of the members to withdraw this draft decision sheet because the matter is handled by the relevant maintenance team. There were no objections from the members.

Decision 2016/04

Members agreed to the withdrawal of ExTAG/341A/CD.

# Report on ExTAG Umhlanga Training Workshop held Monday 5th September 2016

The Chairman then gave a brief summary of the ExTAG Training Workshop, held on the previous day, highlighting the main points.

He commenced by advising that this was a very successful workshop session, opened to Ex Test Laboratories, Ex Certification Bodies and observers. He reported that there had been five presentations:

- Mr. Mark Amos, Secretariat covering IECEx System Update

This presentation provided an update of current and new web based tools to assist in the creation and maintenance of IECEx On-Line Certificates of Conformity

- Mr. Ron Sinclair - SGS Baseefa

This presentation addressed the issue of Certification of Non-Electrical Equipment according to ISO/IEC 80079 series

- Mr. Julien Gauthier, LCIE, ExTAG Secretary – Presented by Chris AGIUS

The presentation covered the expectations of actions to be undertaken by ExCBs when there is a need to Suspend or Cancel an IECEx Certificate of Conformity

- Prof XU Jianping, NEPSI China, - presented by Prof XU

The presentation provided a Discussion Forum dedicated to application of IEC 60079-28 applicable to LED and other forms of lighting Equipment

- Mr. Peter Thurnherr – thuba, CH

The presentation focused on “Use of IECEx Certificates of Conformity”

The Chairman reminded delegates that all presentations were available on the dedicated meeting website and that a summary of discussions held during the training workshop is also available on the website under reference ExTAG(Umhlanga/Training)07 published as a green paper.

The Chairman asked for comment and no comment was raised.

Decision 2016/05

Members accepted the summary report from the ExTAG Chairman on the main points from the 2016 ExTAG Training Workshop contained in ExTAG(Umhlanga/Training)07.

# IECEx Equipment Scheme - Overview

The Chairman invited the IECEx Secretary, Mr Chris Agius, to report on this agenda item.

First Mr Agius reminded the meeting that presentation of the training workshop should be sent to ExCB and ExTL relevant internal staff for their training purpose. He then gave a presentation relative to the IECEx System according to the report card ExMC/1159/R, as detailed below.

## 5.1 	Membership

- Countries : 33

- ExCBs and ExTLs : 55 ExCBs and 60 ExTLs (02 scheme)

- Applicants : 7 ExCBs and 11 ExTLs

## 5.2	Statistics

At 30th June 2016 there were 56,133 Issued IECEx Reports, Certificates and Licenses across all the four IECEx Schemes compared with 49,497 for the same time at 30th June 2015, which represents an overall growth of 13.4%.

## 5.3	IECEx Website and related

- General

- On-Line Certificate System

- Smart Phone and PAD Apps

The Executive secretary reminded that Mark Amos gave a presentation during the training session which is available on the meeting site, noting that the most significant change was the new search tools. He also reminded the meeting of the need to “clean” draft CoCs by removing any unwanted drafts on the system.

Regarding the matter of addition of ‘U’ directly by the ExCBs, this would be investigated by the Secretariat.

## 5.4	Promotional activities

- IECEx 2 day Conference planning for 2017

- Participation in PCIC Middle East

- Participation at PCIC Europe

- Attendance PCIC, Nth America

- Participation in IECEx Singapore Industry Dialog

- Hazardous Conference and regular articles by members of the Executive

Mr. Agius presented the current involvement in promotional activities and reminded that sponsorship was welcome and that IECEx Secretariat was available and may assist on any promotional activities request.

The Chairman invited any questions/comments. There were no questions raised. He thanked the IECEx Executive Secretary for this presentation.

Decision 2016/06

Members accepted the report from the IECEx Secretariat on an overview of the IECEx System’s activities since the last meeting in 2015 as detailed in the 2016 IECEx Report Card (as circulated to ExMC Members as ExMC/1159/R) The secretary advised that this will be covered in more detail during the ExMC Meeting.

# Technical Items for general discussion within ExTAG

The chairman explained that the purpose of this agenda item was to discuss technical items arising from feedback since the previous ExTAG meeting with the aim of ensuring a consistent approach by all ExCBs and ExTLs.

## 6.1	Application of Clause 7.6 of IEC 60079-11 to small and portable devices

# Document discussed:

# ExTAG/435/CD – Proposal from PTB for discussion

The Chairman introduced this topic regarding differences in interpretation and application of Clause 7.6 of IEC 60079-11 when being applied to modern electronics   and also the associated greenpaper ExTAG (Umhlanga/DEKRA NL)03 – Comments from DEKRA NL). Then Tim Krause (PTB) presented the document ExTAG/435/CD.

There was extensive discussion about the FMEA method and its application within the frame of IEC 60079-11. The proposal to add this method in the next edition was also discussed, but no quick process would be possible as time is required for review and vote, even if the need is understood.

It was then agreed by the members that the current standard does not allow to use the FMEA method as alternative approach and that this should be documented in a new ExTAG Decision Sheet.

Decision 2016/07

Following discussions it was agreed by the members that the FMEA (Failure Mode Effect Analysis) was not covered by the standard of IEC 60079-11 and shall not be used to assess IS equipment. It was agreed that Mr. Ludlam, IEC SC 31G Secretary, will prepare a Decision Sheet to ensure common application by all ExTLs and ExCBs.

## 6.2	Feedback on the use of new IEC/IEEE 60079-30-1

The Chairman reminded that the standard introduced a new normative Annex and then asked to the Executive Secretary to report about feedback received from the members.

The TC31 Chairman explained that the intent was not to make this annex mandatory.

It was then agreed by the members that this annex introduced the possibility for an ExCB to prepare a certificate with both classifications (class / divisions and zones) which could be used in North America to obtain local certificate. But the meeting was also reminded that the use of this annex was not mandatory if only zone classification was applied.

It was noted from the CENELEC TC31 Chairman that this annex raised issue for EN version publication.

Decision 2016/08

Following a discussion led by the IECEx Secretariat on the recently published IEC/IEEE 60079-30-1 members agreed that, regarding the application and use of this new Joint Standard, Annex D could, as intended by IEC TC31, be applied by IECEx for testing and/or certification purposes for both Zone and Division approaches. Members also decided that currently there is no need for a Decision Sheet on this matter.

## 6.3	Revision of ISO/IEC 80079-34 – Status Update and impact of new ISO 9001

The chairman introduced Mr. Thierry Houeix who gave the status of the maintenance team of ISO/IEC 80079-34.

Mr. Houeix informed the meeting that the next edition will include the new structure of the ISO 9001 standard and also include in the text of ISO 9001 to facilitate the use. He explained that the new edition of ISO/IEC 80079-34 was not expected before 2018.

The Chairman then sought a position of the members to define the approach of ExCBs during this transitional period.

It was raised that the use of the new ISO 9001:2015 standard may lead to discrepancies with the current ISO/IEC 80079-34 standard which is based on ISO 9001:2008 requirements.

It was also noted that some manufacturers are currently moving to the new ISO edition and with the meeting agreeing that this needs to be catered for during Ex audits.

It was concluded that ExCBs need to ensure a consistent approach with the meeting agreeing to refer this matter to ExMC WG05.

Decision 2016/09

Considering that the next edition of ISO/IEC 80079-34 will not be published in the near future, the members agreed, that in order to ensure compliance to the current edition of ISO/IEC 80079-34 (which is ISO 9001:2008 based) of manufacturer quality system certified to ISO 9001:2015 a review by ExMC WG05 is recommended.

6.4 	Application of OD 233 in the criteria and selection of Independent verifiers

Document discussed:

ExTAG/439/Inf – Discussion paper from the IECEx Chairman Dr Arnhold

OD 233 – IECEx Operational Document, Assessment of Ex s Equipment

The Chairman introduced the subject and reminded the meeting of the document for consideration. He then asked the IECEx Chairman to present the content. The IECEx Chairman explained his views regarding the issue of independent verifiers.

Mr. Munro then presented comments from the Australian National Committee regarding inconsistency between IECEx OD 233 and standard IEC 60079-33 for competence requirements and recommended that OD 233 refers to the standard and not include other competence requirements. The AU NC also recommended that the terminology of the standard should be used.

Regarding the proposition that independent verifiers could be handled by the Executive Committee, Mr. Agius reminded that this qualification was under the responsibility of the ExCBs.

Mr. Wigg, who convened the original work for the introduction of IEC 60079-33, explained that ExCBs should have procedures in place for the qualification of independent verifiers.

The Executive secretary asked the meeting if they would support a recommendation to the ExMC for a review of OD 233. The members agreed with this proposition.

It was also proposed by the meeting that scope extensions should be placed on hold until clarification and review of the document OD 233. This decision should be taken by the ExMC.

Decision 2016/10

Following a discussion on concerns raised by the IECEx Chairman on the issue of independent verifiers (as detailed in ExTAG/439/Inf) and the comments from AU NC on IECEx OD 233 it was agreed to recommend to the ExMC that OD 233 be reviewed and a decision about the continuation of scope extension be clarified.

# Performance feedback from ExCBs and ExTLs (Restricted participation)

7.1	Co-operation between IECEx Bodies

The Chairman introduced this closed session for ExCBs and ExTLs explaining that it was an opportunity to discuss their working experiences.

He then invited Ms. Holdredge to introduce the subject concerning the co-operation between IECEx bodies and acceptance of test reports. She explained that there was no specific guidance when ExCBs could not find an agreement on test report content

She suggested the following proposals and asked the members’ views:

- require a decision sheet to be written (ExTLs could vote on whose interpretation is correct)

- obtain an interpretation from the MT of the standard

- discuss in ExTAG closed session

- form an expert reference group

After discussions, it was agreed that an ExTAG Decision sheet should be prepared to deal with the issue in case of disagreement between ExCBs regarding the content of an ExTR and that this DS should also include guidance about possible consequences on the existing certificate(s) issued.

UL LLC accepted to prepare a revision to IECEx OD 010-2 to clarify this process.

Decision 2016/11

Members noted the comments from UL, and supported the proposal that ‘agree to disagree’ outcome is NOT acceptable. Members also agreed with the suggestion for a revision of IECEx OD 010-2, to be provided by UL LLC, which will require the publication of an ExTAG Decision Sheet, when such situations arise, to document the acceptable approach, procedures etc and also specify how these impact on previously issued (contrary to the DS) Certificates must be managed on a case-by-case basis.

## 7.2		Response to and assistance to be provided by ExCBs to the market when 	IECEx CoCs they issue are questioned

The Chairman invited the Executive Secretary to introduce this topic.

Mr. Agius explained that while IECEx CoCs should always be clear in the equipment they cover, e.g. type of equipment, model designators and any permitted accessories, there maybe times when an end user, inspector or regulator may seek clarification or additional information from ExCBs.

The Secretariat has been approached, a number of times by end users and others where they seek additional information from an ExCB, but the corresponding ExCB has not answered and sent back to the manufacturer.

After some discussions it was agreed by the members that, without compromising confidentiality, ExCBs should be supporting such request and provide basic information.

It was also reminded that ISO/IEC 17065 requires that the Certification Body provides clear information to identify the scope of certification.

Decision 2016/12

Members considered the matters and examples outlined by the Executive Secretary regarding the expectations of, and the processes currently used by, ExCBs to respond to enquiries from users on equipment that the ExCB has certified. It was agreed that ExCBs should be in the position to assist with enquiries regarding products that they have certified, while maintaining confidentiality.

  - Operating to IECEx Rules and Operational Documents

The Chairman explained that under this item IECEx Bodies have the opportunity to discuss their 	working experiences in using the IECEx Rules and Operational Documents.

- Use of previous test data

The meeting discussed the use of previously obtained test data and the possible different approaches in the application of Annex A of OD 009. It was reminded that the current OD 009 Annex A is intended to apply to the use of previous test data only by the test laboratory who initially performed the test (not to accept manufacturer tests results or results from other test laboratory). It was reminded that partial ExTRs may be prepared by the ExTL which initially performed the test (if compliant with Annex A of OD 009) for use by another ExCB / ExTL. The Executive Secretary suggested that a decision sheet could be prepared to ensure harmonized approach within the scheme.

The members agreed for the preparation of a decision sheet on this matter.

Decision 2016/13

Members considered the matter raised by Mr Sinclair regarding the potential for different interpretations of IECEx OD 009 (refer Green Paper ExTAG(Umhlanga/Secretariat)04. It was agreed that Mr Sinclair is to prepare and circulate, for a six week comment period and circulate, for a six week comment period and subsequent vote, a draft Decision Sheet that clarifies the wording (and does not change the wording or principle) of IECEx OD 009 Annex A as currently published.  It was also agreed that there may be a future need to revise OD 009 at a future opportunity to supplement or replace the agreed Decision Sheet.

- Update of IECEx OD 024

It was then discussed the possibility to review IECEx OD 024 in view of experience feedback on the current edition. It was suggested that the next series of operational meetings in May 2017 would include a meeting of the ExTAG WG06 in charge of this document.

This was agreed by the members.

Decision 2016/14

Members considered the matter raised by Mr Omerovic regarding a possible need to revise IECEx OD 024. It was agreed that ExTAG WG06 be tasked to consider proposals for a revision of OD 024.

- ExTRs signatures

During the following discussion, it was explained that some ExTRs were not directly signed but that signatures were affixed on additional pages. This practice was discussed and it was reminded after short discussion that all ExTR packages shall use ExTR cover template and other specific ExTR forms with signatures on each document.

Decision 2016/15

Members agreed that ExTR forms under the IECEx System must use the IECEx ExTR template and be fully completed as instructed. Other supporting documents may be attached as Annexes.

- Application of IECEx OD203

Finally, the IECEx Chairman reminded the meeting that IECEx OD 203 was published and should be used for the qualification of local assemblers. He explained that some local assemblers not under the control of the manufacturer were detected and that when it occurred the secretariat should be informed.

Decision 2016/16

Members noted the concerns raised by the IECEx Chairman regarding apparent ignorance, misunderstanding or lack of use of IECEx OD 203.

  - Maintenance of QARs

It has been reminded to ExCBs their responsibilities regarding the need to maintain surveillance audit schedule within the requirements of IECEx 02 rules and OD 009 and to ensure a good follow-up of QARs.

Decision 2016/17

Members noted the reminder from the IECEx Secretary regarding the need for ExCB to maintain surveillance audit schedule within the requirements of IECEx 02 and IECEx OD 009 and as guided by ExTAG/164/Inf.

It was also discussed the different approach from ExCBs when receiving a QAR. Some members only review the QAR summary available on-line, when others ask for the full QAR report form the issuing ExCB.

These different approach are also based on different accreditation bodies requirements regarding ISO/IEC 17065 on this subject. Even if both approach were considered acceptable, it was reminded that the ExCB issuing the Certificate is responsible to ensure that the on-going auditing process is performed according to the rules.

Decision 2016/18

Members agreed that it is acceptable for ExCBs to apply different levels of scrutiny when reviewing QARs (either just the QAR Summary and/or the “full QAR”) during surveillance provided that auditing is conducted according to IECEx Rules.

  - Management of Suspended Certificates

The Chairman introduced this subject reminding the meeting that it was very important for the scheme that ExCBs ensure the management of certificates that have been “suspended”. It was noted that there may be different possible reason for suspension which may require different timeframe (suspension on request of the manufacturer or on ExCB decision’s).

Mr Agius explained that the secretariat performs surveillance of the On-Line Certificate system and also that a guidance document is currently being prepared by an AdHoc group of ExMC WG01.

Decision 2016/19

Members noted the reminder from the IECEx Secretary regarding ExCB obligations for managing “Suspended” Certificates. Members agreed that the Secretariat continue to monitor this matter and seek advice from ExCBs on progress with the resolution of matters leading to the original suspension. It was noted that there is value in more detailed documentation regarding the circumstances leading to suspension – for example the situation where a suspension initiated by the ExCB for reasons of problems with an Applicant should be clearly differentiated from a request from the applicant for a suspension for a specific period relevant to their circumstances.

7.6	Other Matters

It was questioned about the possibility for an ExTL recognized for Ex d assessment to not have capability to conduct explosion tests. The meeting was reminded that the IECEx Technical Capability Document (TCD) identified mandatory testing capabilities for each standard and that an ExTL MUST have in house or readily accessible such testing capabilities. Even if the wording readily accessible could be defined more precisely, it was explained that it is not the intent to have “shopfront” test laboratories without testing capabilities.

# ExTAG Working Group Status - Review

The Chairman introduced this item of the meeting dedicated to review of the status of ExTAG Working Groups and current activities

## 8.1	 ExTAG WG01, Preparation and maintenance of ExTRs

Status of ExTRs

Document noted:

ExTAG/437/R Report from ExTAG Working Group 01 (WG01):

Preparation of assessment and test report forms (ExTRs)

The chairman asked to note the document and apologized that the report of ExTAG WG01 ExTAG/437/R has only recently been issued due to the fact that ExTAG WG01 has been very busy in its work. Unfortunately the Convener of the WG, Mr. Paul Kelly, cannot be present and the Chairman asked Mr Thierry Houeix to present the WG01 report.

Thierry Houeix (INERIS) gave a presentation of the report including a review of the list of report formats that are under the responsibility of the group, and noting that seven new documents, including a revision of the cover sheet, were published this year and one other under preparation. It was also noted that a revision of OD 010-1 is being prepared.

The Chairman acknowledged the continuous and fruitful contributions of the working group and expressed thanks to all members of ExTAG WG01 and especially the Convener Mr Paul Kelly.

The question, already discussed during training workshop, was raised about the inclusion of ExTAG DS reference into the ExTRs blank. The Chairman suggested that such a proposal could be dealt with initially by ExTAG WG01 and raised by the ExMC.

It was also discussed the need for ISO/IEC 80079-38 ExTR template, but concluded that the current edition was not sufficient and to wait for Edition 2 of the standard before use within the IECEx system.

Regarding the ExTR form for IEC/IEEE 60079-30-1, (discussed under item 6.2), and considering that the annexes D and E are just applicable on request, the Chairman suggested the inclusion of an explanatory note in the template may assist.

Decision 2016/20

Members noted the report (as circulated as ExTAG/437/R) from ExTAG WG01 presented by Mr Houeix on behalf of the Convenor, Mr Paul Kelly, regarding the creation, revision and update of Ex Test Report templates to be used in the IECEx System and asked that ExTAG thanks be extended the Working Group for their efforts. It was agreed to await on the second edition of ISO/IEC 80079-38 prior to use in the IECEx 02 Scheme.

## 8.2	ExTAG WG03 Documentation and Drawing Requirements

Document for noting:

OD 017 - Drawing and documentation Guidance for IEC Ex Certification – for use by Manufacturers and ExTLs

ExTAG/408A/CD  – Draft Revision OD 017 - Drawing and documentation Guidance for IEC Ex Certification – for use by Manufacturers and

ExTLs

ExTAG/432/CC – Compilation of Comments on ExTAG/408/CD

The chairman reminded the meeting that the current edition is OD 017 Edition 4, was published in May 2012 and invited the meeting to note the new draft for this document.

The meeting received a report of Mr. Colin Cameron, on behalf of Mr Ron Webb, the convener, who was unable to attend.

A major comment was raised regarding addition of requirement relative to non-electrical equipment.

It was agreed by the members that this publication is useful and important for manufacturers and ExCBs.

The meeting agreed to recommend to ExMC to proceed for publication of the draft revision of OD 017 (document ExTAG/408A/CD) and that the work of WG continue taking into account comments circulated in ExTAG/432/CC, especially for addition in the next edition non-electrical standards references. The Chairman especially asked that thanks be given to Mr. Ron Webb and other members of the working group for the continuing good work.

Decision 2016/21

Members noted the report from ExTAG WG03 Convenor, Mr Ron Webb regarding the maintenance of IECEx OD 017 and agreed to recommend to the ExMC that the draft revision of OD 017 circulated as ExTAG/408A/CD proceed to publication and that the Working Group be tasked to continue work toward a further revision to address the compilation of comments as circulated as ExTAG/432/CC and especially taking into account non-electrical Standard requirements.

## 8.3 	ExTAG WG10 Proficiency Testing

The Chairman reminded that PTB via ExTAG WG10 have been operating the IECEx Proficiency Testing Program and explained that during this topic Mr. Tim Krause of PTB would present a report on the latest Programs and outcomes. Mr. Jim Munro would also provide a report on his recent assessment of PTB as the Secretary arranged for Jim Munro to conduct an assessment on PTB as PTP Provider of IECEx scheme 02 to ensure they are complying with requirements of ISO/IEC 17043.

Documents considered:

IECEx OD 202 IECEx Operational Document - IECEx Proficiency Testing Program Ed 1.0

ExTAG/425/R – Assessment Report of PTB as the IECEx PTP Provider

ExTAG/426/R – Report from the Convener Dr Klausmeyer

Before giving his report, Mr. Tim Krause advised the members that Dr. Klausmeyer, current convener of the WG, will be retiring next month. The meeting agreed on the nomination of Mr. Krause to be the new convener, noting that all members were supporting this decision.

Decision 2016/22

Members agreed to recommend to ExMC that Mr Tim Krause be appointed as ExTAG WG10 Convenor to replace Dr Klausmeyer.

The Chairman thanked Dr. Klausmeyer, not only for his work as convener of ExTAG WG10, but also for all the valuable work and involvement in the IECEx System.

Decision 2016/23

Members recorded their appreciation for Dr Klausmeyer’s past leadership and efforts as ExTAG WG10 Convenor as well as his work as ExMC Chairman.

Then Mr. Tim Krause gave a Powerpoint presentation on the progress and results of the recent proficiency testing programs and especially the number of participant laboratories for each program.

After discussions, the members agreed, in principle, on the two next programs:

- Determination of explosion pressure (IEC 60079-1)

- Pressurization test (IEC 60079-2)

Decision 2016/24

Members noted the report from ExTAG WG10 Convenor, Mr Tim Krause as an update on activities in the IECEx Proficiency Testing Program as circulated as ExTAG/426/R.

Mr Munro gave details about his recent assessment in accordance with ISO/IEC 17043 of PTB as the IECEx PT Provider and IECEx OD 202.

Decision 2016/25

Members noted the report (as circulated as ExTAG/425/R) from Mr Munro regarding his recent assessment of PTB as the IECEx PTP Provider in accordance with ISO/IEC 17043 and IECEx OD 202.

The Chairman then sought Members approval to recommend ExMC to appoint PTB as the PTP of the IECEx System. Members agreed without any comment.

It was raised the question of formal contractual agreement and was agreed that Secretariat would handle this matter.

Decision 2016/26

Members agreed that ExTAG recommend to ExMC that PTB be formally appointed as the IECEx PT provider for the next programs and tasked the Secretariat to prepare a contract to formalise this in accordance with the requirements of IECEx OD 202.

Finally following a short discussion about outputs of PTP, it was explained that a Decision Sheet was prepared when judged necessary, depending on the programs results.

Decision 2016/27

Members agreed with the proposal from the ExTAG Secretary that outcomes from a PTP Program may require the preparation of Decision Sheets to cover matters arising from results from the Proficiency Testing Program where a DS would provide value and support improved consistency of results of testing.

The Chairman then thanked Mr. Tim Krause and other members of the working group for the continuing good work.

## 8.4	ExTAG WG12 Retention of Records

Documents considered:

ExTAG/418A/CD – Draft Operational document – Retention of Records

ExTAG/428A/CC – Compilation of comments on ExTAG/418/CD Draft Decision Sheet - Draft Operational Document – Retention of Records

ExTAG/438/R – Report from the Convenor

The group received a report from the Convener, Mr. Jasmin Omerovic. He explained that a revised version of the document (ExTAG/418A/CD) taking into account comments received (ExTAG/428/CC) has been circulated for consideration. He asked that the document be forwarded to the ExMC for approval and publication.

The members agreed. Mr. Omerovic then approved, at the suggestion of the Chairman, that the WG remain on standby pending results of ExMC decision.

The Chairman then thanked Mr. Jasmin Omerovic and other members of the working group for the continuing good work.

Decision 2016/28

Members noted the report (as circulated as ExTAG/438/R) from ExTAG WG12 Convenor, Mr Jasmin Omerovic, regarding the development of the draft of the Operational Document in Retention of Records as circulated as ExTAG/418A/CD and associated compilation of comments (ExTAG/428A/CC). It was agreed to recommend to the ExMC that the draft Operational Document proceed to publication.

Decision 2016/29

Members agreed to maintain ExTAG WG12 as a standby group pending ExMC consideration and any issues or questions arising.

8.5 	ExTAG Task Group Amalgamation of Decision Sheets

The Chairman explained that this ExTAG Task Group was charged with redrafting documents ExTAG/293/CD and ExTAG/243D/CD to incorporate the two documents into one Decision Sheet.

The meeting received a report from the Convener Ms. Ostojic noting that due to lack of consensus during the 2015 Christchurch meeting (refer to item 8.5 of the document ExTAG/413/R) it is recommended that:

- ExTAG DS 2014/001 remains unchanged

- ExTAG/243D/CD be withdrawn

- The Task Group be disbanded (also considering the current work from TC31 on a standard dedicated to assemblies).

The members agreed with these proposals thanking Ms. Ostojic and the members of the task group.

Decision 2016/30

Members noted the report from the Ms. Ostojic, Convenor of the ExTAG Task Group on the Amalgamation of Decision Sheets, (refer Item 8.5 of the Minutes of the 2015 ExTAG Meeting as circulated as ExTAG/413/R). The decision was taken that:

- ExTAG DS 2014/001 remains unchanged

- ExTAG/243D/CD be withdrawn

Decision 2016/31

ExTAG Members thanked the members of the Task Group on the Amalgamation of Decision Sheets and agreed to disband ExTAG Task Group on the basis that they have completed the assigned tasks.

# ExTAG Technical Discussions relating to the Certified Equipment Scheme (IECEx 02)

## 9.1 Current list of ExTAG Decision Sheets

The Chairman invited members to note the list of current ExTAG Decision Sheets available from the IECEx web site. He reported that the current list contains more than 70 ExTAG decisions sheet, including 11 new decisions sheets published after the last ExTAG Meeting.

He also noted that formal Interpretation Sheets prepared by IEC TC 31 (ISH) were also listed and asked for comment on this practice form the members. No comment was raise.

Decision 2016/32

Members noted the list of current ExTAG Decision Sheets available on the IECEx website (ExTAG Decision Sheets) and accepted the continued listing Interpretation Sheets.

## 9.2 Reconfirmation of Decision Sheets, falling under the 5 year review

The Chairman presented the list of of Decisions Sheets that were due for re-confirmation under the 5 year reconfirmation maintenance procedures.  He asked approval from the members.

It was asked by a member if it was necessary to re-confirm DS for which the decision was now implemented in recent edition of a standard. It was explained that those DS may still be used for certificates issued according to older editions. The members agreed to re-confirm the presented DS, with an update of DS 2011/002 because OD 005-1 mentioned was not applicable anymore.

Decision 2016/33

Members noted and re-confirmed the following list of current ExTAG Decision Sheets under the reconfirmation maintenance procedures with noting that DS 2011/002 need a slight modification for removal of OD 005-1 reference.

| Decision Sheet No. | Standard No. | Clause/Subject | Issue Date |
| --- | --- | --- | --- |
| DS 2011/002 | IEC 60079-0: 2007 (Ed 5) IEC 60079-0: 2011 (Ed 6) ISO/IEC 80079-34 (Ed 1) IECEx OD 005-1 | Continued conformity of plastic and elastomeric materials | 2011 07 |
| DS 2011/001 | IEC 60079-7 | Determining compliance with winding requirements for enamelling | 2011 01 |
| DS 2010/006A | IEC 60079-0 1, -2, -5, -6, -7, -11, -15 and -18 | Dated references to IEC 60079-0 in specific protection technique parts of the IEC 60079 series | 2011 07 |

## 9. 3 Review of process for the preparation and approval of Decision Sheets.

Document considered:

IECEx OD 035 A procedure to generate, discuss, report and publish ExTAG Decision Sheets Edition 2.0

ExTAG/424/CD Draft Revision of OD 035 (to be Edition 2.1)

The Chairman introduced the proposed document prepared by the secretariat including some minor adjustment to clarify the process for handling comments received during the development process, based on feedback from ExCBs to improve practical application. He invited the Executive Secretary to present to modifications introduced.

Mr. Agius explained that the main changes were:

- Clarifying that communication between ExTAG and the TC 31 Maintenance Team (MT) is through the MT Convener and not with individual MT members

- Providing a mechanism to proceed with a DS where only one member of the MT disagree

He also reminded that a Decision Sheet shall not change the content of standard requirements.

Some minor changes were made during the meeting with a final draft agreed to proceed for ExMC approval.

Decision 2016/34

Members considered the Secretariat’s proposed minor adjustments to IECEx OD 035 (to reflect the feedback from ExCBs during the development process) and agreed to recommend to the ExMC that the draft revision of IECEx OD 035, as circulated as ExTAG/424/CD, proceed to publication as Edition 2.1 with changes agreed at this ExTAG meeting.

# ExTAG Proposed Decision Sheets in progress

## 10.1 Ex Marking of Surge Protection Devices for an intrinsically safe circuit in Zone 0

Documents considered:

ExTAG/417/CD – Draft ExTAG Decision sheet to be considered during the 2016 Umhlanga meeting

ExTAG/427A/CC – Compilation of comments + Annex A proposed by NANIO-CCVE

Members were asked by the Chairman to consider the proposed draft Decision Sheet prepared by CQM, in addition to the proposed alternative document prepared by NANIO-CCVE contained in Annex A of ExTAG/427A/CC.

He reminded the meeting that the question raised in the draft DS is whether an IECEx Certificate can be issued to show “Ex ia” for surge protective device in accordance with IEC 60079-11 considering that Clause 12 of IEC 60079-25 includes restrictions for Zone 0.

After some discussions it was agreed that the reference standard used for assessment and certification, IEC 60079-11, authorized such marking and so that the draft DS should be withdrawn because it includes restriction to existing standard. IEC 60079-25 should be used for design and installation purpose.

It was noted by the Executive Secretary that this matter may be considered, if necessary, later.

Decision 2016/35

Members considered the draft ExTAG Decision Sheet as circulated as ExTAG/417/CD and the associated Compilation of Comments also circulated as ExTAG/427A/CC and did not support the publication of the ExTAG Decision Sheet as circulated nor with the changes proposed by NANIO CCVE. Members also agreed that the draft Decision Sheet be withdrawn and that such equipment can be marked as Ex ‘ia’ along with relevant details such as transience times.

## 10.2   Revision to Decision Sheet DS 2012/005 - Inclusion of an IP rating as part of the marking and certificate

Documents considered:

DS 2012/005 Inclusion of an IP rating as part of the marking and certificate

ExTAG/406/CD Draft ExTAG Decision Sheet

ExTAG/430A/CC Compilation of comments on Draft Decision Sheet

Members were asked to consider the proposed draft Decision Sheet.

As a result of discussion held during the TC31 WG22 October 2015 meeting, concerning the need to keep marking for two different IP situations separate, it was agreed by the TC 31 WG22 that ExTAG DS 2012/005 should be revised.

The chairman presented the document which proposes a modification to reflect how to deal with an additional IP rating only compliant with IEC 60529 or IEC 60034-5. This document was prepared by SGS Baseefa.

There were many comments from the members who do not agree on the way to indicate IP on certificates. It was raised the following points:

- Impact on existing certificate if change occurs in the way to indicate IP marking

- If IP indicated, it shall always be after test according to IEC 60079-0 to avoid confusion

- Have clear indication in the certificate to explain the IP rating for each equipment, maybe on additional information page

- Issue for cable entries considering the assessment of interfaces

- Addition of IEC 60529 in the standard listed (if no interference with IECEE system)

- Add a note to the next edition of IEC 60079-0 standard

- IP marking is only related to manufacturer responsibility

After these extensive discussions, it was agreed to wait for output from IEC TC31 WG22 on this matter, before proceeding to the publication of the decision sheet. Mr. Sinclair would update the draft DS according to comments received.

Decision 2016/36

Members noted the discussion held during the TC31 WG22 October 2015 meeting concerning the need to keep marking for two different IP situations separate and the considered a draft ExTAG Decision Sheet circulated as ExTAG/406/CD and the associated Compilation of Comments also circulated as ExTAG/430A/CC and agreed that Mr Sinclair revise the draft to incorporate comments from this ExTAG meeting. The Draft DS to be held in abeyance pending recent output from IEC TC31 WG22.

## 10.3	Application of Scope of IEC 60079-28

Documents considered:

ExTAG/409/CD Draft Decision Sheet Application of IEC 60079-28

ExTAG/431/CC Compilation of comments on ExTAG/409/CD Draft Decision Sheet - Question regarding differing interpretations of the scope of IEC 60079-28, prior to creating a Decision

The chairman reminded that this subject, concerning clarification of the scope of IEC 60079-28, was to be discussed in relation with item 10.7 of this meeting. He asked to the originator to present the document, along with ExTAG(Umhlanga/Secretariat)05.

Mr. Sinclair presented the document which was based on discussions during the training workshop relating to risk assessment. He asked to note that some adjustments in the wording may be necessary and recommended only a decision in principle be taken now before a new draft to be prepared.

The Executive Secretary proposed, and Mr Sinclair agreed, that he would take this item into consideration when redrafting this document. Mr Sinclair agreed.

Decision 2016/37

Members considered the draft ExTAG Decision Sheet prepared by SGS Baseefa concerning a clarification of scope of IEC 60079-28 as circulated as ExTAG/409/CD, the associated Compilation of Comments also circulated as ExTAG/431/CC and a further Green Paper, ExTAG(Umhlanga/Secretariart)05,  detailing the outcomes of the 2016 ExTAG Training Session.   Members agreed that draft be revised by Mr. Sinclair to incorporate the comments and remove a limitation of this DS to LEDs and then circulated for further comment by correspondence.

## 10.4   Additional requirements for flameproof enclosures with an internal source of release (containment system)

Documents considered:

ExTAG/419/CD Draft ExTAG Decision Sheet

ExTAG/429/CC Compilation of comments on ExTAG/419/CD

The Chairman presented the document under consideration. With reference to the compilation of comments on ExTAG/419/CD, he noted inconsistency regarding additional requirements for flameproof enclosures with an internal source of release. Mr. Schwarz then explained that the relevant maintenance team recommend to withdraw this proposal.

The Chairman asked the meeting of their final position to proceed for publication or withdraw and it was agreed to withdraw the document.

Decision 2016/38

Members considered the draft ExTAG Decision Sheet prepared by Intertek UK concerning additional requirements for flameproof enclosures as circulated as ExTAG/419/CD and the associated Compilation of Comments also circulated as ExTAG/429/CC and agreed to withdraw this draft Decision Sheet.

## 10.5   Calculation proving compliance of all components on which intrinsic safety depends with IEC 60079-11

Documents considered:

ExTAG/420/CD Draft ExTAG Decision Sheet

ExTAG/436/CC Compilation of comments

Members were asked to consider the proposed DS concerning calculation of components for intrinsic safety assessment, prepared by NANIO-CCVE.

The Chairman asked the originator, NANIO-CCVE, to present the draft decision sheet concerning calculation of components for intrinsic safety assessment. Dr Zalogin explained the background and sought for approval from the meeting on the document as presented.

The Chairman explained that calculation and verification was an important activity when assessing an IS circuit, and all the bodies know their responsibility to verify the compliance of all components on which intrinsic safety depends with IEC 60079-11. As mentioned in the draft DS, and commented by some of members, documented calculation is a good practice, but is not a current requirement of IEC 60079-11, and it will be more reasonable to write in OD 017 as a recommendation.

Other members were not in favour of the publication of a decision sheet that would create a mandatory requirement instead of a recommendation in OD 017. It was also explained that documentation from manufactures may include errors and that the ExTL should perform a complete assessment.

Decision 2016/39

Members considered the draft ExTAG Decision Sheet prepared by NANIO-CCVE concerning calculation of components for intrinsic safety assessment as circulated as ExTAG/420/CD and the associated Compilation of Comments also circulated as ExTAG/436/CC and agreed that this Decision Sheet (that would mandate requirements) be withdrawn and the matter referred to ExTAG WG03 in charge of Documentation and Drawing Requirements as input to a possible revision of IECEx OD 017 as a guidance document.

## 10.6	Non-Metallic Seal of Threaded Joint – re IEC 60079-1

Documents considered:

ExTAG/433/CD Draft ExTAG Decision Sheet

The Chairman asked the members to consider the proposed DS concerning Non-Metallic Seal 	of Threaded Joints associated with IEC 60079-1, prepared by UL, noting that inclusion of edition 2011 of IEC 60079-0 should be added as a reference.

After this introduction Ms. Holdredge gave a presentation of the paper, the members considered that this proposal could represent a change in the current standard and that it should be referred to the IEC 60079-1 maintenance team, also considering the current existing requirement in the installation standard for this matter.

Decision 2016/40

Members considered the draft ExTAG Decision Sheet prepared by UL LLC as circulated as ExTAG/433/CD and in noting the requirements and testing setup provisions of IEC 60079-1 agreed that the draft Decision Sheet be subject to the MT consultation requirements of OD 035 as the next step (given that there is potential for a need to amend the Standard to address the matter addressed by the Draft Decision Sheet).   UL to raise this matter with the Convenor of the relevant IEC TC31 WG.

## 10.7	Scope exception regarding LED light sources

Documents considered:

ExTAG/373A/CD Revised Draft ExTAG Decision Sheet, taking into account comments and observations in ExTAG/395/CC

After a brief introduction, noting the discussions held the previous day, during the Training workshop, the Chairman reminded that this subject was linked to item 10.3 of this meeting. He then suggested that the content of this proposal could be incorporated in the revised draft to be prepared under item 10.3.

There was no objection from the members.

Decision 2016/41

Members considered the draft ExTAG Decision Sheet as circulated as ExTAG /373A/CD and associated comments in ExTAG/395/CC and in noting that as there is a linkage to the work in Decision 2016/37 the work on this matter be incorporated with that for Decision 2016/37.

# ExTAG Discussions relating to other IECEx Schemes

11.1 	Discussion relating to the IECEx Certified Service Facility Scheme

(IECEx 03)

The Chairman explained that this item was an opportunity for ExTAG to provide feedback to ExSFC. Then the Executive Secretary gave an update on the status of this scheme and proposed to remove this agenda item for future meetings noting the new ExSFC Committee and its membership would handle these topics. There no comment from the members.

Decision 2016/42

Members accepted the report from the IECEx Secretary as an update on the status of the Certified Service Facility Scheme and on the membership and activities of the newly established ExSFC Committee.

Decision 2016/43

Members accepted the proposal that all matters regarding the IECEx Certified Services Facility Scheme be referred to the ExSFC.

11.2 	Information relating to the IECEx Conformity Mark License System (IECEx 04)

The Chairman invited the Executive Secretary to report on the status of the Conformity Mark License System. The members were informed of a request from ExMarkCo to consider conducting a survey of their clients that hold an IECEx Mark License regarding their views on the benefits of the IECEx Conformity Mark and any suggestions for growth of the IECEx Mark Scheme to the benefit of industry. The meeting supported conducting a survey.

Decision 2016/44

Members accepted the report from the IECEx Secretary as an update on the IECEx Conformity Mark License System.

# New topics (suggestions for topics to be dealt with during the next ExTAG Meeting)

The Chairman asked for topics that might be included for discussion at future meetings. He encouraged members to keep in contact with IECEx secretariat if they identified any topics after this meeting, because inputs were much valuable for improvement of ExTAG activities.

# Contact with other International and Regional Bodies – Status review

The Chairman invited the Executive Secretary to provide update of IEC/ILAC/IAF co-operation

Mr. Agius informed the members about the upcoming meeting as part of the IEC General Meeting in Frankfurt. He then asked if there were any matters that ExTAG would like to raise during the IEC/ILAC/IAF steering committee. No comment was raised.

He reminded that the position of IECEx is that IECEx system utilize national accreditation when seeking to demonstrate compliance.

Decision 2016/45

Members accepted the report from the IECEx Secretary as an update on IEC/ILAC/IAF cooperation.

# Matters for proposal to ExMC

14.1	Attendance at ExTAG Meetings

The Chairman asked the meeting to consider the proposal from the IECEx Executive regarding attendance at ExTAG meetings by ExCBs and ExTLs.  During the 2015 IECEx Executive’s Toronto meeting, the Executive noted the importance of attendance and participation by all ExCBs and ExTLs in ExTAG training and meetings and suggested that while a strong view exists that missing 3 consecutive meetings should trigger an early re-assessment, this should be documented in OD 003-2.

The Chairman reminded also members that this topic was discussed during the last ExTAG meeting held in Christchurch, and ExTAG agreed that a body missing a meeting will be contacted immediately after the meeting and their intention for next meeting requested and that the secretariat would advise the body that missing more than two consecutive meetings in 3 year period will require showing cause to the Executive explaining why re-assessment should not be brought forward.

The Executive Secretary also explained that annual meetings were an opportunity for training and maintaining competences of ExCBs and ExTLs.

The members agreed with this proposal.

Decision 2016/46

Members considered a proposal from the IECEx Executive regarding attendance at ExTAG meetings by ExCBs and ExTLs and agreed -

1.That missing three consecutive meetings should trigger an early

Re-assessment,

and

2. That this should be documented in OD 003-2. Members unanimously supported this proposal.

14.2	Other Matters for ExMC

The Chairman introduced a request for discussion received from TIIS regarding the ExMC document ExMC/1174/R and associated US comment on the certification of non-electrical equipment.

After discussion it was agreed that the application of this document may be discussed next year after getting some feedback on its application.

Decision 2016/47

Members noted the comments from JP NC regarding the Operational Documents for the certification of non-electrical equipment as circulated in ExMC/1174/R. It was agreed that the matter of feedback on these documents be referred to ExMC and that this topic be included as an agenda item at the next ExMC Meeting.

# Other Business

A question was raised regarding the application of ExTAG DS 2015/017. Reference to instructions in the CoC is a requirement of the IECEx scheme (IECEx 02), nevertheless it was considered by some members not practical as instructions may have to be updated to reflect changes that are not Ex safety related.

Some members would prefer to have the reference in the ExTR to show that it has been considered during assessment, but this was not the intent of the requirement.

It was noted that current practice of ExCBs are not harmonized and not always in accordance with the current rules.

It was then suggested that this matter would be transferred to ExMC WG01 for further review and improvements proposal, if relevant.

Decision 2016/48

Members discussed a request from the USA NC for clarification of requirements (e.g. according to IEC 60079-0 and IECEx 02) for the inclusion of manufacturers’ instructions in Certificates and considered a range of different approaches by ExCBs and agreed that ExMC WG01 be requested to consider an improvement of details in, and consistency between, relevant IEC and IECEx publications.

# Confirmation of next meeting, year and place

The Chairman advised that the next ExTAG meeting will be held in conjunction with the ExMC. The members were asked for any objection on this principle. No objection was raised.

He then advised members to note the acceptance of the kind invitation from US national committee USNC/IECEx. It is planned that the meetings will be held the last week of September 2017 in Washington, D.C.

Decision 2016/49

Members noted the acceptance of the invitation to meet in the last week of September 2017 in Washington DC, USA as hosted by the USA National Committee to IECEx

# Close of Meeting

In closing the meeting, the Chairman once again extended the sincere thanks of the members to South Africa Flameproof Association and all the sponsors for hosting the meeting which had been not only very efficient but also very friendly with the involved staff being most co-operative.

He also thanked the members for their attention and great professional contributions to the meeting saying that these factors made the meeting successful.

Mr. Agius congratulated the Chairman and expressed thanks for all his preparation and professional work in leading this meeting.

The meeting was declared closed at 5:50 p.m. 6th September 2016.

Annex A – Action List

| ANNEX Action No. | Mins Item | Action | By Whom | Completion date |
| --- | --- | --- | --- | --- |
| 1 | 6.1 | The meeting agreed that FMEA (Failure Mode Effect Analysis) was not covered by the standard IEC 60079-11 and shall not be used to assess IS equipment. It was agreed that Mr. Ludlam, IEC SC 31G Secretary, prepare a Decision Sheet to ensure common application by all ExTLs and ExCBs. | IEC SC 31G Secretary | Completed published as DS 2016/002 |
| 2 | 6.3 | The members agreed, that a review by ExMC WG05 be undertaken in order to ensure compliance to the current edition of ISO/IEC 80079-34 (which is ISO 9001:2008 based) of a manufacturer’s quality system certified to ISO 9001:2015. | Secretariat to forward to ExMC WG05. | Completed |
| 3 | 6.4 | After discussion on ExTAG/439/Inf Discussion paper from the IECEx Chairman, Dr Arnhold – Independent Verifiers as referenced by IECEx OD 233 . The ExTAG Chairman is to recommend to the ExMC a review of OD 233. | ExTAG Chairman to forward to the ExMC | Completed OD 233 Ed.2 published February 2017 |
| 4 | 7.1 | After discussion it was agreed that UL LLC would revise OD 010-2 and that a Decision Sheet be prepared in accordance with Decision 2016/11. | UL LLC | Before the next meeting |
| 5 | 7.3 | After discussion on ExTAG(Umhlanga/Secretariat)04. Proposed Decision Sheet to clarify use of previously obtained test data (Legacy Data) it was agreed that Mr Sinclair prepare a draft Decision Sheet, for a six week comment period, that clarifies the wording (and does not change the wording or principle) of IECEx OD 009 Annex A as currently published. | Mr Ron Sinclair | Before the next meeting |
| 6 | 7.3 | The need to revise OD 024 to be discussed during ExTAG WG06 Operational Meeting being held in the UK, May 2017. | ExTAG WG06 | ExTAG WG06 May meeting |
| 7 | 7.4 | All ExCBs to maintain surveillance audit schedule within the requirements of IECEx 02 and IECEx OD 009 and as guided by ExTAG/164/Inf. | All Accepted ExCBs | Ongoing |
| 8 | 8.2 | ExTAG Chairman to recommend to the ExMC that the draft revision of OD 017 be circulated as ExTAG/408A/CD to proceed for publication. | ExTAG Chairman to forward to the ExMC. The secretariat to circulate. | Completed Circulated by EXMC as ExMC/1182/CD |
| 9 | 8.2 | ExTAG WG03 to prepare a revision of the latest edition of OD 017 taking into account the compilation of comments as circulated in ExTAG/432/CC as well as the non-electrical Standard requirements. | ExTAG WG03 | Once the latest edition of OD 017 has been published. |
| 10 | 8.3 | ExTAG Chairman to recommend to ExMC that Mr Tim Krause be appointed as ExTAG WG10 Convenor. | ExTAG Chairman to forward to the ExMC | Completed Mr Krause Convenor of ExTAG WG10 |
| 11 | 8.3 | ExTAG Chairman to recommend to ExMC that PTB be formally appointed as the IECEx PT provider for the next programs. | ExTAG Chairman to forward to the ExMC | Completed |
| 12 | 8.3 | The IECEx Secretariat to prepare a contract to formalise the recommendation that PTB be formally appointed as the IECEx PT provider in accordance with the requirements of IECEx OD 202. | Secretariat | Before the next meeting |
| 13 | 8.4 | ExTAG Chairman to recommend to the ExMC that the draft Operational Document, ExTAG/418A/CD Draft Operational Document – Retention of Records be considered by ExMC for publication as a new OD. | ExTAG Chairman to forward to the ExMC. The IECEx secretariat to circulate | After the meeting |
| 14 | 8.5 | Draft ExTAG Decision Sheet ExTAG/243D/CD to be withdrawn. ExTAG DS 2014/001 to remain unchanged. | Secretariat | Completed |
| 15 | 8.5 | ExTAG Task Group on the Amalgamation of Decision Sheets to be disbanded on the basis that they have completed the assigned tasks. | Secretariat | Completed |
| 16 | 9.2 | DS 2011/002 to be modified to remove of OD 005-1 reference. | ExMC WG05 May meeting 2017 |  |
| 17 | 9.3 | IECEx OD 035, circulated as ExTAG/424/CD, to proceed to publication as Edition 2.1 with changes agreed during the ExTAG meeting. | Secretariat | Completed Published September 2016 |
| 18 | 10.1 | Withdraw the proposed Draft DS ExTAG/417/CD also comments contained in ExTAG/427A/CC. | Secretariat | Completed |
| 19 | 10.2 | Mr Ron Sinclair to revise the draft ExTAG/406/CD taking into account the Compilation of Comments circulated in ExTAG/430A/CC and also to incorporate comments from the Umhlanga ExTAG meeting. The Draft DS to be held in abeyance pending output from IEC TC31 WG22. | Mr Ron Sinclair | After IEC TC31 WG22 meeting |
| 20 | 10.3 and 10.7 | Mr Ron Sinclair to revise ExTAG/409/CD, taking into account the associated Compilation of Comments circulated as ExTAG/431/CC and a further Green Paper, ExTAG(Umhlanga/Secretariart)05. The revised document then to be circulated for comment by correspondence. Mr Sinclair also to take into account the Decision 2016/41. | Mr Ron Sinclair | After the meeting |
| 21 | 10.4 | Withdraw the proposed Draft Decision Sheet ExTAG/419/CD and associated comments contained in ExTAG/429/CC. | Secretariat | Completed |
| 22 | 10.5 | Withdraw the proposed Draft Decision Sheet ExTAG/420/CD and the associated Compilation of Comments also circulated as ExTAG/436/CC with the matter to be referred to ExTAG WG03. | Secretariat | Completed |
| 23 | 10.6 | Draft Decision Sheet ExTAG/433/CD to be forwarded to the responsible MT for consultation, given that there is potential need to amend the Standard, UL to raise this matter with the Convenor of the relevant IEC TC31 WG. | UL | After the meeting |
| 24 | 14.1 | Proposal to be forwarded to ExMC to add text to OD 003-2 concerning non-attendance at ExTAG meetings, such as – The secretariat shall also advise the body that missing more than two consecutive meetings in 3 year period will require showing cause to the Executive explaining why re-assessment should not be brought forward. | Secretariat and ExMC WG04 | ExMC WG04 Meeting May 2017 |
| 25 | 14.2 | The comments from JP NC regarding the Operational Document for the certification of non-electrical equipment as circulated in ExMC/1174/R. It was agreed feedback on these documents be referred to ExMC and that this topic be included as an agenda item at the next ExMC Meeting. | Secretariat | Next ExMC Meeting |
| 26 | 15 | The application of ExTAG DS 2015/017 Reference to Manufacturer’s Instructions was discussed with the outcome being, that matters be transferred to ExMC WG01 for further review and improvements proposal, if relevant. | Secretariat to forward to ExMC WG01 | May Operational Meetings |