INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Re-assessment Report for the continued acceptance of Simtars Australia an Accepted ExCB and ExTL within the IECEx Equipment Scheme 02, Certified Service Facility Scheme 03 and Conformity Mark Licensing System, 04.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment Report for the continued acceptance of SIMTARS an Accepted ExCB and ExTL in the IECEx Schemes, IECEx 02, 03 and 04.

This report is hereby submitted for endorsement during the ExMC 2018 Meeting being held in France.

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD 422 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for Simtars Australia:

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

(Update when report is complete – by right click, Update field, Update entire table)

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country Australia	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Application information and background information on the assessment	6

1.6	Scopes	6

1.6.1	ExCB scope for equipment certification scheme	6

1.6.2	ExTL scope	7

1.6.3	ExCB scope for Service Facilities Scheme	9

1.6.4	ExCB scope for ExMark Scheme	9

2	Common information	10

2.1	Legal entity of body	10

2.2	Financial support	10

2.3	History	10

2.4	Documentation	10

2.4.1	Quality manual	10

2.4.2	Procedures	10

2.4.3	Work instructions	10

2.4.4	Records (including test records where relevant)	10

2.4.5	Document change control	11

2.5	Confidentiality	11

2.6	Communication with public and customers (Hard copy and Electronic)	11

2.7	Recognitions and agreements	11

2.8	Internal audit	11

2.9	Management review	11

2.10	Contracting, subcontracting and witness testing	12

2.10.1	Contracting	12

2.10.2	Subcontracting	12

2.10.3	Witness testing	12

2.11	Training and competence	12

2.12	Complaints and appeals (including appeals to IECEx)	12

2.13	Commenting on ExTAG Documents	12

2.14	Special facts to be noted	12

2.15	Supporting documentation	12

2.16	Recommendations	13

3	ExCB for IECEx Certified Equipment Scheme	14

3.1	Assessment references	14

3.2	Candidate ExCB persons interviewed	14

3.3	Associated ExTL(s)	14

3.4	Associated certification functions	14

3.5	National marks and certificates	14

3.6	Standards accepted	14

3.7	National differences to IEC standards	14

3.8	Organisation	15

3.8.1	Names, titles and experience of the senior executives	15

3.8.2	Name, title and experience of the quality management representative	15

3.8.3	Name and title of signatories for certification	15

3.8.4	Other employees in ExCB activity	15

3.9	Organizational structure	15

3.10	Indemnity insurance	15

3.11	Resources	15

3.12	Committees (such as governing or advisory boards)	15

3.13	Certification operations	16

3.13.1	National approval/certification methods	16

3.13.2	Certification policy	16

3.13.3	Application for certification	16

3.13.4	Certification decision	16

3.13.5	Suspension and cancellation of certificates	16

3.14	Certificates issued	16

3.15	National accreditation	18

3.16	Assessment of manufacturers and issue of QARs	18

3.17	Comments (including issues found during assessment)	18

4	ExTL for IECEx Certified Equipment Scheme	19

4.1	Assessment references	19

4.2	Candidate ExTL persons interviewed	19

4.3	Associated ExCB(s)	19

4.4	Organisation	19

4.4.1	Names, titles and experience of the senior executives	19

4.4.2	Name, title and experience of the quality management representative	19

4.4.3	Other employees in ExTL activity	19

4.5	Organizational structure	20

4.6	Resources	20

4.7	Test reports issued	20

4.8	National accreditation	22

4.9	Calibration	22

4.10	Witnessed Tests	22

4.11	Participation in IECEx Proficiency Testing Program	23

4.12	Comments (including issues found during assessment)	23

5	ExCB for Certified Service Facilities Scheme	24

5.1	Assessment references	24

5.2	Candidate ExCB persons interviewed	24

5.3	Organisation	24

5.3.1	Names, titles and experience of the senior executives	24

5.3.2	Name, title and experience of the quality management representative	24

5.3.3	Name and title of signatories for certification	24

5.3.4	Other employees in ExCB activity	24

5.4	Organizational Structure	25

5.5	Resources	25

5.6	Certification operations	25

5.6.1	National approval/certification Methods	25

5.6.2	Application for certification	25

5.6.3	Withdrawal and cancellation of certificates	25

5.7	Statistics	25

5.8	National accreditation	25

5.9	Comments (including issues found during assessment)	25

6	IECEx Conformity Mark Licensing System	26

6.1	Assessment references	26

6.2	Comments (including issues found during assessment)	26

7	Annexes	27

Annex A Overall Organisation Chart	28

Annex B Function Organisation Chart of ExCB and ExTL	29

Annex C Accreditation Certificate for ISO/IEC 17065	30

Annex D Accreditation Certificates for ISO/IEC 17025	31

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country
Australia

### Name of body

Simtars Australia

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Geoff Barnier | Principal Engineer - Certification | geoff.barnier@Simtars.com.au Tel: +61 7 3810 6399 Fax:+61 7 3810 6366 |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Katy Holdredge | IECEx Acting Lead Assessor |
| Xu Jianping | IECEx Lead Assessor |

### Place(s) of assessment

2 Robert Smith Street REDBANK QLD 4301 Australia

### Assessment date(s)

10 - 11 November 2016 (4 man-days)

## Application information and background information on the assessment

This is a re-assessment.

## Scopes

### ExCB scope for equipment certification scheme

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 6.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o" | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-15 Edition 4.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-16 Edition 1.0 | Electrical apparatus for explosive gas atmospheres -– Part 16: Artificial ventilation for the protection of analyser (s) houses | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 60079-27 Edition 2 .0 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC/IEEE 60079-30-1 Edition 1.0 | Explosive atmospheres –- Part 30-1: Electrical resistance trace heating – General and testing requirements | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | Ok, covered by JAS-ANZ 17065 accreditation. |
| IEC 60079-35-1 Edition 1.0 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 61241-1-1 Edition 2 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Section 1 - Specification for apparatus | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety “iD” | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 62013-1 Edition 2 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | Ok, covered by JAS-ANZ 17065 accreditation. |
| *IEC 62086-1 Edition 1.0 | Electrical apparatus for explosive gas atmospheres –Electrical resistance trace heating – Part 1: General and testing requirements | Ok, covered by JAS-ANZ 17065 accreditation. |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExTL scope

The ExTL scope is the same as for the ExCB, but with the following explanations:

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 6.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-15 Edition 4.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-16 Edition 1.0 | Explosive atmospheres – Part 16: Artificial ventilation for the protection of analyser (s) houses | Ok, covered by NATA 17025 accreditation (AS 1482). |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | Ok, covered by NATA 17025 accreditation. |
| *IEC 60079-27 Edition 2.0 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | Ok, covered by NATA 17025 accreditation. |
| IEC/IEEE 60079-30-1 Edition 1.0 | Explosive atmospheres - Part 30-1: Electrical resistance trace heating – General and testing requirements | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | Ok, covered by NATA 17025 accreditation. |
| IEC 60079-35-1 Edition 1.0 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | Ok, covered by NATA 17025 accreditation. |
| *IEC 61241-1-1 Edition 2 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Section 1 - Specification for apparatus | Ok, covered by NATA 17025 accreditation. |
| *IEC 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | Ok, covered by NATA 17025 accreditation. |
| *IEC 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | Ok, covered by NATA 17025 accreditation. |
| IEC 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | Ok, covered by NATA 17025 accreditation. |
| *IEC 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety “iD” | Ok, covered by NATA 17025 accreditation. |
| *IEC 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | Ok, covered by NATA 17025 accreditation. |
| *IEC 62013-1 Edition 2 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | Ok, covered by NATA 17025 accreditation. |
| *IEC 62086-1 Edition 1.0 | Electrical resistance trace heating – Part 1: general and testing requirements | Ok, covered by NATA 17025 accreditation. |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExCB scope for Service Facilities Scheme

03-5 Program - Repair Overhaul and Reclamation
Dusts to IEC 60079-31 "t"
Dusts to IEC 61241-1-1 "DIP"
Dusts to IEC 61241-1 "tD"

Dusts to IEC 61241-4 “pD”

Encapsulation “m”
Flameproof Enclosure "d"
Increased Safety "e"
Intrinsic Safety "i"

Oil Filled “o”
Other

Pressurisation “p”
Type of Protection "n"

### ExCB scope for ExMark Scheme

Applicable, full scope as shown for ExCB above.

# Common information

## Legal entity of body

Simtars is a business unit of the Queensland Government Department of Natural Resources and Mines (ABN 59 020 847 551).

## Financial support

Simtars is a division of the Queensland Department of Natural Resources and Mines. It’s operating and capital expenditures are funded by the Department on an annual budget basis, with a requirement to achieve budgeted revenue by charging fees for its services.

## History

Simtars was established in 1988 by the Queensland Government as a result of mining disasters in Queensland to provide research and technical services aimed at reducing the risk of disaster events and minimizing fatalities, lost-time injuries and occupational disease in mining and related industries.

Commercial activities began in the 1990s when industry recognized the commercial relevance of the work undertaken.

Core functions are to:

– Conduct mine safety research

– Undertake testing of explosion-protected and general purpose equipment

– Investigate technical aspects of accidents

– Investigate mine fires and explosions

– Scientifically assess health and safety

Simtars achieved accreditation to ISO/IEC 17025 in 1989 and its management system was certified in 1993. In 1999 the certification service was accredited to Guide 65, followed by recognition by the IECEx for product certification in 2003. Acceptance into the IECEx Service Facility program was in 2007 and the Mark Licensing program in 2009.

## Documentation

### Quality manual

All documentation is on the Qudos system including QM0001 Simtars Integrated Management System Manual and EM0001 ETCC - Certification Manual – Product Certification, which includes all schemes that Simtars operates and which fulfils the requirements of the IECEx system.

### Procedures

Simtars has a very comprehensive range of procedures (EP series documents) covering all aspects of the operations that were audited as part of this assessment and found to align with IECEx Rules and Operational Documents.

### Work instructions

Work Instructions (EI series documents) are controlled electronically on the Qudos system and are accessible to all staff.  Instructions are available for tasks that are not fully defined in the standards or if it has been found to be required to maintain consistency.  They fulfil the requirements of the IECEx system.

### Records (including test records where relevant)

There are both electronic and hard copy records.  Both are retained as described in EI0022, Instruction for Preparation and Processing of Reports and Certificates.

### Document change control

Documents and change control is managed in the document control system Qudos and described in procedure QP0010, Administration and Control of Documents and Processes.  A description of the change as well as the approver and historical versions of documents are maintained on Qudos, which is in compliance with the IECEx requirements.

## Confidentiality

(For staff, contractors and members of advisory bodies)

All employees, subcontractors and members of committees are required to sign confidentiality agreements as documented in QM0001 Simtars Integrated Management System Manual, EM0001, ETCC - Certification Manual – Product Certification, Item 14 of AF0002, Simtars “Standard Terms and conditions of contract” and Simtars-ETCC Certification Advisory Committee Confidentiality Agreement, EF0196.  Examples of these were sighted by the team.

Queensland Public Service Code of Ethics also addresses confidentiality and conflict of interest for internal staff and was found to comply with ISO/IEC 17065 as well as the IECEx rules, procedures and relevant documents.

## Communication with public and customers (Hard copy and Electronic)

Simtars has a brochure for all of their centers as well as one specifically for the Engineering Testing and Certification Center (ETCC), dated 09/15, which both refer to the IECEx Scheme.  Simtars is in the process of doing a major redesign of their website, currently only limited information is available.

## Recognitions and agreements

Associated with:

- IECEx accreditation

- ANZEx accreditation scheme (National accreditation scheme for explosion protected equipment and services facilities)

- NATA (National Association of Testing Authorities, Australia) accreditation

- JAS-ANZ (Joint Accreditation System of Australia and New Zealand) accreditation

- BSI certification of Simtars quality, occupational health & safety and environmental management systems

## Internal audit

Simtars does internal audits in accordance with the Procedure for Planning, Scheduling, Coordinating and Performing Integrated management System Internal Audits, QP0008.  All NCRs raised during the internal audit were entered and tracked in the Qudos system as described in QI0004, Instruction for Raising, Processing, Monitoring and Verifying Actions for Simtars Integrated Quality, Safety and Environmental Management System.  There were some issues raised during the assessment, which were subsequently resolved to the satisfaction of the assessment team.

## Management review

Management reviews are required by Simtars Quality Manual, QM0001, to be carried out in accordance with Procedure for Management Review of Simtars Integrated Management System, QP0004.  An annual management review meeting as well as monthly leadership team meetings are held.  The last annual management review minutes as well as several monthly meetings were reviewed and were in accordance with the IECEx System requirements.  Some revisions to QP0004 were required to reflect current practice, which were subsequently resolved.

## Contracting, subcontracting and witness testing

### Contracting

N/A

### Subcontracting

There are no tests subcontracted by Simtars that have been defined as minimum test equipment in the TCD.  They have contracted QAR/FAR audits to one individual, who was verified as being competent.

### Witness testing

Simtars does very limited witness/off-site testing.  Revision to their documentation was required to comply with the IECEx OD024 requirements. This has been subsequently resolved to the satisfaction of the assessment team.

## Training and competence

Simtars has two procedures related to training and competence, Procedure for Assessing Competency of Personnel and Approved Signatory Status, QP0012, and Procedure for Determining and Assessing Competency of ETCC Personnel, EP0090, which meet the requirements of the IECEx.  Simtars regularly witnesses their audit staff to ensure competency and has a strong process for determining the competency of their lab staff and approved signatories.

The competencies of certification and testing staff can be found in Simtars Quality Manual, QM0001, Appendix – B1.

Details of staff competencies are included in the site assessment report.

## Complaints and appeals (including appeals to IECEx)

The handling of complaints and appeals is covered in EM0001, Certification Manual – Product Certification and EP0117, Appeals.  All feedback, including complaints and appeals in entered into the Qudos database as described in QI0006, Instruction for Processing Customer Feedback and QI0004, Instruction for Raising, Processing, Monitoring and Verifying Actions for Simtars Integrated Quality, Safety and Environmental management System.  One appeal dealt with in 2014 and was successfully resolved using Simtars requirements and found to comply with IECEx requirements.

## Commenting on ExTAG Documents

Evidence was shown that Simtars is circulating ExTAG decision sheets internally and commenting on them when necessary.

## Special facts to be noted

None

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved;

- Checklist for ISO/IEC 17065;

- Checklist for ISO/IEC 17025;

- Completed Technical Capability Document (TCD);

- Staff competency matrix;

- Photos of the facilities/tests witnessed are included in the above TCD; and

- Assessors’ notes

## Recommendations

Based on the assessment performed on 11 – 12 November 2016, Simtars is recommended for continued acceptance in the IECEx System as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

- An ExCB in the IECEx Certified Service Facilities Scheme

- An ExCB in the IECEx Conformity Mark Licensing System

This is according to the scope of the standards listed in this document.

| Katy Holdredge | Xu Jianping |
| --- | --- |
| IECEx Acting Lead Assessor | IECEx Lead Assessor |

Date:  2017-09-01

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD 003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD 009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD 026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065: 2012, Edition 1, General requirements for bodies operating product certification systems

- IECEx Document OD 017 Drawing and documentation guidance

- IECEx Technical Capability Documents (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Geoff Barnier | Principal Engineer - Certification |
| David Turner | Director ETCC |

## Associated ExTL(s)

Simtars

## Associated certification functions

Simtars is a certification body under the Australian ANZEx Scheme.

## National marks and certificates

Simtars has accreditation by JAS-ANZ for product certification against ISO/IEC 17065.  There are no national marks in Australia.

## Standards accepted

See clause 1.6 of this report

## National differences to IEC standards

There are no Australian differences to the IEC standards as shown in the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Nicolais Ahlstrand | Executive Director Simtars | Senior executive experience Commenced Simtars 2016 |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| David Turner | Director ETCC | - SEQEB Quality Manager 1980 – 1987 - Quality Management Consultant 1987 – 1995 - Simtars Quality Manager 1995 – 1997 - Simtars ETCC Manager/Director 1997 – 2000 and 2013 - present |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Geoff Barnier | Principal Engineer - Certification |  |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Bipin Parmar | Principal Engineer | QAR/FAR auditing, 26 years |
| John Ellis | Assessment Officer | QAR/FAR auditing, 19 years |
| Gunter Lenicek | Senior Engineer | QAR/FAR auditing, 22 years |

## Organizational structure

See Annexes to this report.

## Indemnity insurance

Simtars is covered under Queensland Government Insurance Fund Policy No. QG0028 and is valid through 2018-06-30.

## Resources Up to here

Simtars has appropriate facilities, equipment and trained personnel to fulfil their IECEx scope.

## Committees (such as governing or advisory boards)

Simtars has a governing board, Charter for Simtars Governing Board, EP0102, which includes the Executive Director, Director, Certification Engineer & Business Support Manager.

Simtars has an advisory board, Simtars Certification Advisory Committee that is comprised of seven members, including the Director ETCC, Simtars Certification Engineer, Manufacturer’s interests, User interests, Customer interests & Regulatory interests as required in the Charter for Simtars Certification Advisory Committee, EP0096 and Membership of Simtars of Certification Advisory Committee, EF0258.  Minutes from the last meeting were reviewed, and it was noted that the committee was overdue for another meeting.   This was subsequently resolved to the satisfaction of the assessment team

## Certification operations

### National approval/certification methods

Simtars has ANZEx national accreditation by JAS-ANZ for product certification scheme rules (MP87 parts 1 and 2) against ISO/IEC 17065.

### Certification policy

Simtars has Quality policy, QM0001 & Certification Manual – Procedures EM0001, which are in compliance with the IECEx System requirements.

NOTE: Typically this may be a separate policy or included in the quality policy

### Application for certification

Simtars has a Certification Manual – Procedures, EM0001, which references EP0105, Application Process and Conditions for Application for Testing and Certification and EF0186, Application for ANZEx or IECEx Certification for Electrical Equipment for use in Explosive Atmospheres.

### Certification decision

Simtars, EM0001, Certification Manual – Procedures covers the certification decision.

### Suspension and cancellation of certificates

Simtars, EM0001, Certification Manual – Procedures and EP0101, Procedure for Addressing Misuse of Certificates of Conformity for IECEx Conformity Mark License, cover the suspension and cancellation of certificates.  Simtars had a suspension of an FAR due to non-payment and failure to address NCRs that was reinstated after full reassessment.

## Certificates issued

Number of certificates issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx certificates should be shown (certificates for other schemes shown in parenthesis):

|  |  | Number of actual issued IECEx certificates (for last 4 years) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2013 | 2014 | 2015 | 2016 | Total |
| New |  | 2 | 16 | 1 | 0 | 19 |
| Addendum |  | 11 | 26 | 30 | 8 | 75 |
| TOTAL |  | 13 | 42 | 31 | 8 | 94 |

Note: The following table includes all certificates issued (both new and addendum) that include the protection techniques listed, some certificates contain multiple techniques.

| Standard numbers | Type of protection or other identifying information | Number of issued IECEx certificates (for last 4 years) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2013 | 2014 | 2015 | 2016 | Total |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 17 | 32 | 27 | 4 | 80 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 0 | 0 | 1 | 0 | 1 |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | 6 | 6 | 8 | 1 | 21 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 6 | 9 | 7 | 3 | 25 |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | 1 | 3 | 0 | 0 | 4 |
| IEC 60079-16 | Electrical apparatus for explosive gas atmospheres - Part 16: Artificial ventilation for the protection of analyser (s) houses | 1 | 0 | 0 | 0 | 1 |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 0 | 0 | 3 | 0 | 3 |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 0 | 0 | 0 | 0 | 0 |
| *IEC 60079-27 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | 0 | 0 | 0 | 0 | 0 |
| IEC/IEEE 60079-30-1 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 0 | 4 | 3 | 2 | 9 |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1-1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Section 1 - Specification for apparatus | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 7 | 0 | 3 | 0 | 10 |
| *IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | 7 | 0 | 3 | 0 | 10 |
| *IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-11 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety “iD” | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-18 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | 0 | 0 | 0 | 0 | 0 |
| *IEC 62013-1 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | 0 | 0 | 0 | 0 | 0 |
| *IEC62086-1 | Electrical apparatus for explosive gas atmospheres –Electrical resistance trace heating – Part 1: General and testing requirements | 0 | 0 | 0 | 0 | 0 |

NOTE	Above include certificates to IEC 60079-0

## National accreditation

Simtars is a JAS-ANZ accredited certification body (IECEx, ANZEx and ISO 9001 QMS).

## Assessment of manufacturers and issue of QARs

Simtar’s Procedure for System Assessment, EP0108, covers the assessment of manufacturers and issuance of QARs as well as FARs and was found to meet the requirements of the IECEx System.

## Comments (including issues found during assessment)

There were some issues found during the site assessment:

- Outdated references in certification manual, quality system assessment and management review procedures;

- Membership list for certificate advisory committee was out-of-date and was inactive; and

- Incomplete internal audit documentation, scheduling and unresolved NCRs.

Detailed information on this is shown in the Site Assessment Report. All issues have been resolved to the satisfaction of the assessment team.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD 003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD 017 Drawing and documentation guidance

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Bipin Parmar | Principal Engineer |
| Anilesh Rai | Testing Officer |
| John Ellis | Assessment Officer |
| David Soady | Senior Technical Officer |
| Gunter Lenicek | Senior Engineer |

## Associated ExCB(s)

Simtars

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Nicolais Ahlstrand | Executive Director Simtars | Senior executive experience Commenced Simtars 2016 |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| David Turner | Director ETCC | - SEQEB Quality Manager 1980 – 1987 - Quality Management Consultant 1987 – 1995 - Simtars Quality Manager 1995 – 1997 - Simtars ETCC Manager/Director 1997 – 2000 and 2013 - present |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Robert Weston | Supervising Senior Engineer | <1 year |
| Ewan Paton | Testing Officer | 9 years |
| Anilesh Rai | Testing Officer | 5 years |

## Organizational structure

See Annexes of this report.

## Resources

Simtars has appropriate facilities, equipment and trained personnel to fulfil their IECEx scope.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx ExTRs should be shown (test reports for other schemes may also be shown):

|  |  | Number of actual issued IEC ExTRs (for last 4 years) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2013 | 2014 | 2015 | 2016 | Total |
| New |  | 12 | 16 | 6 | 1 | 35 |
| Addendum |  | 6 | 18 | 8 | 4 | 36 |
| TOTALS |  | 18 | 34 | 14 | 5 | 71 |

Note: The following table includes all ExTRs issued (both new and addendum) that include the protection techniques listed, some ExTRs contain multiple techniques.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2013 | 2014 | 2015 | 2016 | Total |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 11 | 19 | 7 | 3 | 40 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p” | 0 | 0 | 1 | 0 | 1 |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | 0 | 5 | 0 | 0 | 5 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 7 | 13 | 4 | 2 | 26 |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-16 | Electrical apparatus for explosive gas atmospheres - Part 16: Artificial ventilation for the protection of analyser (s) houses | 1 | 0 | 0 | 0 | 1 |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 0 | 1 | 1 | 0 | 2 |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 0 | 0 | 0 | 0 | 0 |
| *IEC 60079-27 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | 0 | 0 | 0 | 0 | 0 |
| IEC/IEEE 60079-30-1 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements | 0 | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 0 | 3 | 1 | 1 | 5 |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1-1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Section 1 - Specification for apparatus | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-11 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety “iD” | 0 | 0 | 0 | 0 | 0 |
| *IEC 61241-18 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | 0 | 0 | 0 | 0 | 0 |
| *IEC 62013-1 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | 0 | 0 | 0 | 0 | 0 |
| *IEC62086-1 | Electrical apparatus for explosive gas atmospheres –Electrical resistance trace heating – Part 1: General and testing requirements | 0 | 0 | 0 | 0 | 0 |

NOTE	Above include reports to IEC 60079-0

## National accreditation

Simtars is accredited by NATA to ISO/IEC 17025 for a range of laboratory testing; see Annexes.

## Calibration

Simtars calibrates approximately 80% of their Ex equipment in house using EI0036, Instruction for Equipment Calibration along with other supporting instructions.  A copy of their accreditation is provided in the Annexes.  All remaining accreditations are required to be done by a calibration laboratory that has been ISO/IEC 17025 accredited by NATA.  There were some issues raised during the assessment, which were subsequently resolved to the satisfaction of the assessment team.

## Witnessed Tests

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0 Edition 6.0 | 26.4.5 | IP6X |  |
| IEC 60079-0 Edition 6.0 | 26.14 | Measurement of capacitance |  |
| IEC 60079-1 Edition 7.0 | 15.2.2 | Determination of explosion pressure (reference pressure) | Group IIB |
| IEC 60079-1 Edition 7.0 | 15.2.3 | Overpressure |  |
| IEC 60079-1 Edition 7.0 | 15.3 | Test of non-transmission of an internal ignition | Group IIB |
| IEC 60079-11 Edition 6.0 | 10.1 | Spark ignition | Group IIC, Ga |
| IEC 60079-11 Edition 6.0 | 10.5.3 | Temperature rise test on (high capacity) batteries |  |
| IEC 60079-18 Edition 4.0 | 8.1.2 | Dielectric strength |  |
| IEC/IEEE 60079-30-1 Edition 1.0 | 5.1.5.2 | Minimum temperature impact test |  |
| IEC 60079-31 Edition 2.0 | 6.1.2 | Thermal tests | ta |

## Participation in IECEx Proficiency Testing Program

Program: PTB Ex PT Scheme

NOTE: Assessors will also need access to each of the final reports issued by PTB.  They will also need to get codes from body being assessed so they can check the body's results in the PTB reports.  A critical feature of each report is normally the showing of an assigned value against the various tests.  This value should be used by assessors when making judgment on whether the results obtained by the body are considered satisfactory.

| IECEx Proficiency Testing program | Program years | Participated? Y/N/NA | Results in relation to assigned value | Other comments, including whether results are considered satisfactory |
| --- | --- | --- | --- | --- |
| Program 1 "Explosion pressure" | 2011-2012 | Y | Acceptable |  |
| Program 2 "Spark ignition” | 2011-2012 | Y | Acceptable |  |
| Program 3 "Flame Transmission" | 2013-2014 | N | N/A |  |
| Program 4 "Temperature Classification" | 2013-2014 | N | N/A |  |
| Program 5 "Electrostatic Charge" | 2015-2016 | Y | Acceptable | Test 1 only |
| Program 6 "Intrinsic Safety" | 2015-2016 | Y | Acceptable |  |

## Comments (including issues found during assessment)

There were some issues found during the site assessment:

- Outdated calibration;

- Missing verification records for spark ignition testing;

- Missing competency records for latest editions of IEC 60079-5 and -6; and

- Missing reference to IECEx OD024 in off-site testing procedure.

Detailed information on this is shown in the Site Assessment Report. All issues have been resolved to the satisfaction of the assessment team.

# ExCB for Certified Service Facilities Scheme

## Assessment references

- IECEx 03  IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment – Rules of Procedure IECEx OD013 IECEx Operations Manual – Assessment and Certification of Ex Repair and Overhaul Service Facilities

- IECEx OD014 Quality management system requirements and assessment of, for IECEx Service Facilities involved in repair, overhaul and modification of Ex equipment

- IECEx OD015  Additional Requirements for IECEx Service Facilities involved in repair, overhaul and modification of Ex equipment

- IECEx OD016 , Assessment Procedures for IECEx acceptance of Candidate Certification Bodies (ExCBs) for the purpose of issuing IECEx Certificates to Ex Service Facilities involved in the Repair, Overhaul and Modifications of Ex equipment

- ISO/IEC 17065, General requirements for bodies operating product certification systems

- IEC 60079-19 Explosive atmospheres – Part 19: Equipment repair, overhaul and reclamation

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Geoff Barnier | Principal Engineer - Certification |
| David Turner | Director ETCC |

## Organisation

Same organization as for product certification.

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Nicolais Ahlstrand | Executive Director Simtars | Senior executive experience Commenced Simtars 2016 |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| David Turner | Director ETCC | - SEQEB Quality Manager 1980 – 1987 - Quality Management Consultant 1987 – 1995 - Simtars Quality Manager 1995 – 1997 - Simtars ETCC Manager/Director 1997 – 2000 and 2013 - present |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Geoff Barnier | Principal Engineer - Certification |  |

### Other employees in ExCB activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Bipin Parmar | Principal Engineer | QAR/FAR auditing, 26 years |
| John Ellis | Assessment Officer | QAR/FAR auditing, 19 years |
| Gunter Lenicek | Senior Engineer | QAR/FAR auditing, 22 years |

## Organizational Structure

Same organization as for product certification.  See Annex for details.

## Resources

Same resources as for product certification.

## Certification operations

### National approval/certification Methods

Simtars also operates under the ANZEx Service Facility scheme.

### Application for certification

Simtars has Application for Certification of Service Facilities, EF0293 dated 300816.

### Withdrawal and cancellation of certificates

Same procedure as for product certification.

## Statistics

Detail experience in assessment and certification of Ex related Service Facilities for the Ex Protection under this application during the past 2 years:

| flameproof | d | 5 |
| --- | --- | --- |
| increased safety | e | 5 |
| type of protection n | n | 5 |
| intrinsic safety | i | 0 |
| oil immersion | o | 0 |
| pressurization | p | 3 |
| apparatus for Dusts | t, tD and DIP | 3 |
| Other | N/A | 0 |

## National accreditation

ISO/IEC 17065 accredited by JAS/ANZ under the IECEx Certificate Service Facilities Scheme and ANZEx Scheme for explosion protected equipment and services facilities.

## Comments (including issues found during assessment)

There was one observation raised during the site assessment and no issues.  Detailed information on this is shown in the Site Assessment report.

# IECEx Conformity Mark Licensing System

## Assessment references

- IECEx 04 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – IECEx Conformity Mark Licensing System – Regulations

- IECEx 04A IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Guidance for making applications for and use of IECEx Conformity Mark

- OD 422 Rules and Procedures for the granting of Licenses to issue and use the IECEx Conformity Mark

- OD 023 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Terms and Conditions for use of the IECEx Conformity Mark

NOTE	The latest editions of the above documents were applied

## Comments (including issues found during assessment)

Simtars has a form, Application & Agreement for IECEx Conformity Mark License relating to Equipment for use in Explosive Atmospheres, EF0298, and Application process for IECEx Conformity Mark License, EP0116 that are in compliance with the IECEx System requirements.  Simtars does not have any active clients and had one customer that cancelled their mark license.

There were no issues found for the Conformity Mark License System.

# Annexes

- Overall Organisation Chart

- Function Organisation Chart of ExCB and ExTL

- Accreditation Certificate for ISO/IEC 17065

- Accreditation Certificates for ISO/IEC 17025