INTERNATIONAL ELECTROTECHNICAL COMMISSION IEC SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN

EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: IECEx Assessment Report for an extension of scope for Technology Institution of Industrial Safety (TIIS), JP, an existing Accepted Ex Certification Body (ExCB) and an Accepted Ex Test Laboratory, ExTL, within the IECEx System, Equipment Scheme 02, to include IEC 60079-28, within their scope.

INTRODUCTION

This document contains the IECEx Assessment Report for TIIS, JP, an existing Accepted Ex Certification Body (ExCB) and an Accepted Ex Test Laboratory ExTL, within the IECEx System, Equipment Scheme 02, to include IEC 60079-28 within their scope.

The report is hereby submitted for voting by the ExMC.

Please consider the assessment report and return the completed voting form to the Secretariat by

2018 07 30.

Your speedy response to the voting process will be very much appreciated.

- Chris Agius

- IECEx Secretariat

| IECEx Secretariat Level 33, Australia Square 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 Email: chris.agius @iecex.com Web: www.iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for TIIS

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of Body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	6

1.5	Application information and background information on the assessment	6

1.6	Scopes	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	8

2	Common information	9

2.1	Purpose of this report	9

2.2	Legal entity of body	9

2.3	Financial support	9

2.4	History	9

2.5	Documentation	9

2.5.1	Quality manual	9

2.5.2	Procedures	9

2.5.3	Work instructions	9

2.5.4	Records (including test records where relevant)	10

2.5.5	Document change control	10

2.6	Confidentiality	10

2.7	Communication with public and customers (Hard copy and Electronic)	10

2.8	Recognitions and agreements	10

2.9	Internal audit	10

2.10	Contracting, subcontracting and witness testing	10

2.10.1	Contracting	10

2.10.2	Subcontracting	10

2.10.3	Witness testing	10

2.11	Training and competence	10

2.12	Complaints and appeals (including appeals to IECEx)	10

2.13	Impartiality	11

2.14	Commenting on ExTAG Documents	11

2.15	Special facts to be noted	11

2.16	Supporting documentation	11

2.17	Recommendations	11

3	ExCB for IECEx Certified Equipment Scheme	12

3.1	Assessment references	12

3.1.1	General references	12

3.1.2	Additional references applied for this assessment	12

3.2	Candidate ExCB persons interviewed	12

3.3	Associated ExTL(s)	12

3.4	Associated certification functions	12

3.5	National marks and certificates	12

3.6	Standards accepted	13

3.7	National differences to IEC standards	13

3.8	Organisation	13

3.8.1	Names, titles and experience of the senior executives	13

3.8.2	Name, title and experience of the quality management representative	13

3.8.3	Name and title of signatories for certification	13

3.8.4	Other employees in ExCB activity	13

3.9	Organizational structure	13

3.10	Indemnity insurance	13

3.11	Resources	13

3.12	Committees (such as governing or advisory boards)	14

3.13	Certification operations	14

3.13.1	National approval/certification methods	14

3.13.2	Certification policy	14

3.13.3	Application for certification	14

3.13.4	Certification decision	14

3.13.5	Suspension and cancellation of certificates	14

3.14	Certificates issued	14

3.15	National accreditation	14

3.16	Assessment of manufacturers and issue of QARs	14

3.17	Comments (including issues found during assessment)	14

4	ExTL for IECEx Certified Equipment Scheme	15

4.1	Assessment references	15

4.1.1	General references	15

4.1.2	Additional references applied for this assessment	15

4.2	Candidate ExTL persons interviewed	15

4.3	Associated ExCB(s)	15

4.4	Organisation	15

4.4.1	Names, titles and experience of the senior executives	15

4.4.2	Name, title and experience of the quality management representative	15

4.4.3	Other employees in ExTL activity	16

4.5	Organizational structure	16

4.6	Resources	16

4.7	Test reports issued	16

4.8	National accreditation	16

4.9	Calibration	16

4.10	Tests witnessed during the assessment visit	16

4.11	Participation in IECEx Proficiency Testing Programs	17

4.12	Comments (including issues found during assessment)	17

5	Annexes	17

Annex A Overall Organisation Chart	18

Annex B Organisation Chart of ExCB	19

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Japan

### Name of body

Technology Institution of Industrial Safety (TIIS)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Minari Kogane | Department Director, Certification Department. Head of ExCB and ExTL | kogane@tiis.or.jp |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Jim Munro | IECEx Lead Assessor |

### Place(s) of assessment

| Technology Institution of Industrial Safety(TIIS) | 2-16-26 Hirosedai, Sayama-shi, Saitama 350-1328, JAPAN |
| --- | --- |

### Assessment date(s)

Thursday, 5 to Friday, 6 April 2018

## Application information and background information on the assessment

Date of application for scope extension:  6 February 2018

## Scopes

### ExCB scope for equipment certification scheme

| Number | Title | Comments, eg if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements CHECK OF SCOPE EXTENSION | The extension to the latest edition was earlier granted by the IECEx Secretariat and checked during this visit. |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” |  |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure "p" |  |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion «o» |  |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |  |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” |  |
| IEC 60079-15 Edition 5.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" CHECK OF SCOPE EXTENSION | The extension to the latest edition was earlier granted by the IECEx Secretariat and checked during this visit. |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” |  |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems |  |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga |  |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation SCOPE EXTENSION | Scope extension covered by this report. At present TIIS is in the process of investigating purchasing equipment to do the ignition test in 6.3. Hence until they have this capability, the ignition test should be excluded from the scope. Noting that ignition tests are an option under the Standard. |
| IEC/IEEE 60079-30-1 Edition 1.0 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements CHECK OF SCOPE EXTENSION | The extension to the latest edition was earlier granted by the IECEx Secretariat and checked during this visit. |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" |  |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExTL scope

The ExTL scope is the same as for the ExCB.

# Common information

## Purpose of this report

The main purpose of this report is to cover the scope extension of TIIS to include IEC 60079-28 Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation.  This report is produced to provide the basis for ExMC members to vote on acceptance of this scope extension.

However, the visit for the scope extension coincided with a surveillance visit.  Prior to the assessment visit, the IECEx Secretariat had issued three scope extensions for later editions to other standards.  Hence, the surveillance visit was used as an opportunity to check the work undertaken at TIIS to be able to test and certify to those editions.  The check including witnessing a new test from IEC 60079-0 Edition 7.0 as shown in 4.10.

The results of surveillance visit are in this report for information and completeness.

Not all clauses of this report are relevant for the scope extension.  Where this is the case, the statement 'Not relevant for scope extension' is shown.  The relevant information in each case, unless otherwise stated, was previously covered during the site assessment conducted in December 2013 and was included in ExMC/910/DV.

## Legal entity of body

Not relevant for scope extension.

## Financial support

Not relevant for scope extension.

## History

TIIS was accepted as an ExCB and ExTL on 14 April 2014.

## Documentation

### Quality manual

There are two quality manuals. One is related to certification and inspection (ISO/IEC 17065), TIIS-ExCB-00000, and the other is related to testing and evaluation (ISO/IEC 17025), TIIS-ExTL-00000.   At the time of this assessment visit these were at Issue G for the ExCB and Issue F for the ExTL. The latest versions were reviewed during the assessment visit and found to still meet the requirements of IECEx.

The quality manuals, rules, procedures, checklists, etc are stored on an exclusive server of TIIS, and available to all personnel concerned. The latest version document is available.

The quality manuals and procedures include text in Japanese and English.  The two quality manuals and many of the procedures are written specifically for IECEx, not for local certification.

### Procedures

All relevant procedures are described in the two quality manuals, and where appropriate, they are also described in relevant rules. Where there are common requirements, for example for control of records, there is one procedure for both the ExCB and ExTL.  Table 2 of the ExCB manual lists all the procedures.

### Work instructions

There is a range of test procedure documents, forms and checklists.  A register is also kept of relevant IECEx ODs and other IECEx documents such as decision sheets.  All are accessible through the TIIS intranet.  There were procedures and associated forms produced for all tests in the standards sought in the proposed scope extension.

### Records (including test records where relevant)

Appropriate forms were available for the new tests for the scope extension and the new test in IEC 60079-0 Ed7.0.  These forms were used when demonstrating tests for the assessment.

### Document change control

Document change control is addressed in TIIS procedure TIIS-ExCB-02000 Rules for control of documents. There is also an associated procedure in their ISO 9001 quality system that deals with document change control.  TIIS has now moved from a hard copy system to a computer-based system, and the revised procedure reflects this.  An issue was identified regarding printed hard copies during the assessment visit, but this was satisfactorily resolved prior to the end of the visit.

## Confidentiality

Not relevant for scope extension.  However, confidentiality was addressed as part of the surveillance visit and found to meet the requirements of IECEx.

## Communication with public and customers (Hard copy and Electronic)

Not relevant for scope extension.

## Recognitions and agreements

Not relevant for scope extension.

## Internal audit

Not relevant for scope extension.  However, internal audit was reviewed as part of the surveillance visit, including the latest report and found to meet the requirements for IECEx.

## Contracting, subcontracting and witness testing

### Contracting

TIIS does not contract any work.

### Subcontracting

TIIS does not subcontract any certification work according to 2.5 of TIIS-ExCB-01000 Rules for certification of Ex-products. Regarding testing and evaluation activities, at present TIIS also does not subcontract any test work. They do have provisions in their procedures that address the use of subcontractors should they need to use them.

### Witness testing

It is not anticipated that there will be a need for witness testing as part of the scope extension.

## Training and competence

TIIS has a system of annual assessment of staff which is used to identify training needs. A training program was put in place for staff that were involved in the scope extension.  Further training is being planned.

Details of staff competencies are included in the site assessment report for the scope extension.  TIIS has an adequate number of competent staff for the scope extension involving IEC 60079-28 and other standards shown in Clause 1.6.

## Complaints and appeals (including appeals to IECEx)

There is a complaints and appeals procedure that includes IECEx.

## Impartiality

Not relevant for scope extension.

## Commenting on ExTAG Documents

Not relevant for scope extension.

## Special facts to be noted

None.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC 17065 (part only for surveillance)

- Checklist for ISO/IEC 17025 (part only for surveillance)

- Completed Technical Capability Document (TCD) for the scope extension

- Photos of the facilities/tests witnessed are included in the above TCD

- Assessors’ notes

## Recommendations

Based on the assessment performed on 5 and 6 April 2018, TIIS is recommended for continued acceptance in the IECEx System as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document, including the extension of scope.

Jim Munro

IECEx Lead Assessor

Date:  30 May 2018

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065: 2012, Edition 1, General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

### Additional references applied for this assessment

There are no additional references.

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Katsuya Enomoto (Mr) | President of TIIS |
| Mizuki Yamaguma (Mr/Ph.D) | Executive Managing Director |
| Minari Kogane (Mr) | Department Director, Certification Department. Head of ExCB and ExTL |
| Akira Matsuki (Mr) | Management Representative of QMS |
| Sungmi Jung (Ms./Ph.D) | Project Manager for International Affairs |
| Shuichi Matsuda (Mr) | Deputy Director of Certification Department Senior Certification Engineer |
| Takeo Sekine (Mr) | Senior Certification Engineer |

## Associated ExTL(s)

Both the ExCB and ExTL fall within the operation of TIIS.  There is some common staff in both departments, but ExCB and ExTL roles are separated on a project by project basis.

## Associated certification functions

Not relevant for scope extension.

## National marks and certificates

Not relevant for scope extension.

## Standards accepted

See clause 1.6 of this report

## National differences to IEC standards

TIIS formally advised the IECEx Secretariat in November 2017 that there are no national differences to IEC standard IEC 60079-28 and TIIS also provided information relevant to other standards in their scope.  The IECEx Secretariat confirmed that the information from correspondence from TIIS on national differences has been included in Edition 5.0 of the IECEx Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Katsuya Enomoto (Mr) | President of TIIS | 5 years in Ex |
| Mizuki Yamaguma (Mr/Ph.D) | Executive Managing Director | 5 years in Ex |
| Minari Kogane (Mr) | Department Director, Certification Department. Head of ExCB and ExTL | 25 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Akira Matsuki (Mr) | Management Representative of QMS | 22 years in quality management |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Minari Kogane (Mr) | Department Director, Certification Department. Head of ExCB and ExTL | 25 years in Ex TIIS procedures make provision for other personnel to act as a signatory when Mr Kogane is absent. |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Shuichi Matsuda (Mr) | Deputy Director of Certification Department Senior Certification Engineer | 7 years in Ex |
| Takeo Sekine (Mr) | Senior Certification Engineer | 34 years in Ex |

## Organizational structure

The organisation charts are shown in Annexes A and B.

## Indemnity insurance

Not relevant for scope extension.

## Resources

TIIS has demonstrated that it has the necessary resources for competent staff to carry out the ExCB role related to the scope extension for IEC 60079-28.

## Committees (such as governing or advisory boards)

Not relevant for scope extension.

## Certification operations

### National approval/certification methods

Not relevant for scope extension.

### Certification policy

Not relevant for scope extension.

### Application for certification

There is an IECEx application form available from TIIS that includes provision to apply for IEC 60079-28.

### Certification decision

This was previously covered during the site assessment conducted in December 2013 and was included in ExMC/910/DV.  The staff involved in the certification decision also have the relevant competencies for the standard sought in the scope extension.

### Suspension and cancellation of certificates

Not relevant for scope extension.  This was previously covered during the site assessment conducted in December 2013 and was included in ExMC/910/DV.

## Certificates issued

TIIS have issued 38 local certificates covering optical radiation to IEC 60079-28.  For local certification no test report is issued.

## National accreditation

TIIS does not hold an accreditation for ISO/IEC 17065 from an accreditation agency such as Japan Accreditation Board for Conformity Assessment (JAB), since TIIS is authorized by the Ministry of Health, Labour and Welfare of Japan to issue certificates under Occupational Safety and Health Law.  Hence this visit was a surveillance visit as well as a scope extension visit.

It does hold certification to ISO 9001: 2015.

## Assessment of manufacturers and issue of QARs

Revised procedures based on a previous surveillance visit were reviewed and found satisfactory except for one issue relating to review of QARs which was subsequently resolved to the satisfaction of the assessor.

## Comments (including issues found during assessment)

Only one ExCB issue that required resolution remained after the assessment visit, and this was done as noted in 3.16 above.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied where the edition is not shown.

### Additional references applied for this assessment

There are no additional references.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Mizuki Yamaguma (Mr/Ph.D) | Executive Managing Director |
| Minari Kogane (Mr) | Department Director, Certification Department. Head of ExCB and ExTL |
| Hidenori SATOU (Mr) | Senior Testing Engineer |
| Shigeaki TANABE (Mr) | Testing Engineer |
| Takashi GOTOH (Mr) | Testing Engineer |

## Associated ExCB(s)

Both the ExCB and ExTL fall within the operation of TIIS.  There is some common staff in both departments, but ExCB and ExTL roles are separated on a project by project basis.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Katsuya Enomoto (Mr) | President of TIIS | 5 years in Ex |
| Mizuki Yamaguma (Mr/Ph.D) | Executive Managing Director | 5 years in Ex |
| Minari Kogane (Mr) | Department Director, Certification Department. Head of ExCB and ExTL | 25 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Akira Matsuki (Mr) | Management Representative of QMS | 22 years in quality management |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Takashi Gotoh (Mr) | Deputy Director of Testing Department Senior Testing Engineer | 21 years in Ex |
| Izumi Yamane (Mr) | Senior Testing Engineer | 11 years in Ex |
| Hidenori Satou (Mr) | Senior Testing Engineer | 9 years in Ex |
| Masaru Tanaka (Mr) | Testing Engineer | 48 years in Ex |
| Masaki Kaneko (Mr) | Testing Engineer | 23 years in Ex |
| Masanobu Hatanaka (Mr) | Testing Engineer | 29 years in Ex |
| Shinji Ogawa (Mr) | Testing Engineer | 10 years in Ex |
| Takuro Kubo (Mr/Ph.D) | Testing Engineer | 7 years in Ex |
| Shigeaki Tanabe (Mr) | Testing Engineer Senior Quality Assessor | 5 years in Ex |
| Shinpei Sakaguchi (Mr) | Testing Engineer | 4 years in Ex |
| Kouji Nakaya (Mr) | Testing Engineer | 3 years in Ex |
| Tokiko Osawa (Ms) | Testing Engineer | 2 years in Ex |
| You Kojima (Mr) | Testing Engineer | 1 years in Ex |
| Toru Hinouchi (Mr) | Testing Engineer | 7 years in Ex |

## Organizational structure

See attached organization charts in Annexes A and B and the description in Clause 2.1 of this report.

## Resources

TIIS has an adequate number of staff with appropriate competence for the revised scope of standards.  There is a comprehensive range of test procedures and forms for tests in those standards.  Test equipment is available for all tests in the standards. The environmental conditions in the laboratory are appropriate for the testing.  Details of the above are documented in the Technical Capability Document completed at the initial assessment and updated for an earlier scope extension.  The TCD has been further updated for this scope extension.

## Test reports issued

TIIS have not issued any test reports for IEC 60079-28.  But they do have internal records of testing done for local certification.

## National accreditation

TIIS does not hold national accreditation for the standards sought in the scope extension, and the national accreditation they do hold does not cover the quality system relevant to IECEx.  Hence there will be a need for annual surveillance.

It does hold certification to ISO 9001:2015.

## Calibration

All equipment viewed for the test witnessed were in calibration.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0 Ed7.0 | 26.17 | Transferred charge test | Competence demonstrated |
| IEC 60079-28 Ed2.0 | 5.2 | Requirements for inherently safe optical radiation “op is” | Competence demonstrated using different items under test, LEDs and laser. |
|  | 5.2.2.2 | Continuous wave radiation- Optical power |  |
|  | 5.2.2.3 | Continuous wave radiation - Optical irradiance | Competence demonstrated using LED luminaire |
|  | 5.2.3.2 | Optical pulse duration of less than or equal to 1 s for Group II | Competence demonstrated using single pulse LED. |

## Participation in IECEx Proficiency Testing Programs

This is not relevant for the scope extension, as optical radiation has not yet been included in the proficiency testing program.

## Comments (including issues found during assessment)

Only one ExTL issue that required resolution remained after the assessment visit. There were inconsistencies in the staff shown as competent in the skills matrix and those shown competent in the TCD. This was subsequently resolved to the satisfaction of the assessor.

# Annexes

See Contents for list of Annexes.

- Overall Organisation Chart

- Organisation Chart of ExCB