INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPENT FOR USE

IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: Scope Extension Assessment Report for, Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC), CN, an Accepted ExTL within the IECEx System, Equipment Scheme 02 to include IEC 60079-33, ISO 80079-36 and ISO 80079-37 in their scope.

To: Members of the IECEx Management Committee, ExMC

Introduction

Following an application for a scope extension by Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC), CN, an Accepted ExTL within the IECEx System, Equipment Scheme 02, to include IEC 60079-33, ISO 80079-36 and ISO 80079-37 within their scope, a special site assessment visit was arranged and conducted.

This report details the assessment findings of this scope extension with the IECEx

Assessment Team recommending the acceptance of the above scope extension.

It is now hereby submitted for voting by ExMC.

Please consider the report and return the completed voting form, separate Word

Document, to the Secretariat by 2018 08 08

Your speedy response to the voting process will be very much appreciated.

Chris Agius

IECEx Secretary

Address:

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 46 27 5285 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExTL assessment report for Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC)

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Application information and background information on the assessment	5

1.6	Scopes	6

1.6.1	Additional Standards for ExCB scope for equipment certification scheme	6

1.6.2	Additional Standards for ExTL scope	6

2	Common information	7

2.1	Legal entity of body	7

2.2	Financial support	7

2.3	History	7

2.4	Documentation	7

2.4.1	Quality manual	7

2.4.2	Procedures	7

2.4.3	Work instructions	7

2.4.4	Records (including test records where relevant)	7

2.4.5	Document change control	7

2.5	Confidentiality	7

2.6	Communication with public and customers (Hard copy and Electronic)	7

2.7	Recognitions and agreements	7

2.8	Internal audit	8

2.9	Management review	8

2.10	Contracting, subcontracting and witness testing	8

2.10.1	Contracting	8

2.10.2	Subcontracting	8

2.10.3	Witness testing	8

2.11	Training and competence	8

2.12	Complaints and appeals (including appeals to IECEx)	8

2.13	Impartiality	8

2.14	Commenting on ExTAG Documents	8

2.15	Special facts to be noted	8

2.16	Supporting documentation	8

2.17	Recommendations	9

3	ExTL for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.1.1	General references	10

3.1.2	Additional references applied for this assessment	10

3.2	Candidate ExTL persons interviewed	10

3.3	Associated ExCB(s)	10

3.4	Organisation	10

3.4.1	Names, titles and experience of the senior executives	10

3.4.2	Name, title and experience of the quality management representative	11

3.4.3	Other employees in ExTL activity (overall list)	11

3.5	Organizational structure	11

3.6	Resources	11

3.7	Test reports issued	11

3.8	National accreditation	12

3.9	Calibration	12

3.10	Tests witnessed during the assessment visit	13

3.11	Participation in IECEx Proficiency Testing Programs	13

3.12	Comments (including issues found during assessment)	13

4	Annexes	14

Annex A Overall Organisation Chart	15

Annex B Organisation Chart of ExTL	16

Annex C Accreditation Certificate for ISO/IEC 17025 	17

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

People's Republic of China

### Name of body

Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Yin Hong | Executive director | Yinhong@pcec.com.cn |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Katy Holdredge | IECEx Lead Assessor |
| Michel Brenon | IECEx Assessor |

### Place(s) of assessment

85, No 3 Road, Ding Zi Gu Hong Qiao District, Tianjin 300131 People's Republic of China

### Assessment date(s)

14 – 15 November 2017

## Application information and background information on the assessment

Information relevant to the Secretariat review process: ExMC/251B/Q ExCB/ExTL Capability Declaration for Extension of Scope from the Secretariat.

## Scopes

### Additional Standards for ExCB scope for equipment certification scheme

Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC) is an ExTL for China Quality Mark Certification Group Co. Ltd (CQM), which is also being assessed for the same scope increase.

| Number | Title |
| --- | --- |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |

NOTE 1	Any Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### Additional Standards for ExTL scope

The ExTL scope is the same as for the ExCB.

| Number | Title |
| --- | --- |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |

# Common information

## Legal entity of body

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Financial support

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## History

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Documentation

### Quality manual

The quality system have been updated to incorporate the requirements of OD 280 for nonelectrical equipment and OD233 for Ex ‘s’.  The quality system of PCEC consists of four levels:

Level A: FB/M Quality Manual

Level B: FB/P Procedures

Level C: FB/Z Work Instructions

Level D: FB/Q-XX Quality Documents / Forms

Edition 5 is presently in force (also available in English language). The manuals of all levels were reviewed during the assessment and found to meet the requirements of the IECEx.

### Procedures

While covered in the assessment reported in ExMC/1101/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.  Procedures can be found in the Level B (FB/P) manual. Several procedures were checked. All met the requirements of the IECEx.

### Work instructions

While covered in the assessment reported in ExMC/1101/DV, it was confirmed that the work instructions also cover the new standards listed under the scope extension request. Work instructions can be found in the Level C (FB/Z) manual. Work instructions were used during the assessment and found to meet the requirements of the IECEx.

### Records (including test records where relevant)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

### Document change control

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Confidentiality

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Communication with public and customers (Hard copy and Electronic)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Recognitions and agreements

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Internal audit

While covered in the assessment reported in ExMC/1101/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Management review

While covered in the assessment reported in ExMC/1101/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Contracting, subcontracting and witness testing

### Contracting

There is no contracting used for these standards.

### Subcontracting

There is no subcontracting used for these standards.

### Witness testing

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Training and competence

There is a competency matrix for the IECEx Scheme. Interviews were undertaken with staff to ensure that they had the required level of understanding. These are included in a TCD document which is held by the Secretariat. Training records for each staff member are held as hard copy and are very comprehensive.  Training was given on IEC 60079-33 and IECEx OD 233 on 2017-01-10 by Liu Bing.  Training was given on ISO 80079-36 and ISO 80079-37 on 2016-12-19 by Liu Yanjie and on ISO 80079-36, ISO 80079-37 and IECEx OD280 on 2017-08-28 by An Penghui.

## Complaints and appeals (including appeals to IECEx)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1101/DV.

## Impartiality

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Commenting on ExTAG Documents

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Special facts to be noted

None

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed are included in the above TCD

- Assessors’ notes

- Other

## Recommendations

Based on the assessment performed on 14 – 15 November 2017, Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC) is recommended for scope extension to include the standards listed in 1.6 in the IECEx scheme as:

An ExTL in the IECEx Certified Equipment Scheme.

| Katy Holdredge | Michel Brenon |
| --- | --- |
| IECEx Lead Assessor | IECEx Assessor |

Date:  2018-02-01

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Nonelectrical Equipment and Protective Systems

- OD 233 IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Xue Dingfa | Senior Engineer |
| Pang Jianjun | Quality Manager |
| Yang Jin Nan | Senior Engineer |
| Liu Yanije | Head of motor test and research laboratory |
| Gao Lie | Assistant engineer |
| Ma Zihan | Engineer |
| Liu Hao | Engineer |
| An Penghui | Head of international Business section |
| Guo Jun | Assistant Engineer |
| Yang Xi | Engineer |
| Li Bofeng | Engineer |

## Associated ExCB(s)

China Quality Mark Certification Group Co. Ltd (CQM)

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Yin Hong | Executive director | Engineer, 13 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Pang Jianjun | Quality Manager | Senior economist, 16 years |

### Other employees in ExTL activity (overall list)

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Yin Hong | Executive director | 13 years |
| Pang Jianjun | Quality Manager | Senior economist, 16 years |
| Liu Bing | Technical Manager | Senior engineer, 19 years |
| Guo Zhijia | Head of general office | Senior engineer, 18 years |
| Xing Yun | Head of test laboratory 3 | Engineer, 13 years |
| Zhao Peng | Head of test laboratory 1 | 13 years |
| Yu Aisheng | Head of test laboratory 2 | Engineer, 6 years |
| An Penghui | Head of international Business section | 12 years |
| Li Dong | Head of CNOOC technical service section | 4 years |
| Liu Yanjie | Head of motor test and research laboratory | 11 years |
| Meng Xue | Head of system test and research laboratory | 11 years |
| Ouyang Jun | Head of engineering section | 8 years |
| Yang Jinnan | Senior Engineer | Senior engineer, 18 years |
| Xue Dingfa | Senior Engineer | 32 years |
| Song Lidi | Engineer | 10 years |
| Qiao Qin | Engineer | 10 years |
| Zhang Haiou | Vice general engineer | Senior engineer, 22 years |
| Zhuang Xiaoyu | Engineer | 8 years |
| Han Yipeng | Assistant engineer | 9 years |
| Guo Jun | Assistant Engineer | 3 years |
| Gu Xiang | Engineer | 7 years |
| Wang Junzhi | Assistant engineer | 12 years |
| Sun Bo | Assistant engineer | 4 years |
| Ge Shengzhe | Assistant engineer | 10 years |
| Zhang Lei | Assistant engineer | 5 years |
| Wang Chuang | Assistant engineer | 5 years |
| Zhou Ya | engineer | 3 years |
| Liu Hao | engineer | 5 years |
| Gao Lie | Assistant engineer | 2 years |
| Yang Xi | engineer | 4 years |
| Li Bofeng | engineer | 3 years |
| Yuan Gang | Assistant engineer | 2 years |

## Organizational structure

Included in the Site Assessment Report

## Resources

Adequate staff resources are available including Independent Verifiers according IEC 60079-33.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.

Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC) was able to demonstrate experience with non-electrical standards and special requirements, noting the number of certificates and reports issued under national requirements:

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2014 | 2015 | 2016 | 2017 |  |
| IEC 60079-33 | Ex d s IIB T4 Ga/Gb to GB 3836.1-2010 (IEC 60079-0), GB 3836.2-2010 (IEC 60079-1), GB 3836.9-2010 (IEC 60079-18) and GB 3836.20-2010 (IEC 60079-26) | 0 | 0 | 0 | 1 | 1 |
| ISO 80079-36 and ISO 80079-37 | Ex c IIB T3 Gb to EN 13463-1 and EN 13463-5 | 0 | 1 | 0 | 0 | 1 |

Although the number of test reports is low, PCEC was able to demonstrate competence through testing and interviews with qualified staff.

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

NOTE 2 Where the number of reports is low, assessors are expected to carefully check current capability

and document the process in this report.

## National accreditation

Supervision & Test Centre of Ex-products of China Petroleum & Chemical Industry (PCEC) has national accreditation through CNAS for IEC 60079-33 as well as the ISO 80079-36 and ISO 80079-37 non-electrical standards along with their Chinese equivalents GB25286.1, GB 25286.2, GB25286.3, GB25286.5, GB25286.6, and GB25286.8 and EN equivalents EN 13463-1, EN 13463-2, EN 13463-3, EN 13463-5 and EN 13463-8.

The ISO/IEC 17025 certificate is included as Annex C issued 2017-05-22.

NOTE The national accreditation is checked annually by the IECEx Secretariat.

## Calibration

While covered in the assessment reported in ExMC/1101/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.  There were some issues related to calibration, these were resolved to the satisfaction of the assessment team.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-33 Edition 1.0 | 10.2.3 | Equipment outside the scope of recognized types of protection |  |
| ISO 80079-36 Edition 1.0 | 8.4.7 a) | Mechanical Resistance Test, Test for resistance to impact | Conducted after application of 8.4.1, Test temperatures |
| ISO 80079-36 Edition 1.0 | Annex D4.2 | Determination of the most efficient charging method |  |
| ISO 80079-37 Edition 1.0 | 8.3.2 | Increased Pressure test on equipment having a sealed enclosure that contains static, or flowing protective liquid |  |
| ISO 80079-37 Edition 1.0 | Annex B1 | Dry Run test |  |
| ISO 80079-37 Edition 1.0 | Annex B2 | Determination of maximum engaging time of a clutch |  |

## Participation in IECEx Proficiency Testing Programs

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Comments (including issues found during assessment)

PCEC was well-prepared for the scope expansion assessment.

There were some issues related to the following:

- Incomplete or inaccurate work instructions/procedures and

- Insufficient calibration.

Detailed information on this is shown in the site assessment report.  All issues have been resolved to the satisfaction of the assessment team.

# Annexes

Annex A 		Overall Organisation Chart

Annex B		Organisation Chart of ExTL

Annex C 		Accreditation Certificate for ISO 17025

- Overall Organisation Chart

- Organisation Chart of ExTL

Director

Executive Director

Equipment Manager

Technical Manager

Quality Manager

Technical committee

General Office

Test & research laboratory 1

Test & research

laboratory 2

Test & research

laboratory 3

Test & research

laboratory 4

International Business section

Motor test & research laboratory

System test& research laboratory

Engineering Section

CNOOC Technical service section

- Accreditation Certificate for ISO/IEC 17025