INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPENT FOR USE

IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: Scope Extension Assessment Report for, China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC), CN, an Accepted ExTL within the IECEx System, Equipment Scheme 02 to include IEC 60079-13, IEC 60079-28, ISO 80079-36 and ISO 80079-37 in their scope.

To: Members of the IECEx Management Committee, ExMC

Introduction

Following an application for a scope extension by China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC), CN, an Accepted ExTL within the IECEx System, Equipment Scheme 02 to include IEC 60079-13, IEC 60079-28, ISO 80079-36 and ISO 80079-37 within their scope, a special site assessment visit was arranged and conducted.

This report details the assessment findings of this scope extension with the IECEx

Assessment Team recommending the acceptance of the above scope extension.

It is now hereby submitted for voting by ExMC.

Please consider the report and return the completed voting form, separate Word

Document, to the Secretariat by 2018 08 08

Your speedy response to the voting process will be very much appreciated.

Chris Agius

IECEx Secretary

Address:

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 46 27 5285 Email: chris.agius@iecex.com |
| --- | --- |

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExTL assessment report for China National Quality Supervision

& Test Centre for Explosion-proof / Safety Products for

Coal Mines (CMExC)

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Application information and background information on the assessment	5

1.6	Scopes	6

1.6.1	Additional Standards for ExCB scope for equipment certification scheme	6

1.6.2	Additional Standards for ExTL scope	6

2	Common information	7

2.1	Legal entity of body	7

2.2	Financial support	7

2.3	History	7

2.4	Documentation	7

2.4.1	Quality manual	7

2.4.2	Procedures	7

2.4.3	Work instructions	7

2.4.4	Records	7

2.4.5	Document change control	7

2.5	Confidentiality	7

2.6	Communication with public and customers (Hard copy and Electronic)	7

2.7	Recognitions and agreements	8

2.8	Internal audit	8

2.9	Management review	8

2.10	Contracting, subcontracting and witness testing	8

2.10.1	Contracting	8

2.10.2	Subcontracting	8

2.10.3	Witness testing	8

2.11	Training and competence	8

2.12	Complaints and appeals (including appeals to IECEx)	8

2.13	Impartiality	8

2.14	Commenting on ExTAG Documents	8

2.15	Special facts to be noted	8

2.16	Supporting documentation	8

2.17	Recommendations	9

3	ExTL for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.1.1	General references	10

3.1.2	Additional references applied for this assessment	10

3.2	Candidate ExTL persons interviewed	10

3.3	Associated ExCB(s)	10

3.4	Organisation	10

3.4.1	Names, titles and experience of the senior executives	10

3.4.2	Name, title and experience of the quality management representative	11

3.4.3	Other employees in ExTL activity (overall list)	12

3.5	Organizational structure	13

3.6	Resources	13

3.7	Test reports issued	13

3.8	National accreditation	13

3.9	Calibration	14

3.10	Tests witnessed during the assessment visit	14

3.11	Participation in IECEx Proficiency Testing Programs	14

3.12	Comments (including issues found during assessment)	14

4	Annexes	15

Annex A Overall Organisation Chart	16

Annex B Organisation Chart of ExTL	17

Annex C Accreditation Certificate for ISO 17025 	18

# Assessment information

## Type of Body covered by this assessment: <retain appropriate marks>

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

People's Republic of China

### Name of body

China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Zhu Shian | Vice Director, Quality Manager | zhushianabc@sina.com |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Katy Holdredge | IECEx Lead Assessor |
| Michel Brenon | IECEx Assessor |

### Place(s) of assessment

No.11, BinHe Road, Economic Development Zone Fushun 113122 People's Republic of China

### Assessment date(s)

11 – 12 November 2017

## Application information and background information on the assessment

Information relevant to the Secretariat review process: ExMC/251B/Q ExCB/ExTL Capability Declaration for Extension of Scope from the Secretariat

## Scopes

### Additional Standards for ExCB scope for equipment certification scheme

China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC) is an ExTL for China Quality Mark Certification Group Co. Ltd (CQM), which currently has IEC 60079-13 and IEC 60079-28 within its scope and was also assessed for a scope increase for ISO 80079-36 and ISO 80079-37.

| Number | Title |
| --- | --- |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres – Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres – Part 28: Protection of equipment and transmission systems using optical radiation |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |

NOTE 1	Any Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### Additional Standards for ExTL scope

The ExTL scope is the same as for the ExCB.

| Number | Title |
| --- | --- |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres – Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres – Part 28: Protection of equipment and transmission systems using optical radiation |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” |

# Common information

## Legal entity of body

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Financial support

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## History

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Documentation

### Quality manual

The quality system documentation consists of 4 levels:

Level 1: Quality Manual (FFA10000 series)

Level 2: Procedures (FFA20000 series)

Level 3: Operational Documents (FFA30000 series)

Level 4: Forms (FFA40000 series)

The first version of the Quality Manual was issued on October 1st, 2011; the latest version on August 1st, 2017.  There were no changes to the Quality Manual related to the scope expansion.  Therefore, it was considered as covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

### Procedures

Procedure FFA23034 describes the operation of IECEx in Chinese language.  There were no changes to the procedure related to the scope expansion.  Therefore, it was considered as covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

### Work instructions

The Level 3 operational documents (FFA30000 series) have been updated to incorporate requirements of IEC 60079-13, IEC 60079-28, ISO 80079-36 and ISO 80079-37.  Examples of work instructions for IEC 60079-13, FFA31251 IEC, Detailed rules and regulations for mechanical strength test and ISO 80079-36, FFA31257 IEC, Determination of the maximum surface temperature, were viewed.

There was an issue related to these documents, specifically missing reference to IECEx OD 280 and performing ignition hazard assessments for non-electrical equipment.  The documentation was revised to the satisfaction of the assessment team and in accordance with the IECEx requirements.

### Records (including test records where relevant)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

### Document change control

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Confidentiality

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Communication with public and customers (Hard copy and Electronic)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Recognitions and agreements

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Internal audit

While covered in the assessment reported in ExMC/1098/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Management review

While covered in the assessment reported in ExMC/1098/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request.

## Contracting, subcontracting and witness testing

### Contracting

There is no contracting used for these standards.

### Subcontracting

There is no subcontracting used for these standards.

### Witness testing

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Training and competence

There is a competency matrix for the IECEx Scheme. Interviews were undertaken with staff to determine their level of understanding of the standards in the scope expansion. These are included in a TCD document which is held by the Secretariat. There were hard copy training records for the Safety instrument test device and Ex test departments related to the scope expansion as well as records to verify the effectiveness of the training.

Additional training was required to address the issue of the missing reference to IECEx OD 280 and performing ignition hazard assessments for non-electrical equipment. Evidence of training was provided and the issue was resolved to the satisfaction of the assessment team.

## Complaints and appeals (including appeals to IECEx)

Not part of this assessment as this is a scope extension assessment. This was covered in the last reassessment; refer to Re-assessment Report ExMC/1098/DV.

## Impartiality

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Commenting on ExTAG Documents

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Special facts to be noted

None

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed are included in the above TCD

- Other

## Recommendations

Based on the assessment performed on 11 – 12 November 2017, China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC) is recommended for scope extension to include the standards listed in 1.6 in the IECEx scheme as:

- An ExTL in the IECEx Certified Equipment Scheme.

| Katy Holdredge | Michel Brenon |
| --- | --- |
| IECEx Lead Assessor | IECEx Assessor |

Date:  2018-02-09

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Nonelectrical Equipment and Protective Systems

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Zhu Shian | Vice Director, Quality Manager |
| Shi Lei | Vice Director of Flame-proof Department |
| Li Bing | Vice Director of Flame-proof Department |
| Li Zhe | Vice Director of Safety Instrument Department |
| Li Zhongqiang | Vice Director of Safety Instrument Department |
| Zhang Weibin | Testing person |
| Kong, Liying | Testing person |
| Chen Fandong | Testing person |
| Shi Ruotong | Testing person |
| Huang Xuanzhe | Testing person |
| Pan Yanan | Testing person |
| Wang Dong | Testing person |
| Zhang Yan | Testing person |
| Yang Guangyu | Testing person |

## Associated ExCB(s)

China Quality Mark Certification Group Co. Ltd (CQM)

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Luo Haizhu | Director | 32 years 5 years director of CMExC 19 years for science and technology research work in FSCCRI 12 years Director of a research institute |
| Liu Chunfu | Executive Vice Director | 31 years 9 years for inspector in CMExC 8 years for Ex equipment’s design and production 10 years for Executive Vice Director |
| Dong Chunhai | Vice Director, Technical director | 32 years 9 years for inspector in CMExC 12 years for manager in CMExC 13 years for Vice Director |
| Zhu Shian | Vice Director, Quality Manager | 21 years 7 years for inspector of intrinsic safety instruments 14 years for Vice Director |
| Zhang Hongfu | Vice Director | 24 years 9 years for inspector in CMExC 13 years for science and technology research work in CMExC 4years for Vice Director |
| Yang Guangyu | Director of Flame-proof Department | 21 years 12 years for inspector of Flame-proof and Electrical production. 5 years for vice director of Electrical Department 6years for manager of Flame-proof Department |
| Zhang Wanzhe | Director of Electrical Equipment Department | 31 years 7 years for inspector of Flame-proof and Electrical production. 12 years for science and technology research work in CMExC 9 years for vice director of Electrical Equipment Department 7 years for director of Electrical Equipment Department |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Zhu Shian | Vice Director, Quality Manager | 21 years 7 years for inspector of intrinsic safety products 14 years for Vice Director and Quality Manager |
| Dong Chunhai | Vice Director, Technical director | 23years 10 years for manager in CMExC and Quality Manager 13 years for Vice Director |
| Liu Chunfu | Executive Vice Director | 26 years 7 years for inspector in CMExC 8 years for Ex equipment’s design and production 10 years for Executive Vice Director |

### Other employees in ExTL activity (overall list)

| Name | Title | Experience in Ex |
| --- | --- | --- |
| Luo Haizhu | Director | 6 years |
| Liu Chunfu | Executive Vice Director | 26 years |
| Dong Chunhai | Vice Director, Technical director | 23 years |
| Zhu Shian | Vice Director ,Quality manager | 21 years |
| Zhang Hongfu | Vice Director | 24 years |
| Yang Guangyu | Director of Flame-proof Department | 21 years |
| Liu Yongming | Vice Director of Flame-proof Department | 13 years |
| Shi Lei | Vice Director of Flame-proof Department | 16 years |
| Li Bing | Vice Director of Flame-proof Department | 10 years |
| Wang Hui | Chief Engineer of Flame-proof Department | 16years |
| Kang Liying | Testing person | 15 years |
| Ren Nan | Testing person | 15 years |
| Li Zhenxi | Testing person | 9 years |
| Lin Na | Testing person | 16 years |
| Feng Liguo | Testing person | 13 years |
| Wang Zhan | Testing person | 28 years |
| Tu Zhiyu | Testing person | 38 years |
| Wen Luchun | Testing person | 10 years |
| Geng Yanbo | Testing person | 15 years |
| Zhang Weibin | Testing person | 8 years |
| Ju Zhe | Testing person | 8 years |
| Shi Ruotong | Testing person | 4 years |
| Huang Xuanzhe | Testing person | 4 years |
| Li Tongzhe | Testing person | 6 years |
| Chen Fandong | Testing person | 6 years |
| Wang Meng | Testing person | 2 years |
| Liang Bo | Testing person | 3 years |
| Ma Long | Director of Safety Instrument Department | 6 years |
| Li Zhe | Testing person | 16 years |
| Li Zhongqiang | Testing person | 11 years |
| Zhang Yan | Testing person | 14 years |
| Liu Yajun | Testing person | 4 years |
| Pan Yanan | Testing person | 12 years |
| Wang Dong | Testing person | 9 years |
| Ha Xun | Testing person | 32 years |
| Zhang Fang | Testing person | 25 years |
| Zhang Qiulin | Testing person | 5 years |
| He Minggang | Testing person | 13 years |
| Zhang Wangzhe | Director of Electrical Equipment Department | 33 years |
| Liu Xiping | Director of Cable Test Department | 12 years |
| Chen Jun | Calibration & Equipment Management Clerk | 22 years |
| Zuo Hang | File Management Clerk | 12 years |
| Wang Yukun | Testing person | 9 years |
| Wang Shuai | Testing person | 11 years |
| Tong Dejun | Testing person | 14 years |
| Zhang Hongkui | Testing person | 5 years |

## Organizational structure

Included in Annexes A and B.

## Resources

Adequate staff resources are available.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.

China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC) was able to demonstrate testing experience for IEC 60079-28, ISO 80079-36 and ISO 80079-37.  The competency of staff for IEC 60079-13, IEC 60079-28, ISO 80079-36 and ISO 80079-37 was verified through interviews and review of test records.  Dummy test records were prepared for the assessment as noted below:

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2014 | 2015 | 2016 | 2017 |  |
| IEC 60079-13 | Used a control panel to represent a room | 0 | 0 | 0 | 1 | 1 |
| IEC 60079-28 | Op is on laser in a methane sensor and laser pointer for use in coal mines | 0 | 0 | 0 | 3 | 3 |
| ISO 80079-36 & 37 | Ex c I Mb | 0 | 0 | 0 | 1 | 1 |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

NOTE 2 Where the number of reports is low, assessors are expected to carefully check current capability and document the process in this report.

## National accreditation

China National Quality Supervision & Test Centre for Explosion-proof / Safety Products for Coal Mines (CMExC) has national accreditation through CNAS for IEC 60079-13 and IEC 60079-28 as well as the ISO 80079-36 and ISO 80079-37 non-electrical standards along with their Chinese equivalents GB25286.1, GB25286.2, GB25286.3, GB25286.5, GB25286.6, and GB25286.8.

The ISO 17025 certificate is included as Annex C issued 2018-05-13.

NOTE The national accreditation is checked annually by the IECEx Secretariat.

## Calibration

While covered in the assessment reported in ExMC/1098/DV, it was confirmed that the procedures also cover the new standards listed under the scope extension request. There were some issues related to calibration, which were resolved to the satisfaction of the assessment team and in accordance with the IECEx requirements.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| ISO 80079-36 Edition 1.0 | 8.4.7 a) | Mechanical Resistance Test, Test for resistance to impact | Conducted after application of 8.4.1, Test temperatures |
| ISO 80079-36 Edition 1.0 | Annex D4.2 | Determination of the most efficient charging method |  |
| ISO 80079-37 Edition 1.0 | 8.3.2 | Increased Pressure test on equipment having a sealed enclosure that contains static, or flowing protective liquid |  |
| ISO 80079-37 Edition 1.0 | Annex B1 | Dry Run test |  |
| ISO 80079-37 Edition 1.0 | Annex B2 | Determination of maximum engaging time of a clutch |  |
| IEC 60079-28 | 5.2.2.2 | Optical power |  |

## Participation in IECEx Proficiency Testing Programs

Not part of this assessment as this is a scope extension assessment. This will be covered in the next reassessment as this a new item.

## Comments (including issues found during assessment)

The issues found were as follows:

- Work instructions missing reference to IECEx OD 280 and details on performing ignition hazard assessments for non-electrical equipment;

- Test record forms missing reference for the new edition of IEC 60079-13; and

- Insufficient calibration records.

All issues were resolved to the satisfaction of the assessment team and in accordance with the IECEx requirements.

# Annexes

Annex A 		Overall Organisation Chart

Annex B		Organisation Chart of ExTL

Annex C 		Accreditation Certificate for ISO 17025

- Overall Organisation Chart

- Organisation Chart of ExTL

- Accreditation Certificate for ISO 17025