INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPENT FOR USE

IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: Scope Extension Assessment Report for LCIE, an Accepted ExCB and ExTL within the IECEx System, Equipment Scheme 02, to include IEC TS 60079-46, ISO 80079-36 and ISO 80079-37 in their scope.

To: Members of the IECEx Management Committee, ExMC

Introduction

Following an application for a scope extension by LCIE, to include IEC TS 60079-46, ISO 80079-36 and ISO 80079-37 within their scope, a special site assessment visit was arranged and conducted.

This report details the assessment findings of this scope extension with the IECEx

Assessment Team recommending the acceptance of the above scope extension.

It is now hereby submitted for voting by ExMC.

Please consider the report and return the completed voting form, separate Word

Document, to the Secretariat Chris Agius  by 2018 08 17

Your speedy response to the voting process will be very much appreciated.

Chris Agius

IECEx Secretary

| Address: IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 46 27 5285 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 016 for the Certified Service Facility Scheme

- Operational Document IECEx OD 022 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for

LCIE

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

(Update when report is complete – by right click, Update field, Update entire table)

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Scope	5

1.5.1	ExCB scope for equipment certification scheme	5

1.5.2	ExTL scope	5

1.5.3	ExCB scope for Service Facilities Scheme	6

1.5.4	ExCB scope for ExMark Scheme	6

2	Common information	6

2.1	Legal entity of body	6

2.2	Financial support	6

2.3	History	6

2.4	Documentation	6

2.4.1	Quality manual	6

2.4.2	Procedures	6

2.4.3	Work instructions	6

2.4.4	Records (including test records where relevant)	6

2.4.5	Document change control	6

2.5	Confidentiality	6

2.6	Publications (Hard cover and Electronic)	6

2.7	Recognition and agreements	6

2.8	Internal audit and periodic management review	7

2.9	Contracting, subcontracting, use of other labs and use of other locations	7

2.10	Training and competence	7

2.11	Complaints and appeals (including appeals to IECEx)	7

2.12	Special facts to be noted	7

2.12.1	Supporting documentation	7

2.13	Recommendations	7

3	ExCB for IECEx Certified Equipment Scheme	8

3.1	Assessment references	8

3.2	ExCB persons interviewed	8

3.3	Associated ExTL(s)	8

3.4	Associated certification functions	8

3.5	National marks and certificates	8

3.6	Standards accepted	8

3.7	National differences to IEC standards	9

3.8	Organisation	9

3.8.1	Names, titles and experience of the senior executives	9

3.8.2	Name, title and experience of the quality management representative	9

3.8.3	Name and title of signatories for certification	9

3.8.4	Other employees in ExCB activity	9

3.9	Organizational structure	9

3.10	Administration	9

3.10.1	Administrative structure	9

3.10.2	Indemnity insurance	9

3.11	Resources	9

3.12	Committees (such as governing or advisory boards)	9

3.13	Certification operations	10

3.13.1	National approval/certification methods	10

3.13.2	Certification policy	10

3.13.3	Application for certification	10

3.13.4	Certification decision	10

3.14	Certificates issued	10

3.15	National accreditation	10

3.16	Assessment of manufacturers and issue of QARs	10

3.17	Comments (including issues found during assessment)	10

4	ExTL for IECEx Certified Equipment Scheme	11

4.1	Assessment references	11

4.2	ExTL persons interviewed	11

4.3	Associated ExCB(s)	11

4.4	Organisation	11

4.4.1	Names, titles and experience of the senior executives	11

4.4.2	Name, title and experience of the quality management representative	11

4.4.3	Other employees in ExTL activity	11

4.5	Organizational structure	11

4.6	Resources	11

4.7	Test reports issued	12

4.8	National accreditation	12

4.9	Calibration	12

4.10	Proficiency	12

4.11	Comments (including issues found during assessment)	12

Annex A Overall Organisation Chart of LCIE	13

Annex B Accreditation Certificate for ISO/IEC 17065	14

Annex C Accreditation Certificate for ISO/IEC 17025	16

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

FRANCE

### Name of body

LCIE

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Marie-Elisabeth d'Ornano | Director of Certification | marie-elisabeth.dornano@lcie.fr |

## Assessment information

### Members of the assessment team

| Name | Role (modify as necessary) |
| --- | --- |
| Ron Webb | Lead assessor |

### Place(s) of assessment

LCIE – 33 Avenue du General Leclerc, FR 92260 Fontenay-aux-Roses, France

### Assessment date(s)

31 May 2018

## Scope

### ExCB scope for equipment certification scheme

| Number | Title | Scope |
| --- | --- | --- |
| ISO 80079-36 Ed. 1 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements | Extension |
| ISO 80079-37 Ed. 1 | Explosive atmospheres - Part 37: – Non-electrical equipment for explosive atmospheres - Non electrical type of protection constructional safety "c", control of ignition source "b", liquid immersion "k" | Extension |
| IEC TS 60079-46, Ed 1 | Explosive atmospheres - Part 46: Equipment assemblies | Extension |

### ExTL scope

The ExTL scope is the same as for the ExCB.

### ExCB scope for Service Facilities Scheme

Not in scope

### ExCB scope for ExMark Scheme

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

# Common information

## Legal entity of body

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Financial support

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## History

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Documentation

### Quality manual

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.  The quality manual has been updated to reflect OD280 for non-electrical equipment and assemblies.

### Procedures

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.  Specific procedures have been created for the non-electrical tests, even though these are very similar to the electrical ones.

### Work instructions

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only. Specific work instructions have been created for the non-electrical tests.

### Records (including test records where relevant)

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

### Document change control

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Confidentiality

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Publications (Hard cover and Electronic)

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Recognition and agreements

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Internal audit and periodic management review

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only. It was confirmed that the procedures also cover the new Standards listed under the scope extension request.

## Contracting, subcontracting, use of other labs and use of other locations

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only. No further subcontracting is made.

## Training and competence

Competency records are maintained for those members of staff involved in non-electrical assessments and assemblies.  Interviews were undertaken with staff to ensure that they had the required level of understanding. Training records for each staff member are comprehensive.

## Complaints and appeals (including appeals to IECEx)

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Special facts to be noted

### Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat. These are included in a site assessment report and include:

- Completed Technical Capability Document (TCD) for the 80079-36 and 80079-37 parts

- Assessor’s notes

## Recommendations

Based on the assessment performed on 31 May 2018, LCIE is recommended for continued acceptance in the IECEx scheme as an ExCB and an ExTL with the following scope extension:

  - IEC 60079-46, ISO 80079-36 and ISO 80079-37

This is according to the scope of the standards listed in this document including the extension of scope.

Ron Webb

Lead Assessor

Date: 31 May 2018

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- OD005-2 IECEx Quality System Requirements for Manufacturers – Part 2: Audit Checklist. (This is available in a Word format for use by ExCBs)

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065, General requirements for bodies operating product certification systems

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability Documents (TCD)

- ExTAG decision sheets (DSs)

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Non-electrical Equipment and Protective Systems

NOTE	The latest editions of the above documents were applied

## ExCB persons interviewed

| Name | Position |
| --- | --- |
| Julien Gauthier | Certification Officer |
| Jérôme Reysson | Unit Manager |
| Mihai Demeter | Assessment Officer |
| Gaétan Arcana | Assessment Officer |

## Associated ExTL(s)

The ExTL is integral with the ExCB.

## Associated certification functions

LCIE provides ATEX certificates in accordance with ATEX Directive 2014/34/EU and their operations are accredited to IEC/ISO 17065 by the National Accreditation Body.

LCIE is a Notified Body according to the ATEX directive 2014/34/EU.

## National marks and certificates

LCIE ATEX certificates are accepted by the European commission and by European state regulators.

## Standards accepted

Refer to OD 001 for the current scope.  See clause 1.5 of this report for scope extension.

## National differences to IEC standards

National differences to IEC standards are those differences listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience in Ex |
| --- | --- | --- |
| Marie-Elisabeth Dornano | Director of Certification | 5 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Marc Lescure | Quality Manager | 25+ years |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Marie-Elisabeth Dornano | Director of Certification |  |
| Julien Gauthier | Certification Officer |  |
| Didier Bourges | Manager of Certification Operations |  |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| As listed in the TCD |  |  |

## Organizational structure

See Annex A

## Administration

### Administrative structure

Sufficient administrative assistance is provided

### Indemnity insurance

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Resources

Error: Reference source not found has an adequate number of staff for the current level of business. There are several experienced staff in Ex activities. This finding is based on interviews with persons involved in the assessment to ISO 80079-36 and 37 which showed they had sufficient knowledge of techniques used for the ignition hazard assessment.

The laboratory and offices are located in building which provides an adequate environment for the work. The testing equipment is suitable for the range of tests carried out in house.

## Committees (such as governing or advisory boards)

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

## Certification operations

### National approval/certification methods

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

### Certification policy

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.

### Application for certification

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only.  It was confirmed that the procedures also cover the new Standards listed under the scope extension request.

### Certification decision

While a full re-assessment is planned for later this year, this assessment focused on the scope extension for ISO 80079 and IEC 60079-46 only. It was confirmed that the procedures also cover the new Standards listed under the scope extension request.

## Certificates issued

Number of certificates issued under since the introduction of ATEX Directive 2014/34/EU.

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 2 years) |  |
| --- | --- | --- | --- |
| 13463 series | Non-electrical equipment for use in potentially explosive atmospheres (ATEX) | 52 |  |
| 80079 series | Non-electrical equipment for use in potentially explosive atmospheres (ATEX) | 4 |  |

The above table represents significant experience to date with certification to non-electrical standards.

## National accreditation

LCIE has French Accreditation by Cofrac to ISO/IEC 17065 as a certification body. The certificate is shown at Annex B of this report.

The link to the Cofrac accreditation site is: http://www.cofrac.fr/annexes/sect5/5-0014.pdf

The scope of this accreditation includes the national scheme for Ex Certificates which complies with the ATEX Directive 2014/34/EU.

## Assessment of manufacturers and issue of QARs

LCIE has a procedure to addresses assessments of manufacturers. The report format includes all requirements from the IECEx Scheme together with ATEX requirements including ISO 80079-36 and ISO 80079-37.

For IECEx certification schemes a set of documented procedures is in place to enable surveillance to be carried out in accordance with the criteria of the certification systems.

## Comments (including issues found during assessment)

The staff interviewed had a good understanding of the non-electrical standards ISO 80079-36 and ISO 80079-37 due to their experience with the EN13463-xx series, which were used as a basis for development of ISO 80079-36 and ISO 80079-37

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability Documents (TCD)

- ExTAG decision sheets (DSs)

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Non-electrical Equipment and Protective Systems

NOTE	The latest editions of the above documents were applied.

## ExTL persons interviewed

| Name | Position |
| --- | --- |
| Julien Gauthier | Certification Officer |
| Jérôme Reysson | Unit Manager |
| Mihai Demeter | Assessment Officer |
| Gaétan Arcana | Assessment Officer |

## Associated ExCB(s)

The ExTL is integral with the ExCB

## Organisation

### Names, titles and experience of the senior executives

| Marie-Elisabeth Dornano | Director of Certification | 5 years |
| --- | --- | --- |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Marc Lescure | Quality Manager | 25+ years |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex and Ex h |
| --- | --- | --- |
| As listed in the TCD |  |  |

## Organizational structure

See Annex A

## Resources

LCIE has about 18 employees in the Ex operation.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding years for each type of protection corresponds to the number of certificates issued shown in 3.14

Regarding Scope Extension for ISO 80079-36 and ISO 80079-37, the assessment team interviewed the relevant staff and found them to have a thorough understanding of the Standards and the assessment required.

A review of files relating to non-electrical Ex equipment (under the ATEX Directive) was also undertaken during the assessment and found to be satisfactory and complete with evidence that the concepts were well understood by the Staff.

The principle of risk assessment is also well understood

## National accreditation

LCIE has accreditation from the French Accreditation body Cofrac according to ISO/IEC 17025:2005. A copy of the accreditation is attached at Annex C.

The link to the the Cofrac Accreditation site is: http://www.cofrac.fr/annexes/sect1/1-0311.pdf

The 17025 accreditation scope of LCIE include EN 13463 series which are the previous and European version of ISO 80079-36 and -37.

## Calibration

The majority of test equipment is sent out for calibration by an external calibration facility. These calibration facilities are 17025 accredited.

## Proficiency

LCIE partakes in the Proficiency testing organised by PTB.

## Comments (including issues found during assessment)

Minor issues were found which were cleared to the satisfaction of the assessment team quickly during the visit.

These included the correct use of the ignition hazard assessment form.

- Overall Organisation Chart of LCIE

- Accreditation Certificate for ISO/IEC 17065

- Accreditation Certificate for ISO/IEC 17025