INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title:	Re-assessment and Scope Extension Report for the continued acceptance of 	CHEM - National Quality Supervision and Inspection Centre of Hoisting & 	Metallurgical & Explosion-Proof Electric Machine, CN, an Accepted 	Certification Body, (ExCB), and an Accepted Ex Testing Laboratory (ExTL) 	within the IECEx System, Equipment Scheme 02.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, this document contains the IECEx Re-assessment and Scope Extension Report for the continued acceptance of CHEM - National Quality Supervision and Inspection Centre of Hoisting & Metallurgical & Explosion-Proof Electric Machine an Accepted Certification Body (ExCB) and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

During the re-assessment the IECEx Assessment Team took the opportunity to also assess CHEM, CN, equipment and competence to undertake testing and certification to the Standards –

- IEC 60079-15 Ed. 4	Explosive atmospheres - Part 15: Equipment protection by type of protection "n"

- IEC 60079-18 Ed. 3	Explosive atmospheres - Part 18: Equipment protection by encapsulation “m”

The report is hereby submitted for voting by the ExMC by  the new on-line voting system.

2018 09 14

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 016 for the Certified Service Facility Scheme

- Operational Document IECEx OD 022 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for

CHEM - National Quality Supervision and Inspection Centre of Hoisting & Metallurgical & Explosion-Proof Electric Machine

154005 Heilongjiang Province

CHINA

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

(Update when report is complete – by right click, Update field, Update entire table)

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Scope	6

1.5.1	ExCB scope for equipment certification scheme	6

1.5.2	ExTL scope	6

1.5.3	ExCB scope for Service Facilities Scheme	6

1.5.4	ExCB scope for ExMark Scheme	6

2	Common information	7

2.1	Legal entity of body	7

2.2	Financial support	7

2.3	History	7

2.4	Documentation	7

2.4.1	Quality manual	7

2.4.2	Procedures	7

2.4.3	Work instructions	7

2.4.4	Records (including test records where relevant)	7

2.4.5	Document change control	8

2.5	Confidentiality	8

2.6	Publications (Hard cover and Electronic)	8

2.7	Recognition and agreements	8

2.8	Internal audit and periodic management review	8

2.9	Contracting, subcontracting, use of other labs and use of other locations	8

2.10	Training and competence	9

2.11	Complaints and appeals (including appeals to IECEx)	9

2.12	Special facts to be noted	9

2.12.1	Supporting documentation	9

2.13	Recommendations	9

3	ExCB for IECEx Certified Equipment Scheme	10

4	ExTL for IECEx Certified Equipment Scheme	10

4.1	Assessment references	10

4.2	ExTL persons interviewed	10

4.3	Associated ExCB(s)	10

4.4	Organisation	10

4.4.1	Names, titles and experience of the senior executives	10

4.4.2	Name, title and experience of the quality management representative	10

4.4.3	Other employees in ExTL activity	11

4.5	Organizational structure	11

4.6	Resources	11

4.7	Test reports issued	11

4.8	Calibration	12

4.9	Proficiency	12

4.10	Comments (including issues found during assessment)	12

Annexes	12

Annex A Overall Organisation Chart	13

Annex B Accreditation Certificate for ISO/IEC 17065	14

Annex C Accreditation Certificate for ISO/IEC 17025 (relevant pages only)	14

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

CHINA

### Name of body

CHEM - National Quality Supervision and Inspection Centre of Hoisting & Metallurgical & Explosion-Proof Electric Machine as ExTL

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Mr. Shang Zhikui | Director of JEXM | szk@jexm.com.cn |

## Assessment information

### Members of the assessment team

| Name | Role (modify as necessary) |
| --- | --- |
| Thierry Houeix (INERIS) | Lead assessor |
| Gordana Ostojic (TESTSAFE) | Expert Assessor |

### Place(s) of assessment

3 Anqing Street
Jiamusi
154005 Heilongjiang Province

### Assessment date(s)

16 - 17 October 2017 follow-up.

## Scope

### ExCB scope for equipment certification scheme

CHEM is associated with China Quality Mark Certification Group Co. Ltd. (CQM) in Beijing. The complete scope of CQM is available on:	
http://www.iecex.com/directory/bodies/ExCB_equip.asp?id=12

When working with CHEM, the scope is limited to the scope shown hereafter on clause 1.5.2.

### ExTL scope

The ExTL scope is shown on the table below.

| Number | Title | Scope |
| --- | --- | --- |
| IEC 60079-0 Ed. 6 | Explosive atmospheres - Part 0: Equipment - General requirements | Already in |
| IEC 60079-1 Ed. 7 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Already in |
| IEC 60079-2 Ed. 5 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» | Already in |
| IEC 60079-7 Ed. 4 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Already in |
| IEC 60079-11 Ed. 6 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Already in |
| IEC 60079-15 Ed. 4 | Explosive atmospheres - Part 15: Equipment protection by type of protection "n" | Requested |
| IEC 60079-18 Ed. 3 | Explosive atmospheres - Part 18: Equipment protection by encapsulation “m” | Requested |
| IEC 60079-31 Ed. 2 | Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" | Already in |

### ExCB scope for Service Facilities Scheme

Not in the scope of ExCB.

### ExCB scope for ExMark Scheme

The ExMark scheme is not in the scope of ExCB.

# 2.Common information

## Legal entity of body

Jiamusi Explosion-Proof Electric Machine Institute (JEXM) where CHEM - National Quality Supervision and Inspection Centre of Hoisting & Metallurgical & Explosion-Proof Electric Machine belongs to holds a business license from the "Qianjin Branch of Municipal Administration for Industry and Commerce of Jiamusi with the number 91230804731278970U. The license was issued on September 1st, 2015 and is valid until November 4th, 2023.

The document was checked during the assessment and found to meet the requirements of the IECEx.

It was also noted that all Testing Laboratories in JEXM Company are brought together in Jiamusi Explosion-Proof Electric Machine Institute Testing Laboratories (JExTL)

## Financial support

Under the JExTL financial policies, the testing activities of CHEM are required to be run on a self-financing basis from the fees charged for their services.

## History

CHEM - National Quality Supervision and Inspection Centre of Hoisting & Metallurgical & Explosion-Proof Electric Machine is a private company founded in 1992.

CHEM was established under the authorization of State Bureau of Technical Supervision. The detection range covers various kinds of performance tests for explosion-proof electric apparatuses, etcetera. The history of explosion-proof performance test can be traced back to the year of 1962. JEXM was the first organization in the P.R. of China issuing a certificate for explosion-proof electric machine for use in a factory (Group II).

## Documentation

### Quality manual

The Quality Manual is referenced JExTL-SC06/2016. It is written in accordance with ISO/IEC 17025:2005 and it is the quality manual for the all the testing laboratories of JExTL including CHEM.

It consists of several levels: SC (General), CX (Procedures), JG & CG (test and equipment instructions) and L (Forms, Records/Reports).

The whole QM is complete and accessible by all employees on the intranet. The QM was checked during the assessment and found to meet the requirements of the IECEx

### Procedures

CHEM have a comprehensive range of procedures covering all aspects of the testing operations and were audited as part of this assessment. Where applicable each procedure has with it an associated test sheet for completion by the staff. The relevant existing procedures were found to meet the requirements of the IECEx.

### Work instructions

CHEM have comprehensive ranges of work instructions detailing the general procedure, and sets out in JG documents.

### Records (including test records where relevant)

All records are appropriately maintained and stored. There is also an archiving process in place for all records. The system was found to meet the requirements of the IECEx. The records retained are a combination of hard copy records and electronic records, with the assessment team confirming appropriate control procedures and confirmation of records retained.

The assessment team also confirmed that retention of records complied with IECEx requirements including the disposition of records.

### Document change control

CHEM have procedure relating document change control in chapter 4.3 of the QM as well in procedures CX-C02-2010 (for documents in paper) and CX-C24-2010 (for documents in electronic format).

The assessment team confirmed that this also addressed the issue of externally generated documents, eg standards, IECEx ODs and also ExTAG Decision sheets.

## Confidentiality

All employees sign confidentiality agreements when they start to work for CHEM. Examples of these were sighted by the team and found to meet the requirements of the IECEx.

## Publications (Hard cover and Electronic)

IECEx application forms are available on request.

## Recognition and agreements

CHEM have recognition by CNAS which is the Chinese Accreditation Body regarding ISO 17025.

The accreditation scope is available on the following link using the Registration No L0484:

https://las.cnas.org.cn/LAS/publish/externalQueryL1En.jsp

CHEM operate as an ExTL under CQM as ExCB.

## Internal audit and periodic management review

There is an overall audit system for CHEM, including at technical level with the Ex operations. CHEM does have in place a method of regularly investigating existing testing activities.

Internal audits are done once a year for ExTL activities. The internal audit for IECEx to ISO/IEC 17025 carried out on 27-29 March 2016 was reviewed. Findings raised and the corrective actions were viewed and found to be satisfactory. The audit took place over three days and had a team of two auditors. No nonconformities were found.

The management review meeting that took place on 20 December 2016 was reviewed. It includes covers internal audits, corrective actions/accreditation audits, customer satisfaction (including complaints) and data on number of certificates issued (including IECEx certificates)

## Contracting, subcontracting, use of other labs and use of other locations

CHEM subcontract some tests and they have a procedure for this and agreement with the External Company. The tests which are subcontracted are permitted by the IECEx TCD and listed in the TCD and are mainly:

- Small component ignition test,

- Resistance to light,

- Mechanical shock test for batteries,

- Continuous wave radiation.

Provision is also made for tests to be performed at the manufacturer’s or user’s facility in accordance with OD24. It was noted that the CHEM had not used this feature.

## Training and competence

All staff employed are selected for qualifications and/or experience relevant to their responsibilities.

On regular basis there is training of people in the ExTL on the operations, outcome of audits, revised standards.

There is a competency matrix for ExTL. This was found to meet IECEx Requirements.

## Complaints and appeals (including appeals to IECEx)

There is a Procedures CX-C06-2010 in CHEM for external complaints. However, no complaint was received up to date.

## Special facts to be noted

### Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat. These are included in a site assessment report and include:

- Details of issues raised and how these have been resolved

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed, included in the TCD

- Assessors’ notes

- Tests witnessed:

- 60079-0 – IP66 test

- 60079-0 – Surface resistance test

- 60079-1 – Reference pressure

- 60079-1 – overpressure test

- 60079-1 – transmission test

- 60079-11 – spark ignition test

- 60079-11 – temperature rise on batteries

- 60079-31 – pressure test

## Recommendations

Based on the assessment performed on 16 - 17 October 2017, CHEM is recommended for continued acceptance in the IECEx scheme as an ExTL in the IECEx Certified Equipment Scheme as well as for the scope extension to include the standards listed in 1.5.2.

| Thierry Houeix | Gordana Ostojic |
| --- | --- |
| Lead Assessor | Expert Assessor |

Date: 24 May 2018

# 3.	ExCB for IECEx Certified Equipment Scheme

Not relevant CHEM is only an ExTL

# 4. ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Capability Documents (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied.

## ExTL persons interviewed

| Name | Position |
| --- | --- |
| Shang Zhikui | Director of CHEM |
| Wang Weiyue | Vice director of CHEM |
| Zhang Guoyan | Vice director of CHEM |
| Han Shuyu | Inspector |
| Liu Yongqin | Inspector |
| Li Hongyou | Inspector |
| Yang Xichun | Manager of Explosion-proof testing office |
| Guo Jiamin | Manager of Environmental testing office |
| Li Jiansheng | Inspector |
| Dong Jiabo | Inspector |

## Associated ExCB(s)

China Quality Mark Certification Group Co. Ltd. (CQM) in Beijing. The contract between CQM and CHEM was last updated on January 1st, 2018 and is valid until December 31st, 2018. IECEx working procedure No. CX-C30-2017 describes the operation between CQM and CHEM. In this procedure a "Catalog list of Interface File for CHEM and CQM" steers the operations. The documents were presented during the assessment and found to meet the requirements of the IECEx.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Shang Zhikui | Director of CHEM | 30 years for Ex testing, 8 years for vice manager of CHEM, 10 years for vice director of JEXM, from December 2008 he is director of JEXM and CHEM. |
| Wang Weiyue | Vice director of CHEM | 25 years for Ex testing, 8 years for design and inspection of Ex apparatus 8 years for managing Ex testing in CHEM |
| Zhang Guoyan | Vice director of CHEM | 28 years of Ex testing, 9 years for vice manager of explosion-proof test lab, 9 years for manager of explosion-proof test lab, from June 2006 he is vice director of CHEM. |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Wang Weiyue | Vice director of CHEM | 25 years for Ex testing, 8 years for design and inspection of Ex apparatus 13 years for managing Ex testing in CHEM |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Han Shuyu | Drawing reviewing | 28 years. |
| Liu Yongqin | Drawing reviewing | 26 years. |
| Li Hongyou | Testing | 16 years. |
| Yang Xichun | Manager of Explosion-proof testing office | 15 years. |
| Guo Jiamin | Manager of Environmental testing office | 22 years. |
| Li Jiansheng | Drawing reviewing | 14 years |
| Dong Jiabo | Testing | 8 years |

## Organizational structure

See Annex A

## Resources

CHEM has several professional and technical staff involved in Ex testing. It has a comprehensive range of testing equipment and good facilities for this type of testing.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | 2014 | 2015 | 2016 | 2017 |
| IEC 60079-0 | Explosive atmospheres - Part 0: Equipment - General requirements | 33 | 11 | 10 | 4 |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 33 | 11 | 10 | 0 |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» | 0 | 0 | 0 | 0 |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | 0 | 0 | 0 | 4 |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 0 | 0 | 0 | 0 |
| IEC 60079-31 | Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" | 4 | 0 | 0 | 0 |

## Calibration

The majority of test equipment is sent out for calibration by an external calibration facility. These calibration facilities are CNAS accredited.

However, the calibration procedure requires review to ensure that when test equipment is returned and has been adjusted or recorded as requiring adjustment. Action is taken in respect of reviewing previous results where the equipment has been used. See below

## Proficiency

CHEM participates in the IECEx Proficiency testing organised by PTB. The results of the temperature classification, reference pressure tests and electrostatic test show that they are achieving good results except for one of them. CHEM apply required action following PTB’s recommendation. It was confirmed that CHEM will continue their involvement in the IECEx PTP

## Comments (including issues found during assessment)

Minor issues were also found which were cleared to the satisfaction of the assessment team during the second site assessment visit.

# Annexes

ANNEX A Overall Organisation Chart

ANNEX B Accreditation Certificate for ISO/IEC 17025 (relevant pages only)

- Overall Organisation Chart

- Accreditation Certificate for 17025