- INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE:  Draft ExTAG Decision Sheet – CoCs for Ex Equipment against performance standards

- Circulated to: ExTAG – IECEx Testing and Assessment Group

INTRODUCTION

This document, Draft ExTAG Decision Sheet   ExTAG/500/CD CoCs for Ex Equipment against performance standards, was prepared by FM Approvals and is issued for consideration by ExTAG.

In accordance with OD 035 it is issued for a six week comment period.

Please submit comments using the comments table, a separate document by

2018 05 23

To Christine Kane

If there are no comments received the document will be forwarded for publication.

Julien Gauthier

Julien Gauthier

ExTAG Secretary

| Address: IECEx Secretariat Level 33 Australia Square 264 George Street Sydney NSW 2000 Australia Web: www.iecex.com | ExTAG Secretary Mr Julien Gauthier LCIE S.A. 33 Avenue du General Leclerc 92260 Fontenay-aux-Roses FRANCE Tel: +33 1 40 95 55 26 Fax: +33 1 40 95 89 37 Email : julien.gauthier@fr.bureauveritas.com |
| --- | --- |

COLLECTION OF IECEx / ExTAG DECISION

| Standard: IECEx OD 009 | Clause: | Draft Decision Sheet: |
| --- | --- | --- |
| Subject: CoCs for Ex Equipment against performance standards Status of document: Draft | Key words: - CoC - Performance | - Date: 2018-03-20 Originator of original proposals: FM Approvals (FME) TC/SC involved: |
| Background: Following discussions with users, there is a misconception that any IECEx CoC for Ex Equipment, such as a Miners Cap Lamp or a Gas Detector, against the Type of Protection standards (IEC 60079-0, IEC 60079-1, IEC 60079-2, etc. as applicable) automatically includes the performance standards for which there is also an IEC standard covered by the IECEx System, such as IEC 60079-35-2 or IEC 60079-29-1 and IEC 60079-29-4. Question: - In the case of Ex Equipment which is covered by a performance standard such as IEC 60079-29-1 and IEC 60079-29-4 for gas detectors and IEC 60079-35-2 for Caplights should the IECEx CoC always include these standards as well as the applicable standards for the Type of Protection used? Answer: - No. It is not necessary to examine and test the equipment against the performance related standards if this is not requested by the manufacturer. However, if performance is not addressed by the IECEx CoC a statement shall be included in the CoC that indicates that the IECEx certificate does not cover performance of the subject Ex Equipment, e.g. “The Ex Equipment covered by this IECEx CoC has not been tested or examined for the ExCB for performance against IEC 60079-XX-X.” |  |  |