NTERNATIONAL ELECTROTECHNICAL COMMISSION IEC SYSTEM FOR

CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN

EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Scope Extension Assessment Report for, Professional Testing (EMI), Inc. (PTI), an Accepted ExTL within the IECEx System, Equipment Scheme 02, to include, ISO 80079-36 and ISO 80079-37 in their scope.

Circulated To: Members of the IECEx Management Committee, ExMC

Introduction

Professional Testing (EMI), Inc. (PTI), an Accepted ExTL within the IECEx System, Equipment Scheme 02, has applied to include ISO 80079-36 and ISO 80079-37 within their scope. A special site assessment visit was arranged and conducted.

This report details the assessment findings of this scope extension with the IECEx

Assessment Team recommending the acceptance of the above scope extension.

This document is hereby submitted for ExMC approval via correspondence using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2018 12 19.

Please refer to OD 050 for guidance on the “IECEx On-line voting system.”

Chris Agius

IECEx Secretary

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 46 27 5285 Email: info@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for Professional Testing (EMI), Inc. (PTI)

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Application information and background information on the assessment	5

1.6	Scopes	6

1.6.1	Additional Standards for ExTL scope for equipment certification scheme	6

2	Common information	7

2.1	Legal entity of body	7

2.2	Financial support	7

2.3	History	7

2.4	Documentation	7

2.4.1	Quality manual	7

2.4.2	Procedures	7

2.4.3	Work instructions	7

2.4.4	Records (including test records where relevant)	7

2.4.5	Document change control	7

2.5	Confidentiality	7

2.6	Communication with public and customers (Hard copy and Electronic)	7

2.7	Recognitions and agreements	7

2.8	Internal audit	7

2.9	Management review	8

2.10	Contracting, subcontracting and witness testing	8

2.10.1	Contracting	8

2.10.2	Subcontracting	8

2.10.3	Witness testing	8

2.11	Training and competence	8

2.12	Complaints and appeals (including appeals to IECEx)	8

2.13	Impartiality	8

2.14	Commenting on ExTAG Documents	8

2.15	Special facts to be noted	8

2.16	Supporting documentation	8

2.17	Recommendations	9

3	ExTL for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.1.1	General references	10

3.1.2	Additional references applied for this assessment	10

3.2	Candidate ExTL persons interviewed	10

3.3	Associated ExCB(s)	10

3.4	Organisation	10

3.4.1	Names, titles and experience of the senior executives	10

3.4.2	Name, title and experience of the quality management representative	11

3.4.3	Other employees in ExTL activity	11

3.5	Organizational structure	11

3.6	Resources	11

3.7	Test reports issued	11

3.8	National accreditation	11

3.9	Calibration	11

3.10	Tests witnessed during the assessment visit	11

3.11	Participation in IECEx Proficiency Testing Programs	11

3.12	Comments (including issues found during assessment)	12

Annex A Overall Organisation Chart	13

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

United States of America – While located in the US the original country endorsement came from Germany as TÜV SÜD PS GmbH, is PTI’s Associated ExCB.

### Name of body

Professional Testing (EMI), Inc. (PTI)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Larry Finn | Chief Technical Officer | lfinn@ptitest.com |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Bernard PIQUETTE | IECEx Lead Assessor |

### Place(s) of assessment

| Professional Testing (EMI), Inc. 1601 N A.W. Grimes Blvd., Suite B Round Rock, TX 78665 USA |  |
| --- | --- |

### Assessment date(s)

2nd of July and 3rd of July morning 2018

## Application information and background information on the assessment

ExMC/251B/Q sent to IECEx Secretariat

## Scopes

.

### Additional Standards for ExTL scope for equipment certification scheme

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements | Scope extension |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” | Scope extension |

Note: The above Standards are also included within the current scope of PTI’s Associated ExCB, TÜV SÜD PS GmbH.

# Common information

## Legal entity of body

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Financial support

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## History

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Documentation

### Quality manual

The quality manual has been updated and covers the two new standards. Reference QM-0001-27

### Procedures

PTI has created a procedure called “OD280 ExTL flow chart” to follow when receiving a demand concerning non-electrical equipment

### Work instructions

While covered in the assessment reported in ExMC/1214/DV, it was confirmed that PTI’s work instructions also cover the new standards listed under the scope extension request.

### Records (including test records where relevant)

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

### Document change control

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Confidentiality

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Communication with public and customers (Hard copy and Electronic)

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Recognitions and agreements

The agreement between TÜV SÜD PS GmbH and Professional Testing (EMI) Inc. has been updated to include the new standards listed under the scope extension request.

## Internal audit

The last internal audit took place on 11 October 2017 and the audit plan for 2018 cover the new standards listed under the scope extension request.

## Management review

The last management review was carried out on 13 November 2017.  The review takes into account all aspects required by ISO/IEC17025 and the new standards listed under the scope extension request.

## Contracting, subcontracting and witness testing

### Contracting

There is no contracting used for these standards.

### Subcontracting

There is no subcontracting used for these standards

### Witness testing

Not part of this assessment as this is a scope extension assessment there is no new test in the new standards listed under the scope extension request. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Training and competence

While noting the experience and knowledge of the staff in dealing with non-electrical equipment under the ATEX Directive, special updated training on ISO/IEC 80079-36 and ISO/IEC 80079-37was given on 20 and 21 June 2018. The competency matrix reference TR-0005-01 has been updated and cover the new standards listed under the scope extension request. The competency matrix include also the training records.

## Complaints and appeals (including appeals to IECEx)

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Impartiality

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment, refer to assessment report ExMC/1214/DV.

## Commenting on ExTAG Documents

Not part of this assessment as this is a scope extension assessment. This will be covered in the next assessment as this is a new item.

## Special facts to be noted

None

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC 17025

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed are included in the above TCD

- Assessors’ notes

- Other

## Recommendations

Based on the assessment performed on 2nd of July and 3rd of July morning, PTI is recommended for continued acceptance in the IECEx scheme as an ExTL with the following scope extension:

ISO 80079-36 and ISO 80079-37

Bernard Piquette

IECEx Lead Assessor

Date:  2018-09-12

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

OD280 IECEx Certified Equipment Scheme – Guide to Certification of Non electrical Equipment and Protective Systems

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Jeffrey Lenk | President |
| Larry Finn | Chief Technical Officer, quality Manager |
| John Gardner | Hazardous Location Engineer |
| Michael Barrett | Hazardous Location Engineer |
| Steven Weidman | Hazardous Location Engineer |
| Deniz Kozdereli | Product Safety Engineer |
| Brian Ates | Environmental Technician |

## Associated ExCB(s)

TÜV SÜD Product Service GmbH

Ridlerstr. 65

80339 Munich

Germany

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Jeffrey Lenk | President | 30 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Larry Finn | Chief Technical Officer | 25 years |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| John Gardner | Hazardous Location Engineer | 28 |
| Michael Barrett | Hazardous Location Engineer | 2 |
| Steven Weidman | Hazardous Location Engineer | 8 |
| Deniz Kozdereli | Product Safety Engineer | 2 |
| Brian Ates | Environmental Technician | 2 |

## Organizational structure

Refer to Annex A

## Resources

PTI has 7 employees in the Ex operation.

## Test reports issued

Regarding Scope Extension for ISO 80079-36 and ISO 80079-37, the relevant staff has been interviewed and found to have a thorough understanding of the Standards and the assessment required.

A review of files relating to non-electrical Ex equipment (under the ATEX Directive) was also undertaken during the assessment and found to be satisfactory and complete with evidence that the concepts were well understood by the Staff.

The principle of risk assessment is also well understood

## National accreditation

PTI does presently hold an accreditation for ISO/IEC 17025:2005 which does not cover hazardous location standards.

PTI is therefore subject to Annual Surveillance by IECEx.

## Calibration

The majority of test equipment is sent out for calibration by an external calibration facility. These calibration facilities are 17025 accredited.

## Tests witnessed during the assessment visit

Not part of this assessment as this is a scope extension assessment. This was covered in the initial assessment report ExMC/1214/DV. None for ISO 80079-36 and 37.

## Participation in IECEx Proficiency Testing Programs

PTI participate to the proficiency tests on pressurization. The results was not published at the time of the assessment.

## Comments (including issues found during assessment)

Minor issues were found which were cleared to the satisfaction of the assessment team quickly after the visit e.g.

- The Agreement between TÜV SÜD PS GmbH did not include ISO 80079-36 and ISO 80079-37.  The Agreement has now been updated and signed by both PTI and TÜV SÜD PS GmbH.

- Overall Organisation Chart