INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: IECEx Assessment Report for the acceptance of KOMERI Ex Testing Laboratory, KR, as an IECEx Test Laboratory, ExTL, within the IECEx System.

Circulated to: Ex Management Committee, ExMC

INTRODUCTION

This document contains the IECEx Assessment Report for the acceptance of KOMERI Ex Testing Laboratory, KR,as an IECEx Test Laboratory, ExTL, within the

IECEx System.

This document is hereby submitted for ExMC approval via correspondence using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2018 12 27.

Please refer to OD 050 for guidance on the “IECEx On-line voting system.”

Chris Agius

IECEx Secretariat

| Address: Level 33, Australia Square 264 George Street Sydney NSW 2000 Australia | Contact Details: Tel: +61 2 46 28 4690 Fax: +61 2 46 27 5285 e-mail:chris.agius@iecex.com http://www.iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for KOMERI Ex Testing Laboratory

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	5

1.1	Type of Body covered by this assessment:	5

1.2	Type of assessment:	5

1.3	Details of body	5

1.3.1	Country	5

1.3.2	Name of body	5

1.3.3	Name and title of nominated principal contact	5

1.4	Assessment information	5

1.4.1	Members of the assessment team	5

1.4.2	Place(s) of assessment	5

1.4.3	Assessment date(s)	5

1.5	Application information and background information on the assessment	5

1.6	Scopes	6

1.6.1	ExCB scope for equipment certification scheme	6

1.6.2	ExTL scope	6

1.6.3	ExCB scope for Service Facilities Scheme	6

1.6.4	ExCB scope for ExMark Scheme	6

2	Common information	7

2.1	Legal entity of body	7

2.2	Financial support	7

2.3	History	7

2.4	Documentation	8

2.4.1	Quality manual	8

2.4.2	Procedures	8

2.4.3	Work instructions	8

2.4.4	Records (including test records where relevant)	8

2.4.5	Document change control	8

2.5	Confidentiality	8

2.6	Communication with public and customers (Hard copy and Electronic)	8

2.7	Recognitions and agreements	8

2.8	Internal audit	9

2.9	Management review	9

2.10	Contracting, subcontracting and witness testing	9

2.10.1	Contracting	9

2.10.2	Subcontracting	9

2.10.3	Witness testing	9

2.11	Training and competence	10

2.12	Complaints and appeals (including appeals to IECEx)	10

2.13	Impartiality	10

2.14	Commenting on ExTAG Documents	10

2.15	Supporting documentation	10

2.16	Recommendations	10

3	ExTL for IECEx Certified Equipment Scheme	11

3.1	Assessment references	11

3.1.1	General references	11

3.1.2	Additional references applied for this assessment	11

3.2	Candidate ExTL persons interviewed	11

Researcher/Engineer which is used later in the document.	11

3.3	Associated ExCB(s)	11

3.4	Organisation	11

3.4.1	Names, titles and experience of the senior executives	11

3.4.2	Name, title and experience of the quality management representative	12

3.4.3	Other employees in ExTL activity	12

3.5	Organizational structure	12

3.6	Resources	12

3.7	Test reports issued	12

3.8	National accreditation	13

3.9	Calibration	13

3.10	Tests witnessed during the assessment visit	13

3.11	Participation in IECEx Proficiency Testing Programs	13

3.12	Comments (including issues found during assessment)	14

4	Annexes	15

Annex A Overall Organisation Chart	16

Annex B Organisation Chart of ExTL	17

Annex C Accreditation Certificate for ISO/IEC 17025	18

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Republic of Korea

### Name of body

KOMERI Ex Testing Laboratory

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Gyuhong Kang | General manager | kang@komeri.re.kr |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Katy Holdredge | IECEx Lead Assessor |
| Lucy Lu | IECEx Assessor |

### Place(s) of assessment

| Korea Marine Equipment Research Institute Ulsan Regional Division | 5, Techno saneop-ro 55beon-gil, Nam-gu, Ulsan, 44776, Korea |
| --- | --- |
| It was noted that KOMERI's quality documents are kept in Busan and used electronically at the Ulsan Testing Laboratory. |  |

### Assessment date(s)

2018-07-09 to 2018-07-11 plus post site assessment review of updated documentation.

## Application information and background information on the assessment

Information relevant to the Secretariat review process:  Application form plus information as required by IECEx 02.

## Scopes

### ExCB scope for equipment certification scheme

KOMERI Ex Testing Laboratory is using DNV PreSafe as their ExCB that has the following standards with their scope, among others.

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements |  |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” |  |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» |  |
| IEC 60079-7 Edition 5.1 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |  |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” |  |

### ExTL scope

KOMERI Ex Testing Laboratory requested the following standards in their scope:

| Number | Title | Comments, e.g. if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Edition 6.0 in ISO/IEC 17025 scope, which is considered technically equivalent. |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” |  |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» |  |
| IEC 60079-7 Edition 5.1 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Edition 5.0 in ISO/IEC 17025 scope, which is considered technically equivalent. |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” |  |

### ExCB scope for Service Facilities Scheme

Not applicable

### ExCB scope for ExMark Scheme

Not applicable

# Common information

## Legal entity of body

KOMERI is a foundation and is registered as a professional production technology institute under National law (Article 42 of the Ministry of Commerce, Industry and Energy (MOCOE)) as of 2001-12-18.  A copy of the certificate, available in the Korean language, was viewed.

KOMERI's head office is located in Busan, Korea, but the testing laboratories in the area of Ex are fully located in Ulsan.

## Financial support

KOMERI is funded by R&D projects and testing & certification.  KOMERI has an insurance certificate issued by Samsung for 9,420,000 Won valid until 2019-04-27.

## History

2001	Acquired the permission for incorporation from the Ministry of Commerce, Industry and Energy (MOCIE)

2003	Designated as internationally certified KOLAS testing body (Echo-sounder)

2004	Began construction of Yeongdo Research Center (Yeongdo, Busan) and Noksan Research Center

2005	Acquired the certification for internationally certified test institution for KOLAS (explosion-proof/sound effect)

Completion of the Marin Electronic Equipment Testing/Certification Center (in Noksan Industrial Complex)

2008	Designated as internationally certified test institution for KOLAS (electromagnetic compatibility)

Opening of the Marine Electronics Equipment Test & Certification Center

Designated as internationally certified test institution for KOLAS (industrial electric machinery, sound effects, vibration and fire)

2009	Entered into agreement on industry-research consortium & Designated as 2009 excellent test/inspection institution for KOLAS

2010	Re-recognized as internationally certified test institution for KOLAS (home electronic devices)

2011	Designated as British LR-authorized testing authority Designated as authorized KOLAS testing authority (shipbuilding)

2012	Expanded KOLAS certification scope (temperature and humidity)

Signed a MOU with KRH

2014	Designated as an authorized UL testing body

2015	Designated as an authorized RRR testing body

Signed a MOU with KOTICA

Designated as insulation of sound performance testing and noise measurements ship agencies

Designated as test laboratory for USCG

2016	Designated as test laboratory for UL (Underwriters Laboratories)

2018	Acquired the certification for internationally certified test institution for KOLAS (Ulsan division: explosion-proof type, electric motor, high voltage)

## Documentation

### Quality manual

KOMERI has a quality manual, document nos. KOMERI-M-XX, composed of 24 sections including topics such as their quality policy, management system, document management, improvement and corrective action, among others. The quality manual meets the requirements of the IECEx.

### Procedures

KOMERI has 27 procedures, document nos. KOMERI-P-XX, including topics such as confidentiality, internal audit, management review, test equipment management, among others.  There were some issues related to insufficient procedures for internal audits, management review, and staff competency which were revised to the satisfaction of the assessment team and now meet the requirements of the IECEx.

### Work instructions

KOMERI has 20 work instructions, document nos. KOMERI-I-XX, including topics such as measurement uncertainty, IECEx TL, among others, as well as KOMERI-O-16 for testing instructions. There were some issues related to insufficient work instructions, including working with the ExCB, responsibilities for agreements under IECEx OD024, commenting on ExTAG DS, and testing requirements, which were revised to the satisfaction of the assessment team and now meet the requirements of the IECEx.

### Records (including test records where relevant)

KOMERI defines their requirements in KOMERI-M-12, Records Management, and KOMERI-P-12, Record Management Procedure.  Records related to test reports are stored electronically and were able to be retrieved. It was unclear which records were being stored in the Record Management Procedure, this was revised to the satisfaction of the assessment team and now meet the requirements of the IECEx.

### Document change control

KOMERI defines their requirements in KOMERI-P-03, Document and material management procedure, date of revision 2017-11-23 (rev. 26).  There is an External Document (Material Registration Register KOMERI-P-03-04 used for verifying that there have been no revisions to the standards.  KOMERI’s document change control meets the requirements of the IECEx.

## Confidentiality

(For staff, contractors and members of advisory bodies)

KOMERI defines their requirements in KOMERI-P-02, Confidentiality, date of revision 2017-11-23 (rev. 7).  Two signed copies of KOMERI-P-01-03, Pledge, were viewed and found to meet the requirements of IECEx.

## Communication with public and customers (Hard copy and Electronic)

KOMERI has two main websites http://www.komeri.re.kr/ and http://eng.komeri.re.kr/ as well as their KOMERI Brochure, available in both Korean and English.

## Recognitions and agreements

KOMERI has the following recognitions and agreements:

KOLAS (Korea Laboratory Accreditation Scheme) accredited to ISO/IEC 17025:2005

- Explosion proof is included in 3.006 “Electrical equipment for industrial”

Letter of Intent (LoI) dated 2017-09-18 for IECEx ExCB/ExTL with DNV Presafe was viewed.

KOMERI is also ISO/IEC 17065 accredited as a certification body by KOLAS for areas not related to explosion-protection.

KOMERI has agreements with the following ATEX Notified Bodies: ECM (Italy), Eurofins (Italy) and KRH (Greece).

## Internal audit

KOMERI has been performing internal audits one or more times per year by certified persons for checking quality management and bi-annual regular audit according to IEC 17025:2005 and quality manual of KOMERI.  The last internal audit was completed 2017-10-11 to 2017-10-13 and included standards under Electrical Equipment for Industrial 03.006, which includes standards for explosive atmospheres.  There were two issues found for 03.006 (2017-30 and -31), one was related to the scope of the test range listed in their ISO/IEC 17025 and the other was related to the frequency of gas detection monitoring.  The staff used to conduct internal audits are listed in KOMERI-P-13-01; these records are kept hard copy at their Busan facility, but were available electronically in Ulsan.

Related documents include KOMERI-M-13, Internal audit manual, date of revision 2011-06-16 (rev. 22) and KOMERI-P-13, Internal audit procedure, date of revision 2016-05-11 (rev. 12).

The internal audit procedure did not cover IECEx, this was revised to the satisfaction of the audit team and meets the requirements of the IECEx.

## Management review

KOMERI has two documents related to management review, KOMERI-M-14, Management review manual, date of revision 2011-06-16 (rev. 22) and KOMERI-P-14, Management review procedure, date of revision 2016-05-11 (rev. 7).  The last management review was conducted on 2018-02-12 and included discussion of the audits conducted by the Korean member body, Korean Agency for Technology and Standards (KATS), in preparation for submittal as an IECEx TL.  The General Manager, Mr. Gyu-Hong Kang, was present.

The manual and procedure related to management review did not require the General Manager, responsible for the management of the IECEx ExTL to attend. The documents were revised to the satisfaction of the assessment team and now meet the requirements of the IECEx.

## Contracting, subcontracting and witness testing

### Contracting

KOMERI will not contract work under the IECEx; all tests will be performed by the ExTL.

### Subcontracting

KOMERI will not subcontract work under the IECEx; all tests will be performed by the ExTL.

KOMERI does have a policy, KOMERI-M-04, Request, Bidding and Review of Contract, and procedure, KOMERI-P-06, Consignment of a test, related to subcontracting for other areas of work outside of IECEx.

### Witness testing

KOMERI has instructions related to witness testing under the IECEx, KOMERI-I-19 IECEx TL instruction, issued 2018-03-02 (rev. 1). There was an issue related to responsibilities for agreements under IECEx OD 024 for witness testing. The instructions were revised to the satisfaction of the audit team and now meet the requirements of the IECEx, specifically IECEx OD 024.

## Training and competence

KOMERI has two documents related to training and competence, KOMERI-M-16, Employees, dated 2013-09-25 (rev. 23) and KOMERI-P-15, Training and qualification management procedure dated 2016-11-29 (rev. 20).  The staff competency matrix and related procedure was not controlled within the quality system, this was revised to the satisfaction of the assessment team and now meet the requirements of the IECEx.

Details of staff competencies are included in the site assessment report F-004.

## Complaints and appeals (including appeals to IECEx)

KOMERI has two documents related to complaints and appeals, KOMERI-M-08, Claims, date of issue 2018-06-15 (rev. 23) and KOMERI-P-08, Services and claims treatment procedure, date of issue 2017-11-23 (rev. 12), which meet the requirements of the IECEx.

## Impartiality

KOMERI has defined their impartiality requirements in KOMERI-P-01, Organization Management Procedure (Cl. 4.4), date of issue 2018-06-25 (rev. 66), which meet the requirements of the IECEx.

## Commenting on ExTAG Documents

KOMERI has a documented procedure/work instruction to address responding on documents from ExTAG, IECEx TL Instruction, KOMERI-I-19, date of issue 2018-03-02 (rev. 1). There was no person defined as responsible for commenting on ExTAG documents, this was revised to the satisfaction of the audit team and now meet the requirements of the IECEx.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC 17025

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed are included in the above TCD

- Assessors’ notes

## Recommendations

Based on the assessment performed on 2018-07-09 - 2018-07-11, and follow-up activities KOMERI is recommended for acceptance as an ExTL in the IECEx scheme according to the scope of the standards listed in this document, and, on the basis that they work closely with their associated ExCB, DNV Presafe, in the determination of testing plans, compliance with construction requirements and completion of the ExTRs.

In addition, it is recommended that a surveillance assessment visit be conducted not more than 1 year after acceptance prior to moving to the 5 year re-assessment program.

| Katy Holdredge | Lucy Lu |
| --- | --- |
| IECEx Lead Assessor | IECEx Assessor |

Date:  2018-11 12

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

None.

## Candidate ExTL persons interviewed

## Researcher/Engineer which is used later in the document.

| Name | Position |
| --- | --- |
| Gyuhong Kang | General Manager |
| Sung-Su Choi | Senior Researcher |
| Kyung-Min Kim | Quality manager |
| Sun-Kwon Lee | Technical Manager |
| Minuk Yoo | Senior Researcher |
| Seung-Min Son | Researcher |
| Jeonghoon Park | Researcher |
| Jinhong Lim | Researcher |
| Seong-Jin Ko | Researcher |
| Uinam Son | Researcher |

## Associated ExCB(s)

KOMERI will use DNV PreSafe as the associated ExCB.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Kyung Min Kim | Quality manager | 9 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Kyung Min Kim | Quality manager | 9 years |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Gyuhong Kang | General manager/Manager | 3 years, IECEx CoPC |
| Sunkwon Lee | Center manager/Technical manager, engineer | 3 years, IECEx CoPC |
| Minuk Yoo | Senior researcher/Engineer | 2 years, IECEx CoPC |
| Seongmin Son | Researcher/Engineer | 1 year |
| Sungjin Ko | Researcher/Engineer | 1 year |
| Jinhong Lim | Researcher/Engineer | 1 year |
| Jeonghoon Park | Researcher/Engineer | 1 year |
| Uinam Son | Researcher/Engineer | 1 year |
| Heesu Kim | Researcher/Engineer | 1 year |

## Organizational structure

Refer to Annex A of this document.

## Resources

KOMERI has sufficient equipment, test facilities and staff for the requested scope.

Komeri are very well resourced with appropriate facilities, comprehensive procedures, and competent staff for carrying out activities for the standards.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx ExTRs should be shown (test reports for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2014 | 2015 | 2016 | 2017 | - |
| 60079-0 | General requirements | - | 5 | 12 | - | 17 |
| 60079-1 | flameproof enclosures “d” | - | 2 | 12 | 17 | 31 |
| 60079-2 | pressurized enclosure "p" | - | - | 1 | 1 | 2 |
| 60079-7 | increased safety ''e'' | - | - | 2 | 1 | 3 |
| 60079-11 | intrinsic safety "i" | - | - | 1 | - | 1 |
| 60079-15 | type of protection "n" | - | - | 1 | - | 1 |
| 60079-18 | encapsulation “m” | - | - | 1 | - | 1 |
| 60079-31 | protection by enclosure "t" | - | - |  | 1 | 1 |
| EN 13463-1 | Basic method and requirements | - | - | 3 | 2 | 5 |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

## National accreditation

KOMERI is ISO/IEC 17025:2005 accredited by Korea Laboratory Certification Scheme (KOLAS), which is a signatory of the ILAC mutual recognition agreement and includes all standards requested in their scope along with the Korean and EN equivalents.  Their current certificate expires on January 3, 2020.

## Calibration

KOMERI has four documents related to calibration, KOMERI-M-19, Equipment, date of issue 2013-09-25 (rev. 32), KOMERI-M-20, Traceability, KOMERI-P-19, date of issue 2013-09-25 (rev. 23), Test equipment management, date of issue 2018-02-02 (rev. 31) and KOMERI-P-20, Measurement traceability and calibration, date of issue 2017-11-23 (rev. 10).  There is one piece of equipment calibrated internally, their dynamometer for large motors as there are currently no external providers in Korea that can offer this service. There was no calibration or validation for some of the equipment/control system used for IEC 60079-1 testing this was revised to the satisfaction of the audit team and now meet the requirements of the IECEx.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0 Edition 6.0 | 26.5.1 | Temperature measurement on the general junction box | None |
| IEC 60079-7 Edition 5.0 | 6.8 | Temperature measurement on the general junction box | None |
| IEC 60079-0 Edition 6.0 | 26.4.5 | Degree of protection by enclosure (IP54) | None |
| IEC 60079-0 Edition 6.0 | 26.14 | Measurement of capacitance | None |
| IEC 60079-1 Edition 7.0 | 15.2.2 | Determination of reference pressure | None |
| IEC 60079-1 Edition 7.0 | 15.2.3 | Overpressure test | None |
| IEC 60079-2 Edition 6.0 | 16.3 | Leakage test | None |
| IEC 60079-7 Edition 5.0 | 6.1 | Dielectric strength | None |
| IEC 60079-11 Edition 6.0 | 10.1 | Spark ignition test | None |
| IEC 60079-11 Edition 6.0 | 10.8 | Type test for diode safety barrier and safety shunt | None |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme

| Year(s) of participation | IECEx Proficiency Testing program | General information about results |
| --- | --- | --- |
| 2017 - 2018 | Explosion Pressure | Very good results, no action or warning signals |
| 2017 - 2018 | Pressurized Enclosure | Results have been submitted to PTB, no report available from PTB at this time |

## Comments (including issues found during assessment)

KOMERI has the necessary staff, equipment and facilities for their scope.  There were some issues related to the following topics:

- Insufficient policies/procedures/work instructions, e.g., for working with ExCB, internal audits, management review, staff competency, testing; and

- Insufficient calibration.

All issues were revised to the satisfaction of the audit team and now meet the requirements of the IECEx.

# Annexes

See Contents.

- Overall Organisation Chart

- Organisation Chart of ExTL

- Accreditation Certificate for ISO/IEC 17025