INTERNATIONAL ELECTROTECHNICAL COMMISSION SCHEME FOR
CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE
IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

IECEx ASSESSMENT REPORT

Title:	Re-assessment and Scope Extension Report for Korea Testing Laboratory, KTL, KR, to include IEC 60079-28 Ed.2 in their scope

Introduction

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment and Scope Extension Report for the continued acceptance of Korea Testing Laboratory, KTL KR, as an Accepted Certification Body (ExCB) and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

During the re-assessment the IECEx Assessment Team took the opportunity to also assess KTL’s facilities, equipment and competence to undertake testing and certification to the Standard –

IEC 60079-28 Edition 2.0

Explosive atmospheres - Part 28: Protection of equipment and transmission systems 	using optical radiation

This scope extension to include IEC 60079-28 Ed.2 is hereby submitted for ExMC approval, via correspondence, using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2019 08 22

Please refer to OD 050 for guidance on the “IECEx On-line voting system.”

Chris Agius

IECEx Secretariat

| Address: Level 33, Australia Square 264 George Street Sydney NSW 2000 Australia | Contact Details: Tel: +61 2 46 28 4690 Fax: +61 2 46 27 5285 e-mail:chris.agius@iecex.com http://www.iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD316-5 for the Certified Service Facility Scheme

- Operational Document IECEx OD422 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for KTL

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of Body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	6

1.5	Application information and background information on the assessment	6

1.6	Scope	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	7

1.6.3	ExCB scope for Service Facilities Scheme	7

1.6.4	ExCB scope for ExMark Scheme	7

2	Common information	8

2.1	Legal entity of body	8

2.2	Financial support	8

2.3	History	8

2.4	Documentation	8

2.4.1	Quality manual	8

2.4.2	Procedures	8

2.4.3	Work instructions	8

2.4.4	Records (including test records where relevant)	8

2.4.5	Document change control	9

2.5	Confidentiality	9

2.6	Communication with public and customers (Hard copy and Electronic)	9

2.7	Recognitions and agreements	9

2.8	Internal audit	9

2.9	Management review	9

2.10	Contracting, subcontracting and witness testing	9

2.10.1	Contracting	9

2.10.2	Subcontracting	9

2.10.3	Witness testing	9

2.11	Training and competence	10

2.12	Complaints and appeals (including appeals to IECEx)	10

2.13	Impartiality	10

2.14	Commenting on ExTAG Documents	10

2.15	Special facts to be noted	10

2.16	Supporting documentation	10

2.17	Recommendations	10

3	ExCB for IECEx Certified Equipment Scheme	11

3.1	Assessment references	11

3.1.1	General references	11

3.1.2	Additional references applied for this assessment	11

3.2	Candidate ExCB persons interviewed	11

3.3	Associated ExTL(s)	11

3.4	Associated certification functions	11

3.5	National marks and certificates	11

3.6	Standards accepted	11

3.7	National differences to IEC standards	11

3.8	Organisation	12

3.8.1	Names, titles and experience of the senior executives	12

3.8.2	Name, title and experience of the quality management representative	12

3.8.3	Name and title of signatories for certification	12

3.8.4	Other employees in ExCB activity	12

3.9	Organizational structure	12

3.10	Indemnity insurance	12

3.11	Resources	12

3.12	Committees (such as governing or advisory boards)	12

3.13	Certification operations	12

3.13.1	National approval/certification methods	12

3.13.2	Certification policy	13

3.13.3	Application for certification	13

3.13.4	Certification decision	13

3.13.5	Suspension and cancellation of certificates	13

3.14	Certificates issued	13

3.15	National accreditation	13

3.16	Assessment of manufacturers and issue of QARs	14

3.17	Comments (including issues found during assessment)	14

4	ExTL for IECEx Certified Equipment Scheme	15

4.1	Assessment references	15

4.1.1	General references	15

4.1.2	Additional references applied for this assessment	15

4.2	Candidate ExTL persons interviewed	15

4.3	Associated ExCB(s)	15

4.4	Organisation	15

4.4.1	Names, titles and experience of the senior executives	15

4.4.2	Name, title and experience of the quality management representative	15

4.4.3	Other employees in ExTL activity	16

4.5	Organizational structure	16

4.6	Resources	16

4.7	Test reports issued	16

4.8	National accreditation	16

4.9	Calibration	16

4.10	Tests witnessed during the assessment visit	17

4.11	Participation in IECEx Proficiency Testing Programs	17

Comments (including issues found during assessment)	17

Annex A Overall Organisation Chart of KTL	18

Annex B Organisation Chart of ExCB and ExTL	19

Annex C Accreditation Certificate for ISO/IEC 17065	20

Annex D Accreditation Certificate for ISO/IEC 17025	21

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Republic of Korea

### Name of body

KTL

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Jun-Gu Kang | Director, Machinery Convergence Technology Centre | kang@ktl.re.kr |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Ron Webb | IECEx Lead Assessor |
| Gordana Ostojic | IECEx Assessor |

### Place(s) of assessment

| 87 Digital-ro, 26 gil, Guro-gu, Seoul, Korea 152-718 | 723, Haean-ro, Sangnok-gu, Ansan-si Gyeonggi-do 426-910 Korea |
| --- | --- |

### Assessment date(s)

28 October to 1 November 2018

## Application information and background information on the assessment

Information relevant to the Secretariat review process:

Application for scope extension received by the Secretariat for IEC 60079-28 Ed.2 which was included as part of this re-assessment.

## Scope

### ExCB scope for equipment certification scheme

| Number | Title | Comments, eg if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements | In scope |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | In scope |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» | In scope |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling «q» | In scope |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by liquid immersion «o» | In scope |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | In scope |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | In scope |
| IEC 60079-15 Edition 5.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | In scope |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | In scope |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | In scope |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | Scope extension |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | In scope |

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExTL scope

The ExTL scope is the same as for the ExCB.

### ExCB scope for Service Facilities Scheme

Not applicable

### ExCB scope for ExMark Scheme

Not applicable

# Common information

## Legal entity of body

Testing Laboratory (KTL) is a non-profit affiliated organization under the Ministry of Trade, Industry and Energy founded to provide public safety performing certification, product testing, factory inspection and calibration services to clients.

## Financial support

KTL is funded by the Korean Government and exempted from taxation on any profits, having the financial stability and resources required for its operation.

## History

KTL was founded in April 1966, originally named as Korea Fine Instrument Center (Article 41 of the Promotion of the Industrial Technology Innovation Law and the Decree 7494 in the Civil Law), and it is registered to the Taxation Department of Korea under the registration number 113-82-06228.

As a third party testing and certification institute in Korea, KTL was officially appointed as a National Certification Body under the “Industrial safety & Health Law” since Jan 21, 1998. Ever since its foundation KTL has been working constantly and mainly for the safety of electrical and electronic apparatuses for use in explosive atmospheres.

Also KTL has participated in wide range of national and international scheme such as IECEE CB Scheme and IECQ Scheme since 1990.

## Documentation

### Quality manual

KTL has a top level Quality Manual covering the higher level requirements of the scheme and below it are additional manuals containing procedures which also meet the IECEx scheme’s requirements.

### Procedures

There are several manuals that come under the quality manual and also various procedures. Relevant ones include; QM002 Manual for Testing and Inspection Service, QM003 Quality Manual for QMS Certification, QM005 Product Certification Manual, QM008 Calibration Manual.

### Work instructions

At the next level are quality guidelines and internal procedures.

### Records (including test records where relevant)

Where relevant procedures include a statement about the retention times that are to be applied the documents are produced in accordance with those procedures.

The procedures ensure that all records related to IECEx activities are maintained with a retention time of 10 years. The assessment team examined the systems for retaining records and was satisfied that the requirements of ISO/IEC 17065 and IECEx were met.

All quality documents are created electronically.

Test records are created in hard copy with a copy in electronic form.

Archive documents are stored on the local server.

Disposal of hard copy is by shredding on site.

### Document change control

Document control is covered by procedure P101. In general only electronic documents produced in the system are regarded as controlled documents. However, where required it is possible for hard copies of documents to be controlled by agreement with the quality manager.

There is a company-wide system for control of external documents such as IEC standards and IECEx procedures in the quality system.

## Confidentiality

Each employee is required to ensure confidentiality of the customer’s information.

This is addressed in procedure P105. They are required to sign an agreement covering confidentiality and conflict of interest.

Examples of such signed agreements for staff and committee members were viewed

## Communication with public and customers (Hard copy and Electronic)

There are publications that are issued covering and promoting the activities of KTL.  There is a website.    https://www.ktl.re.kr

## Recognitions and agreements

KTL has 140 MOUs from 54 countries. They include DEKRA (Netherlands), TUV

Rhineland (Germany), NEPSI (China), LCIE (France), NEMKO (Norway), DNV (Norway), INERIS (France), PTB (Germany), SIRA (GB) and TIIS (Japan).

## Internal audit

An internal audit of the Ex department was carried out between 11 September 2017 and 22 September 2017.  The report was reviewed.  A corrective action in respect of removing superseded documentation was raised.  This was cleared by 22 January 2018.

## Management review

A management review meeting was held on 18 December 2017 and the results were viewed.  Representatives from the ExCB and the ExTL were present

## Contracting, subcontracting and witness testing

### Contracting

There is a procedure for using contractors, but this is not used by the Ex department.  Therefore there is no contracting or subcontracting of IECEx Testing activities.

### Subcontracting

There is a procedure for using sub-contractors, but this is not used by the Ex department. Therefore there is no contracting or subcontracting of IECEx Testing activities.

### Witness testing

•	When off-site and witness testing is done, or proposed to be done, OD024 is referenced and incorporated in procedure G516-04.  A checklist is incorporated as part of the procedure

•	A testing agreement template is available

•	For witness testing (only) - according to 6.3.5 of OD024 - Registration of the manufacturer or user test facility has been made with the IECEx Secretariat and updating of the current information in the Register

•	That ExTRs reviewed clearly indicate when there has been witness testing done

## Training and competence

Training records were kept in hard copy and were viewed.  12 different records of IECEx training were kept.  Training documentation in the form of PowerPoint slides and IECEx rules translated into Korean were available.  Training dates and attendees were recorded.

Details of staff competencies were viewed in a PowerPoint presentation.

## Complaints and appeals (including appeals to IECEx)

Procedure P115 covers general complaints.  There is a specific document, P516, clause 11 covering IECEx and this addresses customer complaints.

## Impartiality

Procedure P120 covers impartiality and each staff member has to sign a declaration.  Copies of signed declarations were seen.  P120 also indicates KTL’s commitment to impartiality.

## Commenting on ExTAG Documents

There is a documented procedureTP251/00 which addresses responses required on documents from ExTAG for comment.  A hardcopy file was seen.

## Special facts to be noted

None

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC 17065

- Checklist for ISO/IEC 17025

- Completed Technical Capability Document (TCD)

- Photos of the facilities/tests witnessed are included in the above TCD

- Assessors’ notes

- Other

## Recommendations

Based on the assessment performed between 29 October and 1 November 2018, and clearance of the issues found,  KTL is recommended for continued acceptance in the IECEx scheme as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document (including the extension of scope).

| Ron Webb | Gordana Ostojic |
| --- | --- |
| IECEx Lead Assessor | IECEx Assessor |

Date:4th July 2019

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065: 2012, Edition 1, General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

### Additional references applied for this assessment

- none

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Dong-jin Kim | Senior Engineer |
| Yong-ho Song | Lead Auditor |
| Eui-sung Lee | Researcher |

## Associated ExTL(s)

The ExTL is integral with the ExCB

## Associated certification functions

KTL operate as a National Certification Body

## National marks and certificates

KTL can offer the mark and associated certificates for Korea.

## Standards accepted

See clause 1.6 of this report

## National differences to IEC standards

National differences to IEC standards are those for the Korean differences listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title |
| --- | --- |
| Jung Donghee | CEO |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Andres Park | Quality Manager | 4 years as QM |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Jong-koo Park | Director of Certification | 4 years as CB Manager |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Dong-jin Kim | Senior Engineer | 1 year |
| Kang, Jun-gu | Chief researcher | 25 year |
| Song Yong-ho | Engineer | 4 year |
| Lee Eui-Sung | Engineer | 5 year |

## Organizational structure

See Annex A

## Indemnity insurance

There is an insurance policy for professional indemnity insurance which was viewed.  It has a single limit of 500,000 USD and a total of 5,000,000 USD per year

## Resources

The operation is well resourced with appropriate facilities, procedures and experienced staff for their certification operations.

## Committees (such as governing or advisory boards)

Procedure P194 covers the relevant committees.  There is a Certification Assessment Committee and testing and research assessment committee. The Certification Assessment Committee comprises representatives from academia, customer organizations, industry, outside experts and relevant persons from KTL. Its minimum number is 8 and the Chairman is appointed by the President of KTL. It is responsible for policy matters related to certification and also acts as an appeals committee.

## Certification operations

### National approval/certification methods

KTL also operate as a National Testing Laboratory

### Certification policy

There is a quality policy which is to ‘Provide a comprehensive testing and certification organization with global competitiveness’.

The IECEx certification policy/procedure is described in Procedure P516 for the IECEx Certification Service, and is based on document IECEx OD 009

### Application for certification

This is covered in Clause 8 of P516. Applications come through the Customer Service Team, but there will often have been discussions with the applicant by technical staff prior to this.

### Certification decision

The decision is taken by ExCB manager and is recorded in the checklist contained in P516.

### Suspension and cancellation of certificates

There are procedures within P516 to cover the withdrawal and cancellation of certificates

## Certificates issued

Number of certificates issued under for the preceding four years for each type of protection.

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2015 | 2016 | 2017 | 2018 |  |
| 60079-1 | d | 10 | 11 | 10 | 24 | 55 |
| 60079-2 | p |  | 1 | 2 |  | 3 |
| 60079-7 | e | 3 |  | 6 |  | 9 |
| 60079-11 | i | 7 | 4 | 5 | 3 | 19 |
| 60079-1,7 | d, e | 2 | 3 | 4 | 4 | 13 |
| 60079-1,11 | d, i | 1 |  |  | 1 | 2 |
| 60079-1,7,18 | d, e, m |  | 1 | 2 |  | 3 |
| 60079-1,31 | d, t |  | 2 | 6 | 3 | 11 |
| 60079-7,31 | e. t |  | 2 |  | 3 | 5 |
| 60079-1,7,31 | d, e, t |  | 2 |  | 1 | 3 |
| 60079-1,2,11 | d, p, i |  |  | 1 |  | 1 |
| 60079-7,18 | e, m |  |  | 1 |  | 1 |
| 60079-7,11,31 | e, i, t |  |  |  | 1 | 1 |

NOTE	Above include certificates to IEC 60079-0 unless otherwise shown

## National accreditation

KTL is officially appointed by the Government as a National Certification Body under the “Industrial safety & Health Law”). KTL is accredited as a certification body for a local IAF scheme called Korea Accreditation System (KAS) for ISO/IEC 17065.  This covers equipment for use in explosive atmospheres.

## Assessment of manufacturers and issue of QARs

The procedures for assessment of manufacturers are covered in G516. This refers to OD009 and OD 025.  There is one qualified auditor and one in training.  Both were interviewed.   There have been 8 QARs issued in 2018 and 21 issued in 2017.

## Comments (including issues found during assessment)

No issues raised requiring corrective action

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

NOTE	To be added by assessment team.  For example ODs for non-electrical or Ex s where applicable.

## ExTL persons interviewed

| Name | Position |
| --- | --- |
| Kang Jun-gu | Manager |
| Min Yeong-seung | Principal Researcher |
| Lee Sang-chul | Senior Researcher |
| Choi Yong-won | Principal Researcher |
| Yang Doek-gi | Researcher |
| Eom Tae-gyu | Researcher |
| Cho Hyung-ik | Researcher |
| Chae Hee-dong | Researcher |

## Associated ExCB(s)

The ExCB is integral with the ExTL

## Organisation

### Names, titles and experience of the senior executives

| Name | Title |
| --- | --- |
| Jung Donghee | CEO |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Andres Park | Quality Manager | 4 years as QM |

### Other employees in ExTL activity

See 4.2

## KTL maintain a competency matrix to show competent staff for each standard.

This is included in the Site report

## Organizational structure

See annex B

## Resources

KTL has two well equipped operation premises, one in Seoul running as Headquarters, and the other in Ansan which was initiated in 2003. The main operation of the ExTL is currently centralized in Seoul.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2015 | 2016 | 2017 | 2018 |  |
| 60079-1 | d | 10 | 11 | 10 | 24 | 55 |
| 60079-2 | p |  | 1 | 2 |  | 3 |
| 60079-7 | e | 3 |  | 6 |  | 9 |
| 60079-11 | i | 7 | 4 | 5 | 3 | 19 |
| 60079-1,7 | d, e | 2 | 3 | 4 | 4 | 13 |
| 60079-1,11 | d, i | 1 |  |  | 1 | 2 |
| 60079-1,7,18 | d, e, m |  | 1 | 2 |  | 3 |
| 60079-1,31 | d, t |  | 2 | 6 | 3 | 11 |
| 60079-7,31 | e. t |  | 2 |  | 3 | 5 |
| 60079-1,7,31 | d, e, t |  | 2 |  | 1 | 3 |
| 60079-1,2,11 | d, p, i |  |  | 1 |  | 1 |
| 60079-7,18 | e, m |  |  | 1 |  | 1 |
| 60079-7,11,31 | e, i, t |  |  |  | 1 | 1 |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

NOTE 2 Where the number of reports is low, assessors are expected to carefully check current capability and document the process in this report.

## National accreditation

Accreditation has been granted for the testing by KOLAS.  The certificate and scope is shown in Annex D.  The accreditation covers both the Seoul and Ansan sites.  The full IECEx scope is covered by the KOLAS accreditation.

NOTE The national accreditation is checked annually by the IECEx Secretariat.

## Calibration

Within KTL, there is a Standards & Measurement Centre in Ansan acting as a comprehensive calibration laboratory accredited by KOLAS since April 2001. The corresponding procedures are well documented, and the testing equipment and measuring instruments at KTL are mainly calibrated by the Centre. Examples of calibration certificates were sighted and seen to be satisfactory.

Some equipment, including the optical radiation sensors and pressure transducers, are calibrated by external Calibration Laboratories.  Copies of the relevant Certificates were sighted and found to be satisfactory

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-1, Ed 7 | 15.2.2 | • Flameproof pressure determination (for Group IIC) | Acceptable |
| IEC 60079-11, ed 6 | 10.1 | • Use of spark test apparatus, | Acceptable |
| IEC 60079-18 Ed 4 | 8.1 | • Encapsulation, water absorption and dielectric strength | Acceptable, subject to updating of the procedure |
| IEC 60079-28, Ed 2 | 5.2.2.2 5.2.2.3 | • Optical radiation, power measurement and irradiance measurement | Acceptable |
| IEC 60079-0, Ed 7 | 26.13 26.17 | • Electrostatic measure, surface resistance and transferred charge | Acceptable |
| IEC 60079-0, Ed 7 | 26.5.1 | • Temperature rise, | Acceptable |
| IEC 60079-0, Ed 7 | 26.4.5 | • IP6X/5X test | Acceptable |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme.  KTL also participate in the IECEE Proficiency programs.

NOTE  It is anticipated that the assessment team will be provided with information on the performance of the body in completed PTB Ex PT Scheme programs.

| IECEx Proficiency Testing program | Program years | Participated? Y/N | Comments |
| --- | --- | --- | --- |
| Program 1 "Explosion pressure" | 2011-2012 | N |  |
| Program 2 "Spark ignition" | 2011-2012 | N |  |
| Program 3 "Flame Transmission" | 2013-2014 | Y | acceptable |
| Program 4 "Temperature Classification" | 2013-2014 | Y | acceptable |
| Program 5 "Electrostatic Charge" | 2015-2016 | N |  |
| Program 6 "Intrinsic Safety" | 2015-2016 | Y | acceptable |
| Program 7 "Explosion Pressure" | 2017-2018 | N |  |
| Program 8 "Pressurized Enclosure" | 2017-2018 | Y | ongoing |

## Comments (including issues found during assessment)

Issues were found with the identification of samples and the storage of relevant data.  Also, some procedures needed updating to correctly describe the process.

These were all cleared to the satisfaction of the assessment team.

- Overall Organisation Chart of KTL

- Organisation Chart of ExCB and ExTL

- Accreditation Certificate for ISO/IEC 17065

- Accreditation Certificate for ISO/IEC 17025