INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Re-assessment Report for the continued acceptance of Technology Institution of Industrial Safety (TIIS), JP, an Accepted ExCB and an Accepted ExTL within the IECEx Equipment Scheme 02.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment Report for the continued acceptance of Technology Institution of Industrial Safety (TIIS), JP, an Accepted ExCB and ExTL in the IECEx Scheme, IECEx 02.

This report is hereby submitted for endorsement during the ExMC 2020 Meeting being held in Canada.

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD003-2 for the Certified Equipment Scheme

IECEx ExCB/ExTL Re-assessment report for TIIS

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of Body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	6

1.5	Application information and background information on the assessment	6

1.6	Scopes	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	7

2	Common information	8

2.1	Legal entity of body	8

2.2	Financial support	8

2.3	History	8

2.4	Documentation	8

2.4.1	Quality manual	8

2.4.2	Procedures	9

2.4.3	Work instructions	9

2.4.4	Records (including test records where relevant)	9

2.4.5	Document change control	9

2.5	Confidentiality	9

2.6	Communication with public and customers (Hard copy and Electronic)	9

2.7	Recognitions and agreements	9

2.8	Internal audit	10

2.9	Management review	10

2.10	Contracting, subcontracting and witness testing	10

2.10.1	Contracting	10

2.10.2	Subcontracting	10

2.10.3	Witness testing	10

2.11	Training and competence	10

2.12	Complaints and appeals (including appeals to IECEx)	11

2.13	Impartiality	11

2.14	Commenting on ExTAG Documents	11

2.15	Special facts to be noted	11

2.16	Supporting documentation	11

2.17	Recommendations	11

3	ExCB for IECEx Certified Equipment Scheme	13

3.1	Assessment references	13

3.1.1	General references	13

3.1.2	Additional references applied for this assessment	13

3.2	ExCB persons interviewed	13

3.3	Associated ExTL(s)	13

3.4	Associated certification functions	13

3.5	National marks and certificates	14

3.6	Standards accepted	14

3.7	National differences to IEC standards	14

3.8	Organisation	14

3.8.1	Names, titles and experience of the senior executives	14

3.8.2	Name, title and experience of the quality management representative	14

3.8.3	Name and title of signatories for certification	14

3.8.4	Other employees in ExCB activity	15

3.9	Organizational structure	15

3.10	Indemnity insurance	15

3.11	Resources	15

3.12	Committees (such as governing or advisory boards)	15

3.13	Certification operations	16

3.13.1	National approval/certification methods	16

3.13.2	Certification policy	16

3.13.3	Application for certification	16

3.13.4	Certification decision	16

3.13.5	Suspension and cancellation of certificates	17

3.14	Certificates issued	17

3.15	National accreditation	18

3.16	Assessment of manufacturers and issue of QARs	18

3.17	Comments (including issues found during assessment)	18

4	ExTL for IECEx Certified Equipment Scheme	19

4.1	Assessment references	19

4.1.1	General references	19

4.1.2	Additional references applied for this assessment	19

4.2	ExTL persons interviewed	19

4.3	Associated ExCB(s)	19

4.4	Organisation	19

4.4.1	Names, titles and experience of the senior executives	19

4.4.2	Name, title and experience of the quality management representative	19

4.4.3	Other employees in ExTL activity	20

4.5	Organizational structure	20

4.6	Resources	20

4.7	Test reports issued	20

4.8	National accreditation	21

4.9	Calibration	21

4.10	Tests witnessed during the assessment visit	22

4.11	Participation in IECEx Proficiency Testing Programs	22

4.12	Comments (including issues found during assessment)	22

5	Annexes	23

Annex A Overall Organisation Chart	24

Annex B Organisation Chart of ExCB and ExTL	25

Annex C Certificate for ISO 9001	26

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Japan

### Name of body

Technology Institution of Industrial Safety (TIIS)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Mr Minari Kogane | Director of Testing & International Affairs department. Head of ExCB and ExTL | kogane@tiis.or.jp |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Jim Munro | IECEx Lead Assessor |
| Alice Kou | IECEx Assessor |

### Place(s) of assessment

| Technology Institution of Industrial Safety (TIIS) | 2-16-26 Hirosedai, Sayama-shi, Saitama 350-1328, JAPAN |
| --- | --- |

### Assessment date(s)

Tuesday, 9 to 12 July 2019 (J Munro all 4 days and A Kou last 2 days)

## Application information and background information on the assessment

TIIS submitted an application for scope extension to include IEC 62784 Vacuum cleaners and dust extractors providing equipment protection level Dc for the collection of combustible dusts - Particular requirements in its scope not long before the assessment visit.  This application was granted by the Secretariat and checked during this assessment visit.  The review at the assessment visit confirmed they have the capability to assess and test to this standard.

## Scopes

### ExCB scope for equipment certification scheme

| Number | Title | Comments, eg if scope change |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements |  |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” |  |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» |  |
| IEC 60079-6 Edition 4.0 | Explosive atmospheres - Part 6: Equipment protection by oil immersion «o» |  |
| IEC 60079-7 Edition 5.0 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" |  |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” |  |
| IEC 60079-15 Edition 5.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" |  |
| IEC 60079-18 Edition 4.0 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” |  |
| IEC 60079-25 Edition 2.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems |  |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga |  |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation |  |
| IEC/IEEE 60079-30-1 Edition 1.0 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements |  |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" |  |
| IEC 62784 Edition 1.1 | Vacuum cleaners and dust extractors providing equipment protection level Dc for the collection of combustible dusts - Particular requirements | Recent scope extension checked at this assessment. |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExTL scope

The ExTL scope is the same as for the ExCB.

# Common information

## Legal entity of body

The Technology Institution of Industrial Safety (TIIS) is registered as a legal entity (in its Japanese name of 産業安全技術協会) as a legal entity under the Civil Law of Japan, under the registration number of 0300-05-004315. The document showing this registration was viewed.  TIIS is also a Public Interest Corporation (公益社団法人) authorized by the Cabinet Office, the Government of Japan, on March 28, 2011 under Fu-Eki-Tan No.2761 (copy viewed).

## Financial support

TIIS is self-financed by its income which is primarily from testing and certification, safety evaluation, safety seminars, and sales of technical documents. It also receives grants from the Government for research. TIIS publishes its financial data on its website and the information shows that it is financially stable.

## History

In April 1965, TIIS was founded as a private organization. The initial name was Research Institution of Industrial Safety.

In June 1970, it was approved as a corporate legal entity by the Minister of Labour, Japan.

In January 1971, it was designated for a testing and certification body of Ex-equipment by the Director-General of Labour Standards Bureau of the Ministry of Labour.

In October 1972, it was approved for a Designated Type Examination Agency on Ex-equipment by the Minister of Labour, Japan.

In August 1976, it changed its name to the existing name of TIIS.

In March 2004, TIIS was registered as a Registered Type Examination Agency for 11 machines and equipment including Ex-equipment in accordance with the enactment of amended Occupational Safety and Health Law of Japan. The registration was made by the Minister of Health, Labour and Welfare of Japan.

In March 2009, TIIS received a notice of the renewal of the Registered Type Examination Agency for 11 machines and equipment from the Ministry of Health, Labour and Welfare of Japan.

In March 2011, TIIS was authorized as a Public Interest Corporation by the Cabinet Office of the Government of Japan.

In April 2014, TIIS was accepted as ExCB and ExTL within the IECEx System.

In November 2014, TIIS opened an Osaka office in Izumi City, Osaka, but with no Ex role.

In May 2017, TIIS became a registered certification body for functional safety devices for boilers.

## Documentation

### Quality manual

For IECEx there are two quality manuals. One is related to certification and inspection (ISO/IEC 17065), TIIS-ExCB-00000-I, and the other is related to testing and evaluation (ISO/IEC 17025), ExTL-00000-H. The postscript letters indicate the issue status of the two manuals at the time of the assessment visit. The ExCB manual was last issued on 1 July 2019. The changes were made to reflect changes in the organisation structure of the IECEx ExCB and ExTL where the two groups were effectively combined (see later).

In addition to the above manuals, there is an ISO 9001:2015 QMS Manual, 00-01. This was at issue AH at the time of the assessment visit. TIIS has certification for the quality system covered by this manual.

All documentation in the QMS resides on a system called Desknets.

The manuals and quality procedures for IECEx are written with dual text, ie Japanese and English.

### Procedures

All relevant procedures are referenced in the two quality manuals, and where appropriate, they are also covered in relevant rules.

There are a range of procedures specifically related to IECEx.

### Work instructions

There are work instructions for all the relevant tests in the TIIS scope. These are only in Japanese. These are listed in the TCD.  All these instructions are located on the server with only the copy on the server being controlled.  An issue was raised during the assessment about apparent lack of accessibility for some testing staff to these instructions, but this was subsequently resolved to the satisfaction of the assessment team.

### Records (including test records where relevant)

Procedure ‘Rules for Control of Records’ TIIS-ExCB-03000 addresses record storage. Critical records are defined as being stored for 30 years, but in practice are stored indefinitely. Old records are stored on optical disk, but records are now stored on computer disk with regular backups and periodic archival of records. There is an organisation procedure that establishes a committee to deal with record storage. A copy of this procedure was viewed. There are no old records relevant to the current Ex processes and the archival storage system that where appropriate to test the system. However, the system as described appears to be robust and appropriate.

At present, the hard copy records are also retained in addition to the electronic records.

### Document change control

Document control is described in “Rules for control of documents (TIIS-ExCB-02000-I)” and 4.4 of ExTL Manual. It breaks documents into two categories of internal and external. It supplements a more general TIIS procedure on control of documents 10-01. This procedure clarifies that printed documents are not controlled.

## Confidentiality

Confidentiality is described in 4.5, 6.1.3 a) and 7.12.2 of ExCB Manual and in 4.1.5 c) and 4.7.1 of ExTL Manual. All personnel of TIIS are required not to disclose confidential information in accordance with “Working Regulation” of TIIS.

Examples of signed confidentiality agreements for staff and for members of the Certification Control Committee were reviewed and found to meet the requirements of IECEx.

## Communication with public and customers (Hard copy and Electronic)

TIIS appears on the Internet under https://www.tiis.or.jp/ for Japanese and https://tiis.t4u.bz/eng/ for English (which is currently under development). TIIS also publishes a quarterly magazine, TIIS-NEWS.  Printed brochures are available as well.

An application manual is available on the website for customers.

## Recognitions and agreements

There are 18 mutual recognition agreements with overseas testing laboratories in eleven countries/economies in the area of Ex-equipment. Based on those agreements, TIIS’s test and audit reports are accepted by those laboratories. The organisations include NEPSI, CQST (China); KOSHA, KTL (South Korea); ITRI, ISTI (Taiwan); PTB (Germany), INERIS, LCIE (France); CNEX-Global (Netherlands); LabTest (Canada), SIRIM QAS (Malaysia); SCA with Ex proof TENKO Turkey Ltd.; OBAC (Poland).

## Internal audit

Internal audit is described in “Rules for conducting internal audits (TIIS-ExCB-04000-G)”, in 4.2.5 e) of ExCB Manual, and in 4.14 of the ExTL Manual.   An annual plan for internal audit is prepared each year in March. Audits are conducted once a year. The Ex procedure supplements the ISO 9001 procedures and makes use of appropriate forms which form part of that system.  The procedure incorporates a comprehensive approach to internal auditing and meets the requirements of IECEx.

The latest internal audit report was viewed. It took place on 24-26 July 2018. There were no non-conformities raised, but seven opportunities for improvement (observations) were raised for the IECEx area. The report was quite comprehensive and found to meet the requirements of IECEx.

## Management review

Management review is described in 4.2.3 of ExCB, and in 4.1.6, 4.10 and 4.15 of ExTL.  It is also addressed in the organisation’s ISO 9001 QMS which defines management review meetings as occurring twice a year. The last meeting of MR that took place on 8 April 2019 was reviewed. The meeting included appropriate review of the IECEx operation. A comprehensive report provided an analysis of objectives achieved or planned. It recorded that no complaints were received in the period.

## Contracting, subcontracting and witness testing

### Contracting

There are presently no contractors used.

### Subcontracting

Subcontracting is described in 4.4.3 of the ExTL Manual

. However, there are presently no subcontractors used. TIIS has indicated that it intends to do all tests at its laboratories except for some tests that the TCD allows the ExTL to do as witness testing.

### Witness testing

Witness testing is described in 5.3 3) of the ExTL Manual TIIS-ExTL-2300 where the use of OD 024 for witness testing is described and the need to register applicants’ facilities with the IECEx Secretariat.

There is presently one contract under OD 024. A copy of the contract was reviewed and includes a clear list of tests covered by the agreement. The contract was found to be in accordance with OD 024. Registration has been made with IECEx.

## Training and competence

Training of personnel is described in 6.1.2 b) and 6.1.2.2 d) of the ExCB Manual and 5.2 of the ExTL Manual. Competence of personnel is described in 6.1.2 of the ExCB manual and in 5.2 of the ExTL Manual. Training, competence and records of training are controlled according to “Rules for training/education of personnel” TIIS-ExCB-08000-F.

There is a comprehensive Excel document that addresses competences of staff. It looks at competency for testing against each standard with levels 1 to 3. Separately it addresses competencies of people to review ExTRs, QARs and CoCs.

Education and training is recorded for each year with relevant standards shown. The decision on the competency level to be assigned to each person is made by the Certification Manager.

Details of staff competencies are included in the site assessment report.

## Complaints and appeals (including appeals to IECEx)

Complaints and appeals are dealt with according to Rules for dealing with appeals and complaints (TIIS-ExCB-05000-F).  The procedure includes appropriate processes and includes provision for appeal to IECEx. An issue was raised regarding differentiating between complaints and appeals. TIIS procedures were subsequently revised to provide procedures on complaints and appeals that meet the requirements of IECEx.

## Impartiality

Impartiality is addressed in 4.2.4 of the ExCB Manual. TIIS does not have any operations within its control that are likely to impact on impartiality. There are no separate legal entities that could compromise impartiality.

There is a committee for identifying risks to impartiality. The minutes of the committee for 11 March 2019 were viewed and found to address appropriate risks. These minutes were also reviewed by the Certification Control Committee.

## Commenting on ExTAG Documents

A procedure is in place to ensure comments are provided on all ExTAG documents. For each document, a person is assigned responsibility to draft a response. This is then discussed with a group of staff at the ExCB/ExTL. However, at the time of the assessment visit the procedure was not documented. Subsequently a procedure was provided that meets the requirements of IECEx.

## Special facts to be noted

Some issues were raised during the assessment. Some are mentioned elsewhere in the body of this report. Additional issues concerned: ensuring the correct edition of a standard is used, technique for during the surface resistance tests, ensuring original data for oxygen analyser readings are retained when doing flameproof and intrinsic safety testing, ensuring correct formation of thermocouple tips, ensuring appropriate sample identification, and providing evidence of completed of IPX4 nozzles. All issues were resolved to the satisfaction of the assessment team.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to TIIS ExCB and ExTL and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

Details of issues raised and how these have been resolved

Checklist for ISO/IEC 17065

Checklist for ISO/IEC 17025

Completed Technical Capability Document (TCD)

Photos of the facilities/tests witnessed are included in the above TCD

## Recommendations

Based on the assessment performed TIIS is recommended for continued acceptance in the IECEx scheme as:

An ExCB in the IECEx Certified Equipment Scheme

An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document.

| Jim Munro | Alice Kou |
| --- | --- |
| IECEx Lead Assessor | IECEx Assessor |

Date:  25 October 2019

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

OD009 Issuing of CoCs, ExTRs and QARs

IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

ISO/IEC 17065: 2012, Edition 1, General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

IECEx Technical Capability Document (TCD)

ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

### Additional references applied for this assessment

No additional references are relevant.

## ExCB persons interviewed

| Name | Position |
| --- | --- |
| Minari KOGANE(Mr) | Head of ExCB and ExTL |
| Other people shown in 3.8.3 below. |  |

## Associated ExTL(s)

ExTL of TIIS is an associated ExTL as an integrated unit for IECEx work. The allocation of an ExCB or ExTL role to a person will be done on a job-by-job basis with the intent of ensuring separation of ExCB and ExTL roles for that job.

## Associated certification functions

TIIS has been issuing national certificates of Ex-equipment as an Examination Agency since 1971.  In 2014, the scope of certification of TIIS was expanded to 12 machines and equipment including Ex-equipment in accordance with the enactment of Occupational Safety and Health Law of Japan. TIIS currently issues national certificates for the following machines and equipment in addition to Ex-products.

(1) automatic electric-shock prevention devices in AC arc welding equipment,

(2) personal insulation equipment in high- or low-voltage electrical work,

(3) Insulation equipment for use on electrically live-parts,

(4)  safety devices for press and shear machines,

(5)  press machines equipped with a safety device,

(6) emergency stop devices for rubber, rubber-compound or plastic-compound mixing rolls (for controlled types other than electrically controlled type only),

(7) safety devices for circular saws used in woodwork,

(8) safety helmets,

(9) particulate respirators,

(10) gas masks, and

(11) PAPR: Powered Air Purifying Respirators.

## National marks and certificates

The following is the national mark used by TIIS when issuing local certification:

|  | 労（ 年 月 ）検 |  |
| --- | --- | --- |
|  | 型式検定合格番号 |  |
|  | 型式検定合格証の交付を受けた者又はその承継人の氏名又は名称 |  |

## Standards accepted

See clause 1.6 of this report

## National differences to IEC standards

National differences to IEC standards are those for the Japan differences listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Katsuya Enomoto (Mr) | President of TIIS | 6 years in Ex |
| Mizuki Yamaguma (Mr) | Executive Managing Director | 6 years in Ex |
| Minari Kogane (Mr) | Director of Testing & International Affairs department. Head of ExCB and ExTL | 26 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Akira Matsuki (Mr) | Management Representative of QMS | 23 years in quality management |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Minari Kogane (Mr) | Director of Testing & International Affairs department. Head of ExCB and ExTL | 26 years in Ex TIIS procedures make provision for other personnel to act as a signatory when Mr Kogane is absent. |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Shuichi Matsuda (Mr) | Chief of ExCB Senior Certification Engineer | 8 years in Ex |
| Takeo Sekine (Mr) | Senior Certification Engineer | 27 years in Ex |
| Sungmi Jung (Ms./Ph.D) | Project Manager for International Affairs | 3 years in Ex |
| Takashi Gotoh (Mr) | Senior Certification Engineer Senior Testing Engineer | 22 years in Ex |
| Izumi Yamane (Mr) | Senior Certification Engineer Senior Testing Engineer | 12 years in Ex |
| Hidenori Satou (Mr) | Senior certification Engineer Senior Testing Engineer | 10 years in Ex |
| Shigeaki Tanabe (Mr) | Senior Quality Assessor Testing Engineer | 7 years in Ex |
| Shunsuke Yoshihara (Mr) | Testing Engineer Quality Assessor | 25 years in Ex |

## Organizational structure

As noted earlier, the staff of the ExCB may also have an ExTL role. Separation of responsibilities between ExCB and ExTL is achieved on a project by project basis. Staff in the IECEx ExCB and ExTL also have other responsibilities in TIIS, for example for local certification.

Annexes A and B show the organisational structure of TIIS, and the IECEx ExCB and ExTL.

## Indemnity insurance

TIIS holds an “Indemnity Insurance Policy for Professional Work” from Tokio Marine & Nichido Fire Insurance Co. Ltd, under policy number of Y130132211 valid to 1 February 2020 (Japanese year 32). The policy is for 100,000,000 Yen. Evidence was reviewed of the above.

## Resources

The TIIS ExCB has sufficient numbers of competent staff for its IECEx operation, supported by appropriate procedures.

## Committees (such as governing or advisory boards)

TIIS has a ‘Certification Control Committee' which is composed of TIIS-internal and external committee members with a balance of interests. Its operation is addressed in “Rules for certification control committee” (TIIS-ExCB-01100-B). The rules describe provisions for its roles and composition, etc.  These roles have changed with the last revision and now cover handling of appeals, complaints and disputes, and impartiality.

The procedure states that the number of internal members must be less than the number of external members.  There is also provision to ensure this occurs when not all members are present. Minutes of the last committee meeting on 10 April 2019 were viewed. 4 external and 2 internal members were present plus an additional TIIS person as secretariat. The areas covered were appropriate, including considering risk to impartiality. The process meets the requirements of IECEx.

There is also a Board of TIIS. The role of the Board is addressed in the articles of association for TIIS. It meets four times a year. There are currently 20 members of the Board including some staff from TIIS. Its role includes:

Oversight of the finances of TIIS and for this it has two independent auditors

Deciding the annual plan of business

Appointment of senior management

Review of work performance of senior management

## Certification operations

### National approval/certification methods

TIIS is a Registered Examination Agency under Occupational Safety and Health Law, and required by the Ministry of Health, Labour and Welfare to comply with Ordinance on Examination of Machines and Other Equipment (Ordinance of the Ministry of Health, Labour and Welfare) and Constructional Requirements (Structural Codes) for Electrical Equipment for Explosive Atmospheres (Notice of the Ministry of Health, Labour and Welfare) for national certification of Ex-products.

The system for certification of Ex products is different to the IECEx system. Certificates are issued based on a type test and there is no assessment of manufacturers. Manufacturers are normally required to test their products prior to submission to TIIS and their test results may be used for the purpose of issuing TIIS certification. Manufacturers are required to have in place a QMS system and test facilities for Ex, but these are not subject to inspection by TIIS.

### Certification policy

TIIS has a quality policy that includes reference to certification and meets the requirements of IECEx.  The policy is prominently shown in various places in TIIS.

### Application for certification

Application for certification is described in 7.2 of the ExCB Manual and in 4 to 9 of “Rules for certification of Ex-products” TIIS-ExCB-01000-I, which was at revision I at the time of the assessment visit.  The document describes the procedures for certification of Ex-products under equipment certification scheme of IECEx. This a comprehensive document that clearly describes the processes related to handling of applications for IECEx certification and associated reports.  It includes reference to the relevant associated procedures and forms, and also includes processes for relevant critical aspects for ISO/IEC 17065.

IECEx “Procedure for the issuing of IECEx Certificates of Conformity, IECEx Test Reports and IECEx Quality assessment Reports” TIIS-ExCB-OD009, was at revision G at the time of the assessment visit.  This provides a summary of the certification process based on IECEx OD 009 and includes critical aspects, such as the means to ensure that for any given project, staff involved in ExTL aspects of that project do not take on an ExCB role for that project.  It meets the requirements of IECEx.

### Certification decision

Certification decision is described in 7.6 of ExCB Manual and in 4.5 of the “Rules for certification of Ex-products” above. The decision is taken by the Certification Manager on recommendation from a relevant senior engineer. The certificate and associated reports are issued once approval is given by the Executive Managing Director. The decision is normally taken by the Certification Manager, but procedures are in place for other personnel to take that decision in his absence.

### Suspension and cancellation of certificates

Suspension and cancellation of certificates is described in 7.11 of ExCB Manual and 8 of “Rules for certification of Ex-products”.  Further procedures are in TIIS-ExCB-OD009.  The procedures include the need to consult with the IECEx Secretariat.  The procedures meet the requirements of IECEx.

## Certificates issued

The number of IECEx   certificates issued for the preceding four years for each type of protection are shown in the table below.

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2016 | 2017 | 2018 | 2019 | 11 |
| IEC60079-1 | Flameproof enclosure | 1 | 1 |  |  | 2 |
| IEC60079-2 | Pressurized enclosure |  |  |  |  |  |
| IEC60079-6 | Oil immersion |  |  |  |  |  |
| IEC60079-7 | Increased safety |  |  |  |  |  |
| IEC60079-11 | Intrinsic safety | 6 | 1 | 1 | 1 | 9 |
| IEC60079-15 | Type “n” |  |  |  |  |  |
| IEC60079-18 | Encapsulation “m” |  |  |  |  |  |
| IEC60079-25 | Intrinsically safety electrical systems |  |  |  |  |  |
| IEC60079-28 | Optical radiation |  |  |  |  |  |

NOTE	Above include certificates to IEC 60079-0 unless otherwise shown

The following table is for national certification.

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2016 | 2017 | 2018 | 2019 | 1137 |
| IEC60079-1 | Flameproof enclosure | 153 | 136 | 71 | 54 | 414 |
| IEC60079-2 | Pressurized enclosure | 10 | 7 | 2 | 3 | 22 |
| IEC60079-6 | Oil immersion | 0 | 2 | 0 | 0 | 2 |
| IEC60079-7 | Increased safety | 28 | 11 | 21 | 22 | 82 |
| IEC60079-11 | Intrinsic safety | 213 | 154 | 91 | 27 | 485 |
| IEC60079-15 | Type “n” | 2 | 9 | 0 | 1 | 12 |
| IEC60079-18 | Encapsulation “m” | 7 | 5 | 12 | 2 | 26 |
| IEC60079-25 | Intrinsically safety electrical systems | 0 | 0 | 0 | 4 | 4 |
| IEC60079-26 | protection Level (EPL) Ga | 1 | 11 | 6 | 0 | 18 |
| IEC60079-28 | Optical radiation | 1 | 34 | 12 | 19 | 66 |
| IEC60079-31 | dust ignition protection by enclosure "t" | 1 | 0 | 3 | 2 | 6 |

## National accreditation

TIIS does not hold an accreditation for ISO/IEC 17065 from an accreditation agency in Japan since TIIS is authorized by the Ministry of Health, Labour and Welfare of Japan to issue certificates under Occupational Safety and Health Law. However, for international affairs and business, TIIS is currently preparing to obtain local accreditation for the ExCB and ExTL from International Accreditation Japan (IA Japan), National Institute of Technology and Evaluation (NITE).  Representatives of NITE were present as observers for the first three days of this re-assessment. Add and will therefore be subject to Annual Surveillance.

TIIS does hold certification to ISO 9001:2015 – certificate number from JQA-3877 from Japan Quality Assurance Organisation.  The certificate is valid to 4 December 2021.  A copy of the certificate is included in Annex C.

## Assessment of manufacturers and issue of QARs

Under the national certification scheme, TIIS does not perform QAR assessments by its personnel as national certification does not require QARs. However, TIIS conducts the audit of manufacturer’s QMS by its personnel upon the requests from overseas certification bodies according to technical agreements with those bodies.

Under the IECEx certification scheme, TIIS performs QAR assessments by its personnel as an accepted ExCB. The ExCB Manual includes reference in Clause 1.2 to assessment of the manufacturer's quality management systems and the issue of a QAR, which references ISO/IEC 80079-34.

TIIS has the following procedures on how the requirements of IECEx are implemented.

Procedures for the issuing of CoC ExTR and QAR (TIIS-ExCB-OD009-G)

Procedure for the qualifying Lead Auditors and Auditors (TIIS-ExCB-OD026-C)

Procedure for the Management of Assessment & Surveillance for Manufacturer’s QMS (TIIS-ExCB-OD025-D)

TIIS does not have its own checklist and uses IECEx OD 208

A review was carried out of the QAR for a recent assessment, together with the staff member who carried out the assessment.  The QAR was found to be very comprehensive and 11 findings were made comprising minor non-compliances and observations, indicating a thorough assessment meeting the requirements of IECEx.  The TIIS assessment process for QARs was found to meet the requirements of IECEx.

## Comments (including issues found during assessment)

See 2.15 regarding issues raised during the assessment visit.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

IECEx OD009 Issuing of CoCs, ExTRs and QARs

ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories (note: at the time of the assessment TIIS had not updated their systems to the latest edition)

IECEx Technical Capability Document (TCD)

ExTAG decision sheets (DSs)

OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied except for ISO/IEC 17025 as noted above.

### Additional references applied for this assessment

No additional references are relevant.

## ExTL persons interviewed

All members of the ExTL as indicated in 4.4.3 below were present for the assessment visit, including at opening and closing meetings, witnessing of tests, and review of capability for the various standards in the scope.

## Associated ExCB(s)

The ExCB of TIIS is an associated ExCB as an integrated unit for IECEx work. As noted earlier, the allocation of an ExCB or ExTL role to a person will be done on a job-by-job basis with the intent or ensuring separation of ExCB and ExTL roles for that job.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Katsuya Enomoto (Mr) | President of TIIS | 6 years in Ex |
| Mizuki Yamaguma (Mr/Ph.D) | Executive Managing Director | 6 years in Ex |
| Minari Kogane (Mr) | Director of Testing & International Affairs department. Head of ExCB and ExTL | 26 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Akira Matsuki (Mr) | Management Representative of QMS | 23 years in quality management |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Takuro Kubo (Mr/Ph.D) | Chief of ExTL Senior Testing Engineer Senior certification Engineer | 8 years in Ex |
| Takashi Gotoh (Mr) | Senior Testing Engineer Senior Certification Engineer | 22 years in Ex |
| Izumi Yamane (Mr) | Senior Testing Engineer Senior Certification Engineer | 12 years in Ex |
| Hidenori Satou (Mr) | Senior Testing Engineer Senior certification Engineer | 10 years in Ex |
| Masaru Tanaka (Mr) | Testing Engineer | 49 years in Ex |
| Masaki Kaneko (Mr) | Testing Engineer | 24 years in Ex |
| Masanobu Hatanaka (Mr) | Testing Engineer | 30 years in Ex |
| Shinji Ogawa (Mr) | Testing Engineer | 11 years in Ex |
| Shigeaki Tanabe (Mr) | Testing Engineer Senior Quality Assessor | 7 years in Ex |
| Shinpei Sakaguchi (Mr) | Testing Engineer | 5 years in Ex |
| Kouji Nakaya (Mr) | Testing Engineer | 4 years in Ex |
| Tokiko Osawa (Ms) | Testing Engineer | 3 years in Ex |
| You Kojima (Mr) | Testing Engineer | 2 years in Ex |
| Toru Hinouchi (Mr) | Testing Engineer | 8 years in Ex |
| Shunsuke Yoshihara (Mr) | Testing Engineer Quality Assessor | 25 years in Ex |
| Mitsuhiro Takishima (Mr) | Testing Engineer | 27 years in Ex |

## Organizational structure

The organisational structure is described in 3.9 above.  Annexes A and B show the organisational structure of TIIS, and the IECEx ExCB and ExTL.

## Resources

TIIS had the necessary resources of staff, procedures and equipment to carry out testing to the standards in the scope of their ExTL.  Evidence of this is included in the TCD.

## Test reports issued

The following is the number of test reports (ExTRs) issued for the preceding four years for each type of protection for IECEx.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2016 | 2017 | 2018 | 2019 | 11 |
| IEC60079-1 | Flameproof enclosure | 1 | 1 |  |  | 2 |
| IEC60079-2 | Pressurized enclosure |  |  |  |  |  |
| IEC60079-6 | Oil immersion |  |  |  |  |  |
| IEC60079-7 | Increased safety | 1 |  |  |  | 1 |
| IEC60079-11 | Intrinsic safety | 6 |  | 1 | 1 | 8 |
| IEC60079-15 | Type “n” |  |  |  |  |  |
| IEC60079-18 | Encapsulation “m” |  |  |  |  |  |
| IEC60079-25 | Intrinsically safety electrical systems |  |  |  |  |  |
| IEC60079-28 | Optical radiation |  |  |  |  |  |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

Testing for the various standards is also carried out for national certification but without issuing a test report.

TIIS also carries out testing for other bodies, for example ATEX notified bodies.  The following is the number of test reports (other than ExTRs) issued for those other bodies.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 4 years) |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2016 | 2017 | 2018 | 2019 | 38 |
| IEC60079-1 | Flameproof enclosure | 0 | 9 | 2 | 1 | 12 |
| IEC60079-2 | Pressurized enclosure | 1 | 1 | 4 | 2 | 8 |
| IEC60079-6 | Oil immersion | 0 | 0 | 0 | 0 | 0 |
| IEC60079-7 | Increased safety | 0 | 0 | 1 | 0 | 1 |
| IEC60079-11 | Intrinsic safety | 1 | 5 | 5 | 6 | 17 |
| IEC60079-15 | Type “n” | 0 | 0 | 0 | 0 | 0 |
| IEC60079-18 | Encapsulation “m” | 0 | 0 | 0 | 0 | 0 |
| IEC60079-25 | Intrinsically safety electrical systems | 0 | 0 | 0 | 0 | 0 |
| IEC60079-28 | Optical radiation | 0 | 0 | 0 | 0 | 0 |

## National accreditation

TIIS does not hold an accreditation on ISO/IEC 17025 for the standards within its scope. TIIS is currently in the process of seeking accreditation by a national accreditation agency called National Institute of Technology as Evaluation (NITE) as indicated earlier. Add and will therefore be subject to Annual Surveillance.

## Calibration

The relevant IECEx procedure for calibration is included in “Rules of control of test facilities” TIIS-ExTL-22000-C Clause 5.1.  The Chief of the ExTL is responsible for the system.  In addition to the above procedure, there is also a procedure under the ISO 9001 system addressing calibration, 10-04D, with the same title.  A system is in place to check equipment received back from calibration before it is put back into service.  Records for this checking were viewed and found to be appropriate.

TIIS assigns calibration intervals for equipment based on the nature of the instrument, its frequency of use and its history.  The equipment carries the certification sticker from an external agency.  In addition, TIIS adds a sticker that shows the calibration date and the date of expiry.  Some equipment is labelled as ‘periodical calibration’ or ‘pre-use calibration’, indicating it is to be calibrated before use.

All equipment is calibrated externally but some equipment is subject to regular internal inspection, for example the Spark Test Apparatus is checked every six months for compliance with IEC 60079-11.

All equipment checked during the assessment visit, including equipment used for the witnessed testing, was in calibration.

Records showing compliance of IPX4 nozzles with IEC 60529 were not available at the time of the assessment.  So, a repeat of this check was carried out after the assessment and resolved this issue to the satisfaction of the assessment team.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-1 Ed7.0 | 15.1.2 | Flameproof pressure determination with ethylene | Test performed satisfactorily. But issue raised with not recording oxygen readings. Subsequently resolved. |
| IEC 60079-1 Ed7.0 | 15.2 | Flameproof non-transmission test with hydrogen | Test performed satisfactorily. |
| IEC 60079-0 Ed7.0 | 26.5.1 | Temperature rise test on a luminaire | Test performed satisfactorily. But issue raised with thermocouple tips. Subsequently resolved. |
| IEC 60079-11 Ed6.0 | 10.1 | Use of the spark test apparatus on a power supply | Test performed satisfactorily. |
| IEC 60079-11 Ed6.0 | 10.5.2 a) | Electrolyte leakage test for cells and batteries, short circuit test of battery | Test performed satisfactorily. |
| IEC 60079-0 Ed7.0 | 26.13 | Measurement of surface resistance | Test performed satisfactorily. But issue raised with finger on electrode. Subsequently resolved. |
| IEC 60529 Ed2.0 and IEC 60079-0 Ed7.0 | 26.4.5 | IP6X/5X test | Test performed satisfactorily. |
| IEC 60529 Ed2.0 and IEC 60079-0 Ed7.0 | 26.4.5 | IP X4 test | Test performed satisfactorily. |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme

The PTB report to IECEx for this assessment indicated – ‘No action signals from previous test rounds’.  TIIS has participated in all programs as follows:

| IECEx Proficiency Testing program | Program years |
| --- | --- |
| Program 1 "Explosion pressure" | 2011-2012 |
| Program 2 "Spark ignition" | 2011-2012 |
| Program 3 "Flame Transmission" | 2013-2014 |
| Program 4 "Temperature Classification" | 2013-2014 |
| Program 5 "Electrostatic Charge" | 2015-2016 |
| Program 6 "Intrinsic Safety" | 2015-2016 |
| Program 7 "Explosion Pressure" | 2017-2018 |
| Program 8 "Pressurized Enclosure" | 2017-2018 |

## Comments (including issues found during assessment)

See 2.15 regarding issues raised during the assessment visit.

# Annexes

See Contents.

Overall Organisation Chart

Organisation Chart of ExCB and ExTL

Certificate for ISO 9001