INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Re-assessment and Scope Extension Report for the continued acceptance of Karandikar Laboratories Pvt. Ltd.an Accepted Ex Certification Body(ExCB) and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02, to include IEC 60079-33 and ISO 16852 in their scope.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment and Scope Extension Report for the continued acceptance of Karandikar Laboratories Pvt. Ltd. an Accepted Ex Certification Body and an Accepted Ex Testing Laboratory (ExTL) within the IECEx System, Equipment Scheme 02.

During the re-assessment the IECEx Assessment Team took the opportunity to also assess

Karandikar Laboratories Pvt. Ltd. equipment and competence to undertake testing and certification for the following extension of scope –

| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | Extension in scope |
| --- | --- | --- |
| ISO 16852 Edition 2 | Flame arrestors - Performance requirements., test methods and limits for use | Extension in scope. Limited to End of line, in-line, pre volume deflagration flame arrestors. |

The report is hereby submitted for voting by the ExMC.

This document is hereby submitted for ExMC approval via correspondence using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2021 07 19

Please refer to OD 050 for guidance on the “IECEx On-line voting system.”

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: info@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form, F-003

IECEx assessment report form for use by IECEx assessment teams to report assessments conducted according to the relevant IECEx assessment procedures of:

Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

IECEx ExCB/ExTL assessment report for

KARANDIKAR LABORATORIES PVT. LTD

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	7

1.4.3	Assessment date(s)	7

1.5	Application information and background information on the assessment	7

1.6	Scopes	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	7

1.6.3	ATF Scope	7

1.6.4	ExCB scope for Service Facilities Scheme	7

1.7	ExCB scope for Conformity Mark Licensing Scheme	7

1.8	ExCB scope for IECEx Personnel Competence Scheme	7

2	Common information	8

2.1	Legal entity of body	8

2.2	Financial support	8

2.3	History	8

2.4	Documentation	9

2.4.1	Quality manual	9

2.4.2	Procedures	9

2.4.3	Work instructions	9

2.4.4	Records (including test records where relevant)	9

2.4.5	Document change control	9

2.5	Confidentiality	9

2.6	Communication with public and customers (Hard copy and Electronic)	10

2.7	Recognitions and agreements	10

2.8	Internal audit	10

2.9	Management review	10

2.10	Contracting, subcontracting and witness testing	11

2.10.1	Contracting	11

2.10.2	Subcontracting	11

2.10.3	Off-site and Witness testing	11

2.11	Training and competence	11

2.12	Complaints and appeals (including appeals to IECEx)	11

2.13	Impartiality	12

2.14	Active involvement in development of Decision Sheets	12

2.15	Special facts to be noted	12

2.16	Supporting documentation	12

2.17	Recommendations	12

3	ExCB for IECEx Certified Equipment Scheme	14

3.1	Assessment references	14

3.1.1	General references	14

3.1.2	Additional references applied for this assessment	14

3.2	ExCB persons interviewed	14

3.3	Associated ExTL(s)	14

3.4	Associated certification functions	15

3.5	National marks and certificates	15

3.6	Standards accepted	15

3.7	National differences to IEC standards	15

3.8	Organisation	15

3.8.1	Names, titles and experience of the senior executives	15

3.8.2	Name, title and experience of the quality management representative	15

3.8.3	Name and title of signatories for certification	15

3.8.4	Other employees in ExCB activity	16

3.9	Organizational structure	16

3.10	Indemnity insurance	16

3.11	Resources	16

3.12	Committees (such as governing or advisory boards)	16

3.13	Certification operations	16

3.13.1	National approval/certification methods	16

3.13.2	Certification policy	16

3.13.3	Application for certification	17

3.13.4	Certification decision	17

3.13.5	Suspension and cancellation of certificates	17

3.14	Certificates issued	17

3.15	National accreditation	17

3.16	Assessment of manufacturers and issue of QARs	17

3.17	Comments (including issues found during assessment)	17

4	ExTL for IECEx Certified Equipment Scheme	19

4.1	Assessment references	19

4.1.1	General references	19

4.1.2	Additional references applied for this assessment	19

4.2	ExTL persons interviewed	19

4.3	Associated ExCB(s)	19

4.4	Organisation	19

4.4.1	Names, titles and experience of the senior executives	19

4.4.2	Name, title and experience of the quality management representative	20

4.4.3	Other employees in ExTL activity	20

4.5	Organizational structure	20

4.6	Resources	20

4.7	Test reports issued	20

4.8	National accreditation	21

4.9	Calibration	21

4.10	Tests witnessed during the assessment visit	21

4.11	Participation in IECEx Proficiency Testing Programs	21

4.12	Comments (including issues found during assessment)	22

5	ATF for IECEx Certified Equipment Scheme	23

6	ExCB for Certified Service Facilities Scheme	23

7	IECEx Conformity Mark Licensing Scheme	23

8	ExCB for IECEx Personnel Competence Scheme	23

9	Annexes	24

Annex A Scope for IECEx Certified Equipment Scheme	25

A.1	Current standards	25

A.2	Superseded standards	26

Annex B Overall Organisation Chart KLCS	27

Annex C Organisation Chart of ExTL	28

Annex D Accreditation Certificate for ISO/IEC 17065	30

Annex E	31

Accreditation Certificate for ISO/IEC 17025	31

# Assessment information

## Type of body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ATF for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |
| ExCB for IECEx Certification of Personnel Competency Scheme |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

NOTE 3  ATF - Additional Testing Facility

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

India

### Name of body

Karandikar Laboratories Pvt. Ltd.

With the following divisions owned by them:

ExTL: Calibration and Testing division of Karandikar Laboratories

ExCB: KL Certification Services division of Karandikar Laboratories

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Ravi Paranjpe | Director (Operation) | ravi@karandikarlab.com |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Ajay Maira | IECEx Lead Assessor |

### Place(s) of assessment

| By remote assessment in accordance with IECEx OD060: | Gat No. 142, BETEGAON, BOISAR CHILHAR ROAD, Opp UNION PARK, BOISAR (EAST), DIST PALGHAR. PIN 401501. MAHARASHTRA, INDIA. |
| --- | --- |

### Assessment date(s)

2021-02-09 to 2021-02-18

## Application information and background information on the assessment

Karandikar Laboratories were accepted as an IECEx Testing Laboratory in 2015 and as an IECEx Certifying Body in 2020.

This was a re-assessment for their continuance as an IECEx TL and IECEx CB. While their ExCB re-assessment would have been required only in 2025, they have chosen to bring forward their re-assessment to be in step with their IECEx TL reassessment dates.

Karandikar Laboratories continue to operate during the present COVID-19 pandemic with additional precautions and adjustments for their staff and operations. Hence, in accordance with IECEx OD060, this assessment by IECEx has been conducted by remote means using webconferencing tools.

Due to the time differences between the timezone of Karandikar Laboratories in India and that of the IECEx assessor in Australia, the audit was planned to be conducted over several half-days in order to cover the scope of the IECEx TL and IECEx CB operations completely.

## Scopes

### ExCB scope for equipment certification scheme

The scope for the ExCB is shown in Annex A.  The scope extension allows the following:

| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | Extension in scope |
| --- | --- | --- |
| ISO 16852 Edition 2 | Flame arrestors - Performance requirements., test methods and limits for use | Extension in scope. Limited to End of line, in-line, pre volume deflagration flame arrestors. |

### ExTL scope

The ExTL scope is the same as for the ExCB.

### ATF Scope

Not applicable.

.

### ExCB scope for Service Facilities Scheme

Not applicable.

## ExCB scope for Conformity Mark Licensing Scheme

Not applicable.

## ExCB scope for IECEx Personnel Competence Scheme

Not applicable.

# Common information

## Legal entity of body

Karandikar Laboratories Pvt Ltd is an independent legal entity and is incorporated with Registrar of Companies, Government of Maharashtra having number U 33125 MH 2004 PTC 145610 dated 12 April 2004. The Certificate of Incorporation showing the above incorporation was viewed.  The company is not part of a larger organization.

## Financial support

The operation is fully supported by income from its activities such as calibration, testing, certification and training.

## History

The company was initially incorporated as a proprietary concern “Karandikar & Associates” in the year 1991 with the sole object of providing Test and Calibration services in the field of Electro-technical components and equipment. The company was located at Dahanu. Services were limited to weather proofness tests as per IS 2147 and NEMA 4.  In response to increased demand, the facilities were expanded to cover climatic tests such as Dry heat, Damp heat, Humidity, Dry Cold, Dust, Salt and Rain Simulation.

In 1995, Calibration services were added with assistance from M/S UK CALIBRATION AND TESTING CONSULTANTS LTD (UKCTC).  One of the directors of UKCTC with experience in electrical measurements and in the auditing of NAMAS (UK) accredited laboratories came to India to impart training to Karandikar & Associates staff for periods of four weeks in Feb 95 and Feb 97 respectively.

The constitution of the company was amended in 2004, and it is now a Private Ltd company known as “Karandikar Laboratories Pvt. Ltd.” providing test and calibration services to industry. M/s Karandikar Laboratories Pvt. Ltd. has taken over the laboratory operations of M/s Karandikar & Associates with effect from May 2004.

The company entered into a co-operation agreement in October 2008 with a test and certification body Baseefa Ltd, UK. Baseefa which has a high reputation for testing and certification in the field of equipment for use in hazardous areas.

In 2009 test facilities were commissioned in Boisar to cover testing of Enclosures of Electrical Equipment in line with IS/IEC 60079 series of standards, and safety testing in line with IEC 61010 (Safety requirements for electrical equipment for measurement, control, and laboratory use) and 60950 (IT equipment).

In 2010, the calibration facilities were shifted from Dahanu to Boisar with the view of providing better co-ordination of activities thereby improving services to customer and adequate utilization of resources.

In 2012, activities of inspection and training were introduced and were identified as a separate division of Karandikar Laboratories. For this a separate quality manual was issued and accreditation for these activities sought under NABCB - a division of Quality Council of India (QCI).

Karandikar Laboratories have presently three divisions, namely Calibration and  Testing Laboratory, Inspection and Training, and KL Certification Services.

In the year 2015 Karandikar Laboratories Pty Ltd became an independent ExTL with Baseefa (UK) as the associated ExCB. In 2018 an additional associated ExCB – DNV GL – Presafe AS was added.

In the year 2020, the KL Certification Services, a division of Karandikar Laboratories, was accepted as IECEx Certifying Body, with Karandikar Laboratory Pty Ltd as the associated integral IECEx testing laboratory.

Karandikar Laboratories is also an IECEx Recognised Training Provider (RTP), and perceived risk to impartiality by training activities has been addressed in the Risk Identification and Treatment Table FC 024. Karandikar are also intending to later set up an office in UAE to issue inspection reports for refineries with Ex areas. Karandikar have already set up an office in Mumbai to coordinate inspection of Ex equipment in a refinery just off Mumbai.

## Documentation

### Quality manual

Karandikar Laboratories maintain presently three Quality Manuals. These are for ISO/IEC 17025, ISO/IEC 17065 and ISO/IEC 17020.

The manuals are comprehensive and provide a roadmap for all the documents and record keeping requirements of IECEx.

### Procedures

KL Certification Services procedures are listed in Annex B of the KLCS Quality Manual and these are the tier two documents containing certification and auditing procedures.

Calibration and Testing laboratory procedures are listed in Annex II of the KLPL Quality Manual and these are the tier two documents containing system and testing procedures.

Karandikar have taken the decision to maintain all procedures and forms for certification services to be kept separate from the procedures and forms relating to calibration and testing, and also from those for inspection and training.

### Work instructions

The procedures above contain sufficient details and so separate work instructions are not prepared.

### Records (including test records where relevant)

Forms used for certification activities are available in Annex FC II Issue 01 Amendment 03 of the KLCS Quality Manual and Annex F II Issue 01 Amendment 02 of the KLPL Quality Manual. These were viewed during the assessment and they cover IECEx requirements.

All completed project files are saved in the completed projects folders held with the Technical Manager, with all critical documents such as test reports are held as hard copies. Only software copies of these documents may be provided to other concerned staff when requested, as provided in CSP016 Rev 00 Amendment 00.

Computer backups are daily as incremental changes and stored in the servers with three mirror copies. A clone is generated in a NAS memory held in a different building. The servers are provided with UPS power backup.

Publications are purchased in print form or electronic form. Those procured in hard copy format are stamped as “CONTROL” or “REFERENCE COPY” as the case may be. Electronically acquired control documents are stored on the server for reference.

### Document change control

Document change control is as per CSP 002 Rev 01.  Staff only have access to a pdf version on the intranet. These are there for reference and staff are advised not to print copies.

During the amendment of a procedure, the document under change is saved with tracked changes in a separate defined folder.

## Confidentiality

(For staff, contractors and members of advisory bodies)

Policy for freedom from undue pressures, proprietary rights and confidential information, impartiality and operational integrity is covered in Quality Manual section 4 Clause 4.5. A written signed undertaking and agreement to observe impartiality, confidentiality and integrity is obtained by staff at the time of joining the organization. Format is given in F 53 Rev 2.  The signed agreements are kept in each person's file which also documents educational qualifications and training. Examples of signed agreements were viewed and found to meet the requirements of IECEx. Staff are very aware of their continuous responsibility on this matter.

Form FC 009 Amendment 01 is signed with customers. This legally enforceable agreement contains information on confidentiality and intellectual property. When the project is being progressed, the files are kept with the project coordinator and when completed, these are stored in hard copy with the technical manager.

## Communication with public and customers (Hard copy and Electronic)

Communication with public and customers is generally done by e-mails or less frequently by writing letters. Verbal communication is sometimes resorted to only when situation demands.

Information for customers is also provided through the body's website and the content is authorised by the Quality Manager. This is documented in internal procedure CSD 002 Rev 02 “Roles, Responsibilities & Authorities”.

## Recognitions and agreements

The laboratory has attained the following accreditations and recognitions:

1) National Accreditation Board for Testing and Calibration Laboratories NABL – Testing: Certificate TC-6311 09 June 2018 for ISO/IEC 17025:2005, issued by NABL with ILAC-MRA logo.

2) Bureau of Indian Standards: BIS Lab Recognition Scheme 2018 dated 05 April 2019 – reports from Karandikar are accepted by BIS for certificates provided to BIS’s customers.

3) Karandikar Laboratories is an IECEx ExTL with SGS BASEEFA and DNV GL – Presafe AS as the associated ExCBs. This arrangement will continue in the future too.

4) National Accreditation Board for Certifying Bodies (NABCB) – audit has been completed for  KL Certification Services to be recognised as a Certification Body operating the IECEx Equipment Certification scheme. NABCB are a member of IAF, ILAC, and APAC.

## Internal audit

Internal auditing requirements are addressed in KLCS Quality Manual Section 8 Clause 8.6 and KLPL Quality Manual Section 8 Clause 8.8.  Audit observations are recorded on KLCS Audit observation form FC005 / KLPL from F 02. NCs are reported in Non-Conformance Audit Report Form KLCS FC006 / KLPL F 03 by the auditor. An audit summary KLCS FC007 / KLPL F 02A is also prepared.  There is one internal audit carried out in the course of a year addressing all the requirements for certification / testing.  There is an audit schedule included in the procedure KLCS CSP013 / KLPL SP 029.  The audit is done using the ISO/IEC 17065 / ISO/IEC 17025 checklist.

The audit carried out on 7 & 8 Nov 2020 for KLCS / 25&26 Aug 2020 for KLPL. These were reviewed.

## Management review

Management review requirements are addressed in KLCS Quality Manual Section 8 Clause 8.5.  This states that the CEO will conduct a review once a year.  The agenda is noted in KLCS CSP 001 / KLPL SP 030. The last meeting review for both organisations took place on 22 December 2020. The minutes of the meeting were reviewed and no issues raised that impact on IECEx activities

## Contracting, subcontracting and witness testing

### Contracting

Quality Manual Section 6.2.2 specifies where certification activities may be outsourced. CSP 004 “Procedure for Qualification, Assessment and Monitoring of subcontractors (outsourcing activities)” applies.

### Subcontracting

The following tests are, or may be, subcontracted by the body:

| Standard | Clause | Test |
| --- | --- | --- |
| IEC 60079-0 | 26.10 | Resistance to UV light |
| IEC 60079-1 | B.1.3 | Sintered metal elements - Density |
| IEC 60079-1 | B.1.4 | Sintered metal elements - Open porosity and/or fluid permeability |
| IEC 60079-7 | 6.3.5 | Sulphur dioxide test for level of protection "eb" for the connection of bi-pin lamp caps to lampholders |
| IEC 60079-7 | 6.6.4 | Test for Level of Protection "eb" ventilation of battery container |
| IEC 60079-7 | 6.7 | Verification and tests for cells and batteries of Level of Protection “ec” |
| IEC 60079-11 | 10.8 | Type tests for diode safety barriers and safety shunts |
| IEC 60079-28 | 5.2.4 and 6 | Ignition tests |
| IEC/IEEE 60079-30-1 | 5.1.12 | Thermal performance test |
| IEC/IEEE 60079-30-1 | 5.1.16 | Outdoor exposure test |

More details, including bodies to whom tests will be subcontracted, details of accreditation of those bodies and details of how the subcontracted bodies are checked, are included in the site assessment report.

### Off-site and Witness testing

Witness testing is according to ExTL procedure GTP 030. The Ex CB is involved when such witness testing takes place. The content of the procedure has been checked for compliance with OD 024 requirement and found to comply with IECEx requirements

## Training and competence

KLCS Quality Manual Sec 6.1 and procedure CSP 003 Rev 01 / KLPL Quality Manual Sec 6.2 and procedure SP 004: It is ensured that the personnel employed have adequate qualification and experience as per defined competency criteria. Any new employee is screened and then inducted if found suitable. They undergo a thorough orientation program and start working under guidance of suitable senior staff depending on the type of work assigned. A training program is prepared depending on qualification, experience and perceived potential. Details of staff competencies are included in the site assessment report. The personnel are noted in Competency Matrix KLCS FC 010 / KLPL F 34 .

Details of staff competencies are included in the site assessment report and TCD.

## Complaints and appeals (including appeals to IECEx)

The legally enforceable agreement Form FC 009 Rev 1 sets out the complaints and appeals process for the use by the customer. Procedure CSP 012 Rev 1 sets out the method to handle such complaints and appeals. This same procedure also provides the pathway to IECEx appeals committee, if required by the customer. The register FC 012 is used for the complaints.

For KLPL, the procedure is SP 009, with complaints register F 13.

## Impartiality

Rules for observing impartiality, confidentiality and integrity are explained to every employee at time of induction as provided in procedure “Rules for observing impartiality, confidentiality, and integrity”. Refer F53 Rev 02.

In case of any problem regarding pressure being experienced by the staff, they shall immediately bring it to the attention of CEO / Director (Operations) who shall take appropriate action.

The work of certification is not allocated to a person who has been in employment of the organization manufacturing those products / dealing in those products for a period of at least 3 years from date of leaving that organization.

Risks to impartiality are addressed and recorded in KLCS FC 024 “Risk Identification and Treatment Table’. For KLPL, the F 10 “Risk Identification and Treatment Table’. The last review for both was conducted in 25/05/2020

## Active involvement in development of Decision Sheets

ExTAG documents will be received by the Director of Operations, and then circulated to the Certification Engineers for their comments. The comments, if any, will be recorded in the IECEx comments form and sent to the national body BIS for collation and sending to IECEx.

## Special facts to be noted

While KL Certification Services became an IECEx CB only in Feb 2020, the Calibration and Laboratories division has been operating as an IECEx TL for several years as associated testing laboratories to other IECEx CB’s. Their maturity in the IECEx processes is therefore quite extensive.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

Details of issues raised and how these have been resolved

Checklist for ISO/IEC 17065

Checklist for ISO/IEC 17025

Completed Technical Capability Document (TCD)

Photos of the facilities/tests witnessed are included in the above TCD

Information on competencies

Information on contracting/subcontracting

Assessors’ notes

## Recommendations

Based on the assessment performed on 9 Feb to 18 Feb 2021, Karandikar Laboratories is recommended for continued acceptance in the IECEx scheme as:

An ExCB in the IECEx Certified Equipment Scheme

An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document including the extension of scope, with complete resolution of the issues found during the assessment having been completed.

Ajay Maira

IECEx Lead Assessor

Date:  2021-05-12

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- ISO/IEC 80079-34 Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- IECEx OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- IECEx OD 026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065 General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

- IECEx OD 107 Harmonised check list for certification bodies ISO/IEC 17065

- IECEx OD 060 IECEx Guide for Business Continuity – Management of Extraordinary Circumstances or Events Affecting IECEx Certification Schemes and Activities

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied, unless otherwise specified

### Additional references applied for this assessment

- OD 233 IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Non-electrical Equipment and Protective Systems

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Mr Ajit Karandikar | CEO |
| Mr. Ravi K. Paranjpe | Director (Operations) |
| Mr. Atul D. Marathe | Technical Manager / Sr. Certification Engineer |
| Mr. Milind Kushte | Certification Engineer |
| Mr. Nilesh Mahadik | Sr. Certification Engineer |
| Mr. Javed Shaikh | Sr. Certification Engineer |
| Mr. Vikram Paranjpe | Quality Manager / Sr. Certification Engineer |
| Mr. Prakash Bhave | Auditor |

## Associated ExTL(s)

Karandikar Laboratories Pty Ltd (integral with ExCB).

## Associated certification functions

BIS (Bureau of Indian Standards) operate several certification schemes, mainly in the non-Ex sectors. These are based on test reports from recognised testing labs. BIS also operates a voluntary scheme for equipment compliance with 60079 series of Standards. Karandikar is a recognised laboratory in that scheme.

## National marks and certificates

Karandikar have the following national accreditations and certificates:

1) National Accreditation Board for Testing and Calibration Laboratories NABL – Testing

2) National Accreditation Board for Testing and Calibration Laboratories NABL – Calibration

3) Bureau of Indian Standards: BIS Recognised

4) National Accreditation Board for Certification Bodies (audit completed, certificate issue in progress).

## Standards accepted

See clause 1.6 of this report.

## National differences to IEC standards

There are no National differences to IEC standards for Indian standards but there are sometimes delays in adopting the latest edition.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Mr. Ajit V. Karandikar | Chief Executive Officer | 46 years |
| Mr. Ravi K. Paranjpe | Director (Operations) | 36 years |
| Mr. Vikram Paranjpe | Quality Manager / Sr. Certification Engineer | 6 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| Mr. Vikram Paranjpe | Quality Manager / Sr. Certification Engineer | 6 years |
| Ms. Jefrina A Medhora | Quality Officer | 4 years |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Mr. Ravi K. Paranjpe | Director (Operations) | 36 years |
| Mr. Ajit V. Karandikar | CEO | 46 years |
| Mr. Vikram Paranjpe | Quality Manager / Sr. Certification Engineer | 6 years |
| Mr. Atul D. Marathe | Technical Manager / Sr. Certification Engineer | 31 years |
| Mr. Nilesh Mahadik | Sr. Certification Engineer | 9 years |
| Mr. Javed Shaikh | Sr. Certification Engineer | 8 years |
| Mr. Milind Kushte | Certification Engineer | 4 years |

### Other employees in ExCB activity

| Name | Title | Experience in Ex (years) |
| --- | --- | --- |
| Shishir Karandikar | Marketing Manager | 12 years in marketing of Ex |
| Parkash H. Bhave | QAN/QAR Auditor | 32 years |

## Organizational structure

Organisational chart is attached in Annex A of this report.

## Indemnity insurance

Professional Indemnity Insurance Policy No. 001P0003263000000 valid to 27/12/2021 issued by Raheja QBE for an appropriate value and scope including Ex Product Testing and Certification was available.

## Resources

Karandikar Laboratories have skilled and trained personnel who can carry out both ExCB and ExTL roles.  Their roles in a particular project are assigned by the Director (Operations) / Technical Manager based on their availability and experience.

All certification and testing staff have senior mentors with great experience, with several junior staff who are enthusiastic and qualified. Certification staff have had training and now have gained experience in certification.

## Committees (such as governing or advisory boards)

Procedure CSP 015 “Procedure for constitution, roles and responsibilities of impartiality & advisory committee” documents the role of the committee instituted to provide independent oversight on impartiality of services relating to Certification activities. Record of meeting held on 13 Jan 2021 was provided. It shows a balanced and appropriate membership and the conduct of the meeting was satisfactory.

## Certification operations

### National approval/certification methods

For equipment to be installed in the general industrial sectors for example, in chemical, pharmaceutical, fertilizer, paint etc. or any industry where combustible dust is present, the IECEx certificate is accepted.

However, specifically for the Petroleum refinery, installation, storage area / shed, a service station or in any other place where petroleum is refined, blended, stored, loaded or unloaded then a license is required from Petroleum and Explosives Safety Organisation (PESO) a regulatory body mandated with the task of ensuring safety of these industries. An IECEx certificate with an application from an entity located in India that undertakes to provide post sales services and responsibility is sufficient for such a license.

For a coal or oil mine, or petroleum exploration and extraction, a license is needed from Directorate General of Mines Safety (DGMS), a regulatory body mandated with the task of ensuring safety of underground mines in India. The requirements of their license is the same as for PESO above.

### Certification policy

Provided in Section F Rev 1 of the KLCS Quality Manual, and refers to provision of certification services in accordance to national and international Standards and ISO/IEC 17065.

### Application for certification

FC 002 PDRS Rev 01 is used by customers for application for certification by KLCS, FC 003 is used for QAR services.

### Certification decision

FC 014 Rev 1 is used for IECEx Certification of Compliance Review, and then the file is sent to the Certification Authority for signature.

### Suspension and cancellation of certificates

FC 009 Rev 1 is the agreement sent to the customers and subsequently signed by the customer and Karandikar Laboratories. This agreement refers to suspension and cancellation in case of customer not meeting the conditions for certification.

## Certificates issued

Number of certificates issued under for the preceding two years for each type of protection:

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 2 years) |  | Total |
| --- | --- | --- | --- | --- |
|  |  | 2020 | 2021 |  |
| IEC 60079-1 | Equipment protection by flameproof enclosures "d" | 1 |  | 1 |
| IEC 60079-2 | Equipment protection by pressurized enclosure "p" | 1 |  | 1 |
| IEC 60079-6 | Equipment protection by liquid immersion "o" | 1 |  | 1 |
| IEC 60079-7 | Equipment protection by increased safety "e" | 1 |  | 1 |
| IEC 60079-28 | Protection of equipment and transmission systems using optical radiation | 1 |  | 1 |
| IEC 60079-31 | Equipment dust ignition protection by enclosure "t" | 1 |  | 1 |
| IEC 60079-46 | Equipment assemblies | 1 |  | 1 |

NOTE	Above include certificates to IEC 60079-0 unless otherwise shown. Total 3 IECEx certificates have been issued in 2020, with multiple types of protection within the same certificates.

## National accreditation

The national accreditation certification audit for ISO/IEC 17065 has been conducted. No non-compliances were raised. KLCS will undergo annual audit by IECEx until  national accreditation is issued.

## Assessment of manufacturers and issue of QARs

Karandikar have trained personnel for this requirement. The assessment team may be augmented by using a certification engineer where additional support is required, specifically for when there may be a large number of Ex techniques that may require assessment.  KLCS Procedure CSP 019 Rev 02 applies.

`.

## Comments (including issues found during assessment)

The certification files that were examined during this assessment were found very well prepared. The equipment certified in these files was quite complex and used several types of protection, with sufficient expertise shown in the assessment and presentation.

Minor improvements were suggested in the test reports:

- including further data from the temperature rise test records into the test report to enable a more comprehensive understanding of the test configurations;

- including further information in the ignition hazard assessment where Ex d and Ex e techniques are both being used in assemblies

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025 General requirements for the competence of testing and calibration laboratories

- IECEx OD 018 Harmonised check list for testing and calibration laboratories ISO/IEC 17025

- IECEx TCD 60079, ISO 80079 Series and ISO 16852 Technical Capability Document

- ExTAG decision sheets (DSs)

- IECEx OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied, unless otherwise specified.

### Additional references applied for this assessment

- OD 233 IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment

- OD 280 IECEx Certified Equipment Scheme – Guide to Certification of Non-electrical Equipment and Protective Systems

## ExTL persons interviewed

| Name | Position |
| --- | --- |
| Mr. Ravi K. Paranjpe | Director (Operations) |
| Mr. Vikram Paranjpe | Sr. Testing Engineer |
| Mr. Atul D. Marathe | Technical Manager / Sr. Testing Engineer / Quality Manager |
| Mr. Nilesh Mahadik | Sr. Testing Engineer |
| Mr Javed Shaikh | Sr. Testing Engineer |
| Mr. Milind Kushte | Sr. Testing Engineer |
| Mr. Rahul Arekar | Testing Engineer |
| Mr. Shivam Mishra | Testing Engineer |
| Mrs. Yutika Raut | Testing Engineer |

## Associated ExCB(s)

KL Certification Services (integral with ExTL), SGS Baseefa and DNV GL Presafe AS.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Mr. Ajit V. Karandikar | Chief Executive Officer | 46 years |
| Mr. Ravi K. Paranjpe | Director (Operations) | 36 years |
| Mr. Vikram Paranjpe | Sr. Testing Engineer | 6 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| Mr. Atul Marathe | Quality Manager / Technical Manager | 31 years |
| Ms. Jefrina A Medhora | Quality Officer | 4 years |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex (years) |
| --- | --- | --- |
| Mr. Atul D. Marathe | Technical Manager / Sr. Certification Engineer | 31 years |
| Mr. Nilesh Mahadik | Sr. Certification Engineer | 9 years |
| Mr Javed Shaikh | Sr. Certification Engineer | 8 years |
| Mr. Milind Kushte | Sr. Testing Engineer | 4 years |
| Mr. Rahul Arekar | Testing Engineer | 3 years |
| Mr. Shivam Mishra | Testing Engineer | 4 years |
| Mrs. Yutika Raut | Testing Engineer | 1 year |

## Organizational structure

See Annex B.

## Resources

The laboratory is well resourced with appropriate test conditions, a good range of test equipment, comprehensive list of test procedures and competent staff.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding two years for each type of protection.

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 2 years) |  | Total |
| --- | --- | --- | --- | --- |
|  |  | 2019 | 2020 |  |
| IEC 60079-1 | Equipment protection by flameproof enclosures "d" | 4 | 8 | 12 |
| IEC 60079-2 | Equipment protection by pressurized enclosure "p" | 1 | 1 | 2 |
| IEC 60079-6 | Equipment protection by liquid immersion "o" | 0 | 1 | 1 |
| IEC 60079-7 | Equipment protection by increased safety "e" | 1 | 11 | 12 |
| IEC 60079-11 | Equipment protection by intrinsic safety "i" | 0 | 7 | 7 |
| IEC 60079-18 | Protection by encapsulation "m" | 0 | 2 | 2 |
| IEC 60079-28 | Protection of equipment and transmission systems using optical radiation | 0 | 1 | 1 |
| IEC 60079-31 | Equipment dust ignition protection by enclosure "t" | 2 | 6 | 8 |
| IEC 60079-46 | Equipment assemblies | 2 | 1 | 3 |
| ISO 60079-36 | Non-electrical equipment for explosive atmospheres - Basic methods and requirements | 0 | 1 | 1 |
| ISO 60079-37 | Non-electrical equipment for explosive atmospheres - Non electrical type of protection constructional safety "c", control of ignition source "b", liquid immersion "k" | 0 | 1 | 1 |

NOTE 1	Above include reports to IEC 60079-0 unless otherwise shown

## National accreditation

National Accreditation Board for Laboratories NABL – Testing: Certificate TC-6311 09 June 2018 for ISO/IEC 17025:2005, issued by NABL with ILAC-MRA logo. The scope from NABL matches that of IECEx.

The national accreditation certification for ISO/IEC 17025 is shown in Annex E.

## Calibration

The instruments used for calibration have traceability to National / International Standards. This is achieved via calibration of instruments at accredited laboratories. Most calibration is done by its own NABL accredited calibration laboratory. Where their laboratory does not have the capability the calibration is done by other NABL accredited laboratories. The Ex d pressure transducers and charge amplifiers are calibrated by Kistler.

Test equipment is listed in the TCD which includes details of calibration certificate numbers, calibration date and due dates. All equipment viewed during the assessment was found to be in calibration.

## Tests witnessed during the assessment visit

The following tests were witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0 | 26.4.5 | Degree of protection (IP) by enclosures - IP66 | Minor changes made to procedure during the assessment. Satisfactory. |
| IEC 60079-0 | 26.5.1 | Temperature measurement – Ex e motor | Minor changes made to procedure during the assessment. Satisfactory. |
| ISO 16852 | 7.3.2.1 | Deflagration test - End-of-line flame arrester | Satisfactory. |
| ISO 16852 | 7.3.4 | Flame arrestor short term burning | Satisfactory. |
| IEC 60079-28 | 5.2.2 | Continuous wave radiation - Laser irradiance | Satisfactory. |
| IEC 60079-11 | 10.1 | Spark ignition test of current and capacitance | Minor changes made to procedure during the assessment. Satisfactory. |
| IEC 60079-2 | 16.4.2 | Purging test for pressurized enclosures where the protective gas is air | Minor changes made to procedure during the assessment. Satisfactory. |
| ISO 80079-36 | Annex D | Charging tests with non-conductive materials | Minor changes made to procedure during the assessment. Satisfactory. |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme

| Year(s) of participation | IECEx Proficiency Testing program | General information about results |
| --- | --- | --- |
| 2017-2018 | Program 7 "Explosion Pressure" | z-score is less than 2 |
| 2017-2018 | Program 8 "Pressurized Enclosure" | z-score is less than 2 |
| 2019-2020 | Program 9 “Tests for Enclosures” | z-score is less than 2 |
| 2019-2020 | Program 10 “Battery Testing” | z-score is less than 2 |

## Comments (including issues found during assessment)

Several recommendations were made during the assessment, and these were rapidly adopted with revised procedures presented, procurement of further test jigs and equipment. Expertise and readiness to enhance the quality of testing and reporting was excellent.

Improvements were also made during the course of the IECEx assessment by revising the gas analyser daily start-up procedures and purchase of a Carbon dioxide gas analyser to increase the accuracy of the pressurization test procedures.

# ATF for IECEx Certified Equipment Scheme

Not applicable

# ExCB for Certified Service Facilities Scheme

Not applicable

# IECEx Conformity Mark Licensing Scheme

Not applicable

# ExCB for IECEx Personnel Competence Scheme

Not applicable

# Annexes

Scope for IECEx Certified Equipment Scheme

Current standards

| Number | Title | Comments |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements | √ |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | √ |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p’ | √ |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | √ |
| IEC 60079-6 Edition 4.1 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | √ |
| IEC 60079-7 Edition 5.1 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | √ |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | √ |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" | √ |
| IEC 60079-15 Edition 5.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | √ |
| IEC 60079-18 Edition 4.1 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | √ |
| IEC 60079-25 Edition 3.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | √ |
| IEC 60079-26 Edition 3.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | √ |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | √ |
| IEC/IEEE 60079-30-1 Edition 1.0 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements | √ |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | √ |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | Extension in scope |
| IS0 80079-36 Edition 1.0 | Explosive atmospheres - Part 36: Non-electrical equipment for explosive atmospheres – Basic method and requirements | √ |
| ISO 80079-37 Edition 1.0 | Explosive atmospheres - Part 37: Non-electrical equipment for explosive atmospheres – Non electrical type of protection constructional safety ”c” control of ignition source ”b”, liquid immersion ”k” | √ |
| IEC TS 60079-46 Edition 1.0 | Explosive atmospheres – Part 46 - Equipment assemblies | √ |
| ISO 16852 Edition 2 | Flame arrestors - Performance requirements., test methods and limits for use | Extension in scope. Limited to End of line, in-line, pre volume deflagration flame arrestors. |

Superseded standards

The following superseded standards may form part of a body’s scope, generally for historical reasons.

| Number | Title | Comments |
| --- | --- | --- |
| Nil |  | - |

Overall Organisation Chart KLCS

| Designation | Personnel |
| --- | --- |
| CEO | Mr. Ajit V. Karandikar |
| Director (Operations) | Mr. Ravindra K. Paranjpe |
| Technical Manager | Mr. Atul D. Marathe |
| Quality Manager | Mr. Vikram R. Paranjpe |
| Sr. Certification Engineer | Mr. Atul D. Marathe Mr. Vikram R. Paranjpe Mr. Nilesh Mahadik Mr. Javed Shaikh |
| Certification Engineer | Mr. Milind Kushte |
| Quality Officer | Ms. Jefrina A. Medhora |
| Marketing Manager | Mr. Shishir A. Karandikar |
| Marketing Officer | Mr. Pravin Rane |
| Admin Manager | Mr. Mangesh Karulkar |
| Admin Officer | Mrs. Priyanka Athavale |

Organisation Chart of ExCB/ExTL

| Designation | Personnel |
| --- | --- |
| CEO | Mr. Ajit V. Karandikar |
| Director (Operations) | Mr. Ravindra K. Paranjpe |
| Technical Manager | Mr. Atul D. Marathe |
| Quality Manager | Mr. Atul D. Marathe |
| Sr. Testing Engineer | Mr. Atul D. Marathe Mr. Vikram R. Paranjpe Mr. Nilesh Mahadik Mr. Javed Shaikh Mr. Milind Kushte |
| Testing Engineer | Mr. Rahul Arekar Mr. Shivam Mishra Mrs. Yutika Raut |
| Quality Officer | Ms. Jefrina A. Medhora |
| Marketing Manager | Mr. Shishir A. Karandikar |
| Marketing Officer | Mr. Pravin Rane |
| Admin Manager | Mr. Mangesh Karulkar |
| Admin Officer | Mrs. Priyanka Athavale |

Accreditation Certificate for ISO/IEC 17065

Under preparation. Annual Surveillance till completed.

- Accreditation Certificate for ISO/IEC 17025