|  | IECEx TEST REPORT IEC 60079-7 Explosive atmospheres - Part 7: Equipment protection by increased safety “e” |  |  |
| --- | --- | --- | --- |
| ExTR Reference Number : |  |  |  |
| ExTR Free Reference Number : |  |  |  |
| Compiled by + signature (ExTL) : |  | (enter typed name here) | (enter signature here) |
| Reviewed by + signature (ExTL) : |  | (enter typed name here) | (enter signature here) |
| Date of issue : |  |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |  |
| Address : |  |  |  |
| Applicant’s name : |  |  |  |
| Address : |  |  |  |
| Standard : |  | IEC 60079-7:2015, Edition 5.0 |  |
| Test procedure : |  | IECEx System |  |
| Test Report Form Number : |  | ExTR60079-7_5B_DS (released 2022-03) |  |
| Instructions for Intended Use of Ex Test Report: An Ex Test Report provides a clause-by-clause documentation of the initial evaluation and testing that verified compliance of an item or product with an IEC, ISO, ISO/IEC or IEC/IEEE Ex standard or technical specification. This Ex Test Report is part of an ExTR package that may include other Ex Test Report, Addendum, National Differences and Partial Testing documents, along with a single ExTR Cover. An Ex Test Report is to be compiled and reviewed by the ExTL. The Issuing ExCB indicates final approval of the Ex Test Report as part of the overall ExTR package on the associated ExTR Cover. |  |  |  |
| Copyright © 2017 International Electrotechnical Commission System for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx System), Geneva, Switzerland. All rights reserved. This blank publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx System is acknowledged as copyright owner and source of the material. The IECEx system takes no responsibility for, and will not assume liability for, damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |  |

| Possible test case verdicts: |  |
| --- | --- |
| - test case does not apply to the test item :N / A | N/A |
| - test item does meet the requirement :Pass | Pass |
| General remarks: The test results presented in this Ex Test Report relate only to the item or product tested. - "(see Attachment #)" refers to additional information appended to this document. - "(see appended table)" refers to a table appended to this document. - Throughout this document, a point “.” is used as the decimal separator. The technical content of this Ex Test Report shall not be reproduced except in full without the written approval of the Issuing ExCB and ExTL. |  |

| IEC 60079-7 |  |  |  |
| --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark | Verdict |
| 1 | Scope |  |  |
| 2 See also DS2010/006A | Normative references |  |  |
| 3 See also DS 2008/005A | Terms and definitions |  |  |
| 4 | Constructional requirements |  |  |
| 4.1 | Level of Protection |  |  |
| 4.2 | Electrical connections |  |  |
| 4.2.1 | General |  |  |
| 4.2.2 | Field wiring connections |  |  |
| 4.2.2.1 | General |  |  |
| 4.2.2.2 | Connections made using terminals conforming to IEC 60947-7-1, IEC 60947-7-2, IEC 60947-7-4, IEC 60999-1, or IEC 60999-2 |  |  |
| 4.2.2.3 | Integral field wiring connection facilities |  |  |
| 4.2.2.4 | Connections designed to be used with cable lugs and similar devices |  |  |
| 4.2.2.5 | Connections using permanent arrangements |  |  |
| 4.2.3 | Factory connections |  |  |
| 4.2.3.1 | General |  |  |
| 4.2.3.2 | Twist-on connectors for Level of Protection “ec” |  |  |
| 4.2.3.3 | Permanent connections |  |  |
| 4.2.3.4 See also DS 2015/012 | Pluggable connections for Level of Protection “eb” |  |  |
| 4.2.3.5 See also DS 2015/012 | Pluggable connections for Level of Protection “ec” |  |  |
| 4.2.3.6 | Pluggable terminal bridging connections |  |  |
| 4.2.4 | External plug and socket connections for field wiring connection |  |  |
| 4.3 See also DS 2016/001 | Clearances |  |  |
| 4.4 | Creepage distances |  |  |
| 4.4.1 See also DS 2016/001 | General |  |  |
| 4.4.2 | Creepage between differing voltages |  |  |
| 4.4.3 | Determining creepage distances |  |  |
| 4.5 | Printed wiring boards with conformal coating, Level of Protection “ec” |  |  |
| 4.6 | Solid electrical insulating materials |  |  |
| 4.6.1 | Specification |  |  |
| 4.6.2 | Long-term thermal stability |  |  |
| 4.7 | Windings |  |  |
| 4.7.1 | General |  |  |
| 4.7.2 | Insulated conductors |  |  |
| 4.7.3 | Winding impregnation |  |  |
| 4.7.4 | Conductor dimensions |  |  |
| 4.7.5 | Sensing elements |  |  |
| 4.8 | Temperature limitations |  |  |
| 4.8.1 | General |  |  |
| 4.8.2 | Conductors |  |  |
| 4.8.3 | Insulated windings |  |  |
| 4.9 | Wiring internal to equipment |  |  |
| 4.10 | Degrees of protection provided by enclosures |  |  |
| 4.10.1 | Enclosure requirements |  |  |
| 4.10.2 | Enclosures with drain holes or ventilation |  |  |
| 4.10.3 | Enclosures with apparatus protected with Protection type “i” |  |  |
| 4.11 | Fasteners |  |  |
| 5 | Supplementary requirements for specific electrical equipment |  |  |
| 5.1 | General |  |  |
| 5.2 | Electrical machines |  |  |
| 5.2.1 | General |  |  |
| 5.2.2 | Degrees of protection provided by electrical machines, Level of Protection “eb” |  |  |
| 5.2.3 DS 2015/014A | Degrees of protection provided by electrical machines, Level of Protection “ec” |  |  |
| 5.2.4 | Connection facilities for external conductors |  |  |
| 5.2.5 | Internal fans |  |  |
| 5.2.6 | Minimum air gap |  |  |
| 5.2.7 | Rotating electrical machines with cage rotors |  |  |
| 5.2.7.1 | General |  |  |
| 5.2.7.2 | Rotor cages |  |  |
| 5.2.7.2.1 | Rotor cages built from bars connected to end rings |  |  |
| 5.2.7.2.2 | Cast rotor cages |  |  |
| 5.2.7.3 | Assessment for possible air gap sparking |  |  |
| 5.2.8 | Limiting temperature |  |  |
| 5.2.8.1 | Limiting temperature of rotor |  |  |
| 5.2.8.2 | Limiting temperature by current-dependent safety device |  |  |
| 5.2.8.3 | Limiting temperature by temperature and other sensors |  |  |
| 5.2.8.4 | Operation with a converter or a non-sinusoidal supply |  |  |
| 5.2.8.4.1 | General |  |  |
| 5.2.8.4.2 | Type test with a converter |  |  |
| 5.2.8.4.3 | Alternative type verification by calculation |  |  |
| 5.2.9 | Machines with permanent magnet rotors |  |  |
| 5.2.9.1 | Construction |  |  |
| 5.2.9.2 | Operating from fixed frequency sinusoidal supply |  |  |
| 5.2.9.3 | Operation with a converter |  |  |
| 5.2.10 | Stator winding insulation system |  |  |
| 5.2.11 | Supplemental winding requirements Level of Protection “eb” |  |  |
| 5.2.12 | Bearing seals and shaft seals |  |  |
| 5.2.12.1 | Machines of Levels of Protection “eb” and “ec” |  |  |
| 5.2.12.2 | Non-rubbing seals and labyrinths |  |  |
| 5.2.12.3 | Rubbing seals |  |  |
| 5.2.13 | Neutral point connections |  |  |
| 5.3 | Luminaires, hand lights, or caplights |  |  |
| 5.3.1 | General |  |  |
| 5.3.2 | Light source |  |  |
| 5.3.2.1 | General |  |  |
| 5.3.2.2 | Lamps |  |  |
| 5.3.2.3 | Lamps for rated voltages not greater than 50 V |  |  |
| 5.3.2.4 | Lamps for rated voltages not greater than 12 V |  |  |
| 5.3.2.5 | Light Emitting Diodes (LED) |  |  |
| 5.3.3 | Minimum distance between lamp and protective cover |  |  |
| 5.3.4 | Electrical spacings |  |  |
| 5.3.4.1 | General |  |  |
| 5.3.4.2 | Creepage distances and clearances at peak values of pulse voltages greater than 1,5 kV |  |  |
| 5.3.4.3 | Light Emitting Diodes (LEDs) for Level of Protection “ec” |  |  |
| 5.3.5 | Lampholders and lamp caps |  |  |
| 5.3.5.1 | General |  |  |
| 5.3.5.2 | Screw lampholders and lamp caps |  |  |
| 5.3.5.2.1 | General |  |  |
| 5.3.5.2.2 | Screw lampholders and lamp caps in Level of Protection “eb” |  |  |
| 5.3.5.2.3 | Screw lampholders for screw lamp caps in Level of Protection “ec” |  |  |
| 5.3.5.3 | Lampholders for bi pin lamps |  |  |
| 5.3.5.3.1 | General |  |  |
| 5.3.5.3.2 | Lampholders for bi-pin lamps in Level of Protection “eb” |  |  |
| 5.3.5.3.3 | Lampholders for bi-pin lamps in Level of Protection “ec” |  |  |
| 5.3.5.4 | Other lampholders and lamp caps |  |  |
| 5.3.5.4.1 | Single pin lampholder and lamp caps in Level of Protection “eb” |  |  |
| 5.3.5.4.2 | Bayonet lamp holders |  |  |
| 5.3.5.5 | Requirements for electrical contact between the lampholder and lamp cap in Level of Protection “eb” |  |  |
| 5.3.6 | Auxiliaries for Luminaires in Level of Protection “ec” |  |  |
| 5.3.6.1 | Glow-type starters |  |  |
| 5.3.6.2 | Electronic starters and ignitors |  |  |
| 5.3.6.3 | Starter holders |  |  |
| 5.3.6.4 | Ballasts |  |  |
| 5.3.7 | Surface temperatures |  |  |
| 5.3.7.1 | Luminaires |  |  |
| 5.3.7.2 | Lamp |  |  |
| 5.3.7.3 | LEDs |  |  |
| 5.3.7.4 | Temperature of lamp caps for tungsten-filament and tungsten-halogen lamps |  |  |
| 5.3.8 | Limiting temperatures |  |  |
| 5.3.9 | Luminaires for tubular fluorescent bi-pin lamps |  |  |
| 5.3.9.1 | General |  |  |
| 5.3.9.2 | Maximum ambient temperature |  |  |
| 5.3.9.3 | Temperature class |  |  |
| 5.3.9.4 | Disconnection device |  |  |
| 5.3.9.5 | Starting voltage for Level of Protection “eb” lamps |  |  |
| 5.3.9.6 | Starting voltage for Level of Protection “ec” lamps |  |  |
| 5.3.10 | Tests for resistance to impact |  |  |
| 5.4 | Analog measuring instruments and instrument transformers |  |  |
| 5.4.1 | General |  |  |
| 5.4.2 | Limiting temperature |  |  |
| 5.4.3 | Short-circuit currents |  |  |
| 5.4.4 | Short time thermal current |  |  |
| 5.4.5 | Measuring instruments supplied by current transformers |  |  |
| 5.4.6 | Moving coils |  |  |
| 5.4.7 | External secondary circuits |  |  |
| 5.5 | Transformers other than instrument transformers |  |  |
| 5.6 | Supplementary requirements for equipment incorporating cells and batteries |  |  |
| 5.6.1 | Type of cells and batteries |  |  |
| 5.6.1.1 | General |  |  |
| 5.6.1.2 | Sealed cells |  |  |
| 5.6.1.3 | Valve-regulated cells and batteries |  |  |
| 5.6.1.4 | Vented cells and batteries |  |  |
| 5.6.2 | Requirements for cells and batteries ≤25 Ah |  |  |
| 5.6.2.1 | Encapsulation of cells or batteries |  |  |
| 5.6.2.2 | Use of secondary cells or batteries |  |  |
| 5.6.2.3 | Cell connection |  |  |
| 5.6.2.4 | Discharge mode |  |  |
| 5.6.2.4.1 | General |  |  |
| 5.6.2.4.1.1 | Connecting cells in series |  |  |
| 5.6.2.4.1.2 | Deep discharge protection |  |  |
| 5.6.2.4.2 | Discharge conditions for Level of Protection “eb” |  |  |
| 5.6.2.4.3 | Discharge conditions for Level of Protection “ec” |  |  |
| 5.6.2.5 | Service temperature |  |  |
| 5.6.2.6 | Creepage and clearance |  |  |
| 5.6.2.6.1 | Level of Protection “eb” |  |  |
| 5.6.2.6.2 | Level of Protection “ec” |  |  |
| 5.6.2.7 | Connections |  |  |
| 5.6.2.8 | Replaceable battery packs |  |  |
| 5.6.2.9 | Replaceable battery pack connections |  |  |
| 5.6.2.10 | Release of electrolyte |  |  |
| 5.6.2.10.1 | Level of Protection “eb” |  |  |
| 5.6.2.10.2 | Level of Protection “ec” |  |  |
| 5.6.2.11 | Disconnection and transportation |  |  |
| 5.6.3 | Requirements for valve-regulated or vented cells or batteries >25 Ah |  |  |
| 5.6.3.1 | Types of permissible batteries |  |  |
| 5.6.3.2 | Battery containers |  |  |
| 5.6.3.2.1 | Internal surfaces |  |  |
| 5.6.3.2.2 | Mechanical requirements |  |  |
| 5.6.3.2.3 | Creepage distances |  |  |
| 5.6.3.2.3.1 | Level of Protection “eb” |  |  |
| 5.6.3.2.3.2 | Level of Protection “ec” |  |  |
| 5.6.3.2.4 | Cover |  |  |
| 5.6.3.2.5 | Cell assembly |  |  |
| 5.6.3.2.6 | Liquid extraction |  |  |
| 5.6.3.2.7 | Ventilation |  |  |
| 5.6.3.2.8 | Plugs and sockets |  |  |
| 5.6.3.2.9 | Polarity marking |  |  |
| 5.6.3.2.10 | Other equipment |  |  |
| 5.6.3.2.11 | Insulation resistance |  |  |
| 5.6.3.3 | Cells |  |  |
| 5.6.3.3.1 | Lids |  |  |
| 5.6.3.3.2 | Support |  |  |
| 5.6.3.3.3 | Electrolyte maintenance |  |  |
| 5.6.3.3.4 | Expansion space |  |  |
| 5.6.3.3.5 | Filling and vent plugs |  |  |
| 5.6.3.3.6 | Electrolyte seals |  |  |
| 5.6.3.4 | Connections |  |  |
| 5.6.3.4.1 | Intercell connections |  |  |
| 5.6.3.4.2 | Temperature assessment |  |  |
| 5.6.3.4.2.1 | Level of Protection “eb” |  |  |
| 5.6.3.4.2.2 | Level of Protection “ec” |  |  |
| 5.6.3.4.3 | Connector protection |  |  |
| 5.6.4 | Charging of cells and batteries |  |  |
| 5.6.4.1 | Charger specifications |  |  |
| 5.6.4.1.1 | Level of Protection “eb” |  |  |
| 5.6.4.1.2 | Level of Protection “ec” |  |  |
| 5.6.4.2 | Outgassing during charging of valve-regulated or vented cells or batteries |  |  |
| 5.6.4.2.1 | Level of Protection “eb” |  |  |
| 5.6.4.2.2 | Level of Protection “ec” |  |  |
| 5.7 | General purpose connection and junction boxes |  |  |
| 5.8 | Resistance heating equipment (other than trace heating systems) |  |  |
| 5.8.1 | General |  |  |
| 5.8.2 | Heating resistors |  |  |
| 5.8.3 | Temperature coefficient |  |  |
| 5.8.4 | Insulating material |  |  |
| 5.8.5 | Cold-start current |  |  |
| 5.8.6 | Electrical safety device |  |  |
| 5.8.6.1 | General |  |  |
| 5.8.6.2 | Method of protection |  |  |
| 5.8.6.2.1 | General |  |  |
| 5.8.6.2.2 | TT and TN systems |  |  |
| 5.8.6.2.3 | IT system |  |  |
| 5.8.7 | Electrically conductive covering |  |  |
| 5.8.8 | Exclusion of explosive atmosphere |  |  |
| 5.8.9 | Conductor cross-section |  |  |
| 5.8.10 | Limiting temperature |  |  |
| 5.8.11 | Safety device |  |  |
| 5.9 | Supplementary requirements for fuses |  |  |
| 5.9.1 | General |  |  |
| 5.9.2 | Temperature class of equipment |  |  |
| 5.9.3 | Fuse mounting |  |  |
| 5.9.4 | Fuse enclosures |  |  |
| 5.9.5 | Replacement fuse identification |  |  |
| 5.10 | Other electrical equipment |  |  |
| 6 | Type verifications and type tests |  |  |
| 6.1 | Dielectric strength |  |  |
| 6.2 | Rotating electrical machines |  |  |
| 6.2.1 | Determination of starting current ratio IA/ IN and the time tE |  |  |
| 6.2.2 | Mounting of machine for test |  |  |
| 6.2.3 | Additional tests for machines |  |  |
| 6.2.3.1 | Stator winding insulation system |  |  |
| 6.2.3.1.1 | Test samples |  |  |
| 6.2.3.1.2 | Impulse ignition test for Level of Protection “eb” stator insulation systems |  |  |
| 6.2.3.1.3 | Steady state ignition test for Levels of Protection “eb” and “ec” stator insulation systems |  |  |
| 6.2.3.2 | Cage rotor |  |  |
| 6.2.3.2.1 | General requirements |  |  |
| 6.2.3.2.2 | Locked Rotor Tests |  |  |
| 6.2.3.2.3 | Explosive test mixture |  |  |
| 6.2.3.2.4 | Test parameters |  |  |
| 6.2.4 | Overspeed test of cemented magnets |  |  |
| 6.3 | Luminaires |  |  |
| 6.3.1 | Battery operated luminaires |  |  |
| 6.3.2 | Impact and drop tests |  |  |
| 6.3.2.1 | General |  |  |
| 6.3.2.2 | Tests for resistance to impact (portable and transportable luminaires and handlights) |  |  |
| 6.3.3 | Mechanical tests for screw lampholders other than E10 |  |  |
| 6.3.3.1 | Testing the force on the bottom contact of the lamp/lampholder |  |  |
| 6.3.3.2 | Testing the minimum removal torque of the lamp/lampholder |  |  |
| 6.3.4 | Abnormal operation of luminaires |  |  |
| 6.3.4.1 | Abnormal operations of ballasts for discharge lamps |  |  |
| 6.3.4.1.1 | Level of Protection “eb”, rectification test |  |  |
| 6.3.4.1.2 | Level of Protection “ec” |  |  |
| 6.3.4.2 | Abnormal operation of luminaires with tubular fluorescent lamps |  |  |
| 6.3.4.2.1 | Level of Protection “eb” |  |  |
| 6.3.4.2.1.1 | Rectification test |  |  |
| 6.3.4.2.1.2 | Inoperative lamp test |  |  |
| 6.3.4.2.2 | Level of Protection “ec” |  |  |
| 6.3.4.3 | Power dissipation of cathodes of lamps supplied by electronic ballasts |  |  |
| 6.3.4.3.1 | Luminaires in Level of Protection “eb” |  |  |
| 6.3.4.3.2 | Luminaires in Level of Protection “ec” |  |  |
| 6.3.5 | Sulphur dioxide test for Level of Protection “eb” for the connection of bi-pin lamp caps to lampholders |  |  |
| 6.3.6 | Vibration test for Level of Protection “eb” for luminaires with bi-pin lamps |  |  |
| 6.3.7 | Test for wiring of luminaires subject to high-voltage impulses from ignitors |  |  |
| 6.3.8 | Tests for electronic starters for tubular fluorescent lamps and for ignitors in Level of Protection “ec” for discharge lamps |  |  |
| 6.3.8.1 | General |  |  |
| 6.3.8.2 | Cut-out device test |  |  |
| 6.3.8.3 | Life test (failed lamp) |  |  |
| 6.3.8.3.1 | Ignitor thermal endurance test |  |  |
| 6.3.8.3.2 | Evaluation criteria |  |  |
| 6.3.9 | Test for starter holders for luminaires in Level of Protection “ec” |  |  |
| 6.4 | Measuring instruments and instrument transformers |  |  |
| 6.5 | Transformers other than instrument transformers |  |  |
| 6.6 | Verification and tests for cells and batteries of Level of Protection “eb” |  |  |
| 6.6.1 | General |  |  |
| 6.6.2 | Insulation resistance |  |  |
| 6.6.3 | Mechanical shock test |  |  |
| 6.6.3.1 | General |  |  |
| 6.6.3.2 | Test conditions |  |  |
| 6.6.3.3 | Test procedure |  |  |
| 6.6.3.4 | Acceptance criteria |  |  |
| 6.6.4 | Test for ventilation of Level of Protection “eb” battery container |  |  |
| 6.7 | Verification and tests for cells and batteries of Level of Protection “ec” |  |  |
| 6.7.1 | General |  |  |
| 6.7.2 | Insulation resistance |  |  |
| 6.7.3 | Mechanical shock test |  |  |
| 6.7.4 | Test for ventilation of Level of Protection “ec” battery container |  |  |
| 6.8 | General purpose connection and junction boxes |  |  |
| 6.8.1 See also DS 2017/004 | General |  |  |
| 6.8.2 See also DS 2017/004 | Maximum dissipated power method |  |  |
| 6.8.3 | Defined arrangement method |  |  |
| 6.9 | Resistance heating equipment |  |  |
| 6.9.1 | Test sample |  |  |
| 6.9.2 | Verification of the electrical insulation |  |  |
| 6.9.3 | Thermal stability of the electrical insulation |  |  |
| 6.9.4 | Resistance to impact |  |  |
| 6.9.5 | Test for cold start current |  |  |
| 6.9.6 | Tests for specific forms of resistance heaters |  |  |
| 6.10 | Terminal insulating material tests |  |  |
| 7 | Routine verifications and routine tests |  |  |
| 7.1 | Dielectric tests |  |  |
| 7.2 | Dielectric tests for batteries |  |  |
| 7.3 | Inter-turn overvoltage tests |  |  |
| 8 | Ex Component certificates |  |  |
| 8.1 | General |  |  |
| 8.2 | Terminals |  |  |
| 9 | Marking and instructions |  |  |
| 9.1 | General marking |  |  |
| 9.2 | Ex Component enclosures |  |  |
| 9.3 | Instructions for use |  |  |
| 9.3.1 | Battery operated equipment |  |  |
| 9.3.2 | Terminals |  |  |
| 9.3.3 | Luminaires |  |  |
| 9.3.4 | Machines |  |  |
| 9.4 | Warning markings |  |  |
| 10 | Documentation |  |  |
| Annex A (Normative) | Temperature determination of electrical machines – Methods of test and of calculation |  |  |
| A.1 | General |  |  |
| A.2 | Determination of maximum service temperatures |  |  |
| A.2.1 | Rotor temperature – normal operation |  |  |
| A.2.2 | Winding temperature – normal operation |  |  |
| A.3 | Determination of maximum surface temperatures |  |  |
| A.3.1 | General |  |  |
| A.3.2 | Locked rotor tests |  |  |
| A.3.2.1 | Test conditions |  |  |
| A.3.2.2 | Optional testing at reduced voltage |  |  |
| A.3.2.3 | Rotor temperature |  |  |
| A.3.2.4 | Determination of starting current IA |  |  |
| A.3.2.5 | Stator temperature |  |  |
| A.4 | Optional calculation of maximum surface temperature |  |  |
| A.4.1 | General |  |  |
| A.4.2 | Rotor temperature |  |  |
| A.4.3 | Stator temperature |  |  |
| A.5 | Determination of tE time |  |  |
| A.6 | Arduous starting conditions |  |  |
| A.7 | Motors operated with a converter |  |  |
| Annex B (Normative) | Type tests for specific forms of resistance heating devices or resistance heating units (other than trace heater) |  |  |
| B.1 | Resistance heating devices subjected to mechanical stresses |  |  |
| B.2 | Resistance heating devices or units intended for immersion |  |  |
| B.3 | Resistance heating devices or units having hygroscopic insulating material |  |  |
| B.4 | Verification of limiting temperature of resistance heating devices (other than trace heaters) |  |  |
| B.4.1 | General |  |  |
| B.4.2 | Safety devices |  |  |
| B.4.2.1 | General |  |  |
| B.4.2.2 | Safety device sensing the temperature |  |  |
| B.4.2.3 | Safety device sensing the temperature and at least one other parameter |  |  |
| B.4.2.4 | Safety device sensing a parameter other than the temperature |  |  |
| B.4.3 | Resistance heating unit of stabilized design |  |  |
| B.4.4 | Heating device with temperature self-limiting characteristic |  |  |
| Annex C (Informative) | Cage motors – Thermal protection in service |  |  |
| Annex D (Informative) | Resistance heating devices and units – Additional electrical protection |  |  |
| Annex E (Informative) See also DS 2017/004 | Combinations of terminals and conductors for general purpose connection and junction boxes |  |  |
| Annex F (Normative) | Dimensions of copper conductors |  |  |
| Annex G (Normative) | Test procedure for T5 (only 8 W),T8, T10 and T12 lamps |  |  |
| G.1 | Asymmetric pulse test |  |  |
| G.1.1 | General |  |  |
| G.1.2 | Test procedure |  |  |
| G.2 | Asymmetric power test |  |  |
| G.2.1 | General |  |  |
| G.2.2 | Test procedure |  |  |
| Annex H (Normative) | Alternative separation distances for Level of Protection “ec” equipment under controlled environments |  |  |
| H.1 | General |  |  |
| H.2 | Specific Conditions of Use |  |  |
| H.3 | Control of pollution access |  |  |
| H.4 | Voltage limitation |  |  |
| H.5 | Control of overvoltages and transient protection |  |  |
| H.6 | Alternative separation distances |  |  |
| Annex I (Informative) | Application, installation, and testing considerations for Level of Protection “ec” asynchronous machines |  |  |
| Annex J (informative) | Luminaires incorporating LEDs |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)