INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title: Re-assessment and Scope Extension Report for the continued acceptance of Simtars Australia an Accepted Ex Certification Body (ExCB) and an Accepted Ex Testing Laboratory (ExTL) in the Equipment Scheme 02, an Accepted ExCB in the Service Facilities Scheme, 03, and an Accepted ExCB in the Mark Licensing Scheme, 04, to include IEC 60079-32-2 in their ExTL Scope.

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment and Scope Extension Report for the continued acceptance of Simtars Australia, an Accepted Ex Certification Body (ExCB) and an Accepted Ex Testing Laboratory (ExTL) in the Equipment Scheme 02, an Accepted ExCB in the Service Facilities Scheme, 03, and an Accepted ExCB in the Mark Licensing Scheme, 04 within the IECEx System.

During the re-assessment the IECEx Assessment Team took the opportunity to also assess Simtars Australia equipment and competence for the following extension of scope –

| Number | Title |
| --- | --- |
| IEC TS 60079-32-2 Edition 1.0 | Explosive atmospheres - Part 32-2: Electrostatics hazards - Tests |

Members are requested to vote on the acceptance of the above scope extension

This document is hereby submitted for ExMC approval via correspondence using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2022 06 23

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: info@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form, F-003

IECEx assessment report form for use by IECEx assessment teams to report assessments conducted according to the relevant IECEx assessment procedures of:

Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

Operational Document IECEx OD 316-* for the Certified Service Facility Scheme

Operational Document IECEx OD 422 for the IECEx Conformity Mark Licensing Scheme

Operational Document IECEx OD 501 for the Personnel Competence Scheme

IECEx ExCB/ExTL/ATF assessment report for

Simtars Australia

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	7

1.5	Application information and background information on the assessment	7

1.6	Scopes	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	7

1.6.3	ATF Scope	7

1.6.4	ExCB scope for Service Facilities Scheme	7

1.7	ExCB scope for Conformity Mark Licensing Scheme	8

1.8	ExCB scope for IECEx Personnel Competence Scheme	8

2	Common information	9

2.1	Legal entity of body	9

2.2	Financial support	9

2.3	History	9

2.4	Documentation	9

2.4.1	Quality manual	9

2.4.2	Procedures	9

2.4.3	Work instructions	10

2.4.4	Records (including test records where relevant)	10

2.4.5	Document change control	10

2.5	Confidentiality	10

2.6	Communication with public and customers (Hard copy and Electronic)	11

2.7	Recognitions and agreements	11

2.8	Internal audit	11

2.9	Management review	11

2.10	Contracting, subcontracting and witness testing	11

2.10.1	Contracting	11

2.10.2	Subcontracting	11

2.10.3	Off-site and Witness testing	12

2.11	Training and competence	12

2.12	Complaints and appeals (including appeals to IECEx)	12

2.13	Impartiality	12

2.14	Active involvement in development of Decision Sheets	13

2.15	Special facts to be noted	13

2.16	Supporting documentation	13

2.17	Recommendations	13

3	ExCB for IECEx Certified Equipment Scheme	14

3.1	Assessment references	14

3.1.1	General references	14

3.1.2	Additional references applied for this assessment	14

3.2	Candidate ExCB persons interviewed	14

3.3	Associated ExTL(s)	14

3.4	Associated certification functions	14

3.5	National marks and certificates	15

3.6	Standards accepted	15

3.7	National differences to IEC standards	15

3.8	Organisation	15

3.8.1	Names, titles and experience of the senior executives	15

3.8.2	Name, title and experience of the quality management representative	15

3.8.3	Name and title of signatories for certification	15

3.8.4	Other employees in ExCB activity	15

3.9	Organizational structure	15

3.10	Indemnity insurance	16

3.11	Resources	16

3.12	Committees (such as governing or advisory boards)	16

3.13	Certification operations	16

3.13.1	National approval/certification methods	16

3.13.2	Certification policy	16

3.13.3	Application for certification	17

3.13.4	Certification decision	17

3.13.5	Suspension and cancellation of certificates	17

3.14	Certificates issued	17

3.15	National accreditation	19

3.16	Assessment of manufacturers and issue of QARs	19

3.17	Comments (including issues found during assessment)	19

4	ExTL for IECEx Certified Equipment Scheme	20

4.1	Assessment references	20

4.1.1	General references	20

4.1.2	Additional references applied for this assessment	20

4.2	Candidate ExTL persons interviewed	20

4.3	Associated ExCB(s)	20

4.4	Organisation	20

4.4.1	Names, titles and experience of the senior executives	20

4.4.2	Name, title and experience of the quality management representative	21

4.4.3	Other employees in ExTL activity	21

4.5	Organizational structure	21

4.6	Resources	21

4.7	Test reports issued	21

4.8	National accreditation	23

4.9	Calibration	23

4.10	Tests witnessed during the assessment visit	24

4.11	Participation in IECEx Proficiency Testing Programs	24

4.12	Comments (including issues found during assessment)	25

5	ATF for IECEx Certified Equipment Scheme	26

6	ExCB for Certified Service Facilities Scheme	26

6.1	Assessment references	26

6.1.1	General references	26

6.1.2	Additional references applied for this assessment	26

6.2	Candidate ExCB persons interviewed	27

6.3	National marks and certificates	27

6.4	Standards accepted	27

6.5	National differences to IEC standards	27

6.6	Organisation	27

6.6.1	Names, titles and experience of the senior executives	27

6.6.2	Name, title and experience of the quality management representative	27

6.6.3	Name and title of signatories for certification	27

6.6.4	Other employees in ExCB activity	28

6.7	Organizational Structure	28

6.8	Indemnity insurance	28

6.9	Resources	28

6.10	Committees (such as governing or advisory boards)	28

6.11	Certification operations	28

6.11.1	National approval/certification Methods	28

6.11.2	Certification policy	28

6.11.3	Application for certification	28

6.11.4	Certification decision	28

6.11.5	Suspension and cancellation of certificates	28

6.12	Statistics	28

6.13	National accreditation	29

6.14	Assessment of service facilities and issue of FARs	29

6.15	Comments (including issues found during assessment)	29

7	IECEx Conformity Mark Licensing Scheme	30

7.1	Assessment references	30

7.2	Comments (including issues found during assessment)	30

8	ExCB for IECEx Personnel Competence Scheme	30

9	Annexes	30

Annex A Scope for IECEx Certified Equipment Scheme	31

A.1	Current standards	31

A.2	Superseded standards	32

Annex B Overall Organisation Chart	33

Annex C Organisation Chart of ExCB/ExTL	34

Annex D Accreditation Certificate for ISO/IEC 17065	35

Annex E Accreditation Certificate for ISO/IEC 17025	36

# Assessment information

## Type of body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ATF for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |
| ExCB for IECEx Certification of Personnel Competency Scheme |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

NOTE 3  ATF - Additional Testing Facility

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Australia

### Name of body

Simtars (Safety in Mines, Testing and Research Station (SIM))

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Geoff Barnier | Principal Engineer – Certification | Geoff.barnier@simtars.com.au |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Xu Jianping | IECEx Lead Assessor |

### Place(s) of assessment

| Simtars | 2 Robert Smith Street Redbank Qld 4301 AUSTRALIA |
| --- | --- |

### Assessment date(s)

5 man-days in total, split in 10 sessions (10 half days), arranged from 28th September 2021 to 12th October 2021.

## Application information and background information on the assessment

This assessment is a five-year re-assessment, arranged as a remote assessment by using Web-meeting tool (Microsoft Teams) according to the IECEx Operational Procedure OD 060 IECEx Guide for Business Continuity – Management of Extraordinary Circumstances or Events Affecting IECEx Certification Schemes and Activities.

This Re-assessment was conducted to cover Simtars’ IECEx 02, IECEx 03-5 and IECEx 04 operation based on their existing scope of standards, with additional extension of new standard-

IEC TS 60079-32-2 Ed.1.0 2015 Explosive atmospheres - Part 32-2: Electrostatics hazards - Tests

## Scopes

### ExCB scope for equipment certification scheme

The scope for the ExCB is shown in Annex A of this report.

### ExTL scope

The ExTL is integral with the ExCB, and the ExTL scope of standards is the same as for the ExCB except for the addition of IEC 60079-32-2 to the ExTL.

### ATF Scope

N/A

### ExCB scope for Service Facilities Scheme

Equipment repair, including equipment repair standard and associated protection techniques.

| IEC 60079-19 Edition 4.0 (IECEx 03-5 Program) | Explosive atmospheres – Part 19: Equipment repair, overhaul and reclamation | Comments |
| --- | --- | --- |
| With the following types of protection | ID |  |
| Flameproof Enclosure "d" | d | Yes |
| Increased Safety "e" | e | Yes |
| Type of Protection "n" | n | Yes |
| Intrinsic Safety "i" | i | Yes |
| Oil Filled "o" | o | Yes |
| Pressurisation "p" | p | Yes |
| Dusts to IEC 60079-31 "t" | t | Yes |
| Dusts to IEC 61241-1 "tD" | tD | Yes |
| Dusts to IEC 61241-1-1 "DIP" | DIP | Yes |
| Other (eg non-electrical) | Ot | Yes |

Other service facility standards.

| Number | Title | Comments |
| --- | --- | --- |
| IEC 60079-17 Edition 5.0 | Explosive atmospheres - Part 17: Electrical installations inspection and maintenance | N/A |

## ExCB scope for Conformity Mark Licensing Scheme

Full scope as shown for ExCB above.

## ExCB scope for IECEx Personnel Competence Scheme

The scope for this assessment does not include the IECEx Personnel Competence Scheme.

# Common information

## Legal entity of body

Simtars is a business unit of the Queensland Government Resources Safety and Health Queensland (RSHQ). Its legal registration (ABN: 49 809 734 894) is active as indicated in the government website. The Staff of Simtars are employed as Queensland Government Employees. The site and buildings are owned by Simtars (Queensland Government).

## Financial support

Simtars' operation and capital expenditures are funded by Queensland Government on an annual budget basis, with a requirement to achieve budgeted revenue by charging fees for its services.

## History

Simtars was established in 1988 by the Queensland Government as a result of mining disasters in Queensland to provide technical services specialized in continuous improvement of solutions for health and safety training, research, testing and environmental needs for the resources industry.

Currently there are three technical centers under Simtars, namely Mine Safety Technology and Research Centre (MSTRC), Occupational Hygiene, Environment and Chemistry Centre (OHECC) and Training, Testing and Certification Centre (TTCC).  Simtars services are delivered through the centers each headed by a Director.

Commercial activities began in the 1990s when industry recognized the commercial relevance of the work undertaken.

Core functions are to:

– Conduct mine safety research;

– Undertake testing of explosion-protected and general purpose equipment;

– Investigate technical aspects of accidents;

– Investigate mine fires and explosions;

– Scientifically assess health and safety.

Simtars achieved accreditation to ISO/IEC 17025 in 1989 and its management system was certified in 1993. In 1999 the certification service was accredited to ISO/IEC Guide 65, followed by recognition by IECEx System for product testing and certification in 2003. Acceptance into the IECEx Service Facility program was in 2007 and the Mark Licensing program in 2009.

## Documentation

### Quality manual

Simtars has established, implemented and maintains a quality system appropriate to the scope of its activities as a third-party testing laboratory and certification body. All documentation is available on the Qudos database system including QM0001 Simtars Integrated Management System Manual (dated 1 December 2020), and EM0001 TTCC - Certification Manual – Product Certification (dated 19 February 2021), which includes all Schemes that Simtars operates and which fulfils the requirements of the IECEx system.

### Procedures

Simtars has a very comprehensive range of procedures identified with EP series numbers as required by ISO/IEC 17025 and ISO/IEC 17065, covering all necessary aspects of the testing and certification processes.

Revision to relevant management system documents (e.g., EP0141, EP0142, EP0108 and EP0090) were required to be made for reflecting Simtars current situation and integrating necessary IECEx operational documents (ODs) where appropriate. This has been subsequently resolved to the satisfaction of the assessment team for meeting with the requirements of the IECEx.

### Work instructions

Simtars developed very detailed Work Instructions with document identification of EI, EP and EF series numbers, mainly for supporting specific testing and assessment activities, in order to ensure the consistent application of its testing and certification activities within Simtars.

All the Work Instructions are controlled electronically on the Qudos system and are accessible to all relevant staff at testing site and office room.  As part of this assessment, especially during the witness test the relevant Instructions were reviewed and found to be satisfactory. They fulfil the requirements of the IECEx system.

### Records (including test records where relevant)

There are both electronic and hard copy records at Simtars. The general policy on identification, collection, indexing, accessing, filing, maintenance and disposal of records is specified in Clause 6.8.3, 6.8.4 and 6.8.5 of QM0001 Integrated Management System Manual.

Each Centre is responsible for the local storage of hard copy or electronic records with a logical relationship to jobs, projects or service delivery activities of the Centre. Local storage shall allow for access, retrieval and use by relevant Centre personnel and shall preserve the legibility/readability of the information. There is a detailed archiving process in place special for Simtars TTCC job-based records as specified in the document AI0019 Instruction for Archiving. The records are retained as described in EP0020, Procedure for Processing Client Enquiries, Job Processing and Finalisation. The provision is in place on safeguards for record storage areas and facility. The electronic records are protected by password and controlled by corporate ITP function with multi-level backups.

There is a minimum requirement for retention and disposal as outlined in the Government’s Retention and Disposal Policy and Procedure and the General Retention and Disposal Schedule (GRDS), but Simtars procedure for TTCC operation requires to retain all the records indefinitely. This is in line with the IECEx requirements, including the recommendation defined in the OD 207.

Example of records regarding IECEx testing and certification were checked, and found to be satisfactory.

### Document change control

Documents and change control is managed in the management module of Simtars Database Qudos and described in the procedure QP0010, Procedure for the Administration and Control of Documents, including the processes of document control, issuance, retention and withdrawal.  A description of the change as well as the approver and historical versions of documents are maintained on Qudos, which is in compliance with the IECEx requirements.

## Confidentiality

All employees, subcontractors and members of committees are required to sign confidentiality agreements at Simtars. The detailed policy and statement is described in QM0001 Simtars Integrated Management System Manual, EM0001, TTCC-Certification Manual – Product Certification, AF0002 Simtars “Standard Terms and Conditions of Service”, EF0196 Simtars-TTCC Certification Advisory Committee Confidentiality Agreement and EF0285 TTCC Confidentiality and Conflict of Interest Statement. These are also in line with the Queensland Public Service Code of Conduct regarding confidentiality and conflict of interest for internal staff.

During this assessment, examples of the signed agreements were sighted by the assessor, and found to be appropriate to meeting with Simtars procedures and IECEx requirements.

## Communication with public and customers (Hard copy and Electronic)

Simtars advertises its history, functions and services via Company website under the URL: www.simtars.com.au   which includes Simtars Quality Policy Statement and relevant information on Ex testing and certification according to ANZEx and IECEx Schemes.

## Recognitions and agreements

Associated with:

- IECEx accreditation

- ANZEx accreditation scheme (National accreditation scheme for explosion protected equipment and services facilities)

- NATA (National Association of Testing Authorities, Australia) accreditation

- JAS-ANZ (Joint Accreditation System of Australia and New Zealand) accreditation

In addition, Simtars integrated management system covering all its operations including the TTCC Ex Testing Laboratory and certification body is certified to ISO 9001:2015 by Bureau Veritas (Certificate No. AU004540-1), which is valid until 31 July 2023. Copy of the ISO 9001 certificate is included in the site assessment report (F-004)

## Internal audit

Simtars does internal audits in accordance with the Procedure for Planning, Scheduling, Coordinating and Performing Integrated management System Internal Audits, QP0008.  All NCRs raised during the internal audit were entered and tracked in the Qudos system as described in QI0004, Instruction for Raising, Processing, Monitoring and Verifying Actions for Simtars Integrated Quality, Safety and Environmental Management System.  The records for the year of 2020 were reviewed. There were 2 issues and 5 observations raised during the annual internal audit, and the corresponding corrective actions to the issues were taken as scheduled, and found to be satisfactory.

## Management review

Management reviews are required by Simtars Quality Manual, QM0001, to be carried out in accordance with Procedure for Management Review of Simtars Integrated Management System, QP0004.  An annual management review meeting as well as monthly leadership team meetings are held.  The last annual management review minutes as well as several monthly leadership team meetings minutes were reviewed and were in accordance with the IECEx System requirements.  The management review for 2020 was conducted on 8th December 2020. The minutes were reviewed, and found that the process is in line with the Simtars procedure and the information covered is sufficient.

## Contracting, subcontracting and witness testing

### Contracting

Not applicable.

### Subcontracting

There are no tests subcontracted by Simtars that have been defined as minimum test equipment in the TCD.  They have contracted QAR/FAR audits to one individual, who was verified as being competent.

The following tests are, or may be, subcontracted by the body:

| Standard | Clause | Test |
| --- | --- | --- |
| IEC 60079-1 | B.1.2 | Determination of maximum bubble test pore size |
| IEC 60079-1 | B.1.3 | Sintered metal elements - Density |
| IEC 60079-1 | B.1.4 | Sintered metal elements - Open porosity and/or fluid permeability |
| IEC 60079-28 | 5.2.4 and 6 | Ignition tests |

More details, including bodies to whom tests will be subcontracted, details of accreditation of those bodies and details of how the subcontracted bodies are checked, are included in the site assessment report (F-004).

### Off-site and Witness testing

Simtars established a documented procedure EP0113 Procedure for Conducting Testing off Site, which includes a reference to OD 024 for noting the role and responsibilities of the ExTL and ExCB as well as the manufacturer and test facility in conducting these activities. At the time of this assessment, Simtars does not conduct any witness/off-site testing in the Ex field, and there is no assessed manufacturer’s testing facility according to OD 024.

## Training and competence

Simtars has documented procedures related to training and competence, including QP0012 Procedure for Assessing Competency of Personnel and Approved Signatory Status, EP0090 Procedure for Determining and Assessing Competency of TTCC Personnel. The current list of Approved Signatories for training, testing and certification can be found in Simtars Quality Manual, QM0001, Appendix - B1. Simtars regularly witnesses their audit staff to ensure competency and has a strong process for determining the competency of their lab staff and approved signatories.

Details of staff competencies against the scope of standards for IECEx operation are included in the site assessment report. Examples of the records on training and competence assessment were sighted, and found to meet the requirements of the IECEx.

## Complaints and appeals (including appeals to IECEx)

The handling of complaints and appeals is covered in the Clause 23 of EM0001, Certification Manual – Product Certification and EP0117 Certification Complaints and Appeals. All feedback, including complaints, disputes and appeals registered in the Qudos database detailing the circumstances of each complaint and the action taken in accordance to the Simtars Work Instructions - QI0006 Instruction for Processing Customer Feedback and QI0004 Instruction for Raising, Processing, Monitoring and Verifying Actions for Simtars Integrated Quality, Safety and Environmental management System.  There is no complaints and appeals received in the recent years.

The mechanism on handling of complaints and appeals at Simtars is found to meet with the IECEx requirements, in noting the Certification Manual EM0001 addresses the provision of appeals to IECEx system for the potential applicants of IECEx testing and certification.

## Impartiality

Simtars is committed to providing services which are objective, independent, apolitical and impartial by requiring all the testing and certification personnel to abide by a “Code of Conduct” as a condition of their employment. The details are described in Simtars Quality Manuals QM0001 and EM0001, which are available at Simtars Website.

This process is subject to review annually and recorded on EF0339 Review of Impartiality of Certification Activities for presenting to the Simtars Certification Advisory Committee for comment, endorsement or proposed amendments. The latest annual records were reviewed and found to meet the impartiality requirements of ISO/IEC 17065 and ISO/IEC 17025.

## Active involvement in development of Decision Sheets

There are responsible personnel nominated form ExCB (Geoff Barnier) and ExTL (Bipin Parmar). Evidence was shown that Simtars is circulating ExTAG decision sheets internally and commenting on them when necessary.

## Special facts to be noted

None.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

Details of issues raised and how these have been resolved

Checklist for ISO/IEC 17065

Checklist for ISO/IEC 17025

Completed Technical Capability Document (TCD) x 2

Photos of the facilities/tests witnessed are included in the above TCD

Information on competencies

Information on contracting/subcontracting

Assessors’ notes

Declaration Form - Changes in Organization for IECEx 02 Scheme as per IECEx OD 060 requirement for remote assessments

Information on attendance (F-005)

NOTE Assessors are to amend above list as appropriate

## Recommendations

Based on the assessment performed from 28th September 2021 to 12th October 2021, Simtars is recommended for continued acceptance in the IECEx scheme as:

An ExCB in the IECEx Certified Equipment Scheme

An ExTL in the IECEx Certified Equipment Scheme

An ExCB in the IECEx Certified Service Facilities Scheme

An ExCB in the IECEx Conformity Mark Licensing Scheme

This is according to the scope of the standards listed in the Annex A of this document.

Xu Jianping

IECEx Lead Assessor

Date:  10 May 2022

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD 003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- ISO/IEC 80079-34 Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- IECEx OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- IECEx OD 026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065 General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

- IECEx OD 107 Harmonised check list for certification bodies ISO/IEC 17065

- IECEx OD 060 IECEx Guide for Business Continuity – Management of Extraordinary Circumstances or Events Affecting IECEx Certification Schemes and Activities

- IECEx TCD 60079, ISO 80079 Series and ISO 16852 Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied, unless otherwise specified

### Additional references applied for this assessment

IECEx OD 233 IECEx Operational Document – IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment

IECEx OD 033 IECEx Operations Manual – IECEx Unit Verification Certificates

## ExCB persons interviewed

| Name | Position |
| --- | --- |
| Geoff Barnier | Principal Engineer - Certification |
| David Turner | Technical Director |
| Craig Tayler | Director - TTCC |

## Associated ExTL(s)

Simtars is as an integral ExTL with the ExCB.

In addition, Simtars once had an associated ExTL (ExTC AU), which has now been disassociated based on a bilateral agreement. The relevant information has been removed from the OD 001 by IECEx secretariat.

## Associated certification functions

Simtars is also a certification body for quality management system to ISO 9001 for equipment manufacturers and service facility organizations.

## National marks and certificates

Simtars has accreditation by JAS-ANZ as a certification body for ANZEx Certified Equipment Scheme. There are no national marks in Australia.

## Standards accepted

See Annex A of this report.

## National differences to IEC standards

There are no Australian differences to the IEC standards as shown in the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Nicolais Ahlstrand | Executive Director Simtars | Senior executive experience Commenced Simtars 2016 |
| Craig Tayler | Director - TTCC | 28 years (3 years in current position) |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| David Turner | Technical Director | SEQEB Quality Manager 1980-1987 QMS Consultant 1987-1995 Simtars Quality Manager 1995-1997 Simtars Manager ETCC 1997-2000 Simtars Director ETCC 2013-2017 Simtars Technical Director 2018-Present. |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Geoff Barnier | Principal Engineer - Certification | 31 years |
| John Ellis | Senior Certification Officer | 24 years |

### Other employees in ExCB activity

| Name | Title | Experience in Ex (years) |
| --- | --- | --- |
| Bipin Parmar | Principal Engineer | 30 years |
| John Ellis | Senior Certification Officer, Assessment Officer | 24 years |
| Gunter Lenicek | Senior Engineer | 27 years |
| Anilesh Rai | Assessment Officer | 10 years |

## Organizational structure

Organizational structure is documented in the Simtars Quality Manual QM0001 Appendix C10.

The details are attached in Annex B and Annex C of this report.

## Indemnity insurance

Simtars holds professional indemnity and general liability insurance. These are covered in one policy (No. QG0299) with worldwide coverage from Queensland Government Insurance Fund (QGIF). Copies of the insurance were sighted during this assessment, and they are considered acceptable, in noting that the insurance includes products liability and is current until 30 June 2022.

In addition, Simtars staff as Queensland Government Employees have additional Air Travel Indemnity insurance from Queensland Treasury. The policy was endorsed by the Government, and updated in January 2020.

## Resources

There are appropriate resources in terms of buildings, equipment, services and trained personnel to fulfil their scope of IECEx operation.  With exception of the necessary supporting personnel there are 5 qualified staff for operation of IECEx certification activities, including issuance of certificate, approval of QAR, review and endorsement of ExTR, manufacturer auditing. Some of them also take the ExTL’s role for testing, and the provision was documented for separation of activities between ExCB and ExTL. At the time of this assessment there is no subcontracted auditors being used at Simtars.

The operational planning process is closely linked to the budget development process to ensure that a realistic outcome is achievable. The processes for specifying and acquiring any of necessary resources are covered by RSHQ (Resources Safety & Health Queensland) policies.

## Committees (such as governing or advisory boards)

Simtars has a governing board as described in the Charter for Simtars Certification Governing Board (EP0102), which provides governance oversight of Simtars certification processes and activities with membership of the Executive Director, Director TTCC, Chair Simtars Certification Advisory Committee, Principal Certification Engineer and Business Support Manager.

Simtars has an advisory board, Simtars Certification Advisory Committee that is comprised of nine members, including the Director TTCC, one Simtars Certification Engineer, one Simtars Technical Director, one Manufacturer’s interests, one User interests, one Customer interests (QMS Certification), one Customer interests (certified service facility) and two Regulatory interests (mine and electrical safety) as required in the Charter for Simtars Certification Advisory Committee (EP0096). There is a current list of Membership of Simtars Certification Advisory Committee (EF0258).

The meetings are required to be arranged at least once in each calendar year. The 2020 meetings for the advisory committee and governing board were held on 6 October 2020 and 26 November 2020 separately. The minutes were reviewed, and it was noted that the information covered is comprehensive and sufficient, found to be satisfactory.

## Certification operations

### National approval/certification methods

Simtars has ANZEx national accreditation by JAS-ANZ as a certification body in accordance to ISO/IEC 17065 and ANZEx equipment certification scheme rules (including MP87.1) and  ANZEx Service Facility Certification Scheme rules (including MP87.2).

### Certification policy

Simtars has quality policy and certification policy described in QM0001 Integrated Management System Manual and EM0001 Certification Manual – Product Certification, which are in compliance with the IECEx requirements and ISO/IEC 17065.

### Application for certification

The application processes are described in the Simtars Certification Manual – Product Certification, EM0001, which references EP0105 Application Process and Conditions of Application for Testing and Certification, EF0186 Application for ANZEx or IECEx Certification for Electrical Equipment for use in Explosive Atmospheres, EP0298 Application & Agreement for IECEx Conformity Mark License and EP0293 Application for Certification of Service Facilities. The contact information for applicants is available at its website www.simtars.com.au

### Certification decision

Simtars, EM0001, Certification Manual – Product Certification covers the certification decision for both ANZEx and IECEx Equipment and Service Facility schemes. The detailed processes are described in EP0142 TTCC - Procedure for Issuing and Maintaining Certificates and EF0098 TTCC - Certificate Processing Checklist. The approved signatories for IECEx operation are listed in the Appendix B1 of QM0001, and also documented as IECEx Competence Matrix being included in the site assessment report (F-004).

### Suspension and cancellation of certificates

Simtars, EM0001, Certification Manual – Procedures and EP0101, Procedure for Addressing Misuse of Certificates of Conformity for IECEx Conformity Mark License, cover the processes of suspension, cancellation and withdrawal of IECEx certificates/Mark.

## Certificates issued

Number of certificates issued under for the preceding two years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx certificates should be shown (certificates for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 2 years) |  |  | Total |
| --- | --- | --- | --- | --- | --- |
|  |  | 2019 | 2020 | 2021* |  |
| IEC 60079-0 | Explosive atmospheres - Part 0: Equipment - General requirements | 18 (7/11) | 53 (15/38) | 22 (4/18) | 93 (26/67) |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 7 (0/7) | 36 (7/29) | 17 (2/15) | 60 (9/51) |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p’ | 0 (0/0) | 12 (1/11) | 1 (0/1) | 13 (1/12) |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | 2 (0/2) | 0 (0/0) | 0 (0/0) | 2 (0/2) |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 11 (7/4) | 11 (7/4) | 2 (1/1) | 24 (15/9) |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | 0 (0/0) | 1 (0/1) | 0 (0/0) | 1 (0/1) |
| IEC 60079-16 | Electrical apparatus for explosive gas atmospheres - Part 16: Artificial ventilation for the protection of analyser(s) houses | 0 (0/0) | 0 (0/0) | 1 (0/1) | 1 (0/1) |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 0 (0/0) | 1 (0/1) | 1 (0/1) | 2 (0/2) |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 0 (0/0) | 0 (0/0) | 1 (1/0) | 1 (0/1) |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-27 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-30-1 IEC/IEEE 60079-30-1 | Explosive atmospheres - Part 29-1: Gas detectors – Performance requirements of detectors for flammable gases | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 0 (0/0) | 5 (0/5) | 0 (0/0) | 5 (0/5) |
| IEC TS 60079-32-2 | Explosive atmospheres - Part 32-2: Electrostatics hazards – Tests | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-33 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 0 (0/0) | 4 (0/4) | 0 (0/0) | 4 (0/4) |
| IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | 0 (0/0) | 4 (0/4) | 0 (0/0) | 4 (0/4) |
| IEC 61241-1-1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation – Specification for apparatus | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-11 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety 'iD' | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-18 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 62013-1 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 62086-1 | Electrical apparatus for explosive gas atmospheres - Electrical resistance trace heating - Part 1: General and testing requirements | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |

NOTE	1) Above include certificates to IEC 60079-0 unless otherwise shown.

2) The statistic number for 2021 is as of 30/09/2021.

3) Numbers in the above table refer to (new/addendum) certificates.

## National accreditation

Simtars is a JAS-ANZ accredited certification body in accordance to ISO/IEC 17065 and ANZEx Product Certification Scheme Rules，including MP87.1 Equipment Certification Scheme and MP87.2 Service Facility Certification Scheme. The current national accreditation certification is shown in Annex D.  By accessing to the website of the national accreditation body, the accreditation is active at the time of this assessment and noted that the detailed accreditation scope of standards did not initially include IEC 60079-28 and IEC 60079-33. This has been subsequently resolved to the satisfaction of the assessment team.

## Assessment of manufacturers and issue of QARs

Simtars established assessment processes, including EP0108 Procedure for Audit Activities, and EP0141 Procedure for Managing Audits for Certification, which covers the assessment of manufacturers/service facility and issuance of QARs/FARs.

Revision to the relevant procedures were required to be made for application of the latest IECEx operational documents. For the details, refer to Clause 2.4.2 of this report.

Examples of issued QARs were reviewed during this assessment, and found the control of the out-of-date QARs are well managed.

In response to the COVID-19 pandemic, Simtars has developed the procedure EM0005 Certification Manual – COVID-19 Response Plan for application of OD 060, which was prepared to enable support and continuing certification of Simtars’ clients. This arrangement was found to meet with the requirements of the IECEx System.

NOTE Include information about how the ExCB applies the provisions of OD 060 if applicable.

## Comments (including issues found during assessment)

A number of issues were raised during this assessment, and reported to and accepted by the management of Simtars at the end of this assessment.

All the issues relating with ExCB have been subsequently resolved to the satisfaction of the assessor. Details of issues and how these have been resolved are clearly recorded in Annex A of the IECEx site assessment report (F-004).

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD 003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025 General requirements for the competence of testing and calibration laboratories

- IECEx OD 018 Harmonised check list for testing and calibration laboratories ISO/IEC 17025

- IECEx TCD 60079, ISO 80079 Series and ISO 16852 Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

- IECEx OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied, unless otherwise specified.

### Additional references applied for this assessment

- IECEx OD 233 IECEx Operational Document – IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment

IECEx OD 033 IECEx Operations Manual – IECEx Unit Verification Certificates

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Bipin Parmar | Principal Engineer |
| Anilesh Rai | Senior Engineer |
| Gunter Lenicek | Principal Engineer |
| John Ellis | Assessment Officer |
| Ahmad Abdullah | Engineer |
| David Soady | Senior Technical Officer |
| Ewan Paton | Testing Officer |

## Associated ExCB(s)

Simtars, Australia

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Nicolais Ahlstrand | Executive Director Simtars | Senior executive experience Commenced Simtars 2016 |
| Craig Tayler | Director - TTCC | Simtars 28 years (3 years in current position) |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| David Turner | Technical Director | SEQEB Quality Manager 1980-1987 QMS Consultant 1987-1995 Simtars Quality Manager 1995-1997 Simtars Manager ETCC 1997-2000 Simtars Director ETCC 2013-2017 Simtars Technical Director 2018-Present. |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex (years) |  |
| --- | --- | --- | --- |
| Ewan Paton | Testing Officer | 10 years |  |
| Anilesh Rai | Testing Officer | 10 years |  |
| David Soady | Senior Technical Officer | 27 Years |  |
| Gunter Lenicek | Principal Engineer | 27 Years |  |
| Ahmad Abdullah | Engineer | 4 years |

## Organizational structure

See Annex B and Annex C of this report.

## Resources

Simtars equips a wide range of testing personnel, equipment and necessary facilities for their scope of testing. Simtars employees with about 7 staff for operation of Ex testing laboratory, in which there are 6 professional and technical staff qualified for Ex testing and assessment, and 1 in training.

The operational planning process is closely linked to the budget development process to ensure that a realistic outcome is achievable. The processes for specifying and acquiring any of necessary resources are covered by RSHQ (Resources Safety & Health Queensland) policies.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding two years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx ExTRs should be shown (test reports for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued reports (ExTRs) (for last 2 years) |  |  | Total |
| --- | --- | --- | --- | --- | --- |
|  |  | 2019 | 2020 | 2021* |  |
| IEC 60079-0 | Explosive atmospheres - Part 0: Equipment - General requirements | 11 (4/7) | 25 (11/14) | 12 (4/8) | 48 (19/29) |
| IEC 60079-1 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | 6 (0/6) | 19 (7/12) | 9 (2/7) | 34 (9/25) |
| IEC 60079-2 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p’ | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-5 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-6 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-7 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | 2 (0/2) | 5 (1/4) | 1 (0/1) | 8 (1/7) |
| IEC 60079-11 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | 5 (4/1) | 3 (3/0) | 1 (1/0) | 9 (8/1) |
| IEC 60079-13 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-15 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-16 | Electrical apparatus for explosive gas atmospheres - Part 16: Artificial ventilation for the protection of analyser(s) houses | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-18 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | 0 (0/0) | 0 (0/0) | 1 (0/1) | 1 (0/1) |
| IEC 60079-25 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | 0 (0/0) | 0 (0/0) | 1 (0/1) | 1 (0/1) |
| IEC 60079-26 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-27 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-28 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-30-1 IEC/IEEE 60079-30-1 | Explosive atmospheres - Part 29-1: Gas detectors – Performance requirements of detectors for flammable gases | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-31 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | 0 (0/0) | 2 (0/2) | 0 (0/0) | 2 (0/2) |
| IEC TS 60079-32-2 | Explosive atmospheres - Part 32-2: Electrostatics hazards – Tests | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-33 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 60079-35-1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-1-1 | Electrical apparatus for use in the presence of combustible dust - Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation – Specification for apparatus | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-4 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-11 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety 'iD' | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 61241-18 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 62013-1 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |
| IEC 62086-1 | Electrical apparatus for explosive gas atmospheres - Electrical resistance trace heating - Part 1: General and testing requirements | 0 (0/0) | 0 (0/0) | 0 (0/0) | 0 (0/0) |

As part of the assessment, a thorough evaluation was undertaken of the ExTL’s capability to assess and test according to the requested scope extension of IEC 60079-32-2, which confirmed that SIMTARS have both the facilities and technical staff with competence to the IEC 60079-32-2 Standard.  Further details are recorded in the site assessment report F-004 and Technical Capability Document (TCD).

## National accreditation

Simtars, as a testing laboratory has accreditation received from NATA according to ISO/IEC 17025:2017. The recent on-line reassessment by NATA was fulfilled on 21 July 2021. By accessing to the NATA website, the accreditation is active at the time of this assessment. A copy of the current accreditation certificate issued by NATA (N° 2681-21194) is attached in Annex E of this report. The detailed accreditation scope can be found at: https://nata.com.au/accredited-organisation/training-testing-and-certification-centre-2681-21194/, and noted that the standard of IEC TS 60079-32-2 was not listed in the scope. This will be included by NATA accreditation within the year of 2022 according to Simtars’ work plan or Simtars will be subject to an Annual Surveillance.

## Calibration

The equipment Calibration handling is described in QM0001 Section 6.5.2 Test and Measuring Equipment Calibration and EI0036 Instruction for Equipment Calibration, which specify that all the measuring equipment shall be calibrated according to the NATA’s recommendation on calibration interval.

Simtars also operates as a calibration laboratory accredited by NATA with the scope listed at: https://nata.com.au/accredited-organisation/training-testing-and-certification-centre-2681-2672/. Since reduction in calibration scope, most of the electrical calibration are outsourced to other NATA accredited calibration laboratory. The calibration of equipment follows the Instruction for Equipment Calibration along with other supporting instructions, EI0036.

There is a Database (Qudos) used to program calibration of all the equipment, and manage the calibration status and next calibration date. All the calibration results are required to validate and sign that equipment can be returned to service by using EF0346 Calibration Report / Record Verification Form, and currently this practice is being transferred to the Qudos system.

All test equipment witnessed had an indication of the calibration status and was in a valid state. Examples of calibration certificates and their validation records were reviewed and checked, and there were some information details on calibration raised during the assessment, which have been subsequently resolved to the satisfaction of the assessment team.

## Tests witnessed during the assessment visit

The following tests were successfully witnessed during the remote assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-0:2017 Ed.7.0 | 26.4.2 | Resistance to impact | Performed and satisfactory |
| IEC 60079-0:2017 Ed.7.0 | 26.4.5 | IP 66 tests according to IEC 60529 | Performed and satisfactory |
| IEC 60079-2:2014 Ed.6.0 | 16.4 | Purging test for pressurized enclosure where the protective gas is air | Performed and satisfactory |
| IEC 60079-5:2015 Ed.4.0 | 5.1.3 | Dielectric strength test of the filling material | Performed and satisfactory |
| IEC 60079-1:2014 Ed.7.0 | / | Temperature rise test (using an Ex d product) | Performed and satisfactory |
| IEC 60079-7:2017 Ed.5.1 | / | CTI determination for Group II material | Performed and satisfactory |
| IEC 60079-11:2011 Ed.6.0 | 10.1 | Spark ignition test with a power supply | Performed and satisfactory |
| IEC 60079-15:2017 Ed.5.0 | 11.3 | Restricted-breathing testing | Performed and satisfactory |
| IEC 60079-18:2017 Ed.4.1 | 8.1.1 & 8.1.2 | Water absorption test and Dielectric strength test | Performed and satisfactory |
| IEC 60079-28:2015 Ed.2.0 | 5.2.2.2 & 5.2.2.3 | Measurement of optical power and irradiance | Performed and satisfactory |
| IEC 60079-31:2013 Ed.2.0 | 6.1.2 | Thermal test for "ta" equipment | Performed and satisfactory |
| IEC TS 60079-32-2 Ed.1.0 | 4.5 | Leakage resistance | Performed and satisfactory |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme

| Year(s) of participation | IECEx Proficiency Testing program | General information about results |
| --- | --- | --- |
| 2011-2012 | Program 1 "Explosion pressure" | Results were within acceptable limits |
|  | Program 2 "Spark ignition” | Results were within acceptable limits |
| 2013-2014 | Program 3 "Flame Transmission" | N/A |
|  | Program 4 "Temperature Classification" | N/A |
| 2015-2016 | Program 5 "Electrostatic Charge" | Results were within acceptable limits (Test 1 only) |
|  | Program 6 "Intrinsic Safety" | Results were within acceptable limits |
| 2017-2018 | Program 7 "Explosion Pressure" | Results were within acceptable limits |
|  | Program 8 "Pressured Enclosure" | Some results were outside in acceptable limits, however our feedback to PTB indicated issues with the regulator supplied by PTB and procedure was somewhat ambiguous. |
| 2019-2020 | Program 9 "Tests of Enclosures (IP)" | Results were within acceptable limits |
|  | Program 10 "Battery Testing" | Results were within acceptable limits |
| 2021-2022 | Program 11 “Flameproof Joints” | To be performed |
|  | Program 12 “Small Component Temperature” | To be performed |

## Comments (including issues found during assessment)

A number of issues were raised during this assessment and reported to and accepted by the management of Simtars at the end of this assessment.

All the issues relating with ExTL have been subsequently resolved to the satisfaction of the assessor. Details of issues and how these have been resolved are clearly recorded in Annex B of the IECEx site assessment report (F-004).

# ATF for IECEx Certified Equipment Scheme

N/A Not part of this assessment.

# ExCB for Certified Service Facilities Scheme

## Assessment references

### General references

- IECEx 03-* IECEx Certified Service Facilities Scheme covering repair and overhaul of Ex equipment – Rules of Procedure for the Scheme (IECEx 03-0) and for “sub-Schemes” on particular service activities (IECEx 03-2, 03-3, 03-4 and 03-5)

- IECEx OD 316-2 IECEx Certified Service Facilities Scheme – Part 2: Selection of Ex equipment and design of Ex installations Assessment procedures for IECEx acceptance of Candidate Certification Bodies (ExCBs) for the purpose of issuing IECEx Certificates to Ex Service Facilities providing selection of Ex equipment and design of Ex installations related services

- IECEx OD 316-3 IECEx Certified Service Facilities Scheme – Part 3: Ex installation and initial inspection Assessment procedures for IECEx acceptance of Candidate Certification Bodies (ExCBs) for the purpose of issuing IECEx Certificates to Ex Service Facilities providing Ex installation and initial inspection service IECEx

- IECEx OD 316-4 IECEx Certified Service Facilities Scheme – Part 4: Ex inspection and maintenance Assessment procedures for IECEx acceptance of Candidate Certification Bodies (ExCBs) for the purpose of issuing IECEx Certificates to Ex Service Facilities providing Ex installations related services

- IECEx OD 316-5 IECEx Certified Service Facilities Scheme – Part 5: Repair, overhaul and reclamation of Ex equipment. Assessment procedures for IECEx acceptance of Candidate Certification Bodies (ExCBs) for the purpose of issuing IECEx Certificates to Ex Service Facilities involved in the repair, overhaul and reclamation of Ex equipment

- ISO/IEC 17065 General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

- IECEx TCD 60079-19, Technical Capability Document (TCD)

- IEC 60079-17 Explosive atmospheres - Part 17: Electrical installations inspection and maintenance

- IEC 60079-19 Explosive atmospheres – Part 19: Equipment repair, overhaul and reclamation

- ExSFC Decision Sheets

NOTE	The latest editions of the above documents were applied.

### Additional references applied for this assessment

- IECEx OD 060 IECEx Guide for Business Continuity – Management of Extraordinary Circumstances or Events Affecting IECEx Certification Schemes and Activities

- IECEx OD 313-5 IECEx Certified Service Facilities Scheme –Part 5: Repair, overhaul and reclamation of Ex equipment Assessment and Certification of Service Facilities involved in the repair, overhaul and reclamation of Ex equipment – Procedures

- IECEx OD 314-5 IECEx Certified Service Facilities Scheme –Part 5: Repair, overhaul and reclamation of Ex equipment Quality Management System requirements for IECEx Service Facilities involved in the repair, overhaul and reclamation of Ex equipment

- IECEx OD 315-5 IECEx Certified Service Facilities Scheme – Part 5: Repair, overhaul and reclamation of Ex equipment Additional requirements for IECEx Service Facilities involved in the repair, overhaul and reclamation of Ex equipment

NOTE	To be added by assessment team if applicable. For example, OD 060 if done as a remote assessment.

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Geoff Barnier | Principal Engineer - Certification |
| David Turner | Director TTCC |
| Bipin Parmar | Principal Engineer |

## National marks and certificates

Simtars operates ANZEx Certified Service Facility Scheme (MP 87.2) as a JAS-ANZ accredited certification body. There are no national marks in Australia.

## Standards accepted

See Annex A of this report.

## National differences to IEC standards

There are no Australian differences to the IEC standards as shown in the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Nicolais Ahlstrand | Executive Director Simtars | Senior executive experience Commenced Simtars 2016 |
| Craig Tayler | Director - TTCC | Simtars 28 years (3 years in current position) |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| David Turner | Technical Director | SEQEB Quality Manager 1980-1987 QMS Consultant 1987-1995 Simtars Quality Manager 1995-1997 Simtars Manager ETCC 1997-2000 Simtars Director ETCC 2013-2017 Simtars Technical Director 2018-Present. |
| Craig Tayler | Director - TTCC | Simtars 28 years (3 years in current position) |

### Name and title of signatories for certification

| Name | Title | Comments (years) |
| --- | --- | --- |
| Geoff Barnier | Principal Engineer - Certification | Simtars 31 years (9 years in current position) |
| John Ellis | Senior Certification Officer | 24 years |

### Other employees in ExCB activity

| Name | Title/responsibility | Experience in Ex (years) |
| --- | --- | --- |
| Bipin Parmar | Principal Engineer | 30 years |
| Gunter Lenicek | Senior Engineer | 26 years |

## Organizational Structure

Organizational structure is documented the Simtars Quality Manual QM0001 Appendix C10.

Same organization as for product certification.  See Annex B and Annex C for details.

## Indemnity insurance

Same resources as for product certification. Refer to Clause 3.10 of this report.

## Resources

Same resources as for product certification. Refer to Clause 3.11 of this report.

At the time of this assessment, there are 4 personnel qualified for auditing service facility. There is no subcontracted auditors used for service facility scheme.

## Committees (such as governing or advisory boards)

Same resources as for product certification. Refer to Clause 3.12 of this report.

## Certification operations

### National approval/certification Methods

Simtars has national accreditation by JAS-ANZ as a certification body in accordance to the ANZEx service facility scheme rule and ISO/IEC 17065.

### Certification policy

Simtars has quality policy and certification policy described in QM0001 Integrated Management System Manual and EM0001 Certification Manual – Product Certification, which are in compliance with the IECEx requirements and ISO/IEC 17065.

NOTE Typically this may be a separate policy or included in the quality policy.

### Application for certification

The application processes are described in the Simtars Certification Manual – Product Certification, EM0001, which references the documented procedure Application for Certification of Service Facilities, EP0293. The contact information for applicants is available at its website www.simtars.com.au.

### Certification decision

Same procedure as for product certification. Refer to Clause 3.13.4 of this report.

### Suspension and cancellation of certificates

Same procedure as for product certification. Refer to Clause 3.13.5 of this report.

## Statistics

Detail experience in assessment and certification of Ex related Service Facilities for the Ex Protection under this application during the past 2 years:

| Types of protection | ID | Number of CoCs issued during the past 2 years | Comments |
| --- | --- | --- | --- |
| Total issued certificates |  | 6 (2/4) | OK |
| Flameproof Enclosure "d" | d | 5 (2/3) | OK |
| Increased Safety "e" | e | 4 (1/3) | OK |
| Type of Protection "n" | n | 5 (2/3) | OK |
| Intrinsic Safety "i" | i | 1 (0/1) | OK |
| Oil Filled "o" | o | 0 | OK |
| Pressurisation "p" | p | 0 | OK |
| Dusts to IEC 60079-31 "t" | t | 3 (2/1) | OK |
| Dusts to IEC 61241-1 "tD" | tD | 2 (1/1) | OK |
| Dusts to IEC 61241-1-1 "DIP" | DIP | 2 (1/1) | OK |
| Other (eg non-electrical) | Ot | 0 | OK |

## National accreditation

ISO/IEC 17065 accredited by JAS/ANZ under the IECEx Certificate Service Facilities Scheme and ANZEx Scheme for explosion protected equipment and services facilities.

For the details, please refer to Clause 3.15 of this report.

## Assessment of service facilities and issue of FARs

Simtars established assessment processes, including EP0108 Procedure for Audit Activities, and EP0141 Procedure for Managing Audits for Certification, which covers the assessment of service facilities and issuance of FARs. For additional information, refer to Clause 3.16 of this report.

In response to the COVID-19 pandemic, Simtars has developed the procedure EM0005 Certification Manual – COVID-19 Response Plan for application of OD 060, which was prepared to enable support and continuing certification of service facilities. This arrangement was found to meet with the requirements of the IECEx System.

During the assessment, numbers of issued FARs and CoCs were reviewed, and found to be in line with Simtars procedures and IECEx requirements.

## Comments (including issues found during assessment)

A number of issues were raised during this assessment, and reported to and accepted by the management of Simtars at the end of this assessment.

All the issues relating with ExCB have been subsequently resolved to the satisfaction of the assessor. Details of issues and how these have been resolved are clearly recorded in Annex C of the IECEx site assessment report (F-004).

# IECEx Conformity Mark Licensing Scheme

## Assessment references

- IECEx 04 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – IECEx Conformity Mark Licensing Scheme – Rules

- IECEx OD 422 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Procedures for the granting of Licenses to issue and use the IECEx Conformity Mark

- IECEx OD 423 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Terms and Conditions for use of the IECEx Conformity Mark

NOTE	The latest editions of the above documents were applied.

## Comments (including issues found during assessment)

Simtars has a form, Application & Agreement for IECEx Conformity Mark License relating to Equipment for use in Explosive Atmospheres, EF0298, and Application process for IECEx Conformity Mark License, EP0116 that are in compliance with the IECEx System requirements.  Simtars does not have any active clients. There is one issued IECEx mark licensing certificate SIM 001/issue 1, but the status is cancelled currently. This can be found through the IECEx website.

Revision to the procedure EP0298 and EP0116 was required to be made for application of the latest IECEx operational documents (OD 422 and OD 423). This has been subsequently resolved to the satisfaction of the assessment team.

There were no other issues found with the Conformity Mark License System.

# ExCB for IECEx Personnel Competence Scheme

N/A Not part of this assessment.

# Annexes

Scope for IECEx Certified Equipment Scheme

Current standards

| Number | Title | Comments |
| --- | --- | --- |
| IEC 60079-0 Edition 7.0 | Explosive atmospheres - Part 0: Equipment - General requirements | Yes |
| IEC 60079-1 Edition 7.0 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | Yes |
| IEC 60079-2 Edition 6.0 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure “p’ | Yes |
| IEC 60079-5 Edition 4.0 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Yes |
| IEC 60079-6 Edition 4.1 | Explosive atmospheres - Part 6: Equipment protection by oil immersion “o” | Yes |
| IEC 60079-7 Edition 5.1 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | Yes |
| IEC 60079-11 Edition 6.0 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | Yes |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" | Yes |
| IEC 60079-15 Edition 5.0 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | Yes |
| IEC 60079-16 Edition 1.0 | Electrical apparatus for explosive gas atmospheres - Part 16: Artificial ventilation for the protection of analyser(s) houses | Yes |
| IEC 60079-18 Edition 4.1 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | Yes |
| IEC 60079-25 Edition 3.0 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | Yes |
| IEC 60079-26 Edition 4.0 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | Yes |
| IEC 60079-28 Edition 2.0 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | Yes |
| IEC/IEEE 60079-30-1 Edition 1.0 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements | Yes |
| IEC 60079-31 Edition 2.0 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | Yes |
| IEC TS 60079-32-2 Edition 1.0 | Explosive atmospheres - Part 32-2: Electrostatics hazards – Tests | Yes, for test only (New Scope) |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | Yes |
| IEC 60079-35-1 Edition 1.0 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | Yes |

Superseded standards

The following superseded standards may form part of a body’s scope, generally for historical reasons.

| Number | Title | Comments |
| --- | --- | --- |
| IEC 60079-27 Edition 2.0 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | Yes |
| IEC 60079-30-1 Edition 1.0 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements | Yes |
| IEC 61241-0 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | Yes |
| IEC 61241-1 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | Yes |
| IEC 61241-1-1 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust -Part 1-1: Electrical apparatus protected by enclosures and surface temperature limitation - Specification for apparatus | Yes |
| IEC 61241-4 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | Yes |
| IEC 61241-11 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety 'iD' | Yes |
| IEC 61241-18 Edition 1.0 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | Yes |
| IEC 62013-1 Edition 2.0 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | Yes |
| IEC 62086-1 Edition 1.0 | Electrical apparatus for explosive gas atmospheres - Electrical resistance trace heating - Part 1: General and testing requirements | Yes |

Overall Organisation Chart

Organisation Chart of ExCB/ExTL

Accreditation Certificate for ISO/IEC 17065

Accreditation Certificate for ISO/IEC 17025