INTERNATIONAL ELECTROTECHNICAL COMMISSION IEC SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Scope Extension Assessment Report for Technology Institution of Industrial Safety (TIIS), an Accepted ExCB IEC 60079-5, IEC 60079-13, IEC 60079-33 and IEC TS 60079-46 and an Accepted ExTL within the IECEx System, Equipment Scheme 02, to include in their scope.

Circulated To: Members of the IECEx Management Committee, ExMC

Introduction

Technology Institution of Industrial Safety (TIIS), JP, an Accepted ExCB and an Accepted ExTL within the IECEx System, Equipment Scheme 02, has applied to include the following Standards within their scope.

| Number | Title |
| --- | --- |
| IEC 60079-5 Edition 4.1 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |
| IEC TS 60079-46 Edition 1.0 | Explosive atmospheres – Part 46 - Equipment assemblies |

This report details the assessment findings of this scope extension with the IECEx

Assessment Team recommending the acceptance of the above scope extension.

This document is hereby submitted for ExMC approval via correspondence using the IECEx on-line voting system.  ExMC Members are requested to submit their vote via the IECEx On-line Ballot System  by the closing date 2023 07 17

Please refer to OD 050 for guidance on the “IECEx On-line voting system.”

Chris Agius

IECEx Secretary

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney. NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 46 27 5285 Email: info@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form, F-003

IECEx assessment report form for use by IECEx assessment teams to report assessments conducted according to the relevant IECEx assessment procedures of:

Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

Operational Document IECEx OD 316-* for the Certified Service Facility Scheme

Operational Document IECEx OD 422 for the IECEx Conformity Mark Licensing Scheme

Operational Document IECEx OD 501 for the Personnel Competence Scheme

IECEx ExCB/ExTL assessment report for TIIS

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

CONTENTS

1	Assessment information	6

1.1	Type of body covered by this assessment:	6

1.2	Type of assessment:	6

1.3	Details of body	6

1.3.1	Country	6

1.3.2	Name of body	6

1.3.3	Name and title of nominated principal contact	6

1.4	Assessment information	6

1.4.1	Members of the assessment team	6

1.4.2	Place(s) of assessment	6

1.4.3	Assessment date(s)	7

1.5	Application information and background information on the assessment	7

1.6	Scopes	7

1.6.1	ExCB scope for equipment certification scheme	7

1.6.2	ExTL scope	7

2	Common information	8

2.1	Legal entity of body	8

2.2	Financial support	8

2.3	History	8

2.4	Documentation	8

2.4.1	Quality manual	8

2.4.2	Procedures	8

2.4.3	Work instructions	8

2.4.4	Records (including test records where relevant)	8

2.4.5	Document change control	8

2.5	Confidentiality	8

2.6	Communication with public and customers (Hard copy and Electronic)	8

2.7	Recognitions and agreements	8

2.8	Internal audit	8

2.9	Management review	8

2.10	Contracting, subcontracting and witness testing	8

2.11	Training and competence	9

2.12	Complaints and appeals (including appeals to IECEx)	9

2.13	Impartiality	9

2.14	Active involvement in development of Decision Sheets	9

2.15	Special facts to be noted	9

2.16	Supporting documentation	9

2.17	Recommendations	9

3	ExCB for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.1.1	General references	10

3.1.2	Additional references applied for this assessment	10

3.2	Candidate ExCB persons interviewed	10

3.3	Associated ExTL(s)	10

3.4	Associated certification functions	10

3.5	National marks and certificates	11

3.6	Standards accepted	11

3.7	National differences to IEC standards	11

3.8	Organisation	11

3.8.1	Names, titles and experience of the senior executives	11

3.8.2	Name, title and experience of the quality management representative	11

3.8.3	Name and title of signatories for certification	11

3.8.4	Other employees in ExCB activity	11

3.9	Organizational structure	12

3.10	Indemnity insurance	12

3.11	Resources	12

3.12	Committees (such as governing or advisory boards)	12

3.13	Certification operations	12

3.13.1	National approval/certification methods	12

3.13.2	Certification policy	12

3.13.3	Application for certification	12

3.13.4	Certification decision	12

3.13.5	Suspension and Cancellation of certificates	12

3.14	Certificates issued	12

3.15	National accreditation	13

3.16	Assessment of manufacturers and issue of QARs	13

3.17	Comments (including issues found during assessment)	13

4	ExTL for IECEx Certified Equipment Scheme	14

4.1	Assessment references	14

4.1.1	General references	14

4.1.2	Additional references applied for this assessment	14

4.2	Candidate ExTL persons interviewed	14

4.3	Associated ExCB(s)	14

4.4	Organisation	14

4.4.1	Names, titles and experience of the senior executives	14

4.4.2	Name, title and experience of the quality management representative	14

4.4.3	Other employees in ExTL activity	14

4.5	Organizational structure	15

4.6	Resources	15

4.7	Test reports issued	15

4.8	National accreditation	15

4.9	Calibration	16

4.10	Tests witnessed during the assessment visit	16

4.11	Participation in IECEx Proficiency Testing Programs	16

4.12	Comments (including issues found during assessment)	16

5	Annexes	16

Annex A Scope for IECEx Certified Equipment Scheme	17

A.1	Standards applied for as scope extension	17

A.2	Existing scope	17

Annex B Overall Organisation Chart	18

Annex C Organisation Chart of ExCB/ExTL	19

Annex D Accreditation Certificate for ISO/IEC 17065	20

Annex E Accreditation Certificate for ISO/IEC 17025	21

# Assessment information

## Type of body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ATF for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |
| ExCB for IECEx Certification of Personnel Competency Scheme |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

NOTE 3  ATF - Additional Testing Facility

## Type of assessment:

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Japan

### Name of body

Technology Institution of Industrial Safety (TIIS)

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Mr Minari Kogane | Executive Managing Director of TIIS, and Director of Planning Headquarters Certification manager | kogane@tiis.or.jp |

## Assessment information

### Members of the assessment team

| Name | Role |
| --- | --- |
| Dr Jim Munro | IECEx Lead Assessor |

### Place(s) of assessment

Onsite assessment at the following site.

| Technology Institution of Industrial Safety (TIIS) 2-16-26 Hirosedai, Sayama-shi, Saitama 350-1328, JAPAN |  |
| --- | --- |

### Assessment date(s)

8 and 9 December 2022 (one and a half days) on site.

## Application information and background information on the assessment

This report covers the scope extension requested for the following standards:

| IEC 60079-5 Edition 4.1 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” |
| --- | --- |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” |
| IEC TS 60079-46 Edition 1.0 | Explosive atmospheres – Part 46 - Equipment assemblies |

The assessment of capability of TIIS to test and certify to the standards in the scope extension was addressed and documented in the TCD covering the scope extension, and the witnessing of a test for one of the standards.  Most of the standards in the scope extension do not introduce new tests to those in standards already in the scope of TIIS.

## Scopes

### ExCB scope for equipment certification scheme

The scope extension applied for by the ExCB is shown in Annex A together with the existing scope.

### ExTL scope

The scope extension applied for by the ExTL is the same as for the ExCB.

# Common information

## Legal entity of body

Not relevant for a scope extension.  Details are available in the last re-assessment report ExMC/1552/R for the re-assessment done in 2019. This information also applies for other clauses in this report shown as not relevant for a scope extension.

## Financial support

Not relevant for a scope extension.

## History

Not relevant for a scope extension.

## Documentation

### Quality manual

TIIS has separate quality manuals for the ExCB and ExTL.  The latest edition (at the time of the assessment) of the ExCB quality manual was Rev P, dated 2022/12/01 and for ExTL quality manual Rev O, dated 2022/12/01.

### Procedures

The procedures for the scope extension were reviewed at the assessment and found to be appropriate.  However, some areas for improvement were noted as observations and these were acted on by TIIS.

### Work instructions

The work instructions for testing are incorporated into the above procedures.

### Records (including test records where relevant)

Four new data sheets were developed as part of the scope application and found to be appropriate.

### Document change control

Not relevant for a scope extension.

## Confidentiality

Not relevant for a scope extension.

## Communication with public and customers (Hard copy and Electronic)

Not relevant for a scope extension.

## Recognitions and agreements

Not relevant for a scope extension.

## Internal audit

Not relevant for a scope extension.

## Management review

Not relevant for a scope extension.

## Contracting, subcontracting and witness testing

TIIS will not be doing any contracting or subcontracting for the standards covered in this scope extension.  They have made provision in their procedures to do witness testing using OD 024.  There are existing procedures in place for the use of OD 024.

## Training and competence

The people listed in the competency matrix as competent for this scope extension are also listed in the TCD.

Details of staff competencies are included in the site assessment report.

An issue was found with staff of the ExCB not being identified as having the competencies for the new standards, but improvements were made to their systems to clearly address these competencies.  The resultant systems meet the requirements of IECEx.

## Complaints and appeals (including appeals to IECEx)

Not relevant for a scope extension.

## Impartiality

Not relevant for a scope extension.

## Active involvement in development of Decision Sheets

Not relevant for a scope extension.

## Special facts to be noted

None.

## Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report or provided separately and include:

Completed Technical Capability Document (TCD) for the standards in the scope extension

Photos of the facilities/tests witnessed are included in the above TCD

Information on competencies

Assessor’s notes

## Recommendations

Based on the assessment performed on 8 and 9 December 2022, TIIS is recommended for the extension of scope shown in Annex A, as:

An ExCB in the IECEx Certified Equipment Scheme

An ExTL in the IECEx Certified Equipment Scheme

Dr Jim Munro

IECEx Lead Assessor

Date:  14 April 2023

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx 02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- ISO/IEC 80079-34 Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- IECEx OD 009 Issuing of CoCs, ExTRs and QARs

- IECEx OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- IECEx OD 026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC 17065 General requirements for bodies operating product certification systems Conformity assessment — Requirements for bodies certifying products, processes and services

- IECEx OD 107 Harmonised check list for certification bodies ISO/IEC 17065

- IECEx OD 060 IECEx Guide for Business Continuity – Management of Extraordinary Circumstances or Events Affecting IECEx Certification Schemes and Activities

- IECEx Technical Capability Document (TCD)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied, unless otherwise specified.

### Additional references applied for this assessment

OD 233 Edition 3.0 IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment.

At the time of the assessment visit, the above OD was at Edition 2.0.  However, TIIS incorporated provision for OD 233 Edition 3.0 in their procedure for Ex “s” Equipment.  This latest version of the OD had been approved and was awaiting publication at the time of the onsite assessment visit.  After publication of Edition 3.0, TIIS provided an updated copy of their procedure to the published OD.

## ExCB persons interviewed

| Name | Position |
| --- | --- |
| Minari Kogane (Mr) | Certification Manager |
| Takuro Kubo (Mr) | Chief of ExTL / Senior Certification Engineer |
| Hidenori Satou (Mr) | Senior Certification Engineer |
| Shinji Ogawa (Mr) | Senior Certification Engineer |
| Sungmi Jung (Ms./Ph.D) | Deputy Director Planning Headquarters Quality Assessor |

## Associated ExTL(s)

The ExCB is integral with the ExTL.

## Associated certification functions

None relevant to this scope extension.

## National marks and certificates

None relevant to this scope extension.

## Standards accepted

Not relevant for scope extension.

## National differences to IEC standards

National differences to IEC standards are those for the Japan differences listed in the latest version of the IECEx System Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Mizuki Yamaguma (Mr) | President of TIIS | 9 years in Ex |
| Minari Kogane (Mr) | Executive Managing Director of TIIS, and Director of Planning Headquarters Certification manager | 29 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| Akira Matsuki (Mr) | Management Representative of QMS Quality Assessor | 26 years in quality management |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Minari Kogane (Mr) | Executive Managing Director Director of Planning Headquarters Certification Manager | 29 years in Ex |

### Other employees in ExCB activity

| Name | Title | Experience in Ex (years) |
| --- | --- | --- |
| Shuichi Matsuda (Mr) | Chief of ExCB Senior Certification Engineer | 11 years in Ex |
| Sungmi Jung (Ms./Ph.D) | Deputy Director Planning Headquarters Quality Assessor | 6 years in Ex |
| Takashi Gotoh (Mr) | Senior Certification Engineer Senior Testing Engineer | 25 years in Ex |
| Izumi Yamane (Mr) | Senior Certification Engineer Senior Testing Engineer | 16 years in Ex |
| Hidenori Satou (Mr) | Senior Certification Engineer Senior Testing Engineer | 14 years in Ex |
| Shigeaki Tanabe (Mr) | Senior Certification Engineer Senior Quality Assessor Senior Testing Engineer | 8 years in Ex |
| Shunsuke Yoshihara (Mr) | Quality Assessor Senior Testing Engineer | 28 years in Ex |
| Takuro Kubo (Mr/Ph.D) | Senior Certification Engineer Chief of ExTL Senior Testing Engineer | 11 years in Ex |
| Shinji Ogawa (Mr) | Senior Certification Engineer Senior Testing Engineer | 14 years in Ex |
| Toru Hinouchi (Mr) | Senior Certification Engineer Senior Testing Engineer | 11 years in Ex |

## Organizational structure

The staff of the ExCB may also have an ExTL role.  Separation of responsibilities between ExCB and ExTL is achieved on a project-by-project basis.  Staff in the IECEx ExCB and ExTL also have other responsibilities in TIIS, for example for local certification.

Annex B and Annex C show the organisational structure of TIIS, and the IECEx ExCB and ExTL.

## Indemnity insurance

Not relevant for a scope extension.

## Resources

TIIS have the resources of competent staff, appropriate procedures and facilities to perform the ExCB functions for the standards in the scope extension.

## Committees (such as governing or advisory boards)

Not relevant for a scope extension.

## Certification operations

### National approval/certification methods

None of relevance to the scope extension.

### Certification policy

Not relevant for a scope extension.

### Application for certification

The application form has provision for the applicant to add any relevant standards for the application and so it will be able to be used without modification for the additional standards once they have been accepted as part of the TIIS scope.

### Certification decision

Not relevant for a scope extension.

### Suspension and Cancellation of certificates

Not relevant for a scope extension.

## Certificates issued

TIIS has not issued any local certificates for the standards in the scope extension however, the assessment revealed a thorough knowledge and understanding of the applications of IEC 60079-5, IEC 60079-13, IEC 60079-33, IEC TS 60079-46 when applying them for IECEx certification purposes.

## National accreditation

TIIS received accreditation as a certifying body from International Accreditation Japan (IAJapan) on 30 November 2022, number ASNITE 0131 Product valid to 29 November 2026.  However, currently the standards covered by this scope extension are not included in the scope of that accreditation.  If the standards are not added, there could be a need for surveillance assessment.  TIIS indicated that once the scope extension has been accepted by IECEx, they will be seeking national accreditation for the same scope extension.

The national accreditation certification for ISO/IEC 17065 is shown in Annex D.

## Assessment of manufacturers and issue of QARs

TIIS has the competence to assess manufacturers and issue QARs for the standards in the scope extension.

## Comments (including issues found during assessment)

Two issues relevant to the ExCB were raised, including:

Ensuring there was documented evidence of ExCB staff competence for the scope extension

Ensuring the appointment of independent verifiers complies with OD 233.

- Both issues were resolved to the satisfaction of the assessor.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

### General references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025 General requirements for the competence of testing and calibration laboratories

- IECEx OD 018 Harmonised check list for testing and calibration laboratories ISO/IEC 17025

- IECEx TCD 60079, ISO 80079 Series and ISO 16852 Technical Capability Document

- ExTAG decision sheets (DSs)

- IECEx OD 202 IECEx Certified Equipment Scheme – IECEx Proficiency Testing Program

NOTE	The latest editions of the above documents were applied, unless otherwise specified.

### Additional references applied for this assessment

OD 233 Edition 3.0 IECEx Certified Equipment Scheme - Assessment of Ex “s” Equipment

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Minari Kogane (Mr) | Certification Manager |
| Takuro Kubo (Mr) | Chief of ExTL / Senior Testing Engineer |
| Hidenori Satou (Mr) | Senior Testing Engineer |
| Shinji Ogawa (Mr) | Senior Testing Engineer |

Some other representatives of the ExTLs shown in 4.4.3 were also interviewed.

## Associated ExCB(s)

The ExCB is integral with the ExTL.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience (years) |
| --- | --- | --- |
| Mizuki Yamaguma (Mr) | President of TIIS | 8 years in Ex |
| Minari Kogane (Mr) | Executive Managing Director Director of Planning Headquarters Certification Manager | 28 years in Ex |

### Name, title and experience of the quality management representative

| Name | Title | Experience (years) |
| --- | --- | --- |
| Akira Matsuki (Mr) | Management Representative of QMS Quality Assessor | 25 years in quality management |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex (years) |
| --- | --- | --- |
| Takuro Kubo (Mr/Ph.D) | Chief of ExTL Senior Testing Engineer Senior Certification Engineer | 11 years in Ex |
| Hidenori Satou (Mr) | Senior Testing Engineer Senior Certification Engineer | 13 years in Ex |
| Takashi Gotoh (Mr) | Senior Testing Engineer Senior Certification Engineer | 25 years in Ex |
| Izumi Yamane (Mr) | Senior Testing Engineer Senior Certification Engineer | 15 years in Ex |
| Shunsuke Yoshihara (Mr) | Senior Testing Engineer Quality Assessor | 28 years in Ex |
| Shigeaki Tanabe (Mr) | Senior Testing Engineer Senior Certification Engineer Senior Quality Assessor | 9 years in Ex |
| Shinji Ogawa (Mr) | Senior Testing Engineer Senior Certification Engineer | 14 years in Ex |
| Toru Hinouchi (Mr) | Senior Testing Engineer Senior Certification Engineer | 11 years in Ex |
| Shinpei Sakaguchi (Mr) | Testing Engineer | 8 years in Ex |
| Tokiko Osawa (Ms) | Testing Engineer | 6 years in Ex |
| Nobuyuki Nakagome (Mr) | Testing Engineer | 3 years in Ex |
| Kouji Nakaya (Mr) | Testing Engineer | 7 years in Ex |
| You Kojima (Mr) | Testing Engineer | 5 years in Ex |
| Mitsuhiro Takishima (Mr) | Testing Engineer | 30 years in Ex |
| Yuan Shen (Mr) | Testing Engineer | 3 years in Ex |
| Tatsuya Yamaguchi (Mr) | Testing Engineer | 3 years in Ex |

## Organizational structure

The organisational structure is described in 3.9 above.  Annex B and Annex C show the organisational structure of TIIS, and the IECEx ExCB and ExTL.

## Resources

TIIS have the resources of competent staff, appropriate procedures and facilities to perform the ExCB functions for the standards covered by this scope extension report.

## Test reports issued

TIIS has not issued any local test reports for the standards in the scope extension.

## National accreditation

TIIS received accreditation for testing from International Accreditation Japan (IAJapan) on 30 June 2021, number ASNITE 0131 Testing, valid to 29 June 2025.  However, currently the standards covered by this scope extension are not included in the scope of that accreditation.  If the standards are not added, there could be a need for surveillance assessment.  TIIS indicated that once the scope extension has been accepted by IECEx, they will be seeking national accreditation for the same scope extension.

The national accreditation certification for ISO/IEC 17025 is shown in Annex E.

## Calibration

All equipment used for the tests witnessed during the assessment was in calibration, and a review of the calibration labels and certificates showed the equipment to be appropriately calibrated.

## Tests witnessed during the assessment visit

The following test was witnessed during the assessment visit:

| Standard and edition | Clause number | Test | Comments |
| --- | --- | --- | --- |
| IEC 60079-5 Edition 4.1 | Clause 5.1.3 | Insulation resistance test of the filling material | Test was performed competently. |

## Participation in IECEx Proficiency Testing Programs

Program: PTB Ex PT Scheme

There have been no proficiency testing programs directly referencing standards in the scope extension.  However, TIIS has been involved in the PTB Ex PT Scheme for many years and some of the programs may prove of relevance.  More details, including an analysis of this situation, are included in the site assessment report.

## Comments (including issues found during assessment)

Three issues relevant to the ExTL were raised, including:

The need to provide evidence of how the proposed independent verifiers meet the competencies specified IEC 60079-33

The need for further training to ensure staff are competent in the relevant requirements of IEC 60079-14 as it applies to IEC 60079-46

The need for a smoke generator for testing to IEC 60079-13.

- All the above issues were resolved to the satisfaction of the assessor.

# Annexes

See Contents.

Scope for IECEx Certified Equipment Scheme

Standards applied for as scope extension

| Number | Title | Comments |
| --- | --- | --- |
| IEC 60079-5 Edition 4.1 | Explosive atmospheres - Part 5: Equipment protection by powder filling “q” | Scope extension recommended. |
| IEC 60079-13 Edition 2.0 | Explosive atmospheres - Part 13: Equipment protection by pressurized room "p" and artificially ventilated room "v" | Scope extension recommended. |
| IEC 60079-33 Edition 1.0 | Explosive atmospheres – Part 33: Equipment protection by special protection “s” | Scope extension recommended. |
| IEC TS 60079-46 Edition 1.0 | Explosive atmospheres – Part 46 - Equipment assemblies | Scope extension recommended. |

Existing scope

IEC 60079-0: Part 0: Equipment - General requirements

IEC 60079-1: Part 1: Equipment protection by flameproof enclosures 'd'

IEC 60079-2: Part 2: Equipment protection by pressurized enclosures 'p'

IEC 60079-6: Part 6: Equipment protection by oil immersion 'o'

IEC 60079-7: Part 7: Equipment protection by increased safety 'e'

IEC 60079-11: Part 11: Equipment protection by intrinsic safety 'i'

IEC 60079-15: Part 15: Equipment protection by type of protection 'n'

IEC 60079-18: Part 18: Equipment protection by encapsulation “m”

IEC 60079-25: Part 25: Intrinsically safe electrical systems

IEC 60079-26: Part 26: Equipment with equipment protection level (EPL) Ga

IEC 60079-28: Part 28: Protection of equipment and transmission systems using optical radiation

IEC 60079-30-1: Part 30-1: Electrical resistance trace heating - General and testing requirements

IEC/IEEE 60079-30-1: Part 30-1: Electrical resistance trace heating - General and testing requirements

IEC 60079-31: Part 31: Equipment dust ignition protection by enclosure 't'

IEC 62784: Vacuum cleaners and dust extractors providing equipment protection level Dc for the collection of combustible dusts - Particular requirements

ISO 80079-36: Part 36: Non-electrical equipment for explosive atmospheres - Basic method and requirements

ISO 80079-37: Part 37: Non-electrical equipment for explosive atmospheres - Non electrical type of protection constructional safety "c", control of ignition source "b", liquid immersion "k"

Overall Organisation Chart

Organisation Chart of ExCB/ExTL

Accreditation Certificate for ISO/IEC 17065

Accreditation Certificate for ISO/IEC 17025