**INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)**

**Title****: Compilation of Comments on ExTAG/706/CD Draft ExTAG Decision Sheet –** **Revision of ExTAG DS 2020/003 Verification and Operation of Climate Chambers**

**Circulated to: ExTAG – IECEx Testing and Assessment Group**

**INTRODUCTION**

This document, *ExTAG/714/CC Compilation of Comments on ExTAG/706/CD Draft ExTAG Decision Sheet – Revision of ExTAG DS 2020/003 Verification and Operation of Climate Chambers* contains the Compilation of Comments and Observations, prepared by the Originator, ExMC WG 02 Convenor.

As a result of comments received a revised Draft Decision Sheet ExTAG/706A/CD has been prepared for consideration during the ExTAG Edinburgh Meeting.

***Please inform the Secretariat immediately of any omissions or errors at***

***Christine Kane***

from the Originator

|  |
| --- |
| **Address:****IECEx Secretariat****Level 33 Australia Square****264 George Street****Sydney NSW 2000****Australia****Web:** [**www.iecex.com**](file:///C%3A%5CUsers%5Cchristine.kane%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CTemporary%20Internet%20Files%5Cchristine.kane%5CAppData%5CLocal%5CMicrosoft%5CWindows%5Cchristine.kane%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CTemporary%20Internet%20Files%5CContent.Outlook%5CAppData%5CLocal%5CUsers%5Chorn02%5CAppData%5CLocal%5Cchristine.kane%5CAppData%5CLocal%5CMicrosoft%5Cchristine.kane%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CTemporary%20Internet%20Files%5CChristine.Kane%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CTemporary%20Internet%20Files%5CAppData%5CLocal%5Cjugauthier%5CAppData%5CLocal%5CTemp%5CnotesC9812B%5Cwww.iecex.com) |

| **ExCB/****ExTL** | **Clause/ Sub-clause** | **Paragraph Figure/****Table** | **Type of****comment****General/****technical/****editorial** | **COMMENTS** | **Proposed change** | **Observation****(to be completed by the originator)** |
| --- | --- | --- | --- | --- | --- | --- |
| **BIS (applicant ExCB)****IN** |  |  | **General** | **No comments** |  | **Noted** |
| **CNEX-Global B.V.****NL**  | **-** | **-** | **g** | **We support this draft DS.** | **None** | **Noted** |
| **CSA & CSAE****CA** |  |  | **General** | **CSA and CSAE supports the** **proposed ExTAG/706/CD Draft ExTAG Decision Sheet for revision of ExTAG DS 2020/003 (Verification and Operation of Climate Chambers)** | **N/A** | **Noted** |
| **DNV****NO** |  |  |  | **We agree with the proposal** |  | **Noted** |
| **EUROFINSCMLGB** |  |  |  | **We are okay with this modification / update to the existing DS.** |  | **Noted** |
| **FMG****US** |  |  | **ge** | **We have no comments on this change as we consider it to be an editorial update.** | **None** | **Noted** |
| **FTZU****CZ** |  |  | **G** | **We agree with this draft ExTAG Decision Sheet.** |  | **Noted** |
| **ITL****IL** | **IEC 60079-0** | **26.8** | **N/A** | **Acceptable**  | **NA** | **Noted** |
| **ITS (ExTL)****IN** |  |  | **General** | **No comments** |  | **Noted** |
| **KLCS****IN** |  |  | **General** | **No comments** |  | **Noted** |
| **KR Hellas****KR** |  |  |  | **KR Hellas has no comments for following draft decision sheets** |  | **Noted** |
| **LOM****ES** | **4.1** | **-** | **G** | **LOM agrees with the DS provided that the clause 4.1 is modified to address any standardized humidity measurement method as addressed in clause 4.4 of IEC 60038-3-6 (This standard is listed as relevant in Note 2 of the DS).** **The current text seems to limit the humidity measurement with humidity transfer probes only.** | **Make the text more generic to allow the use of any standardized humidity measurement method (For example those indicated in clause 4.4 of IEC 60038-3-6 as applicable)** | **Accepted, ExTAG decision sheet updated to replace “transfer probe” with “measuring equipment”.** |
| **NANIO CCVE (RU)****ExCB/****ExTL** |  |  | **General** | **We support DS ExTAG/706/CD without any comments.** |  | **Noted** |
| **NEPSI****CN** |  |  | **E** | **NEPSI support the revised draft decision sheet ExTAG/706/CD.** | **It is recommended to change “80C” “90C” “95C” as “80℃” “90℃”“95℃” in the full text.** | **Accepted, ExTAG decision sheet updated.** |
| **Simtars****AU** |  |  |  | **Simtars has no comments** |  | **Noted** |
| **TC31****WG22** |  |  |  | **Editorial changes only, therefore no new comments on content.** |  | **Noted** |
| **TIIS****JP** |  |  | **ge** | **TIIS supports the draft Decision Sheet without comments.** |  | **Noted** |
| **UL Demko****DK** | **All** |  | **General** | **We support this document as it was drafted.** |  | **Noted** |
| **UL LLC****US** | **All** |  | **General** | **We support this document as currently drafted.** |  | **Noted** |
| **ULBR****BR** | **All** |  | **General** | **We support this document as currently drafted.** |  | **Noted** |