INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

Title:  DE proposal to amend Clause 8.1.3. contained in IECEx 02 Ed.5

To:  Members of the IECEx Management Committee, ExMC

- INTRODUCTION

This document is a DE proposal to amend Clause 8.1.3. contained in IECEx 02 Ed.5 and is issued for consideration during the 2013 ExMC Fortaleza Meeting.

Chris Agius

Chris Agius

IECEx Secretariat

| Address: IECEx Secretariat Standards Australia Building 286 Sussex Street Sydney NSW 2000, Australia | Contact details Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com |
| --- | --- |

Proposal of the German Member Body of IECEx

Item 8.2 of the IECEx-CMC-meeting 2013

Rule / Standard involved in:

IECEx Equipment Scheme 02;

IECEx 02, Edition 5.0; Clause 8.1.3

(IEC 60079-0, Edition 6.0, 2011-06; Clause 30 "Instructions" )

Subject:

Content of IECEx CoC's,

CoC shall have a "Reference to manufacturer's instructions"

Topic:

The IECEx 02 requires in clause 8.1.3 that the IECEx CoC shall contain a "Reference to manufacturer's instructions".

The manufacturer's instructions are part of the assessment by the ExTL / ExCB, as required by IEC 60079-0, therewith these instructions have to be listed in the ExTR Cover Sheet as "Manufacturer's Documentation" as well.

The experience shows that the manufacturer's instruction does consist of many parts and contents. The important ex-safety related items (as mentioned in IEC 60079-0, clause 30) are included as well as the non-ex-safety related items besides of the general information regarding handling, programming,... .

The experience shows furthermore that these manufacturer's instructions are being updated from time to time, may be just in minor or editorial amounts.

However, this procedure leads to a new revision level of the manufacturer's instruction.

Subsequently this leads to a new revision of the IECEx CoC as well, because of the above mentioned requirement of IECEx 02.

Proposal:

The manufacturer shall create a separate instruction that summarises all the ex-safety relevant items, that are required by IEC 60079-0, clause 30.

The remaining topics of the instructions, like general information, handling, programming, ... , shall remain in another part, separated from the ex-relevant part.

The IECEx 02, clause 8.1.3, shall specify this more in detail, like "Reference to the ex-safety relevant part of the manufacturer's instructions".

This leads to the following benefit:

- The manufacturer can update the non-ex relevant part of the instruction without or with minor involvement of the ExTL / ExCB.

- It is not necessary to update the CoC in these  minor cases.

- The ex-safety related items can be easily to found and to read.