INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE: Re-assessment Report for the continued acceptance of ZELM Explosionsschutz GmbH as an Accepted Ex Certification Body (ExCB) and Accepted Ex Testing Laboratory (ExTL) within the IECEx System

Circulation to: Members of the IECEx Management Committee, ExMC

INTRODUCTION

In accordance with the 5 year re-assessment plan for the surveillance and monitoring of bodies within the IECEx System, the following document contains the IECEx Re-assessment Report for the continued acceptance of ZELM Explosionsschutz GmbH as an Accepted Ex Certification Body (ExCB) and Accepted Ex Testing Laboratory (ExTL) within the IECEx System.

This report is hereby submitted for endorsement during the ExMC 2014 The Hague, Netherlands, Meeting.

Chris Agius

IECEx Secretariat

| IECEx Secretariat Australia Square Level 33, 264 George Street Sydney NSW 2000 Australia | Tel: +61 2 4628 4690 Fax: +61 2 4625 3480 Email: chris.agius@iecex.com |
| --- | --- |

IEC System for certification to standards relating to equipment for use in Explosive Atmospheres (IECEx System)

IECEx Assessment Report Form

IECEx Assessment Report Form for use by IECEx Assessment Teams to report Assessments conducted according to the IECEx Assessment Procedures of

- Operational Document IECEx OD 003-2 for the Certified Equipment Scheme

- Operational Document IECEx OD 016 for the Certified Service Facility Scheme

- Operational Document IECEx OD 022 for the IECEx Conformity Mark Licensing System

IECEx ExCB/ExTL assessment report for ZELM Explosionsschutz GmbH

INTERNATIONAL
ELECTROTECHNICAL
COMMISSION

1	Assessment information	4

1.1	Type of Body covered by this assessment:	4

1.2	Type of assessment:	4

1.3	Details of body	4

1.3.1	Country	4

1.3.2	Name of body	4

1.3.3	Name and title of nominated principal contact	4

1.4	Assessment information	4

1.4.1	Members of the assessment team	4

1.4.2	Place(s) of assessment	4

1.4.3	Assessment date(s)	4

1.5	Scopes	4

1.5.1	ExCB scope for equipment certification scheme	4

1.5.2	ExTL scope	6

2	Common information	6

2.1	Legal entity of body	6

2.2	Financial support	6

There is no financial support. ZELM Explosionsschutz GmbH is self-funded from certification, testing and quality assessment activities.	6

2.3	History	6

2.4	Documentation	7

2.4.1	Quality manual	7

2.4.2	Procedures	7

2.4.3	Work instructions	7

2.4.4	Records (including test records where relevant)	7

2.4.5	Document change control	7

2.5	Confidentiality	7

2.6	Publications (Hard cover and Electronic)	7

2.7	Recognition and agreements	7

2.8	Internal audit and periodic management review	8

2.9	Contracting, subcontracting, use of other labs and use of other locations	8

2.10	Training and competence	8

2.11	Complaints and appeals (including appeals to IECEx)	8

2.12	Special facts to be noted	8

2.12.1	Supporting documentation	8

2.13	Recommendations	8

3	ExCB for IECEx Certified Equipment Scheme	10

3.1	Assessment references	10

3.2	Candidate ExCB persons interviewed	10

3.3	Associated ExTL(s)	10

3.4	Associated certification functions	10

3.5	National marks and certificates	10

3.6	Standards accepted	10

3.7	National differences to IEC standards	11

3.8	Organisation	11

3.8.1	Names, titles and experience of the senior executives	11

3.8.2	Name, title and experience of the quality management representative	11

3.8.3	Name and title of signatories for certification	11

3.8.4	Other employees in ExCB activity	11

3.9	Organizational structure	11

3.10	Administration	11

3.10.1	Administrative structure	11

3.10.2	Indemnity insurance	11

3.11	Resources	11

3.12	Committees (such as governing or advisory boards)	12

3.13	Certification operations	12

3.13.1	National approval/certification methods	12

3.13.2	Certification policy	12

3.13.3	Application for certification	12

3.13.4	Certification decision	12

3.13.5	Suspension and cancellation of certificates	12

3.14	Certificates issued	12

3.15	National accreditation	13

3.16	Assessment of manufacturers and issue of QARs	14

4	ExTL for IECEx Certified Equipment Scheme	15

4.1	Assessment references	15

4.2	Candidate ExTL persons interviewed	15

4.3	Associated ExCB(s)	15

4.4	Organisation	15

4.4.1	Names, titles and experience of the senior executives	15

4.4.2	Name, title and experience of the quality management representative	15

4.4.3	Other employees in ExTL activity	15

4.5	Organizational structure	16

4.6	Resources	16

4.7	Test reports issued	16

4.8	National accreditation	17

4.9	Calibration	17

4.10	Comments (including issues found during assessment)	17

5	Annexes	17

Annex A Overall Organisation Chart	18

Annex B Organisation Chart of ExCB and ExTL	19

Annex C Accreditation Certificate for Product Certification	21

Annex D Accreditation Certificate to ISO/IEC 17025	22

# Assessment information

## Type of Body covered by this assessment:

| ExCB for IECEx Certified Equipment Scheme |  |
| --- | --- |
| ExTL for IECEx Certified Equipment Scheme |  |
| ExCB for IECEx Certified Service Facilities Scheme |  |
| ExCB for IECEx Conformity Mark Licensing System |  |

NOTE 1	ExCB - IECEx Certification Body

NOTE 2	ExTL - IECEx Testing Laboratory

## Type of assessment: <retain appropriate marks>

| Pre-assessment for candidate body |  |
| --- | --- |
| Initial assessment for candidate body |  |
| Surveillance |  |
| Re-assessment |  |
| Scope extension |  |

## Details of body

### Country

Germany

### Name of body

ZELM Explosionsschutz GmbH

### Name and title of nominated principal contact

| Name | Title | E-mail address |
| --- | --- | --- |
| Thomas Zelm |  | tzelm@zelm.de |

## Assessment information

### Members of the assessment team

| Name | Role (modify as necessary) |
| --- | --- |
| Heinz Berger | Team Leader |
| David P. Walker | Expert Assessor |

### Place(s) of assessment

| Siekgraben 56, 38124 Braunschweig, Germany |  |
| --- | --- |

### Assessment date(s)

July 16th to 18th, 2013

  - Scopes

### ExCB scope for equipment certification scheme

| Number | Title | Acceptance |
| --- | --- | --- |
| IEC 60079-0 Edition 4 Edition 5 Edition 6 | Explosive atmospheres - Part 0: Equipment - General requirements | YES |
| IEC 60079-1 Edition 4 Edition 5 Edition 6 | Explosive atmospheres - Part 1: Equipment protection by flameproof enclosures “d” | YES |
| IEC 60079-2 Edition 4 Edition 5 | Explosive atmospheres - Part 2: Equipment protection by pressurized enclosure «p» | YES |
| IEC 60079-5 Edition 2 Edition 3 | Explosive atmospheres - Part 5: Equipment protection by powder filling «q» | YES |
| IEC 60079-6 Edition 2 Edition 3 | Explosive atmospheres - Part 6: Equipment protection by oil immersion «o» | YES |
| IEC 60079-7 Edition 3 Edition 4 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" | YES |
| IEC 60079-11 Edition 4 Edition 5 Edition 6 | Explosive atmospheres - Part 11: Equipment protection by intrinsic safety “i” | YES |
| IEC 60079-15 Edition 2 Edition 3 Edition 4 | Explosive atmospheres – Part 15: Equipment protection by type of protection "n" | YES |
| IEC 60079-18 Edition 1 Edition 2 Edition 3 | Explosive atmospheres – Part 18: Equipment protection by encapsulation “m” | YES |
| IEC 60079-25 Edition 1 Edition 2 | Explosive atmospheres – Part 25: Intrinsically safe electrical systems | YES |
| IEC 60079-26 Edition 1 Edition 2 | Explosive atmospheres - Part 26: Equipment with equipment protection level (EPL) Ga | YES |
| *IEC 60079-27 Edition 1 Edition 2 | Explosive atmospheres – Part 27: Fieldbus intrinsically safe concept (FISCO) | YES |
| IEC 60079-28 Edition 1 | Explosive atmospheres - Part 28: Protection of equipment and transmission systems using optical radiation | YES "op is" only |
| IEC 60079-30-1 Edition 1 | Explosive atmospheres – Part 30-1: Electrical resistance trace heating – General and testing requirements | YES |
| IEC 60079-31 Edition 1 | Explosive atmospheres – Part 31: Equipment dust ignition protection by enclosure "t" | YES |
| IEC 60079-35-1 Edition 1 | Explosive atmospheres – Part 35-1: Caplights for use in mines susceptible to firedamp – General requirements – Construction and testing in relation to the risk of explosion | YES |
| *IEC 61241-0 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 0: General requirements | YES |
| *IEC 61241-1 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 1: Protection by enclosure “tD” | YES |
| IEC 61241-4 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 4: Protection by pressurization "pD" | YES |
| *IEC 61241-11 Edition 1 | Electrical apparatus for use in the presence of combustible dust – Part 11: Protection by intrinsic safety 'iD' | YES |
| *IEC 61241-18 Edition 1 | Electrical apparatus for use in the presence of combustible dust - Part 18: Protection by encapsulation "mD" | YES |
| *IEC 62013-1 Edition 1 Edition 2 | Caplights for use in mines susceptible to firedamp - Part 1: General requirements - Construction and testing in relation to the risk of explosion | YES |
| IEC 62086-1 Edition 1 | Explosive atmospheres - Part 1: Electrical resistance trace heating – General and testing requirements | YES |

NOTE 1	Standards shown with an asterisk (*) are superseded standards

NOTE 2	Unless otherwise indicated, earlier editions of standards (even if with a different number) are considered to be covered in the above scope for the purposes of the assessment.

NOTE 3	The above list highlights any extension of scope in the list above for new standards or later editions of standards already in scope.

### ExTL scope

The ExTL scope is the same as for the ExCB.

- Common information

## Legal entity of body

ZELM Explosionschutz GmbH is a registered company under number HRB 9963 since April 20, 2005. Prior to this date ZELM Ex e.K. was active as a sole proprietorship.

## Financial support

## There is no financial support. ZELM Explosionsschutz GmbH is self-funded from certification, testing and quality assessment activities.

## History

In 1993 the company was founded as a consultancy company to help their customers obtain certification with other bodies.

In the year 1997 it was decided to grow the company and expand to the new site, engaging 6 new employees.

Since the 2nd of December 1998 ZELM has been accredited by the ZLS as a European Notified Body according EN45001 and 45011 with Notified Body number 0820. They produce test reports and issue EC-Type-Certificates of Conformity in every type of protection which are valid throughout Europe. In addition ZELM has accreditation according EN45012 and is able to issue certificates for quality systems based on the EN13980.

Since August 1999 ZELM has had an agreement with Factory Mutual (FM) in the USA. This agreement covers the complete test laboratory and allows them to make tests needed for the North American market. Test reports are exchanged to facilitate the issuing of certificates.

## Documentation

### Quality manual

The Quality Manual consists of three levels. The general part, the part with procedures and work instructions and forms. The whole QM is complete and accessible by all employees on the intranet. Several parts of the QM were checked during the assessment and found to meet the requirements of the IECEx.

### Procedures

There are 23 chapters dealing with procedures.   A sample were reviewed and found to meet the requirements of the IECEx.

### Work instructions

Staff work instructions for certification are described in the QM under Chapters 22 and 23. Several work instructions were reviewed during the assessment and found to meet the requirements of the IECEx.

### Records (including test records where relevant)

All certificates issued by ZELM are shown on the Internet under www.zelm-ex.com. The IECEx Certificates will be shown on the IECEx Web Site CoC page. All other documents are digital data and secured on mainframe server. Hardcopy data have a standardized procedure for storage and disposal.

### Document change control

Document change control is described in the QM chapter 5, clause 5.2.4. Document control is handled by the Quality Manager as the sole owner of the change control password. This procedure was checked in detail and found to meet the requirements of the IECEx.

## Confidentiality

The confidentiality issue is described in QM chapter 1. A confidentiality declaration is signed by all employees. Furthermore, there is a clause in the work contract covering the confidentiality issue. The declarations of all employees were checked during the assessment and found to be correct and to comply with IECEx requirements.

## Publications (Hard cover and Electronic)

ZELM is presenting itself and offering their services on the Internet under the URL http://www.zelm.de

## Recognition and agreements

ZELM has a co-operation with Factory Mutual Research Corporation, Norwood, Massachusetts, USA. The scope of the agreement deals with the exchange of test reports concerning ENs and ANSI/ISA. The agreement was signed in August 1999 and was valid until end of June 2013. Negotiations for further operations are underway.

ZELM is accepted laboratory for the U.S. Coast Guard.

ZELM is the associated ExTL for TÜV SÜD Product Service

## Internal audit and periodic management review

The process for internal audits is described in QM chapter 17. All chapters of the QM are checked during a one year period. Management reviews are described in the QM in chapter 1, clause 1.8. and are performed one time a year, usually at the first quarter of a year.

## Contracting, subcontracting, use of other labs and use of other locations

The assessment team reviewed the ZELM procedures for selection, use and monitoring of Subcontractors and found to meet IECEx requirements, noting the following tests being subcontracted.

- Atlas Material Testing Technology GmbH (Resistance to light)

- Siemens AG (mechanical tests, e.g. vibration)

- PTB (Small component ignition test, optical radiation)

- Harting (Sulphur dioxide, vibration)

## Training and competence

Training is described in QM chapter 18. Training is performed by ZELM employees having the relevant competences. A detailed record of training with the signatures of each participant was presented during the assessment. Auditors active in manufacturer assessments visit external seminars. The training plan for 2013 was presented during the assessment and found to meet IECEx requirements.

## Complaints and appeals (including appeals to IECEx)

Chapter 4 of quality manual covers both complaints and appeals. There are presently no complaints listed.

## Special facts to be noted

### Supporting documentation

Copies of additional supporting information for this assessment have been provided to the applicant and the IECEx Secretariat.  These are included in a site assessment report and include:

- Details of issues raised and how these have been resolved

- Checklist for ISO/IEC Guide 65

- Checklist for ISO/IEC 17025

- Completed technical guidance notes (TGDs) for (listed in on-site assessment report)

- Photos of the facilities/tests witnessed

- Assessors’ notes

## Recommendations

Based on the assessment performed on from July 16th to 18th, 2013, ZELM Explosionsschutz GmbH is recommended for continued acceptance in the IECEx scheme as:

- An ExCB in the IECEx Certified Equipment Scheme

- An ExTL in the IECEx Certified Equipment Scheme

This is according to the scope of the standards listed in this document.

| Heinz Berger | David P. Walker |  |
| --- | --- | --- |
| Team Leader | Expert Assessor |  |

Dates:  July 16th to 18th, 2013

# ExCB for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- OD003-2  Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- OD005-1 IECEx Quality System Requirements for Manufacturers – Part 1: Guidance on the establishment and maintenance of a quality system

- OD005-2 IECEx Quality System Requirements for Manufacturers – Part 2: Audit Checklist.  (This is available in a Word format for use by ExCBs)

- ISO/IEC 80079-34 Edition 1, Explosive atmospheres – Part 34: Application of quality systems for equipment manufacture

- OD009 Issuing of CoCs, ExTRs and QARs

- IECEx Document OD 025 Guidelines on the Management of Assessment and Surveillance programs for the assessment of Manufacturer’s Quality Systems in accordance with the IECEx Scheme

- OD0026 IECEx Certified Equipment Scheme – Guidelines for the qualification of Lead Auditor and Auditors, in accordance with the IECEx System

- ISO/IEC Guide 65:1996, Edition 1, General requirements for bodies operating product certification systems

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Guidance Documents (TGDs)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied

## Candidate ExCB persons interviewed

| Name | Position |
| --- | --- |
| Harald Zelm | Certification Manager |
| Thomas Zelm | Quality Manager |

## Associated ExTL(s)

The ExTL is integral with ExCB at the same site.

## Associated certification functions

ZELM Explosionsschutz GmbH is a Notified Body according to the ATEX directive 94/9/EC since 1998. The Notified Body # is 0820.

## National marks and certificates

There are no national Marks and Certificates issued.

## Standards accepted

See clause 1.5.1 of this report

## National differences to IEC standards

National differences to IEC standards are those for Germany as well as European Group differences listed in the latest version of the IECEx Scheme Bulletin.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Harald Zelm | Dipl. Ing. | 29 years |
| Christian Roder | Dipl. Ing. | 5 years |
| Thomas Zelm | Auditor (TGA/EOQ) | 13 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Thomas Zelm | Auditor (TGA/EOQ) | 13 years |

### Name and title of signatories for certification

| Name | Title | Comments |
| --- | --- | --- |
| Harald Zelm | Dipl. Ing. | hzelm@zelm.de |
| Christian Roder | Dipl. Ing. | croder@zelm.de |

### Other employees in ExCB activity

| Name | Title | Responsibility and Experience in Ex |
| --- | --- | --- |
| Henning Richter | Dr. | QAR |
| Waltraud Zelm |  | Certification Administration |
| Walpurga Kraatz |  | Archive/Records |
| Silke Zelm-Baum |  | Archive, Accounting |
| Natalia Scholz |  |  |

## Organizational structure

The organizational structure is shown in Annexes A & B

## Administration

### Administrative structure

Certification administration is organized in order to handle all documentation and correspondence with view to certification activities. 1 ½ positions are related to this activities.

### Indemnity insurance

Insurance contract issued by the „Öffentliche Versicherung Braunschweig“.  The number is 49414901/73 and is valid until 1.1.2014.

## Resources

A total of eight (8) employees are involved in certification activities which includes administration, certificate release, manufacturer auditing, general handling, customer service, accreditations, trainings, etc.

## Committees (such as governing or advisory boards)

A list with the members of the advisory board was presented during the re-assessment as well as the signed confidentiality agreement of all members.

## Certification operations

### National approval/certification methods

ZELM Explosionsschutz GmbH is a Notified Body according to the ATEX directive 94/9/EC since 1998. The Notified Body # is 0820.

### Certification policy

The IECEx certification procedure is described in the quality handbook chapters 22 and 23 which is based on document IECEx OD 009. The detailed certification instruction is described in clause 4 of the QH. Chapters 22 and 23 were checked during the assessment and found to meet the requirements of the IECEx.

### Application for certification

ZELM has developed a certification application form also covering IECEx. The form was checked during the assessment and found to meet the requirements of the IECEx.

### Certification decision

Certification decisions are described in the procedure of the QM chapter 4, clauses 4. The procedure was checked during the assessment and found to meet the requirements of the IECEx.

### Suspension and cancellation of certificates

The withdrawal and cancellation process is described in the QM in chapter 4, clause 5. The procedure was checked during the assessment and found to meet the requirements of the IECEx.

## Certificates issued

Number of certificates issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx certificates should be shown (certificates for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued certificates (for last 4 years) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Gas atmosphere |  | 2009 | 2010 | 2011 | 2012 |  |  |
| lEC 60079-0 |  |  |  |  |  | part 0 included in below numbers |  |
| lEC 60079-1 |  | 9 | 6 | 5 | 13 | 33 |  |
| lEC 60079-2 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-5 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-6 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-7 |  | 8 | 3 | 5 | 7 | 23 |  |
| lEC 60079-11 |  | 63 | 42 | 39 | 41 | 185 |  |
| lEC 60079-15 |  | 4 | 4 | 5 | 5 | 18 |  |
| lEC 60079-18 |  | 4 | 2 | 1 | 3 | 10 |  |
| lEC 60079-25 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-26 |  | 30 | 16 | 17 | 24 | 87 |  |
| lEC 60079-27 |  | 3 | 3 | 1 | 1 | 8 |  |
| lEC 60079-28 |  | 3 | 5 | 1 | 2 | 11 |  |
| IEC 60079-30-1 |  | 0 | 0 | 0 | 1 | 1 |  |
| IEC 60079-31 |  | 0 | 1 | 5 | 7 | 13 |  |
| Combustible dust |  |  |  |  |  |  |  |
| lEC 61241-0 |  |  |  |  |  | part 0 included in below numbers |  |
| lEC 61241-1 |  | 8 | 4 | 1 | 3 | 16 |  |
| lEC 61241-1-1/ EN 50281-1-1 |  | 0 1 | 0 0 | 0 0 | 0 0 | 0 1 |  |
| lEC 61241-4 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 61241-11 |  | 36 | 14 | 11 | 9 | 70 |  |
| lEC 61241-18 |  | 0 | 1 | 1 | 1 | 3 |  |
| lEC 62086-1 |  | 1 | 0 | 0 | 0 | 1 |  |

## National accreditation

ZELM holds accreditations for DIN EN 45011 (equivalent to ISO/IEC Guide 65) and DIN EN 45012 (equivalent to ISO/IEC Guide 62) from the German Accreditation Service ZLS and a Notification Certificate from the Federal Ministry of Labour and Social Affairs of Germany for the ATEX Directive 94/9/EG. The Notified Body number is 0820.

The ZLS certificate for the ExCB is valid until 31.12.2013. The re-accreditation assessment is planned for December 2013.

## Assessment of manufacturers and issue of QARs

The following QARs were checked during the assessment and found to meet the requirements of the IECEx:

DE/ZLM/QAR09.0003/02 Manufacturer in Germany; protection types "i" and "m"

DE/ZLM/QAR12.0002/00 Manufacturer in Germany; protection type "e"

DE/ZLM/QAR13.0002/00 Manufacturer in Switzerland; protection type "i"

DE/ZLM/QAR09.0002/01 Manufacturer in Germany

DE/ZLM/QAR10.0001/01 Manufacturer in Germany

3.17 Comments (including issues found during assessment)

A number of issues were raised during this re-assessment in the area of subcontracting, calibration and test reports.  Subsequently all the issues have been resolved to the satisfaction of the assessment team.

# ExTL for IECEx Certified Equipment Scheme

## Assessment references

- IECEx02 IECEx Certified Equipment Scheme covering equipment for use in explosive atmospheres – Rules of Procedure

- IECEx OD003-2 Assessment, surveillance assessment and re-assessment of ExCBs and ExTLs operating in the IECEx 02, IECEx Certified Equipment Scheme

- IECEx OD009 Issuing of CoCs, ExTRs and QARs

- ISO/IEC 17025:2005 Edition 2, General requirements for the competence of testing and calibration laboratories

- IECEx Document OD17 Drawing and documentation guidance

- IECEx Technical Guidance Documents (TGDs)

- ExTAG decision sheets (DSs)

NOTE	The latest editions of the above documents were applied.

## Candidate ExTL persons interviewed

| Name | Position |
| --- | --- |
| Harald Zelm | Certification Manager |
| Thomas Zelm | Laboratory Manager and Quality Manager |
| Christian Roder | Test Engineer |
| Daniel Lampe | Test Engineer |
| Stefan Voigtländer | Test Engineer |

## Associated ExCB(s)

The ExTL is integral with ExCB at the same site.

## Organisation

### Names, titles and experience of the senior executives

| Name | Title | Experience |
| --- | --- | --- |
| Thomas Zelm | Auditor (TGA/EOQ) | 13 years |
| Harald Zelm | Dipl. Ing. | 29 years |

### Name, title and experience of the quality management representative

| Name | Title | Experience |
| --- | --- | --- |
| Thomas Zelm | Auditor (TGA/EOQ) | 13 years |

### Other employees in ExTL activity

| Name | Title/responsibility | Experience in Ex |
| --- | --- | --- |
| Thomas Zelm | Auditor (TGA/EOQ) | tzelm@zelm.de |

4.4.4 Employees

| Name | Title | Experience |
| --- | --- | --- |
| Christian Roder | Dipl. Ing. | 5 years |
| Daniel Lampe | Dipl. Ing. | 3 years |
| Wadim Kapralov | Dipl. Ing. | 1 year |
| Stefan Voigtländer | Lab Technician | 14 years |
| Andreas Brief | Lab Technician | 1 year |

## Organizational structure

The organization charts can be found in Annexes A.

## Resources

A total of seven (7) employees are involved in testing activities.

## Test reports issued

Number of test reports (ExTRs) issued under for the preceding four years for each type of protection.  For new applications these should be for national or regional schemes and for currently accepted bodies IECEx ExTRs should be shown (test reports for other schemes may also be shown):

| Standard numbers | Type of protection or other identifying information | Number of issued Test Reports (for last 4 years) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Gas atmosphere |  | 2009 | 2010 | 2011 | 2012 |  |  |
| lEC 60079-0 |  |  |  |  |  | part 0 included in below numbers |  |
| lEC 60079-1 |  | 9 | 6 | 5 | 14 | 34 |  |
| lEC 60079-2 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-5 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-6 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-7 |  | 8 | 3 | 5 | 7 | 23 |  |
| lEC 60079-11 |  | 64 | 42 | 39 | 41 | 186 |  |
| lEC 60079-15 |  | 4 | 4 | 5 | 5 | 18 |  |
| lEC 60079-18 |  | 4 | 2 | 1 | 3 | 10 |  |
| lEC 60079-25 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 60079-26 |  | 30 | 16 | 17 | 24 | 87 |  |
| lEC 60079-27 |  | 3 | 3 | 1 | 1 | 8 |  |
| lEC 60079-28 |  | 3 | 5 | 1 | 2 | 11 |  |
| IEC 60079-30-1 |  | 0 | 0 | 0 | 1 | 1 |  |
| IEC 60079-31 |  | 0 | 1 | 5 | 7 | 13 |  |
| Combustible dust |  |  |  |  |  |  |  |
| lEC 61241-0 |  |  |  |  |  | part 0 included in below numbers |  |
| lEC 61241-1 |  | 8 | 4 | 1 | 3 | 16 |  |
| lEC 61241-1-1/ EN 50281-1-1 |  | 0 1 | 0 0 | 0 0 | 0 0 | 0 1 |  |
| lEC 61241-4 |  | 0 | 0 | 0 | 0 | 0 |  |
| lEC 61241-11 |  | 36 | 14 | 11 | 9 | 70 |  |
| lEC 61241-18 |  | 0 | 1 | 1 | 1 | 3 |  |
| lEC 62086-1 |  | 1 | 0 | 0 | 0 | 1 |  |

## National accreditation

ZELM holds an accreditation for ISO/IEC17025 from the German Accreditation Service Zentralstelle der Lander fur Sicherheitstechnik, ZLS, (see Annex D) and a Notification Certificate from the Federal Ministry of Labour and Social Affairs of Germany for the ATEX Directive 94/9/EG. The Notified Body number is 0820.

The ZLS certificate for the ExTL is valid until 31.12.2013. The re-accreditation assessment is planned for December 2013.

## Calibration

The calibration process is described in QM chapter 11. A list of all test equipment is available on the Intranet. With this tool, the calibration process can be properly controlled. The procedure and the list on the Intranet was checked during the assessment and found to meet the requirements of the IECEx.

## Comments (including issues found during assessment)

See ExCB report.

# Annexes

- Overall Organisation Chart

- Organisation Chart of ExCB and ExTL

- Accreditation Certificate for Product Certification

- Accreditation Certificate to ISO/IEC 17025